## kWh
Gas Transportation - Monthly report
July 2019
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 2359.7882 | 937.8032 | 174.2303 | 2.8934 | 263.5331 | 546.4264 | 285.1015 | 123.8475 | 25.9529 | 132.4027 | -683.035 | -621.8846 | 45.7763 | -56.6966 | -4.4538 | 1809.156 | 1648.0873 | 420.4091 | 872.3153 | 355.3629 | 27.3683 | 1.0999 | 0 | 0 | 0.73458 | 0 | 26.6179 | -1.0842 | 42.0728 | 91.6276 | 1809.156
2 | 2161.4808 | 748.7646 | 169.0027 | 0 | 290.2646 | 548.9368 | 238.9186 | 146.5934 | 19.0001 | 134.214 | -462.3332 | -411.6033 | -1.2409 | -46.1886 | -4.5414 | 1833.3616 | 1693.6238 | 421.4375 | 907.2887 | 364.8977 | 33.6245 | 1.1748 | 0 | 0 | 0.66707 | 0 | 28.8072 | 2.9754 | 35.2038 | 70.9094 | 1833.3616
3 | 2257.9779 | 927.1943 | 163.3884 | 0 | 286.4602 | 546.141 | 240.0864 | 76.2614 | 18.4462 | 133.6267 | -525.6707 | -467.0319 | 2.2088 | -54.3023 | -4.3366 | 1865.9339 | 1775.0439 | 426.0886 | 980.5277 | 368.4276 | 25.8184 | 1.184 | 0 | 0 | 0.65422 | 0 | 26.7928 | -2.8126 | 24.0429 | 41.0287 | 1865.9339
4 | 2187.54 | 945.675 | 163.2849 | 1.0669 | 286.3419 | 556.4793 | 76.5423 | 139.3747 | 18.775 | 120.2292 | -455.1435 | -418.191 | -3.8384 | -33.141 | -3.8116 | 1852.6256 | 1739.0839 | 418.6752 | 951.6065 | 368.8022 | 29.2394 | 1.244 | 0 | 0 | 0.72294 | 0 | 28.7844 | -1.512 | -11.209 | 95.5113 | 1852.6256
5 | 2315.1748 | 931.5697 | 152.6977 | 1.2001 | 280.1332 | 553.973 | 239.8723 | 136.7651 | 18.9636 | 132.0967 | -643.0089 | -588.7628 | 1.5654 | -50.4344 | -3.8117 | 1804.2626 | 1740.8207 | 411.2421 | 980.0731 | 349.5055 | 31.0363 | 1.227 | 0 | 0 | 0.67482 | 0 | 27.5829 | 1.5516 | -11.167 | 43.5726 | 1804.2626
6 | 2022.7208 | 901.4126 | 136.6704 | 0 | 267.7517 | 453.0342 | 239.9649 | 4.9463 | 18.9408 | 133.8006 | -762.3925 | -695.05 | 31.6714 | -63.4871 | -3.8554 | 1394.1289 | 1296.4299 | 358.4632 | 679.201 | 258.7658 | 22.312 | 0.81908 | 0 | 0 | 0.60086 | 0 | 21.7064 | -0.81432 | 41.8816 | 33.5054 | 1394.1289
7 | 1807.9635 | 719.6971 | 137.1129 | 0 | 281.2743 | 409.7837 | 230.0278 | 4.263 | 25.8046 | 134.1099 | -757.4353 | -689.1698 | 12.4112 | -63.9368 | -4.3287 | 1184.638 | 1175.4594 | 340.5187 | 587.817 | 247.1237 | 21.6943 | 0.82084 | 0 | 0 | 0.49722 | 0 | 21.2751 | -0.89881 | -31.569 | 19.0533 | 1184.638
8 | 2411.8292 | 942.6639 | 170.1686 | 0 | 274.5831 | 552.9701 | 237.0258 | 155.8516 | 78.566 | 134.5733 | -740.0985 | -686.1191 | -22.0296 | -49.8594 | -4.1199 | 1806.3041 | 1779.5662 | 420.6819 | 999.7998 | 359.0845 | 29.8357 | 1.1907 | 0 | 0 | 0.70109 | 0 | 26.5626 | 1.3813 | -28.9883 | 25.8905 | 1806.3041
9 | 2367.6277 | 929.1773 | 165.0919 | 0 | 274.4037 | 552.3104 | 235.5267 | 131.813 | 79.3047 | 135.1056 | -600.4162 | -570.9936 | -1.9547 | -25.2878 | -4.1348 | 1902.3171 | 1789.8147 | 424.6009 | 997.9387 | 367.275 | 29.641 | 1.2375 | 0 | 0 | 0.71784 | 0 | 27.394 | 0.29164 | -6.0682 | 88.9296 | 1902.3171
10 | 2405.0416 | 934.6279 | 169.7675 | 0 | 285.6549 | 544.4927 | 235.3563 | 156.149 | 78.9933 | 129.0047 | -705.8555 | -648.6715 | 12.5244 | -53.0699 | -4.1141 | 1828.1908 | 1722.5287 | 431.6871 | 914.7619 | 376.0797 | 31.5519 | 1.2584 | 0 | 0 | 0.75699 | 0 | 26.6127 | 2.9239 | 43.3141 | 30.796 | 1828.1908
11 | 2414.6223 | 937.1515 | 192.8191 | 0 | 286.9035 | 546.0632 | 238.1742 | 144.7156 | 68.7953 | 123.8344 | -749.0047 | -684.5785 | 4.9323 | -60.3147 | -4.1115 | 1789.452 | 1750.3363 | 425.4736 | 945.7543 | 379.1085 | 26.2003 | 1.279 | 0 | 0 | 0.75489 | 0 | 27.3338 | -3.1675 | 3.0026 | 9.9128 | 1789.452
12 | 2376.8133 | 914.8426 | 202.5948 | 0 | 287.0534 | 509.5692 | 238.5628 | 155.4061 | 68.7844 | 124.2249 | -753.4886 | -686.86 | 2.9097 | -62.5297 | -4.0989 | 1747.5496 | 1721.4171 | 417.391 | 943.3253 | 360.7009 | 26.8757 | 1.1704 | 0 | 0 | 0.73802 | 0 | 26.4832 | -1.516 | -38.8223 | 38.0791 | 1747.5496
13 | 1959.2764 | 827.7807 | 169.6709 | 0 | 225.4855 | 299.8445 | 238.5769 | 122.504 | 75.414 | 133.5542 | -697.9388 | -629.9122 | 84.9075 | -63.9191 | -4.1075 | 1394.8918 | 1248.5945 | 363.7261 | 616.2413 | 268.6271 | 24.7629 | 0.86421 | 0 | 0 | 0.66656 | 0 | 21.38 | 1.8522 | 90.0395 | 31.4949 | 1394.8918
14 | 1736.471 | 708.2385 | 158.8342 | 0 | 218.6186 | 256.9206 | 238.5113 | 73.5735 | 81.7743 | 123.9663 | -701.4713 | -633.3869 | 72.9681 | -63.9368 | -4.1476 | 1158.9661 | 1103.6834 | 343.0969 | 501.7847 | 258.8018 | 20.138 | 0.87244 | 0 | 0 | 0.56568 | 0 | 20.6595 | -1.9597 | 7.5022 | 27.6426 | 1158.9661
15 | 2413.5168 | 938.3202 | 174.8915 | 0 | 278.244 | 506.8208 | 282.5722 | 150.61 | 82.0582 | 115.0428 | -692.9684 | -629.6238 | 66.4637 | -59.4548 | -3.8897 | 1835.5911 | 1646.0547 | 428.3472 | 835.7998 | 381.9076 | 34.6422 | 1.3343 | 0 | 0 | 0.76033 | 0 | 26.3523 | 6.1953 | 96.9878 | 57.9065 | 1835.5911
16 | 2282.7403 | 1002.2374 | 169.1802 | 0 | 279.612 | 342.3403 | 283.3485 | 123.9665 | 82.0553 | 123.5194 | -698.7506 | -632.6659 | 15.5986 | -61.9254 | -4.1593 | 1707.5091 | 1620.7918 | 429.2017 | 809.544 | 382.046 | 24.3577 | 1.2926 | 0 | 0 | 0.77077 | 0 | 26.1374 | -3.8431 | 26.354 | 36.0056 | 1707.5091
17 | 2337.4079 | 1030.2358 | 174.9854 | 0 | 197.1532 | 399.6659 | 284.8965 | 144.2974 | 106.1736 | 125.9441 | -698.8763 | -634.5941 | -4.0035 | -60.1216 | -4.1607 | 1764.4756 | 1739.2406 | 429.5745 | 924.3755 | 385.2906 | 28.5915 | 1.2624 | 0 | 0 | 0.76182 | 0 | 26.6836 | -0.11633 | -51.8026 | 48.4461 | 1764.4756
18 | 2373.8867 | 1017.0939 | 153.0471 | 0 | 192.4015 | 465.2331 | 284.7671 | 155.0182 | 106.3257 | 125.1494 | -695.1044 | -627.2242 | 31.26 | -63.7171 | -4.1631 | 1803.9316 | 1787.8005 | 423.8108 | 978.6288 | 385.3609 | 28.5011 | 1.2462 | 0 | 0 | 0.65744 | 0 | 26.9895 | -0.39208 | -56.2488 | 43.8789 | 1803.9316
19 | 2313.963 | 1020.1252 | 158.1247 | 0 | 192.1429 | 391.2172 | 284.9542 | 154.9981 | 112.4008 | 124.776 | -704.464 | -636.6346 | 57.6266 | -63.7257 | -4.1037 | 1734.275 | 1721.2718 | 411.6014 | 943.6633 | 366.0071 | 27.8854 | 1.1728 | 0 | 0 | 0.7657 | 0 | 25.6993 | 0.24759 | -17.6869 | 2.8048 | 1734.275
20 | 1906.5311 | 913.8121 | 136.312 | 0 | 189.6806 | 324.4128 | 240.3267 | 13.5873 | 88.3995 | 124.2559 | -705.9338 | -637.6131 | 16.2903 | -63.8685 | -4.4522 | 1324.8532 | 1320.1045 | 352.8178 | 698.793 | 268.4936 | 21.5061 | 0.92099 | 0 | 0 | 0.66241 | 0 | 20.7985 | -0.87584 | -23.6099 | 6.8525 | 1324.8532
21 | 1829.9199 | 855.83 | 103.6388 | 0 | 190.816 | 375.8645 | 240.3422 | 22.8902 | 40.5381 | 124.3279 | -699.5571 | -631.4806 | 17.2832 | -63.9399 | -4.1365 | 1254.6907 | 1192.2717 | 332.146 | 609.8357 | 250.2899 | 23.5702 | 0.84886 | 0 | 0 | 0.51798 | 0 | 22.0871 | 0.11619 | -7.5422 | 46.3911 | 1254.6907
22 | 2259.1292 | 888.4718 | 168.8238 | 0 | 254.4763 | 532.0306 | 230.3143 | 144.3226 | 40.6897 | 127.2454 | -644.481 | -594.1497 | -1.4091 | -46.5279 | -3.8034 | 1741.8936 | 1716.1155 | 415.5453 | 936.4589 | 364.1114 | 27.2114 | 1.2168 | 0 | 0 | 0.71356 | 0 | 26.4852 | -1.2041 | -59.6259 | 58.1925 | 1741.8936
23 | 2364.3873 | 956.2758 | 141.6197 | 0 | 257.327 | 528.0264 | 285.2872 | 155.0103 | 40.841 | 131.9594 | -691.3409 | -628.2206 | -8.3533 | -59.3088 | -3.8115 | 1805.0058 | 1787.7946 | 410.2713 | 1011.5678 | 365.9556 | 31.7924 | 1.2275 | 0 | 0 | 0.73809 | 0 | 28.4208 | 1.406 | -62.9583 | 48.3772 | 1805.0058
24 | 2370.5841 | 990.4773 | 136.156 | 0 | 249.8419 | 537.8692 | 285.3214 | 129.9738 | 40.9444 | 132.5017 | -635.7662 | -580.4091 | -8.323 | -51.5431 | -3.814 | 1867.3197 | 1843.558 | 416.1015 | 1062.1785 | 365.278 | 33.5619 | 1.1643 | 0 | 0 | 0.70379 | 0 | 30.791 | 0.90281 | -37.9993 | 28.1991 | 1867.3197
25 | 2410.7567 | 993.501 | 141.6025 | 0 | 256.3815 | 537.7498 | 285.4782 | 155.0298 | 41.014 | 133.1221 | -641.7558 | -584.499 | -6.6358 | -53.4529 | -3.8038 | 1902.123 | 1845.0018 | 415.2686 | 1075.789 | 353.9442 | 31.7768 | 1.0671 | 0 | 0 | 0.66533 | 0 | 30.5363 | -0.49195 | -57.1199 | 82.4643 | 1902.123
26 | 2432.9799 | 990.5523 | 147.3038 | 0 | 256.7278 | 516.2872 | 285.534 | 154.9964 | 81.5784 | 132.2244 | -612.9255 | -551.0736 | 110.6578 | -58.0526 | -3.7993 | 1952.2788 | 1782.9827 | 399.3168 | 1049.8194 | 333.8465 | 31.5386 | 1.0189 | 0 | 0 | 0.66312 | 0 | 29.2073 | 0.64923 | 90.942 | 46.8155 | 1952.2788
27 | 1950.6693 | 810.9198 | 115.2952 | 0 | 198.0388 | 390.3531 | 240.2857 | 123.5397 | 72.2371 | 129.6746 | -681.0778 | -631.2013 | -4.8681 | -46.0796 | -3.797 | 1399.266 | 1277.3024 | 352.3095 | 667.7214 | 257.2715 | 23.5879 | 0.83464 | 0 | 0 | 0.65605 | 0 | 21.0805 | 1.0167 | 7.4053 | 90.9703 | 1399.266
28 | 1813.9035 | 739.8146 | 114.6901 | 0 | 190.5327 | 355.7957 | 240.504 | 90.1115 | 82.4548 | 129.7811 | -753.8734 | -685.8598 | 39.7297 | -64.0997 | -3.9139 | 1189.8111 | 1069.589 | 328.6816 | 494.8619 | 246.0454 | 23.08 | 0.81775 | 0 | 0 | 0.59872 | 0 | 21.2026 | 0.46092 | 60.8457 | 36.2964 | 1189.8111
29 | 2249.8033 | 901.346 | 169.5801 | 0 | 194.529 | 539.4922 | 240.597 | 154.5672 | 49.6917 | 131.0755 | -656.0375 | -597.8326 | -3.0357 | -54.415 | -3.7898 | 1724.8413 | 1572.6143 | 396.5593 | 825.0914 | 350.9636 | 27.9272 | 1.1265 | 0 | 0 | 0.70694 | 0 | 26.9815 | -0.88768 | 17.9269 | 106.3729 | 1724.8413
30 | 2380.2762 | 974.8742 | 187.0884 | 0 | 252.4304 | 534.1472 | 240.672 | 155.1035 | 35.9606 | 127.2271 | -765.7402 | -704.0591 | 0.46818 | -57.9003 | -3.7807 | 1741.7631 | 1679.8784 | 404.2087 | 924.7244 | 350.9453 | 29.3213 | 1.0884 | 0 | 0 | 0.74169 | 0 | 26.5403 | 0.95093 | -16.5021 | 49.0654 | 1741.7631
31 | 2417.8514 | 1057.263 | 187.2941 | 0 | 200.8273 | 534.0773 | 272.4074 | 129.9769 | 36.0054 | 130.7528 | -720.0389 | -661.6657 | -2.4601 | -54.5891 | -3.784 | 1828.5654 | 1722.4968 | 391.2982 | 978.0559 | 353.1426 | 29.2073 | 0.95882 | 0 | 0 | 0.71943 | 0 | 27.4329 | 0.096097 | 26.4562 | 50.4052 | 1828.5654
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Transportation - Monthly report
July 2019
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 205.9756 | 82.5019 | 15.163 | 0.25424 | 22.5077 | 47.796 | 24.8206 | 10.766 | 2.1662 | 11.8668 | -59.4571 | -54.0796 | 4.1028 | -4.9864 | -0.39106 | 158.3852 | 147.7122 | 37.6798 | 78.1825 | 31.8499 | -1.31 | 0.096304 | 0 | 0 | 0.066528 | 0 | 2.3857 | -3.8585 | 3.7708 | 8.2123 | 158.3852
2 | 188.666 | 65.8715 | 14.6908 | 0 | 24.8341 | 48.1238 | 20.7986 | 12.7571 | 1.5901 | 12.0291 | -40.2353 | -35.7761 | -0.10786 | -4.062 | -0.39714 | 160.4598 | 151.7935 | 37.7719 | 81.317 | 32.7045 | -0.8442 | 0.10284 | 0 | 0 | 0.060403 | 0 | 2.5819 | -3.5893 | 3.1552 | 6.3554 | 160.4598
3 | 196.9464 | 81.5095 | 14.2162 | 0 | 24.471 | 47.7651 | 20.8021 | 6.6365 | 1.5459 | 11.9765 | -45.8491 | -40.6964 | 0.19797 | -4.7728 | -0.38 | 163.0737 | 159.0908 | 38.1888 | 87.8812 | 33.0208 | -1.8492 | 0.10396 | 0 | 0 | 0.059233 | 0 | 2.4013 | -4.4138 | 2.1549 | 3.6773 | 163.0737
4 | 190.6697 | 83.137 | 14.216 | 0.093733 | 24.4209 | 48.4933 | 6.6337 | 12.1055 | 1.5696 | 10.7757 | -39.5872 | -36.3414 | -0.33356 | -2.9119 | -0.33384 | 161.8583 | 155.8679 | 37.5244 | 85.2891 | 33.0544 | -1.5653 | 0.1091 | 0 | 0 | 0.065424 | 0 | 2.5798 | -4.3197 | -1.0046 | 8.5603 | 161.8583
5 | 201.6657 | 81.8486 | 13.2883 | 0.10538 | 23.9235 | 48.2832 | 20.7515 | 11.8821 | 1.5832 | 11.8394 | -55.9547 | -51.1955 | 0.1403 | -4.4261 | -0.33311 | 157.5504 | 156.0235 | 36.8582 | 87.8404 | 31.3249 | -1.3776 | 0.10701 | 0 | 0 | 0.061104 | 0 | 2.4722 | -4.0179 | -1.0009 | 3.9053 | 157.5504
6 | 176.169 | 79.1458 | 11.8489 | 0 | 22.9131 | 39.4988 | 20.7545 | 0.42962 | 1.5783 | 11.9921 | -66.368 | -60.4626 | 2.8386 | -5.5696 | -0.33579 | 121.7931 | 116.1944 | 32.1278 | 60.8744 | 23.1923 | -1.158 | 0.071496 | 0 | 0 | 0.054413 | 0 | 1.9455 | -3.2294 | 3.7537 | 3.003 | 121.7931
7 | 157.3032 | 63.2176 | 11.8492 | 0 | 24.0932 | 35.7236 | 19.8961 | 0.37061 | 2.1529 | 12.0198 | -65.87 | -59.8804 | 1.1124 | -5.6121 | -0.37753 | 103.453 | 105.3522 | 30.5195 | 52.6839 | 22.1488 | -0.77752 | 0.071458 | 0 | 0 | 0.045044 | 0 | 1.9068 | -2.8008 | -2.8294 | 1.7077 | 103.453
8 | 210.1198 | 82.879 | 14.6925 | 0 | 23.502 | 48.397 | 20.5622 | 13.5491 | 6.5381 | 12.0613 | -64.2932 | -59.5554 | -1.9122 | -4.378 | -0.35985 | 157.8879 | 159.4962 | 37.7042 | 89.6085 | 32.1835 | -1.3306 | 0.10428 | 0 | 0 | 0.063483 | 0 | 2.3807 | -3.8791 | -2.5981 | 2.3205 | 157.8879
9 | 206.2933 | 81.549 | 14.2165 | 0 | 23.4305 | 48.2894 | 20.7496 | 11.4487 | 6.6094 | 12.109 | -52.1542 | -49.5757 | -0.16972 | -2.2174 | -0.36112 | 166.2481 | 160.4147 | 38.0555 | 89.4417 | 32.9176 | -1.5931 | 0.10852 | 0 | 0 | 0.064957 | 0 | 2.4552 | -4.2218 | -0.54387 | 7.9704 | 166.2481
10 | 209.6904 | 82.043 | 14.6928 | 0 | 24.3278 | 47.689 | 20.7575 | 13.6124 | 6.5679 | 11.5622 | -61.7093 | -56.6912 | 1.1225 | -4.6584 | -0.3597 | 159.5433 | 154.3841 | 38.6906 | 81.9868 | 33.7067 | -1.483 | 0.11046 | 0 | 0 | 0.068362 | 0 | 2.3852 | -4.047 | 3.8821 | 2.7601 | 159.5433
11 | 210.6586 | 82.3792 | 16.6869 | 0 | 24.4967 | 47.8859 | 20.8072 | 12.6857 | 5.7171 | 11.0988 | -65.252 | -59.5962 | 0.44206 | -5.2962 | -0.35962 | 156.5054 | 156.8764 | 38.1337 | 84.7646 | 33.9781 | -1.5285 | 0.11225 | 0 | 0 | 0.068037 | 0 | 2.4498 | -4.1587 | 0.26911 | 0.88845 | 156.5054
12 | 207.435 | 80.48 | 17.5374 | 0 | 24.5382 | 44.7589 | 20.8021 | 13.6102 | 5.7082 | 11.1338 | -65.7199 | -59.865 | 0.26078 | -5.496 | -0.35887 | 152.849 | 154.2845 | 37.4093 | 84.5469 | 32.3283 | -1.3689 | 0.10274 | 0 | 0 | 0.06677 | 0 | 2.3736 | -3.912 | -3.4795 | 3.4129 | 152.849
13 | 170.884 | 72.8308 | 14.69 | 0 | 19.2879 | 26.3063 | 20.8007 | 10.7188 | 6.2494 | 11.97 | -60.6477 | -54.6643 | 7.61 | -5.6233 | -0.36019 | 122.2062 | 111.9071 | 32.5995 | 55.2315 | 24.0761 | -0.59352 | 0.075939 | 0 | 0 | 0.060304 | 0 | 1.9162 | -2.646 | 8.0699 | 2.8228 | 122.2062
14 | 151.217 | 62.2945 | 13.7433 | 0 | 18.6706 | 22.473 | 20.7999 | 6.4375 | 6.7982 | 11.1107 | -61.0018 | -55.014 | 6.5399 | -5.6234 | -0.36435 | 101.3259 | 98.9192 | 30.7505 | 44.9732 | 23.1955 | -0.74323 | 0.076499 | 0 | 0 | 0.051202 | 0 | 1.8516 | -2.7226 | 0.67239 | 2.4775 | 101.3259
15 | 210.487 | 82.5504 | 15.1648 | 0 | 23.7532 | 44.3888 | 24.6349 | 13.1752 | 6.8197 | 10.3109 | -60.3122 | -54.7434 | 5.9569 | -5.2279 | -0.341 | 160.4857 | 147.53 | 38.3912 | 74.9098 | 34.229 | -0.92697 | 0.11648 | 0 | 0 | 0.068801 | 0 | 2.3619 | -3.4741 | 8.6927 | 5.19 | 160.4857
16 | 199.1125 | 88.1791 | 14.6926 | 0 | 23.9057 | 29.9897 | 24.6336 | 10.8799 | 6.8321 | 11.0706 | -60.7464 | -54.9336 | 1.398 | -5.4488 | -0.36407 | 149.4367 | 145.2658 | 38.4678 | 72.5565 | 34.2414 | -1.4181 | 0.11356 | 0 | 0 | 0.069408 | 0 | 2.3426 | -3.9437 | 2.362 | 3.2271 | 149.4367
17 | 203.1699 | 90.6689 | 15.1738 | 0 | 16.8549 | 34.9218 | 24.6422 | 12.0829 | 8.8254 | 11.2879 | -60.4086 | -54.7617 | -0.34548 | -5.281 | -0.36584 | 154.0492 | 155.8819 | 38.5012 | 82.8485 | 34.5322 | -1.5319 | 0.11062 | 0 | 0 | 0.068446 | 0 | 2.3916 | -4.1025 | -4.6429 | 4.3421 | 154.0492
18 | 206.4535 | 89.601 | 13.2764 | 0 | 16.4287 | 40.6807 | 24.633 | 12.9924 | 8.8412 | 11.2167 | -60.1383 | -54.1722 | 2.8017 | -5.5996 | -0.36643 | 157.5319 | 160.2342 | 37.9847 | 87.711 | 34.5385 | -1.5936 | 0.10883 | 0 | 0 | 0.059508 | 0 | 2.419 | -4.181 | -5.0414 | 3.9327 | 157.5319
19 | 201.0939 | 89.8152 | 13.7478 | 0 | 16.3968 | 34.1783 | 24.6301 | 12.9824 | 9.3434 | 11.1832 | -60.9335 | -54.9716 | 5.1649 | -5.6006 | -0.36123 | 151.3437 | 154.2714 | 36.8904 | 84.5772 | 32.8039 | -1.594 | 0.1033 | 0 | 0 | 0.069307 | 0 | 2.3033 | -4.0699 | -1.5852 | 0.25138 | 151.3437
20 | 166.1039 | 80.4093 | 11.8537 | 0 | 16.2028 | 28.4008 | 20.7566 | 1.1404 | 7.3403 | 11.1366 | -61.0488 | -55.046 | 1.46 | -5.6127 | -0.39017 | 116.1917 | 118.3163 | 31.6218 | 62.6303 | 24.0641 | -0.62269 | 0.081162 | 0 | 0 | 0.059981 | 0 | 1.8641 | -2.6279 | -2.1161 | 0.61417 | 116.1917
21 | 159.4135 | 75.2649 | 9.0111 | 0 | 16.3088 | 32.7889 | 20.7522 | 1.9248 | 3.3629 | 11.1431 | -60.855 | -54.8737 | 1.549 | -5.6196 | -0.3617 | 109.7016 | 106.8591 | 29.7691 | 54.6574 | 22.4326 | -0.63938 | 0.074735 | 0 | 0 | 0.046925 | 0 | 1.9796 | -2.7406 | -0.67598 | 4.1579 | 109.7016
22 | 196.3945 | 78.1939 | 14.6897 | 0 | 21.7636 | 46.3765 | 19.8901 | 12.0952 | 3.3855 | 11.4045 | -56.1123 | -51.6914 | -0.12259 | -4.0879 | -0.33297 | 151.6867 | 153.8093 | 37.2438 | 83.9315 | 32.634 | -1.9941 | 0.10646 | 0 | 0 | 0.064619 | 0 | 2.3738 | -4.539 | -5.3441 | 5.2156 | 151.6867
23 | 205.9054 | 84.1379 | 12.3258 | 0 | 22.0128 | 46.0907 | 24.6385 | 13.2994 | 3.4005 | 11.8271 | -59.8407 | -54.2938 | -0.72193 | -5.2137 | -0.33322 | 157.8918 | 160.2337 | 36.7711 | 90.6632 | 32.7993 | -1.035 | 0.10777 | 0 | 0 | 0.06684 | 0 | 2.5473 | -3.7569 | -5.6427 | 4.3359 | 157.8918
24 | 206.5432 | 86.9973 | 11.8567 | 0 | 21.3663 | 46.9806 | 24.6269 | 11.3096 | 3.4058 | 11.8757 | -54.9666 | -50.1067 | -0.71852 | -4.5271 | -0.33283 | 163.4523 | 165.2315 | 37.2937 | 95.1993 | 32.7386 | -0.90088 | 0.10203 | 0 | 0 | 0.063733 | 0 | 2.7597 | -3.8263 | -3.4057 | 2.5274 | 163.4523
25 | 210.0856 | 87.3252 | 12.3218 | 0 | 21.9359 | 46.9766 | 24.637 | 13.4809 | 3.4082 | 11.9313 | -55.6087 | -50.594 | -0.57439 | -4.6825 | -0.33218 | 166.4081 | 165.3609 | 37.219 | 96.4191 | 31.7228 | -1.2243 | 0.093502 | 0 | 0 | 0.060227 | 0 | 2.7369 | -4.1149 | -5.1195 | 7.391 | 166.4081
26 | 211.8829 | 87.0607 | 12.7942 | 0 | 21.9689 | 45.1511 | 24.6459 | 13.4758 | 6.7864 | 11.8508 | -53.1856 | -47.7592 | 9.5773 | -5.0946 | -0.33182 | 170.5481 | 159.8024 | 35.7893 | 94.0916 | 29.9215 | -1.601 | 0.089524 | 0 | 0 | 0.060046 | 0 | 2.6177 | -4.3683 | 8.1508 | 4.1959 | 170.5481
27 | 169.9402 | 71.3411 | 9.9728 | 0 | 16.9828 | 34.1359 | 20.747 | 10.7508 | 6.0098 | 11.6223 | -59.1955 | -54.8153 | -0.42276 | -4.0484 | -0.33186 | 122.3669 | 114.4801 | 31.5762 | 59.8455 | 23.0583 | -0.93021 | 0.073381 | 0 | 0 | 0.059422 | 0 | 1.8894 | -2.9524 | 0.66372 | 8.1533 | 122.3669
28 | 158.143 | 65.2596 | 9.9691 | 0 | 16.3325 | 31.1318 | 20.75 | 7.8418 | 6.8581 | 11.6318 | -65.5337 | -59.552 | 3.5608 | -5.6396 | -0.34211 | 104.2412 | 95.8634 | 29.4586 | 44.3527 | 22.0522 | -0.32876 | 0.071889 | 0 | 0 | 0.054235 | 0 | 1.9003 | -2.3552 | 5.4534 | 3.2531 | 104.2412
29 | 196.5554 | 79.5077 | 14.6917 | 0 | 16.6639 | 47.3766 | 20.752 | 13.4367 | 4.1269 | 11.7478 | -56.9437 | -51.8183 | -0.26312 | -4.7938 | -0.33157 | 151.3596 | 140.9478 | 35.5422 | 73.95 | 31.4556 | -0.72876 | 0.099084 | 0 | 0 | 0.064001 | 0 | 2.4183 | -3.3101 | 1.6067 | 9.5338 | 151.3596
30 | 207.7792 | 85.9658 | 16.1114 | 0 | 21.6152 | 46.8473 | 20.7578 | 13.4976 | 2.9842 | 11.4029 | -66.8604 | -61.4288 | 0.041961 | -5.1006 | -0.33099 | 152.3217 | 150.5615 | 36.2278 | 82.8798 | 31.454 | -1.1584 | 0.096011 | 0 | 0 | 0.067133 | 0 | 2.3787 | -3.7002 | -1.479 | 4.3976 | 152.3217
31 | 211.0154 | 93.2931 | 16.1172 | 0 | 17.2122 | 46.5518 | 23.4923 | 11.3454 | 3.0034 | 11.7189 | -63.0066 | -57.8638 | -0.21514 | -4.8102 | -0.33254 | 159.7277 | 154.3812 | 35.0707 | 87.6597 | 31.6509 | -1.5423 | 0.084503 | 0 | 0 | 0.065126 | 0 | 2.4587 | -4.1506 | 2.3712 | 4.5176 | 159.7277
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Transportation - Monthly report
July 2019
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 223.1953 | 88.7 | 16.4792 | 0.27367 | 24.9257 | 51.6825 | 26.9657 | 11.7138 | 2.4547 | 12.523 | -64.6033 | -58.8196 | 4.3296 | -5.3625 | -0.42125 | 171.115 | 155.8807 | 39.7635 | 82.506 | 33.6112 | 2.5886 | 0.10404 | 0 | 0 | 0.069478 | 0 | 2.5176 | -0.10255 | 3.9794 | 8.6664 | 171.115
2 | 204.4388 | 70.8202 | 15.9847 | 0 | 27.454 | 51.92 | 22.5976 | 13.8652 | 1.7971 | 12.6943 | -43.7288 | -38.9306 | -0.11736 | -4.3686 | -0.42953 | 173.4044 | 160.1876 | 39.8607 | 85.8139 | 34.513 | 3.1803 | 0.11111 | 0 | 0 | 0.063093 | 0 | 2.7247 | 0.28143 | 3.3297 | 6.7068 | 173.4044
3 | 213.5658 | 87.6966 | 15.4537 | 0 | 27.0942 | 51.6555 | 22.708 | 7.213 | 1.7447 | 12.6388 | -49.7194 | -44.1732 | 0.20891 | -5.1361 | -0.41016 | 176.4852 | 167.8886 | 40.3006 | 92.741 | 34.8469 | 2.442 | 0.11199 | 0 | 0 | 0.061878 | 0 | 2.5341 | -0.26602 | 2.274 | 3.8806 | 176.4852
4 | 206.9036 | 89.4446 | 15.4439 | 0.10091 | 27.083 | 52.6334 | 7.2396 | 13.1824 | 1.7758 | 11.3716 | -43.0487 | -39.5537 | -0.36304 | -3.1346 | -0.36051 | 175.2265 | 164.4874 | 39.5995 | 90.0056 | 34.8823 | 2.7655 | 0.11766 | 0 | 0 | 0.068378 | 0 | 2.7225 | -0.14301 | -1.0602 | 9.0337 | 175.2265
5 | 218.9756 | 88.1104 | 14.4426 | 0.11351 | 26.4958 | 52.3963 | 22.6878 | 12.9356 | 1.7936 | 12.4941 | -60.8176 | -55.6868 | 0.14806 | -4.7702 | -0.36052 | 170.6522 | 164.6516 | 38.8964 | 92.698 | 33.0572 | 2.9355 | 0.11605 | 0 | 0 | 0.063826 | 0 | 2.6089 | 0.14675 | -1.0562 | 4.1212 | 170.6522
6 | 191.3145 | 85.2581 | 12.9267 | 0 | 25.3247 | 42.8492 | 22.6965 | 0.46784 | 1.7915 | 12.6552 | -72.1092 | -65.7398 | 2.9956 | -6.0048 | -0.36465 | 131.8606 | 122.6199 | 33.9044 | 64.2407 | 24.4748 | 2.1103 | 0.077471 | 0 | 0 | 0.056831 | 0 | 2.053 | -0.077021 | 3.9613 | 3.169 | 131.8606
7 | 171.0022 | 68.0709 | 12.9685 | 0 | 26.6037 | 38.7585 | 21.7567 | 0.40321 | 2.4407 | 12.6845 | -71.6403 | -65.1836 | 1.1739 | -6.0473 | -0.40942 | 112.0463 | 111.1782 | 32.2072 | 55.5974 | 23.3736 | 2.0519 | 0.077637 | 0 | 0 | 0.047028 | 0 | 2.0123 | -0.085012 | -2.9859 | 1.8021 | 112.0463
8 | 228.1175 | 89.1598 | 16.095 | 0 | 25.9708 | 52.3014 | 22.4186 | 14.7409 | 7.431 | 12.7283 | -70.0006 | -64.8951 | -2.0836 | -4.7158 | -0.38967 | 170.8452 | 168.3163 | 39.7893 | 94.5638 | 33.9632 | 2.8219 | 0.11262 | 0 | 0 | 0.066311 | 0 | 2.5124 | 0.13065 | -2.7418 | 2.4488 | 170.8452
9 | 223.9368 | 87.8842 | 15.6149 | 0 | 25.9539 | 52.239 | 22.2768 | 12.4672 | 7.5009 | 12.7787 | -56.789 | -54.0062 | -0.18489 | -2.3918 | -0.39108 | 179.9264 | 169.2856 | 40.1599 | 94.3878 | 34.7379 | 2.8035 | 0.11705 | 0 | 0 | 0.067896 | 0 | 2.591 | 0.027585 | -0.57395 | 8.4112 | 179.9264
10 | 227.4755 | 88.3997 | 16.0571 | 0 | 27.018 | 51.4996 | 22.2607 | 14.769 | 7.4714 | 12.2016 | -66.7618 | -61.3531 | 1.1846 | -5.0195 | -0.38912 | 172.9154 | 162.9215 | 40.8302 | 86.5207 | 35.5707 | 2.9843 | 0.11902 | 0 | 0 | 0.071598 | 0 | 2.5171 | 0.27655 | 4.0968 | 2.9128 | 172.9154
11 | 228.3817 | 88.6384 | 18.2374 | 0 | 27.1361 | 51.6482 | 22.5272 | 13.6876 | 6.5068 | 11.7126 | -70.8429 | -64.7493 | 0.46651 | -5.7047 | -0.38888 | 169.2513 | 165.5517 | 40.2425 | 89.4521 | 35.8571 | 2.4781 | 0.12097 | 0 | 0 | 0.0714 | 0 | 2.5853 | -0.29959 | 0.28399 | 0.93758 | 169.2513
12 | 224.8056 | 86.5284 | 19.162 | 0 | 27.1503 | 48.1965 | 22.5639 | 14.6987 | 6.5058 | 11.7495 | -71.267 | -64.9651 | 0.2752 | -5.9142 | -0.38768 | 165.2881 | 162.8164 | 39.478 | 89.2223 | 34.1161 | 2.542 | 0.1107 | 0 | 0 | 0.069804 | 0 | 2.5049 | -0.14339 | -3.6719 | 3.6016 | 165.2881
13 | 185.3138 | 78.2938 | 16.0479 | 0 | 21.327 | 28.3601 | 22.5653 | 11.5868 | 7.1329 | 12.6319 | -66.013 | -59.5788 | 8.0308 | -6.0456 | -0.3885 | 131.9327 | 118.0955 | 34.4022 | 58.2858 | 25.4075 | 2.3421 | 0.081739 | 0 | 0 | 0.063045 | 0 | 2.0222 | 0.17518 | 8.5162 | 2.9789 | 131.9327
14 | 164.2402 | 66.9872 | 15.023 | 0 | 20.6776 | 24.3003 | 22.5591 | 6.9588 | 7.7344 | 11.7251 | -66.3471 | -59.9075 | 6.9015 | -6.0473 | -0.39229 | 109.6182 | 104.3894 | 32.4511 | 47.4602 | 24.4782 | 1.9047 | 0.082518 | 0 | 0 | 0.053504 | 0 | 1.954 | -0.18535 | 0.70958 | 2.6145 | 109.6182
15 | 228.2771 | 88.7489 | 16.5417 | 0 | 26.3171 | 47.9365 | 26.7265 | 14.2451 | 7.7613 | 10.8811 | -65.5429 | -59.5516 | 6.2863 | -5.6234 | -0.3679 | 173.6153 | 155.6884 | 40.5143 | 79.0523 | 36.1219 | 3.2766 | 0.1262 | 0 | 0 | 0.071914 | 0 | 2.4925 | 0.58597 | 9.1734 | 5.477 | 173.6153
16 | 215.9079 | 94.7944 | 16.0015 | 0 | 26.4465 | 32.3795 | 26.7999 | 11.7251 | 7.761 | 11.6828 | -66.0898 | -59.8393 | 1.4754 | -5.8571 | -0.3934 | 161.5009 | 153.299 | 40.5951 | 76.5689 | 36.135 | 2.3038 | 0.12226 | 0 | 0 | 0.072901 | 0 | 2.4722 | -0.36349 | 2.4926 | 3.4055 | 161.5009
17 | 221.0785 | 97.4426 | 16.5506 | 0 | 18.6473 | 37.8015 | 26.9463 | 13.648 | 10.0422 | 11.9121 | -66.1017 | -60.0217 | -0.37867 | -5.6865 | -0.39353 | 166.889 | 164.5022 | 40.6303 | 87.43 | 36.4419 | 2.7043 | 0.1194 | 0 | 0 | 0.072055 | 0 | 2.5238 | -0.011003 | -4.8996 | 4.5822 | 166.889
18 | 224.5288 | 96.1996 | 14.4756 | 0 | 18.1979 | 44.003 | 26.9341 | 14.6621 | 10.0566 | 11.837 | -65.7449 | -59.3246 | 2.9567 | -6.0265 | -0.39376 | 170.6209 | 169.0951 | 40.0852 | 92.5614 | 36.4485 | 2.6957 | 0.11787 | 0 | 0 | 0.062183 | 0 | 2.5527 | -0.037084 | -5.3202 | 4.1502 | 170.6209
19 | 218.861 | 96.4863 | 14.9559 | 0 | 18.1734 | 37.0024 | 26.9518 | 14.6602 | 10.6312 | 11.8017 | -66.6302 | -60.2147 | 5.4505 | -6.0274 | -0.38814 | 164.0325 | 162.8027 | 38.9304 | 89.2543 | 34.618 | 2.6375 | 0.11092 | 0 | 0 | 0.072422 | 0 | 2.4307 | 0.023418 | -1.6729 | 0.26528 | 164.0325
20 | 180.325 | 86.4309 | 12.8928 | 0 | 17.9405 | 30.6839 | 22.7308 | 1.2851 | 8.3611 | 11.7525 | -66.7692 | -60.3072 | 1.5408 | -6.0409 | -0.4211 | 125.3083 | 124.8591 | 33.3705 | 66.0938 | 25.3949 | 2.0341 | 0.08711 | 0 | 0 | 0.062653 | 0 | 1.9672 | -0.08284 | -2.2331 | 0.64813 | 125.3083
21 | 173.0789 | 80.9468 | 9.8024 | 0 | 18.0479 | 35.5503 | 22.7322 | 2.165 | 3.8342 | 11.7593 | -66.166 | -59.7272 | 1.6347 | -6.0476 | -0.39124 | 118.6721 | 112.7684 | 31.4153 | 57.68 | 23.6731 | 2.2293 | 0.080287 | 0 | 0 | 0.048992 | 0 | 2.0891 | 0.010989 | -0.71336 | 4.3878 | 118.6721
22 | 213.6747 | 84.0341 | 15.9678 | 0 | 24.0691 | 50.3209 | 21.7838 | 13.6504 | 3.8485 | 12.0352 | -60.9568 | -56.1963 | -0.13328 | -4.4007 | -0.35974 | 164.7531 | 162.315 | 39.3034 | 88.5729 | 34.4387 | 2.5737 | 0.11509 | 0 | 0 | 0.067491 | 0 | 2.505 | -0.11389 | -5.6396 | 5.504 | 164.7531
23 | 223.6303 | 90.4472 | 13.3948 | 0 | 24.3387 | 49.9422 | 26.9833 | 14.6613 | 3.8629 | 12.4811 | -65.3889 | -59.4188 | -0.79008 | -5.6096 | -0.3605 | 170.7225 | 169.0946 | 38.8046 | 95.6769 | 34.6131 | 3.007 | 0.1161 | 0 | 0 | 0.06981 | 0 | 2.6881 | 0.13298 | -5.9548 | 4.5756 | 170.7225
24 | 224.2164 | 93.6821 | 12.878 | 0 | 23.6307 | 50.8732 | 26.9865 | 12.2933 | 3.8726 | 12.5324 | -60.1325 | -54.8967 | -0.78721 | -4.8751 | -0.36074 | 176.6163 | 174.3688 | 39.356 | 100.4638 | 34.549 | 3.1744 | 0.11013 | 0 | 0 | 0.066566 | 0 | 2.9123 | 0.085391 | -3.5941 | 2.6672 | 176.6163
25 | 228.0161 | 93.9681 | 13.3932 | 0 | 24.2493 | 50.8619 | 27.0013 | 14.6631 | 3.8792 | 12.5911 | -60.699 | -55.2835 | -0.62763 | -5.0557 | -0.35977 | 179.9081 | 174.5054 | 39.2773 | 101.7511 | 33.477 | 3.0055 | 0.10093 | 0 | 0 | 0.062928 | 0 | 2.8882 | -0.04653 | -5.4026 | 7.7997 | 179.9081
26 | 230.118 | 93.6892 | 13.9324 | 0 | 24.282 | 48.8319 | 27.0066 | 14.66 | 7.7159 | 12.5062 | -57.9722 | -52.1221 | 10.4663 | -5.4908 | -0.35935 | 184.6519 | 168.6394 | 37.7685 | 99.2948 | 31.5761 | 2.983 | 0.096372 | 0 | 0 | 0.06272 | 0 | 2.7625 | 0.061406 | 8.6015 | 4.4279 | 184.6519
27 | 184.4997 | 76.699 | 10.9049 | 0 | 18.7311 | 36.9207 | 22.7269 | 11.6847 | 6.8324 | 12.265 | -64.4182 | -59.7008 | -0.46044 | -4.3583 | -0.35913 | 132.3465 | 120.8108 | 33.3224 | 63.1549 | 24.3335 | 2.231 | 0.078942 | 0 | 0 | 0.062051 | 0 | 1.9939 | 0.096163 | 0.70042 | 8.6042 | 132.3465
28 | 171.564 | 69.9737 | 10.8477 | 0 | 18.0211 | 33.6521 | 22.7475 | 8.523 | 7.7988 | 12.2751 | -71.3034 | -64.8705 | 3.7577 | -6.0627 | -0.37019 | 112.5356 | 101.1647 | 31.0876 | 46.8054 | 23.2717 | 2.183 | 0.077345 | 0 | 0 | 0.056629 | 0 | 2.0054 | 0.043595 | 5.755 | 3.433 | 112.5356
29 | 212.7926 | 85.2518 | 16.0394 | 0 | 18.3991 | 51.0267 | 22.7563 | 14.6194 | 4.7 | 12.3975 | -62.0498 | -56.5447 | -0.28712 | -5.1467 | -0.35845 | 163.1403 | 148.7422 | 37.5077 | 78.0394 | 33.1951 | 2.6414 | 0.10654 | 0 | 0 | 0.066864 | 0 | 2.552 | -0.083959 | 1.6956 | 10.061 | 163.1403
30 | 225.1331 | 92.2063 | 17.6953 | 0 | 23.8756 | 50.5211 | 22.7634 | 14.6701 | 3.4012 | 12.0335 | -72.4258 | -66.5919 | 0.044282 | -5.4764 | -0.35759 | 164.7408 | 158.8876 | 38.2312 | 87.463 | 33.1934 | 2.7733 | 0.10294 | 0 | 0 | 0.070151 | 0 | 2.5103 | 0.089941 | -1.5608 | 4.6407 | 164.7408
31 | 228.6871 | 99.9989 | 17.7148 | 0 | 18.9948 | 50.5145 | 25.7651 | 12.2936 | 3.4055 | 12.367 | -68.1033 | -62.5822 | -0.23268 | -5.1632 | -0.3579 | 172.9508 | 162.9185 | 37.0101 | 92.5072 | 33.4012 | 2.7625 | 0.090688 | 0 | 0 | 0.068046 | 0 | 2.5947 | 0.0090891 | 2.5023 | 4.7675 | 172.9508
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## GCV kWhNm3
Gas Transportation - Monthly report
July 2019
(Related GCV expressed in kWh/Nm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio
1 | 11.3671 | 11.4905 | 11.3806 | 11.7086 | 11.4325 | 11.4865 | 11.5036 | 11.9808 | 11.4215 | 11.3793 | 11.4325 | 11.0416 | 11.3793
2 | 11.3671 | 11.504 | 11.3782 | 11.6881 | 11.4068 | 11.4872 | 11.4912 | 11.9492 | 11.4236 | 11.3782 | 11.4068 | 11.0437 | 11.3671
3 | 11.3753 | 11.4931 | 11.3814 | 11.7061 | 11.4339 | 11.5415 | 11.4912 | 11.9323 | 11.3888 | 11.3814 | 11.4339 | 11.0448 | 11.3753
4 | 11.3749 | 11.486 | 11.3823 | 11.7253 | 11.4754 | 11.5384 | 11.5133 | 11.9618 | 11.4025 | 11.3867 | 11.4754 | 11.05 | 11.3749
5 | 11.3816 | 11.4912 | 11.3887 | 11.7096 | 11.4734 | 11.5593 | 11.5102 | 11.9777 | 11.4658 | 11.3782 | 11.4734 | 11.0437 | 11.3816
6 | 11.3893 | 11.5345 | 11.3677 | 11.6855 | 11.4696 | 11.5621 | 11.5133 | 12.0009 | 11.4563 | 11.3677 | 11.4696 | 11.0427 | 11.3893
7 | 11.3844 | 11.5715 | 11.3666 | 11.6744 | 11.4709 | 11.5615 | 11.5028 | 11.9861 | 11.4869 | 11.3666 | 11.4709 | 11.0384 | 11.3844
8 | 11.374 | 11.582 | 11.3666 | 11.6834 | 11.4257 | 11.5273 | 11.5028 | 12.0167 | 11.4183 | 11.3666 | 11.4257 | 11.0437 | 11.374
9 | 11.3941 | 11.6127 | 11.3666 | 11.7114 | 11.4375 | 11.3509 | 11.5133 | 11.9988 | 11.4036 | 11.3666 | 11.4375 | 11.0511 | 11.3941
10 | 11.3919 | 11.5545 | 11.3677 | 11.7419 | 11.4176 | 11.3383 | 11.4711 | 12.0273 | 11.392 | 11.3677 | 11.4375 | 11.0733 | 11.3941
11 | 11.3761 | 11.5551 | 11.3677 | 11.7119 | 11.4034 | 11.4467 | 11.4078 | 12.0332 | 11.3941 | 11.3677 | 11.4034 | 11.0954 | 11.3761
12 | 11.3673 | 11.5522 | 11.3677 | 11.6982 | 11.3848 | 11.4682 | 11.4183 | 12.05 | 11.392 | 11.3677 | 11.3848 | 11.0532 | 11.3673
13 | 11.3658 | 11.5501 | 11.3687 | 11.6905 | 11.3982 | 11.4696 | 11.4289 | 12.0674 | 11.3804 | 11.3687 | 11.3982 | 11.0532 | 11.3658
14 | 11.3692 | 11.5572 | 11.3698 | 11.7092 | 11.4324 | 11.467 | 11.4289 | 12.0287 | 11.4046 | 11.3698 | 11.4324 | 11.0479 | 11.3692
15 | 11.3666 | 11.5327 | 11.3687 | 11.714 | 11.4178 | 11.4704 | 11.4313 | 12.0326 | 11.4553 | 11.3687 | 11.4178 | 11.0511 | 11.3666
16 | 11.3659 | 11.5147 | 11.3687 | 11.6965 | 11.4153 | 11.5025 | 11.3941 | 12.0103 | 11.3825 | 11.3687 | 11.4153 | 11.1049 | 11.3659
17 | 11.3626 | 11.5321 | 11.3392 | 11.6971 | 11.4446 | 11.5613 | 11.9423 | 12.0304 | 11.412 | 11.3392 | 11.4446 | 11.1302 | 11.3626
18 | 11.3514 | 11.5277 | 11.3392 | 11.7113 | 11.4362 | 11.5604 | 11.9315 | 12.0262 | 11.4511 | 11.3392 | 11.4362 | 11.0479 | 11.3514
19 | 11.3581 | 11.5019 | 11.3392 | 11.7183 | 11.4464 | 11.5694 | 11.9391 | 12.0299 | 11.3529 | 11.3392 | 11.4464 | 11.0479 | 11.3581
20 | 11.3645 | 11.4996 | 11.3392 | 11.7067 | 11.4227 | 11.5783 | 11.9143 | 12.0431 | 11.3476 | 11.3392 | 11.4227 | 11.0437 | 11.3645
21 | 11.3709 | 11.5013 | 11.3392 | 11.7002 | 11.4632 | 11.5815 | 11.8924 | 12.0547 | 11.3582 | 11.3392 | 11.4632 | 11.0384 | 11.3709
22 | 11.3624 | 11.4927 | 11.3392 | 11.6928 | 11.472 | 11.5793 | 11.9322 | 12.0188 | 11.43 | 11.3392 | 11.472 | 11.0427 | 11.3624
23 | 11.3656 | 11.4897 | 11.3392 | 11.6899 | 11.4563 | 11.5789 | 11.6554 | 12.0104 | 11.3899 | 11.3392 | 11.4563 | 11.0427 | 11.3656
24 | 11.3852 | 11.4834 | 11.3392 | 11.6933 | 11.4487 | 11.5858 | 11.4924 | 12.022 | 11.412 | 11.3392 | 11.4487 | 11.0427 | 11.3656
25 | 11.377 | 11.492 | 11.3645 | 11.6878 | 11.4472 | 11.5874 | 11.5 | 12.0339 | 11.4131 | 11.3645 | 11.4472 | 11.0469 | 11.377
26 | 11.3777 | 11.5133 | 11.3392 | 11.686 | 11.4346 | 11.5855 | 11.5019 | 12.0209 | 11.3814 | 11.3392 | 11.4347 | 11.0437 | 11.3777
27 | 11.3668 | 11.561 | 11.3392 | 11.6611 | 11.4353 | 11.5817 | 11.4912 | 12.0199 | 11.374 | 11.3392 | 11.4353 | 11.0405 | 11.3668
28 | 11.3365 | 11.5046 | 11.3392 | 11.6658 | 11.4287 | 11.5905 | 11.4912 | 12.023 | 11.3751 | 11.3392 | 11.4287 | 11.0395 | 11.3365
29 | 11.3366 | 11.5426 | 11.3392 | 11.6737 | 11.3873 | 11.5939 | 11.5034 | 12.041 | 11.3687 | 11.3392 | 11.3873 | 11.0458 | 11.3366
30 | 11.3403 | 11.6122 | 11.3392 | 11.6784 | 11.4019 | 11.5943 | 11.4912 | 12.0505 | 11.336 | 11.3392 | 11.4019 | 11.0479 | 11.3403
31 | 11.3327 | 11.6208 | 11.3656 | 11.6677 | 11.4727 | 11.5956 | 11.4563 | 11.9882 | 11.3466 | 11.3656 | 11.4727 | 11.0469 | 11.3327

## GCV kWhSm3
Gas Transportation - Monthly report
July 2019
(Related GCV expressed in kWh/Sm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio
1 | 10.7714 | 10.8884 | 10.7842 | 11.095 | 10.8334 | 10.8846 | 10.9008 | 11.353 | 10.823 | 10.783 | 10.8334 | 10.463 | 10.783
2 | 10.7714 | 10.9012 | 10.782 | 11.0756 | 10.809 | 10.8853 | 10.889 | 11.323 | 10.825 | 10.782 | 10.8091 | 10.465 | 10.7714
3 | 10.7792 | 10.8908 | 10.785 | 11.0927 | 10.8347 | 10.9367 | 10.889 | 11.307 | 10.792 | 10.785 | 10.8347 | 10.466 | 10.7792
4 | 10.7788 | 10.8841 | 10.7859 | 11.1108 | 10.8741 | 10.9338 | 10.91 | 11.335 | 10.805 | 10.79 | 10.8741 | 10.471 | 10.7788
5 | 10.7852 | 10.889 | 10.7919 | 11.096 | 10.8722 | 10.9535 | 10.907 | 11.35 | 10.865 | 10.782 | 10.8722 | 10.465 | 10.7852
6 | 10.7924 | 10.93 | 10.772 | 11.0732 | 10.8685 | 10.9562 | 10.91 | 11.372 | 10.856 | 10.772 | 10.8685 | 10.464 | 10.7924
7 | 10.7879 | 10.9652 | 10.771 | 11.0627 | 10.8698 | 10.9556 | 10.9 | 11.358 | 10.885 | 10.771 | 10.8698 | 10.46 | 10.7879
8 | 10.778 | 10.9751 | 10.771 | 11.0712 | 10.827 | 10.9232 | 10.9 | 11.387 | 10.82 | 10.771 | 10.827 | 10.465 | 10.778
9 | 10.797 | 11.0042 | 10.771 | 11.0977 | 10.8381 | 10.7561 | 10.91 | 11.37 | 10.806 | 10.771 | 10.8381 | 10.472 | 10.797
10 | 10.795 | 10.949 | 10.772 | 11.1266 | 10.8193 | 10.7442 | 10.87 | 11.397 | 10.795 | 10.772 | 10.8381 | 10.493 | 10.797
11 | 10.7799 | 10.9496 | 10.772 | 11.0982 | 10.8059 | 10.8469 | 10.81 | 11.4026 | 10.797 | 10.772 | 10.8059 | 10.514 | 10.7799
12 | 10.7717 | 10.9468 | 10.772 | 11.0852 | 10.7882 | 10.8673 | 10.82 | 11.4186 | 10.795 | 10.772 | 10.7882 | 10.474 | 10.7717
13 | 10.7702 | 10.9448 | 10.773 | 11.0779 | 10.8009 | 10.8686 | 10.83 | 11.435 | 10.784 | 10.773 | 10.8009 | 10.474 | 10.7702
14 | 10.7734 | 10.9516 | 10.774 | 11.0957 | 10.8333 | 10.8661 | 10.83 | 11.3984 | 10.807 | 10.774 | 10.8333 | 10.469 | 10.7734
15 | 10.771 | 10.9284 | 10.773 | 11.1001 | 10.8194 | 10.8693 | 10.8323 | 11.4021 | 10.855 | 10.773 | 10.8194 | 10.472 | 10.771
16 | 10.7703 | 10.9113 | 10.773 | 11.0836 | 10.8171 | 10.8998 | 10.797 | 11.3809 | 10.786 | 10.773 | 10.8171 | 10.523 | 10.7703
17 | 10.7672 | 10.9278 | 10.745 | 11.0841 | 10.8449 | 10.9555 | 11.3165 | 11.4 | 10.814 | 10.745 | 10.8449 | 10.547 | 10.7672
18 | 10.7565 | 10.9237 | 10.745 | 11.0976 | 10.8369 | 10.9546 | 11.3063 | 11.396 | 10.851 | 10.745 | 10.8369 | 10.469 | 10.7565
19 | 10.7629 | 10.8991 | 10.745 | 11.1043 | 10.8466 | 10.9631 | 11.3134 | 11.3995 | 10.758 | 10.745 | 10.8466 | 10.469 | 10.7629
20 | 10.769 | 10.897 | 10.745 | 11.0932 | 10.8241 | 10.9716 | 11.29 | 11.412 | 10.753 | 10.745 | 10.8241 | 10.465 | 10.769
21 | 10.7751 | 10.8986 | 10.745 | 11.0871 | 10.8625 | 10.9746 | 11.2692 | 11.423 | 10.763 | 10.745 | 10.8625 | 10.46 | 10.7751
22 | 10.767 | 10.8904 | 10.745 | 11.08 | 10.8708 | 10.9725 | 11.307 | 11.389 | 10.831 | 10.745 | 10.8708 | 10.464 | 10.767
23 | 10.77 | 10.8876 | 10.745 | 11.0773 | 10.8559 | 10.9722 | 11.0447 | 11.381 | 10.793 | 10.745 | 10.8559 | 10.464 | 10.77
24 | 10.7885 | 10.8817 | 10.745 | 11.0805 | 10.8488 | 10.9786 | 10.8902 | 11.392 | 10.814 | 10.745 | 10.8488 | 10.464 | 10.77
25 | 10.7808 | 10.8898 | 10.769 | 11.0753 | 10.8473 | 10.9802 | 10.8974 | 11.4033 | 10.815 | 10.769 | 10.8473 | 10.468 | 10.7808
26 | 10.7815 | 10.91 | 10.745 | 11.0736 | 10.8354 | 10.9783 | 10.8991 | 11.391 | 10.785 | 10.745 | 10.8355 | 10.465 | 10.7815
27 | 10.7712 | 10.9552 | 10.745 | 11.0501 | 10.836 | 10.9748 | 10.889 | 11.39 | 10.778 | 10.745 | 10.8361 | 10.462 | 10.7712
28 | 10.7424 | 10.9017 | 10.745 | 11.0545 | 10.8298 | 10.9832 | 10.889 | 11.393 | 10.779 | 10.745 | 10.8298 | 10.461 | 10.7424
29 | 10.7425 | 10.9377 | 10.745 | 11.0619 | 10.7906 | 10.9864 | 10.9006 | 11.41 | 10.773 | 10.745 | 10.7906 | 10.467 | 10.7425
30 | 10.746 | 11.0037 | 10.745 | 11.0664 | 10.8044 | 10.9867 | 10.889 | 11.419 | 10.742 | 10.745 | 10.8044 | 10.469 | 10.746
31 | 10.7388 | 11.0118 | 10.77 | 11.0563 | 10.8716 | 10.988 | 10.856 | 11.36 | 10.752 | 10.77 | 10.8716 | 10.468 | 10.7388