## kWh
Gas Nomination - Monthly report
Month: June 2019
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 1844.0961 | 784.7758 | 157.3606 | 0 | 271.8664 | 191.7816 | 240.3525 | 83.2739 | 114.6852 | 124.8995 | -818.7411 | -751.576 | -59.1747 | -7.9903 | 1150.2546 | 1159.3778 | 358.3429 | 432.9831 | 368.0518 | -9.1232 | 1.1352 | 0 | 0 | 0.80627 | 0 | 30.72 | -41.7846 | 1150.2546
2 | 1809.343 | 746.9032 | 162.8127 | 0 | 210.0852 | 189.3816 | 230.475 | 155 | 114.6852 | 136.2831 | -904.3724 | -829.2033 | -67.1788 | -7.9903 | 1041.2537 | 1038.0126 | 329.4123 | 376.7505 | 331.8499 | 3.2411 | 1.036 | 0 | 0 | 0.85627 | 0 | 28.5865 | -27.2377 | 1041.2537
3 | 1710.5515 | 794.1019 | 64.5608 | 0 | 248.9924 | 127.7363 | 230.475 | 130 | 114.6852 | 123.7811 | -761.8618 | -690.5094 | -63.3621 | -7.9903 | 1072.4708 | 1084.7317 | 314.2951 | 404.177 | 366.2596 | -12.2609 | 1.4335 | 0 | 0 | 0.85627 | 0 | 32.8648 | -47.4155 | 1072.4708
4 | 1905.9351 | 819.4705 | 195.5354 | 0 | 289.2767 | 141.3203 | 229.3775 | 108.0778 | 122.877 | 134.932 | -779.5193 | -709.824 | -62.0872 | -7.6081 | 1261.3478 | 1297.7942 | 400.765 | 491.0693 | 405.9599 | -36.4464 | 1.6276 | 0 | 0 | 0.85627 | 0 | 33.664 | -72.5942 | 1261.3478
5 | 1938.6988 | 841.3795 | 205.405 | 0 | 287.1522 | 153.3203 | 227.1825 | 101.3823 | 122.877 | 135.4421 | -765.7446 | -694.5304 | -63.6061 | -7.6081 | 1308.3963 | 1357.4815 | 406.4183 | 525.3977 | 425.6655 | -49.0852 | 1.6197 | 0 | 0 | 0.80627 | 0 | 34.1541 | -85.6653 | 1308.3963
6 | 1982.9005 | 849.9715 | 207.5915 | 0 | 286.2898 | 151.4388 | 227.1825 | 137.5492 | 122.877 | 134.9303 | -867.6592 | -801.7072 | -58.3232 | -7.6288 | 1250.1716 | 1413.3838 | 405.3818 | 586.1588 | 421.8432 | -163.2122 | 1.604 | 0 | 0 | 0.79146 | 0 | 26.3196 | -191.9272 | 1250.1716
7 | 1978.7128 | 843.5458 | 207.6034 | 0 | 290.2048 | 153.3816 | 227.1825 | 133.9175 | 122.877 | 135.4421 | -853.9948 | -787.6315 | -58.7552 | -7.6081 | 1260.1601 | 1343.4864 | 398.5464 | 539.3792 | 405.5608 | -83.3263 | 1.6303 | 0 | 0 | 0.78166 | 0 | 25.4573 | -111.1956 | 1260.1601
8 | 1787.0541 | 829.0625 | 167.7793 | 0 | 226.7885 | 187.7016 | 227.1825 | 25.6626 | 122.877 | 129.7179 | -905.2999 | -832.6256 | -66.1748 | -6.4996 | 1011.472 | 1151.6085 | 355.5807 | 460.8535 | 335.1743 | -140.1364 | 1.0633 | 0 | 0 | 0.70627 | 0 | 22.4722 | -164.3782 | 1011.472
9 | 1654.2687 | 735.3338 | 146.4769 | 0 | 221.1696 | 189.3816 | 229.3775 | 9.6523 | 122.877 | 130.2458 | -905.9106 | -830.7442 | -68.646 | -6.5203 | 878.604 | 1060.9393 | 339.8117 | 396.025 | 325.1026 | -182.3354 | 1.0154 | 0 | 0 | 0.70627 | 0 | 21.8382 | -205.8953 | 878.604
10 | 1948.6499 | 853.3391 | 205.8235 | 0 | 270.4003 | 189.3816 | 229.3775 | 77.4509 | 122.877 | 129.8757 | -816.0034 | -744.4989 | -65.0049 | -6.4996 | 1262.5222 | 1404.81 | 402.8201 | 588.6729 | 413.317 | -142.2878 | 1.0976 | 0 | 0 | 0.75627 | 0 | 26.1676 | -170.3093 | 1262.5222
11 | 1995.7559 | 855.5344 | 174.2589 | 0 | 270.2865 | 188.4216 | 229.3775 | 155 | 122.877 | 128.8214 | -793.6605 | -727.3205 | -59.8404 | -6.4996 | 1330.9168 | 1363.5326 | 405.8184 | 552.1227 | 405.5915 | -32.6157 | 1.591 | 0 | 0 | 0.75627 | 0 | 26.4752 | -61.4382 | 1330.9168
12 | 1934.94 | 848.8144 | 141.4758 | 0 | 272.8762 | 188.4216 | 230.475 | 130 | 122.877 | 117.3576 | -758.8863 | -692.6435 | -59.7433 | -6.4996 | 1293.4113 | 1380.4281 | 409.599 | 568.4619 | 402.3672 | -87.0168 | 1.5489 | 0 | 0 | 0.75627 | 0 | 27.6167 | -116.9387 | 1293.4113
13 | 1968.7362 | 837.1004 | 161.6758 | 0 | 289.3205 | 188.4216 | 240.3525 | 128.9542 | 122.9111 | 123.5345 | -779.5658 | -714.3789 | -58.9404 | -6.2465 | 1312.7049 | 1410.7272 | 411.3493 | 597.4694 | 401.9085 | -98.0222 | 1.5516 | 0 | 0 | 0.75627 | 0 | 27.5142 | -127.8443 | 1312.7049
14 | 1992.0309 | 864.7491 | 157.8574 | 0 | 273.4903 | 188.4216 | 240.3525 | 144.283 | 122.877 | 136.0764 | -780.167 | -713.0261 | -60.6413 | -6.4996 | 1347.9403 | 1396.8532 | 405.1928 | 602.009 | 389.6513 | -48.9128 | 1.4335 | 0 | 0 | 0.75627 | 0 | 27.209 | -78.3116 | 1347.9403
15 | 1724.5075 | 807.4339 | 183.4191 | 0 | 223.2454 | 188.4216 | 155.2438 | 43.8667 | 122.877 | 137.0178 | -764.8205 | -692.5625 | -65.7584 | -6.4996 | 1096.7048 | 1249.9538 | 351.767 | 570.1422 | 328.0446 | -153.249 | 1.0154 | 0 | 0 | 0.68627 | 0 | 22.4959 | -177.4465 | 1096.7048
16 | 1656.9515 | 712.4991 | 150.7829 | 0 | 220.6454 | 189.3816 | 240.3525 | 20.4129 | 122.877 | 137.5459 | -826.1016 | -748.1785 | -71.4235 | -6.4996 | 968.3957 | 1083.3161 | 333.0866 | 444.3666 | 305.8629 | -114.9204 | 1.0592 | 0 | 0 | 0.67627 | 0 | 21.6966 | -138.3525 | 968.3957
17 | 1999.3821 | 825.6262 | 163.1693 | 0 | 268.678 | 189.3816 | 285.35 | 144.3 | 122.877 | 137.6757 | -822.8974 | -748.3134 | -68.0844 | -6.4996 | 1314.1604 | 1434.0469 | 406.9793 | 610.9701 | 416.0975 | -119.8865 | 1.3154 | 0 | 0 | 0.75627 | 0 | 26.0022 | -147.9604 | 1314.1604
18 | 1919.5945 | 751.3195 | 167.0682 | 0 | 271.7267 | 188.4216 | 285.35 | 144.3 | 111.4085 | 136.9396 | -680.4736 | -613.8322 | -60.1417 | -6.4996 | 1376.0606 | 1470.5359 | 410.6355 | 658.0493 | 401.8511 | -94.4753 | 1.5016 | 0 | 0 | 0.75627 | 0 | 25.6153 | -122.3485 | 1376.0606
19 | 1913.2602 | 744.9498 | 167.1415 | 0 | 274.0957 | 188.4216 | 285.35 | 155 | 98.3016 | 137.3602 | -685.9354 | -619.2975 | -60.1384 | -6.4996 | 1364.685 | 1384.7938 | 409.8434 | 577.0506 | 397.8998 | -20.1088 | 1.4937 | 0 | 0 | 0.75627 | 0 | 26.063 | -48.4218 | 1364.685
20 | 1986.1718 | 849.5165 | 161.6822 | 0 | 272.8998 | 188.4216 | 285.35 | 130 | 98.3016 | 137.3915 | -797.9682 | -728.3627 | -63.1058 | -6.4996 | 1325.5951 | 1444.6928 | 401.788 | 650.7113 | 392.1936 | -119.0977 | 1.0428 | 0 | 0 | 0.75627 | 0 | 26.0105 | -146.9072 | 1325.5951
21 | 2025.2142 | 867.8691 | 184.9258 | 0 | 274.0174 | 188.4216 | 285.35 | 126.3287 | 98.3016 | 137.391 | -797.7584 | -728.053 | -63.2058 | -6.4996 | 1364.8467 | 1436.8093 | 399.2453 | 655.874 | 381.69 | -71.9627 | 1.3558 | 0 | 0 | 0.75627 | 0 | 25.5945 | -99.6692 | 1364.8467
22 | 1684.1683 | 828.9 | 150.7761 | 0 | 219.752 | 188.4216 | 164.625 | 82.6073 | 49.0862 | 137.3692 | -761.9433 | -689.2882 | -66.1555 | -6.4996 | 1059.5943 | 1168.944 | 347.86 | 498.2915 | 322.7925 | -109.3497 | 1.0616 | 0 | 0 | 0.70627 | 0 | 22.3004 | -133.418 | 1059.5943
23 | 1628.3833 | 832.5835 | 145.3496 | 0 | 217.6285 | 189.3816 | 164.625 | 39.4944 | 39.3206 | 137.9137 | -824.4872 | -746.183 | -71.8046 | -6.4996 | 941.8098 | 1093.4468 | 335.6802 | 449.2934 | 308.4731 | -151.637 | 1.0304 | 0 | 0 | 0.70627 | 0 | 21.9727 | -175.3464 | 941.8098
24 | 1867.1388 | 888.1733 | 178.0671 | 0 | 263.2881 | 189.3816 | 164.625 | 144.283 | 39.3206 | 137.7591 | -767.0583 | -706.132 | -54.7277 | -6.1986 | 1237.8396 | 1498.9229 | 406.1001 | 696.535 | 396.2878 | -261.0832 | 1.1579 | 0 | 0 | 0.75627 | 0 | 26.1234 | -289.1209 | 1237.8396
25 | 1809.4685 | 861.1731 | 150.8067 | 0 | 264.1233 | 188.4216 | 161.3325 | 144.2907 | 39.3206 | 137.2137 | -788.3178 | -717.0427 | -64.792 | -6.483 | 1158.3645 | 1340.6224 | 408.5528 | 549.1443 | 382.9253 | -182.2579 | 1.3652 | 0 | 0 | 0.75627 | 0 | 25.7652 | -210.1445 | 1158.3645
26 | 1819.2809 | 865.8115 | 150.8057 | 0 | 269.2906 | 188.4216 | 161.3325 | 144.2983 | 39.3206 | 135.8356 | -788.4804 | -716.643 | -65.3378 | -6.4996 | 1166.636 | 1380.5478 | 410.261 | 584.0063 | 386.2804 | -213.9118 | 1.3595 | 0 | 0 | 0.75627 | 0 | 26.0021 | -242.0296 | 1166.636
27 | 1916.1096 | 869.2131 | 161.6959 | 0 | 268.8802 | 188.4216 | 194.2575 | 155 | 78.6413 | 137.2121 | -771.4228 | -705.3328 | -59.5904 | -6.4996 | 1281.8989 | 1363.5248 | 411.5226 | 566.2724 | 385.7298 | -81.6259 | 1.3539 | 0 | 0 | 0.75627 | 0 | 26.0739 | -109.81 | 1281.8989
28 | 1954.9354 | 863.6693 | 194.3673 | 0 | 262.7759 | 188.4216 | 237.06 | 130 | 78.6413 | 136.8103 | -774.7901 | -705.8527 | -62.4378 | -6.4996 | 1316.9556 | 1371.9989 | 404.2134 | 595.77 | 372.0156 | -55.0434 | 1.3482 | 0 | 0 | 0.75627 | 0 | 25.7029 | -82.8507 | 1316.9556
29 | 1536.113 | 797.8201 | 30.7131 | 0 | 209.0519 | 176.1816 | 239.255 | 4.45 | 78.6413 | 125.7151 | -805.3279 | -735.1558 | -63.6724 | -6.4996 | 856.5003 | 865.1141 | 272.8477 | 329.8305 | 262.4359 | -8.6139 | 1.008 | 0 | 0 | 0.70627 | 0 | 21.2979 | -31.6261 | 856.5003
30 | 1748.0142 | 868.4096 | 156.2192 | 0 | 221.204 | 189.3816 | 239.255 | 8.0102 | 65.5344 | 137.8572 | -809.5125 | -739.3579 | -63.6549 | -6.4996 | 1076.3589 | 1142.1691 | 335.8482 | 517.9071 | 288.4138 | -65.8102 | 1.008 | 0 | 0 | 0.70627 | 0 | 21.4676 | -88.9921 | 1076.3589
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Nomination - Monthly report
Month: June 2019
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 160.39 | 69.0628 | 13.6812 | 0 | 23.3127 | 16.6127 | 20.7391 | 7.3377 | 9.6438 | 11.1943 | -71.1229 | -65.1032 | -5.3036 | -0.71615 | 100.4614 | 103.9109 | 32.117 | 38.8067 | 32.9872 | -3.4495 | 0.098319 | 0 | 0 | 0.072937 | 0 | 2.7533 | -6.3741 | 100.4614
2 | 157.5044 | 65.7102 | 14.149 | 0 | 18.0272 | 16.4491 | 19.8711 | 13.5859 | 9.7118 | 12.2146 | -78.5695 | -71.8324 | -6.021 | -0.71615 | 91.1494 | 93.0334 | 29.524 | 33.7668 | 29.7425 | -1.8839 | 0.089701 | 0 | 0 | 0.077542 | 0 | 2.5621 | -4.6133 | 91.1494
3 | 148.9437 | 69.8855 | 5.6064 | 0 | 21.353 | 11.1199 | 19.8749 | 11.4043 | 9.6997 | 11.0941 | -66.4221 | -60.027 | -5.6789 | -0.71615 | 93.6156 | 97.2206 | 28.1691 | 36.2249 | 32.8265 | -3.605 | 0.12453 | 0 | 0 | 0.077505 | 0 | 2.9456 | -6.7526 | 93.6156
4 | 165.912 | 72.2171 | 16.9791 | 0 | 24.8057 | 12.2767 | 19.8224 | 9.4793 | 10.3317 | 12.0935 | -67.9325 | -61.6859 | -5.5647 | -0.68188 | 110.0731 | 116.3167 | 35.9191 | 44.0128 | 36.3847 | -6.2436 | 0.14151 | 0 | 0 | 0.077497 | 0 | 3.0172 | -9.4798 | 110.0731
5 | 168.8504 | 74.0356 | 17.8333 | 0 | 24.6343 | 13.2628 | 19.9859 | 8.8909 | 10.2076 | 12.1392 | -66.8238 | -60.4412 | -5.7008 | -0.68188 | 114.1658 | 121.6662 | 36.4258 | 47.0895 | 38.1509 | -7.5004 | 0.14055 | 0 | 0 | 0.072958 | 0 | 3.0611 | -10.7751 | 114.1658
6 | 172.8083 | 74.9616 | 18.0164 | 0 | 24.5132 | 13.0705 | 20.0174 | 12.0618 | 10.1675 | 12.0933 | -75.5631 | -69.652 | -5.2273 | -0.68374 | 109.3386 | 126.6765 | 36.3329 | 52.5353 | 37.8083 | -17.3379 | 0.14073 | 0 | 0 | 0.071618 | 0 | 2.3589 | -19.9092 | 109.3386
7 | 172.3919 | 74.3414 | 18.0305 | 0 | 24.8379 | 13.2801 | 20.0107 | 11.7379 | 10.1533 | 12.1392 | -74.4639 | -68.516 | -5.266 | -0.68188 | 110.0672 | 120.4119 | 35.7203 | 48.3426 | 36.349 | -10.3447 | 0.14303 | 0 | 0 | 0.070724 | 0 | 2.2816 | -12.8401 | 110.0672
8 | 155.7912 | 73.0967 | 14.5944 | 0 | 19.4173 | 16.2763 | 19.9997 | 2.2494 | 10.1574 | 11.6261 | -78.7486 | -72.235 | -5.931 | -0.58254 | 88.6688 | 103.2146 | 31.8694 | 41.3047 | 30.0405 | -14.5458 | 0.092328 | 0 | 0 | 0.063934 | 0 | 2.0141 | -16.7161 | 88.6688
9 | 143.9457 | 64.8112 | 12.7444 | 0 | 18.9751 | 16.4421 | 19.9535 | 0.84576 | 10.1737 | 11.6735 | -78.9927 | -72.2558 | -6.1525 | -0.5844 | 76.6265 | 95.0882 | 30.4561 | 35.4943 | 29.1378 | -18.4617 | 0.088269 | 0 | 0 | 0.06397 | 0 | 1.9573 | -20.5713 | 76.6265
10 | 169.5535 | 75.1611 | 17.9217 | 0 | 23.1857 | 16.432 | 19.9235 | 6.7868 | 10.1427 | 11.6403 | -71.1475 | -64.7388 | -5.8262 | -0.58254 | 110.0462 | 125.9081 | 36.1033 | 52.7607 | 37.0441 | -15.8619 | 0.095222 | 0 | 0 | 0.068473 | 0 | 2.3453 | -18.3709 | 110.0462
11 | 173.6388 | 75.3127 | 15.1719 | 0 | 23.1415 | 16.3846 | 19.9235 | 13.5822 | 10.1224 | 11.5458 | -69.1302 | -63.1844 | -5.3633 | -0.58254 | 116.0544 | 122.2086 | 36.3721 | 49.4848 | 36.3517 | -6.1541 | 0.1391 | 0 | 0 | 0.068512 | 0 | 2.3729 | -8.7346 | 116.0544
12 | 168.3807 | 74.6531 | 12.3143 | 0 | 23.4026 | 16.4228 | 20.0215 | 11.3936 | 10.1728 | 10.5183 | -65.9549 | -60.0178 | -5.3546 | -0.58254 | 112.9441 | 123.7228 | 36.7109 | 50.9492 | 36.0627 | -10.7787 | 0.1358 | 0 | 0 | 0.068551 | 0 | 2.4752 | -13.4583 | 112.9441
13 | 171.3086 | 73.5862 | 14.0829 | 0 | 24.8145 | 16.5349 | 20.7963 | 11.2853 | 10.2086 | 11.072 | -67.8934 | -62.0509 | -5.2826 | -0.55985 | 114.4872 | 126.4384 | 36.8678 | 53.549 | 36.0216 | -11.9513 | 0.13645 | 0 | 0 | 0.068538 | 0 | 2.466 | -14.6223 | 114.4872
14 | 173.2252 | 75.9642 | 13.748 | 0 | 23.4155 | 16.5424 | 20.7843 | 12.5837 | 10.187 | 12.196 | -67.9323 | -61.9147 | -5.4351 | -0.58254 | 117.489 | 125.195 | 36.316 | 53.9559 | 34.9231 | -7.706 | 0.12608 | 0 | 0 | 0.068479 | 0 | 2.4386 | -10.3392 | 117.489
15 | 150.021 | 71.0052 | 15.978 | 0 | 19.133 | 16.4734 | 13.4213 | 3.823 | 10.187 | 12.2804 | -66.5785 | -60.1022 | -5.8937 | -0.58254 | 95.723 | 112.0289 | 31.5276 | 51.0998 | 29.4015 | -16.3059 | 0.089204 | 0 | 0 | 0.062159 | 0 | 2.0162 | -18.4735 | 95.723
16 | 143.9766 | 62.6009 | 13.146 | 0 | 18.93 | 16.5546 | 20.7656 | 1.7798 | 10.1995 | 12.3277 | -71.8985 | -64.9145 | -6.4014 | -0.58254 | 84.4059 | 97.0938 | 29.8534 | 39.827 | 27.4134 | -12.6879 | 0.092867 | 0 | 0 | 0.06127 | 0 | 1.9446 | -14.7866 | 84.4059
17 | 173.6701 | 72.4954 | 14.1971 | 0 | 23.038 | 16.5394 | 24.6274 | 12.5776 | 10.1951 | 12.3394 | -71.6485 | -64.9638 | -6.1022 | -0.58254 | 114.361 | 128.5285 | 36.4761 | 54.7591 | 37.2933 | -14.1675 | 0.11544 | 0 | 0 | 0.068466 | 0 | 2.3305 | -16.6819 | 114.361
18 | 167.0902 | 65.8827 | 14.5429 | 0 | 23.328 | 16.8876 | 24.6161 | 12.5806 | 9.2524 | 12.2734 | -59.3462 | -53.3734 | -5.3903 | -0.58254 | 120.0174 | 131.7989 | 36.8038 | 58.9786 | 36.0165 | -11.7815 | 0.13169 | 0 | 0 | 0.067781 | 0 | 2.2958 | -14.2768 | 120.0174
19 | 166.3453 | 65.3708 | 14.5599 | 0 | 23.539 | 16.5843 | 24.6157 | 13.511 | 8.1646 | 12.3111 | -59.8913 | -53.9187 | -5.39 | -0.58254 | 118.7652 | 124.1141 | 36.7328 | 51.719 | 35.6623 | -5.3489 | 0.13116 | 0 | 0 | 0.068466 | 0 | 2.3359 | -7.8845 | 118.7652
20 | 172.3132 | 74.6211 | 14.0882 | 0 | 23.4085 | 16.5952 | 24.6258 | 10.8097 | 8.1646 | 12.3139 | -69.5429 | -63.3044 | -5.6559 | -0.58254 | 115.0842 | 129.4827 | 36.0108 | 58.3209 | 35.1509 | -14.3984 | 0.091443 | 0 | 0 | 0.068466 | 0 | 2.3312 | -16.8896 | 115.0842
21 | 176.0088 | 76.1993 | 16.1013 | 0 | 23.4674 | 16.507 | 24.6212 | 10.9353 | 8.1773 | 12.3139 | -69.7877 | -63.5402 | -5.6649 | -0.58254 | 118.535 | 128.7761 | 35.7829 | 58.7836 | 34.2095 | -10.2411 | 0.119 | 0 | 0 | 0.068473 | 0 | 2.2939 | -12.7225 | 118.535
22 | 146.5877 | 72.7977 | 13.1091 | 0 | 18.7725 | 16.5114 | 14.2052 | 7.1162 | 4.0755 | 12.3119 | -66.5987 | -60.0868 | -5.9293 | -0.58254 | 92.3009 | 104.7683 | 31.1774 | 44.6601 | 28.9307 | -12.4673 | 0.093217 | 0 | 0 | 0.063946 | 0 | 1.9987 | -14.6232 | 92.3009
23 | 141.8848 | 73.2075 | 12.6456 | 0 | 18.6185 | 16.5422 | 14.2022 | 3.4063 | 3.2624 | 12.3607 | -72.0269 | -65.0087 | -6.4356 | -0.58254 | 82.2186 | 98.0017 | 30.0858 | 40.2686 | 27.6473 | -15.7831 | 0.090428 | 0 | 0 | 0.06397 | 0 | 1.9693 | -17.9068 | 82.2186
24 | 162.6272 | 78.1176 | 15.4929 | 0 | 22.5682 | 16.5715 | 14.1974 | 12.4052 | 3.2745 | 12.3469 | -66.9488 | -61.4882 | -4.905 | -0.55555 | 108.0253 | 134.3431 | 36.3973 | 62.4279 | 35.5179 | -26.3178 | 0.1017 | 0 | 0 | 0.068486 | 0 | 2.3414 | -28.8293 | 108.0253
25 | 157.5857 | 75.6938 | 13.1215 | 0 | 22.6392 | 16.5354 | 13.9286 | 12.3868 | 3.2805 | 12.298 | -68.6548 | -62.2666 | -5.8071 | -0.58105 | 101.2289 | 120.1552 | 36.6171 | 49.2178 | 34.3202 | -18.9263 | 0.11992 | 0 | 0 | 0.06846 | 0 | 2.3092 | -21.4239 | 101.2289
26 | 158.7056 | 76.0781 | 13.1216 | 0 | 23.0397 | 16.6085 | 14.1973 | 12.3824 | 3.2779 | 12.1745 | -68.9753 | -62.5368 | -5.856 | -0.58254 | 101.9047 | 123.7336 | 36.7702 | 52.3424 | 34.6209 | -21.8288 | 0.11957 | 0 | 0 | 0.068466 | 0 | 2.3305 | -24.3473 | 101.9047
27 | 167.0643 | 76.3658 | 14.0857 | 0 | 22.9621 | 16.5782 | 17.1089 | 13.4141 | 6.5495 | 12.2978 | -67.6316 | -61.7082 | -5.3409 | -0.58254 | 111.7305 | 122.2079 | 36.8833 | 50.753 | 34.5716 | -10.4773 | 0.11909 | 0 | 0 | 0.068466 | 0 | 2.3369 | -13.0018 | 111.7305
28 | 170.4409 | 75.8912 | 16.9325 | 0 | 22.441 | 16.5968 | 20.7023 | 11.3064 | 6.5708 | 12.2618 | -67.5588 | -61.3802 | -5.5961 | -0.58254 | 115.1439 | 122.9674 | 36.2282 | 53.3967 | 33.3424 | -7.8235 | 0.11843 | 0 | 0 | 0.068473 | 0 | 2.3037 | -10.3141 | 115.1439
29 | 134.0039 | 70.105 | 2.6756 | 0 | 17.853 | 15.5186 | 20.894 | 0.38703 | 6.5708 | 11.2674 | -70.2176 | -63.9284 | -5.7067 | -0.58254 | 75.0537 | 77.5371 | 24.4544 | 29.5615 | 23.5212 | -2.4834 | 0.088549 | 0 | 0 | 0.063946 | 0 | 1.9089 | -4.5448 | 75.0537
30 | 152.5553 | 76.3077 | 13.6092 | 0 | 18.8908 | 16.6813 | 20.894 | 0.69666 | 5.4756 | 12.3557 | -70.5815 | -64.2938 | -5.7052 | -0.58254 | 94.3295 | 102.3685 | 30.1009 | 46.4182 | 25.8495 | -8.0391 | 0.088549 | 0 | 0 | 0.063946 | 0 | 1.9241 | -10.1156 | 94.3295
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Nomination - Monthly report
Month: June 2019
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 174.4197 | 74.2263 | 14.8836 | 0 | 25.7139 | 18.1392 | 22.7332 | 7.8763 | 10.8472 | 11.8133 | -77.4388 | -71.0861 | -5.5969 | -0.75575 | 108.7943 | 109.6572 | 33.8931 | 40.9527 | 34.8114 | -0.86289 | 0.10737 | 0 | 0 | 0.076259 | 0 | 2.9056 | -3.9521 | 108.7943
2 | 171.1327 | 70.6442 | 15.3993 | 0 | 19.8704 | 17.9122 | 21.799 | 14.6603 | 10.8472 | 12.89 | -85.538 | -78.4283 | -6.354 | -0.75575 | 98.4847 | 98.1781 | 31.1567 | 35.6341 | 31.3873 | 0.30655 | 0.097986 | 0 | 0 | 0.080988 | 0 | 2.7038 | -2.5762 | 98.4847
3 | 161.7887 | 75.1084 | 6.1063 | 0 | 23.5504 | 12.0817 | 21.799 | 12.2958 | 10.8472 | 11.7076 | -72.059 | -65.3103 | -5.993 | -0.75575 | 101.4373 | 102.5969 | 29.7269 | 38.2282 | 34.6418 | -1.1597 | 0.13558 | 0 | 0 | 0.080988 | 0 | 3.1084 | -4.4847 | 101.4373
4 | 180.2686 | 77.5078 | 18.4943 | 0 | 27.3606 | 13.3665 | 21.6952 | 10.2223 | 11.622 | 12.7622 | -73.7291 | -67.1371 | -5.8724 | -0.71959 | 119.3018 | 122.749 | 37.9055 | 46.4467 | 38.3968 | -3.4472 | 0.15394 | 0 | 0 | 0.080988 | 0 | 3.184 | -6.8662 | 119.3018
5 | 183.3675 | 79.58 | 19.4278 | 0 | 27.1597 | 14.5015 | 21.4876 | 9.589 | 11.622 | 12.8105 | -72.4262 | -65.6906 | -6.016 | -0.71959 | 123.7517 | 128.3944 | 38.4402 | 49.6936 | 40.2606 | -4.6426 | 0.1532 | 0 | 0 | 0.076259 | 0 | 3.2304 | -8.1025 | 123.7517
6 | 187.5482 | 80.3927 | 19.6346 | 0 | 27.0781 | 14.3235 | 21.4876 | 13.0098 | 11.622 | 12.7621 | -82.0656 | -75.8277 | -5.5164 | -0.72155 | 118.2447 | 133.6818 | 38.3421 | 55.4405 | 39.8991 | -15.4371 | 0.15171 | 0 | 0 | 0.074858 | 0 | 2.4894 | -18.153 | 118.2447
7 | 187.1521 | 79.7849 | 19.6357 | 0 | 27.4484 | 14.5073 | 21.4876 | 12.6663 | 11.622 | 12.8105 | -80.7732 | -74.4964 | -5.5572 | -0.71959 | 119.1894 | 127.0707 | 37.6956 | 51.016 | 38.3591 | -7.8812 | 0.1542 | 0 | 0 | 0.073931 | 0 | 2.4078 | -10.5172 | 119.1894
8 | 169.0245 | 78.415 | 15.869 | 0 | 21.4503 | 17.7533 | 21.4876 | 2.4272 | 11.622 | 12.2691 | -85.6258 | -78.752 | -6.259 | -0.61475 | 95.6678 | 108.9223 | 33.6318 | 43.5888 | 31.7017 | -13.2545 | 0.10057 | 0 | 0 | 0.066801 | 0 | 2.1255 | -15.5473 | 95.6678
9 | 156.4653 | 69.5499 | 13.8542 | 0 | 20.9188 | 17.9122 | 21.6952 | 0.91294 | 11.622 | 12.319 | -85.6835 | -78.5741 | -6.4927 | -0.61671 | 83.1008 | 100.3466 | 32.1403 | 37.4571 | 30.7491 | -17.2458 | 0.096042 | 0 | 0 | 0.066801 | 0 | 2.0655 | -19.4741 | 83.1008
10 | 184.3087 | 80.7112 | 19.4674 | 0 | 25.5752 | 17.9122 | 21.6952 | 7.3255 | 11.622 | 12.284 | -77.1799 | -70.4168 | -6.1483 | -0.61475 | 119.4129 | 132.8708 | 38.0998 | 55.6783 | 39.0927 | -13.458 | 0.10382 | 0 | 0 | 0.07153 | 0 | 2.475 | -16.1083 | 119.4129
11 | 188.7641 | 80.9188 | 16.4819 | 0 | 25.5644 | 17.8214 | 21.6952 | 14.6603 | 11.622 | 12.1843 | -75.0666 | -68.792 | -5.6599 | -0.61475 | 125.8818 | 128.9667 | 38.3834 | 52.2213 | 38.362 | -3.0849 | 0.15048 | 0 | 0 | 0.07153 | 0 | 2.5041 | -5.811 | 125.8818
12 | 183.012 | 80.2832 | 13.3812 | 0 | 25.8094 | 17.8214 | 21.799 | 12.2958 | 11.622 | 11.1 | -71.7776 | -65.5121 | -5.6507 | -0.61475 | 122.3344 | 130.5647 | 38.741 | 53.7667 | 38.057 | -8.2303 | 0.1465 | 0 | 0 | 0.07153 | 0 | 2.6121 | -11.0604 | 122.3344
13 | 186.2085 | 79.1753 | 15.2917 | 0 | 27.3647 | 17.8214 | 22.7332 | 12.1968 | 11.6253 | 11.6842 | -73.7335 | -67.5679 | -5.5747 | -0.59081 | 124.1593 | 133.4305 | 38.9066 | 56.5103 | 38.0136 | -9.2712 | 0.14675 | 0 | 0 | 0.07153 | 0 | 2.6024 | -12.0919 | 124.1593
14 | 188.4118 | 81.7904 | 14.9306 | 0 | 25.8675 | 17.8214 | 22.7332 | 13.6467 | 11.622 | 12.8705 | -73.7904 | -67.44 | -5.7356 | -0.61475 | 127.4919 | 132.1182 | 38.3243 | 56.9397 | 36.8543 | -4.6263 | 0.13558 | 0 | 0 | 0.07153 | 0 | 2.5735 | -7.4069 | 127.4919
15 | 163.1087 | 76.3693 | 17.3483 | 0 | 21.1152 | 17.8214 | 14.6834 | 4.149 | 11.622 | 12.9595 | -72.3388 | -65.5045 | -6.2196 | -0.61475 | 103.7294 | 118.2241 | 33.2711 | 53.9256 | 31.0274 | -14.4947 | 0.096036 | 0 | 0 | 0.064909 | 0 | 2.1277 | -16.7834 | 103.7294
16 | 156.7191 | 67.3901 | 14.2615 | 0 | 20.8693 | 17.9122 | 22.7332 | 1.9307 | 11.622 | 13.0095 | -78.135 | -70.7648 | -6.7554 | -0.61475 | 91.5935 | 102.463 | 31.5043 | 42.0294 | 28.9294 | -10.8695 | 0.10018 | 0 | 0 | 0.063963 | 0 | 2.0521 | -13.0858 | 91.5935
17 | 189.1071 | 78.09 | 15.433 | 0 | 25.4123 | 17.9122 | 26.9892 | 13.6483 | 11.622 | 13.0217 | -77.8319 | -70.7776 | -6.4396 | -0.61475 | 124.2969 | 135.6361 | 38.4932 | 57.7872 | 39.3557 | -11.3392 | 0.12441 | 0 | 0 | 0.07153 | 0 | 2.4594 | -13.9945 | 124.2969
18 | 181.5606 | 71.0619 | 15.8018 | 0 | 25.7007 | 17.8214 | 26.9892 | 13.6483 | 10.5373 | 12.9521 | -64.3611 | -58.058 | -5.6884 | -0.61475 | 130.1516 | 139.0874 | 38.839 | 62.2401 | 38.0082 | -8.9357 | 0.14203 | 0 | 0 | 0.07153 | 0 | 2.4228 | -11.5721 | 130.1516
19 | 180.9615 | 70.4594 | 15.8087 | 0 | 25.9247 | 17.8214 | 26.9892 | 14.6603 | 9.2976 | 12.9919 | -64.8777 | -58.5749 | -5.6881 | -0.61475 | 129.0757 | 130.9776 | 38.7641 | 54.579 | 37.6345 | -1.9019 | 0.14128 | 0 | 0 | 0.07153 | 0 | 2.4651 | -4.5799 | 129.0757
20 | 187.8576 | 80.3496 | 15.2923 | 0 | 25.8116 | 17.8214 | 26.9892 | 12.2958 | 9.2976 | 12.9949 | -75.474 | -68.8906 | -5.9687 | -0.61475 | 125.3785 | 136.643 | 38.0022 | 61.5461 | 37.0948 | -11.2646 | 0.098628 | 0 | 0 | 0.07153 | 0 | 2.4601 | -13.8949 | 125.3785
21 | 191.5504 | 82.0855 | 17.4908 | 0 | 25.9173 | 17.8214 | 26.9892 | 11.9485 | 9.2976 | 12.9948 | -75.4542 | -68.8613 | -5.9782 | -0.61475 | 129.091 | 135.8974 | 37.7617 | 62.0344 | 36.1013 | -6.8064 | 0.12824 | 0 | 0 | 0.07153 | 0 | 2.4208 | -9.427 | 129.091
22 | 159.2933 | 78.3997 | 14.2608 | 0 | 20.7848 | 17.8214 | 15.5707 | 7.8132 | 4.6427 | 12.9928 | -72.0667 | -65.1948 | -6.2572 | -0.61475 | 100.2194 | 110.562 | 32.9016 | 47.1298 | 30.5306 | -10.3426 | 0.10041 | 0 | 0 | 0.066801 | 0 | 2.1092 | -12.619 | 100.2194
23 | 154.017 | 78.7481 | 13.7476 | 0 | 20.5839 | 17.9122 | 15.5707 | 3.7355 | 3.7191 | 13.0443 | -77.9823 | -70.5761 | -6.7915 | -0.61475 | 89.079 | 103.4212 | 31.7496 | 42.4954 | 29.1762 | -14.3422 | 0.097462 | 0 | 0 | 0.066801 | 0 | 2.0782 | -16.5847 | 89.079
24 | 176.5992 | 84.0059 | 16.8421 | 0 | 24.9025 | 17.9122 | 15.5707 | 13.6467 | 3.7191 | 13.0296 | -72.5505 | -66.7879 | -5.1763 | -0.58628 | 117.0783 | 141.7723 | 38.4101 | 65.8802 | 37.482 | -24.694 | 0.10952 | 0 | 0 | 0.07153 | 0 | 2.4708 | -27.3459 | 117.0783
25 | 171.1445 | 81.4521 | 14.2637 | 0 | 24.9815 | 17.8214 | 15.2593 | 13.6474 | 3.7191 | 12.9781 | -74.5613 | -67.8199 | -6.1282 | -0.61318 | 109.5613 | 126.7998 | 38.6421 | 51.9396 | 36.2181 | -17.2385 | 0.12912 | 0 | 0 | 0.07153 | 0 | 2.4369 | -19.8761 | 109.5613
26 | 172.0726 | 81.8909 | 14.2636 | 0 | 25.4702 | 17.8214 | 15.2593 | 13.6481 | 3.7191 | 12.8477 | -74.5767 | -67.7821 | -6.1798 | -0.61475 | 110.3437 | 130.576 | 38.8036 | 55.2369 | 36.5355 | -20.2324 | 0.12859 | 0 | 0 | 0.07153 | 0 | 2.4594 | -22.8918 | 110.3437
27 | 181.231 | 82.2126 | 15.2936 | 0 | 25.4314 | 17.8214 | 18.3734 | 14.6603 | 7.4381 | 12.9779 | -72.9633 | -66.7123 | -5.6362 | -0.61475 | 121.2456 | 128.966 | 38.923 | 53.5596 | 36.4834 | -7.7204 | 0.12805 | 0 | 0 | 0.07153 | 0 | 2.4661 | -10.3861 | 121.2456
28 | 184.9032 | 81.6882 | 18.3838 | 0 | 24.8541 | 17.8214 | 22.4218 | 12.2958 | 7.4381 | 12.9399 | -73.2818 | -66.7615 | -5.9055 | -0.61475 | 124.5613 | 129.7675 | 38.2316 | 56.3496 | 35.1863 | -5.2062 | 0.12752 | 0 | 0 | 0.07153 | 0 | 2.4311 | -7.8363 | 124.5613
29 | 145.2898 | 75.46 | 2.9049 | 0 | 19.7727 | 16.6637 | 22.6294 | 0.42089 | 7.4381 | 11.8905 | -76.1701 | -69.5331 | -6.0223 | -0.61475 | 81.0102 | 81.8249 | 25.8067 | 31.1963 | 24.8219 | -0.81473 | 0.095339 | 0 | 0 | 0.066801 | 0 | 2.0144 | -2.9913 | 81.0102
30 | 165.332 | 82.1366 | 14.7756 | 0 | 20.9221 | 17.9122 | 22.6294 | 0.75763 | 6.1984 | 13.0389 | -76.5659 | -69.9305 | -6.0207 | -0.61475 | 101.805 | 108.0295 | 31.7655 | 48.9851 | 27.279 | -6.2245 | 0.095339 | 0 | 0 | 0.066801 | 0 | 2.0305 | -8.4171 | 101.805
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points