## kWh
Gas Nomination - Monthly report
Month: April 2024
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Piombino | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Tarvisio | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Deliveries to other distribution networks | Other | Total Offtake
1 | 860.1144 | 12.0722 | 0 | 0 | 507.6453 | 0 | 220.9083 | 98.1 | 0 | 0 | 21.3886 | 72.6208 | -14.4062 | -14.4062 | 0 | 0 | 918.329 | 1058.6729 | 241.4915 | 281.8249 | 535.3565 | -140.3439 | 1.2 | 3.1856 | 0.4301 | 0 | 1.2871 | 0 | 17.7548 | -164.2015 | 918.329
2 | 960.0909 | 12.0722 | 54.6182 | 0 | 425.9035 | 0 | 249.9083 | 196.2 | 0 | 0 | 21.3886 | 69.9069 | -15.0224 | -15.0224 | 0 | 0 | 1014.9753 | 1143.9679 | 294.7199 | 272.9545 | 576.2935 | -128.9926 | 1.2 | 3.5398 | 0.49882 | 0 | 1.2871 | 0 | 24.5967 | -160.1149 | 1014.9753
3 | 1055.8102 | 20.8562 | 54.6401 | 0 | 425.6168 | 0 | 249.9083 | 283.4 | 0 | 0 | 21.3886 | 77.7442 | -22.9847 | -22.9847 | 0 | 0 | 1110.5697 | 1324.88 | 299.6819 | 402.5655 | 622.6326 | -214.3103 | 17.76 | 3.7461 | 3.1304 | 0 | 1.2871 | 0 | 26.3275 | -266.5614 | 1110.5697
4 | 1184.1878 | 20.856 | 81.688 | 0 | 426.0698 | 0 | 249.9083 | 283.4 | 60 | 0 | 62.2657 | 77.9766 | -22.994 | -22.994 | 0 | 0 | 1239.1705 | 1437.7757 | 321.3752 | 451.115 | 665.2854 | -198.6052 | 4.56 | 3.7117 | 0.37855 | 0 | 1.2866 | 0 | 27.382 | -235.9241 | 1239.1705
5 | 1414.3856 | 20.856 | 139.6425 | 0 | 511.9294 | 0 | 249.9083 | 283.4 | 130 | 0 | 78.6493 | 78.5581 | -14.7683 | -14.7683 | 0 | 0 | 1478.1754 | 1337.3084 | 319.8955 | 381.4219 | 635.9911 | 140.867 | 5.28 | 3.1614 | 0.11316 | 0 | 1.2608 | 0 | 26.5576 | 104.494 | 1478.1754
6 | 1416.368 | 20.856 | 139.6585 | 0 | 512.5876 | 0 | 249.9083 | 287.985 | 130 | 0 | 75.3726 | 77.5476 | -71.734 | -46.946 | -14.9652 | -9.8229 | 1422.1816 | 1171.0297 | 281.56 | 366.5082 | 522.9615 | 251.1519 | 17.76 | 2.1285 | 3.1982 | 0 | 1.2644 | 0 | 21.546 | 205.2548 | 1422.1816
7 | 1341.5407 | 30.696 | 54.5667 | 0 | 513.0201 | 0 | 249.9083 | 287.985 | 130 | 0 | 75.3646 | 78.0895 | -360.2866 | -325.5461 | -24.9176 | -9.8229 | 1059.3436 | 1067.8648 | 271.428 | 314.6644 | 481.7724 | -8.5213 | 9.84 | 1.7446 | 0.091536 | 0 | 1.2559 | 0 | 18.8962 | -40.3496 | 1059.3436
8 | 1377.7 | 30.696 | 54.6004 | 0 | 513.921 | 0 | 249.9083 | 287.985 | 130 | 0 | 110.5893 | 78.3079 | -397.4022 | -364.9976 | -22.5818 | -9.8229 | 1058.6057 | 1242.0923 | 317.8709 | 400.0532 | 524.1682 | -183.4866 | 1.2 | 2.1297 | 0.17825 | 0 | 1.2838 | 0 | 24.1005 | -212.3789 | 1058.6057
9 | 1385.5623 | 2.2322 | 81.7959 | 0 | 513.0515 | 0 | 249.9083 | 287.985 | 140 | 0 | 110.5893 | 74.6001 | -406.5432 | -371.0697 | -25.6506 | -9.8229 | 1053.6192 | 1290.3915 | 330.1342 | 415.5062 | 544.751 | -236.7723 | 5.28 | 2.8519 | 0.070152 | 0 | 1.2838 | 0 | 26.2725 | -272.5308 | 1053.6192
10 | 1289.5088 | 20.856 | 81.63 | 0 | 397.721 | 0 | 249.9083 | 287.985 | 140 | 0 | 111.4085 | 75.8326 | -353.8988 | -317.3544 | -26.7215 | -9.8229 | 1011.4425 | 1277.3048 | 329.2247 | 371.6138 | 576.4663 | -265.8622 | 4.704 | 3.4366 | 3.0811 | 0 | 1.2838 | 0 | 27.5394 | -305.9072 | 1011.4425
11 | 1083.768 | 30.6962 | 81.75 | 0 | 422.9283 | 0 | 29 | 287.985 | 120 | 0 | 111.4085 | 79.6304 | -374.9382 | -338.3016 | -26.8138 | -9.8229 | 788.4602 | 1285.51 | 320.7237 | 396.6237 | 568.1627 | -497.0498 | 3.48 | 2.3361 | 2.3538 | 0 | 1.2809 | 0 | 22.7162 | -529.2167 | 788.4602
12 | 1297.6774 | 20.856 | 92.6982 | 0 | 506.7394 | 0 | 249.9083 | 287.985 | 110 | 0 | 29.4905 | 77.784 | -414.3338 | -381.5314 | -22.9795 | -9.8229 | 961.1276 | 1181.3347 | 325.5117 | 340.0545 | 515.7686 | -220.2071 | 5.28 | 2.1641 | 2.3463 | 0 | 1.2556 | 0 | 22.6792 | -253.9322 | 961.1276
13 | 1298.6432 | 20.8562 | 70.9475 | 0 | 513.4667 | 0 | 249.9083 | 287.985 | 135 | 0 | 20.4795 | 77.3989 | -436.7075 | -397.6401 | -26.7695 | -12.2979 | 939.3346 | 991.7553 | 289.1053 | 285.9611 | 416.6889 | -52.4207 | 1.92 | 1.8882 | 0.17398 | 0 | 1.2593 | 0 | 19.344 | -77.0061 | 939.3346
14 | 1286.4133 | 9.84 | 70.8754 | 0 | 512.3251 | 0 | 249.9083 | 287.985 | 135 | 0 | 20.4795 | 77.8796 | -452.1236 | -439.829 | 0 | -12.2947 | 912.1693 | 923.8588 | 266.0492 | 257.6142 | 400.1955 | -11.6896 | 55.056 | 1.6776 | 0 | 0 | 1.2513 | 0 | 18.4947 | -88.1692 | 912.1693
15 | 1337.6604 | 30.696 | 92.523 | 0 | 512.2275 | 0 | 249.9083 | 287.985 | 125 | 0 | 39.3206 | 79.6675 | -419.6857 | -379.0698 | -30.7962 | -9.8197 | 997.6422 | 1047.0491 | 315.3171 | 331.215 | 400.517 | -49.4069 | 0 | 2.1641 | 0.22942 | 0 | 1.2787 | 0 | 21.6872 | -74.7663 | 997.6422
16 | 1246.3411 | 2.2322 | 81.6159 | 0 | 424.2351 | 0 | 249.9083 | 287.985 | 125 | 0 | 75.3646 | 71.9202 | -526.9086 | -483.9883 | -33.0974 | -9.8229 | 791.3527 | 1122.6609 | 321.46 | 386.4764 | 414.7245 | -331.3082 | 5.28 | 2.4048 | 0 | 0 | 1.0287 | 0 | 20.1227 | -360.1445 | 791.3527
17 | 1357.1363 | 20.856 | 81.69 | 0 | 513.0557 | 0 | 249.9083 | 287.985 | 125 | 0 | 78.6413 | 77.8141 | -538.507 | -495.6283 | -33.0558 | -9.8229 | 896.4435 | 1088.3908 | 324.5074 | 324.9987 | 438.8847 | -191.9474 | 5.28 | 3.5741 | 5.48 | 0 | 1.0287 | 0 | 23.714 | -231.0242 | 896.4435
18 | 1351.5034 | 20.856 | 76.2951 | 0 | 512.8177 | 0 | 249.9083 | 287.985 | 125 | 0 | 78.6413 | 77.7368 | -514.098 | -493.2923 | -11.4928 | -9.3129 | 915.1422 | 1167.3739 | 320.2489 | 401.5091 | 445.6159 | -252.2317 | 5.28 | 3.8837 | 5.48 | 0 | 1.0234 | 0 | 23.8028 | -291.7016 | 915.1422
19 | 1325.2689 | 20.856 | 54.5155 | 0 | 508.3328 | 0 | 249.9083 | 287.985 | 125 | 0 | 78.6713 | 77.3556 | -536.482 | -494.8762 | -31.7829 | -9.8229 | 866.1425 | 1190.5676 | 324.7951 | 391.4088 | 474.3637 | -324.4251 | 5.28 | 3.7117 | 5.48 | 0 | 0.99814 | 0 | 23.7686 | -363.6636 | 866.1425
20 | 1280.0997 | 20.8562 | 43.588 | 0 | 513.3516 | 0 | 249.9083 | 287.985 | 125 | 0 | 39.4106 | 77.1522 | -541.9371 | -494.6494 | -33.5358 | -13.7519 | 815.3148 | 1015.9675 | 286.9466 | 278.9581 | 450.0627 | -200.6527 | 2.88 | 3.3304 | 5.48 | 0 | 1.0018 | 0 | 20.4972 | -233.8421 | 815.3148
21 | 1313.0507 | 30.696 | 54.4193 | 0 | 510.6315 | 0 | 249.9083 | 287.985 | 140 | 0 | 39.4106 | 77.5522 | -640.8663 | -588.1644 | -38.9617 | -13.7402 | 749.7365 | 1019.4911 | 273.584 | 284.6582 | 461.249 | -269.7545 | 1.2 | 3.3532 | 0.31853 | 0 | 0.99382 | 0 | 20.0697 | -295.6897 | 749.7365
22 | 1339.7936 | 30.696 | 81.4822 | 0 | 510.3115 | 0 | 249.9083 | 287.985 | 140 | 0 | 39.4106 | 76.9354 | -496.7926 | -481.9906 | -10.3411 | -4.4608 | 919.9363 | 1196.9008 | 326.9625 | 371.3078 | 498.6305 | -276.9645 | 0 | 4.7091 | 0.39053 | 0 | 1.0211 | 0 | 23.4038 | -306.4889 | 919.9363
23 | 1378.3226 | 20.856 | 139.6251 | 0 | 510.5376 | 0 | 249.9083 | 287.985 | 130 | 0 | 39.4106 | 76.276 | -535.3763 | -494.9078 | -33.2649 | -7.2035 | 919.2223 | 1307.4223 | 328.6747 | 484.7521 | 493.9954 | -388.1999 | 1.2 | 4.5715 | 0.17748 | 0 | 1.0211 | 0 | 24.2449 | -419.4149 | 919.2223
24 | 1387.7799 | 30.696 | 139.6246 | 0 | 510.2453 | 0 | 249.9083 | 287.985 | 130 | 0 | 39.3206 | 77.1617 | -500.869 | -476.0544 | -17.6111 | -7.2035 | 964.0725 | 1200.7324 | 321.7622 | 378.6103 | 500.3599 | -236.6598 | 1.2 | 2.9551 | 0.14719 | 0 | 1.0211 | 0 | 23.7889 | -265.7721 | 964.0725
25 | 1345.5085 | 30.6962 | 65.2332 | 0 | 510.3581 | 0 | 249.9083 | 287.985 | 122.6863 | 0 | 78.6413 | 77.331 | -514.6127 | -485.7841 | -17.8057 | -11.0229 | 908.2269 | 1046.089 | 277.2762 | 366.7869 | 402.0259 | -137.8622 | 2.88 | 4.3951 | 3.195 | 0 | 0.93785 | 0 | 18.8089 | -168.079 | 908.2269
26 | 1389.5185 | 28.4642 | 86.8464 | 0 | 513.6882 | 0 | 249.9083 | 287.985 | 122.6863 | 0 | 99.94 | 77.22 | -480.0632 | -470.4475 | -0.23557 | -9.3801 | 986.6753 | 1131.666 | 305.8285 | 354.9896 | 470.8479 | -144.9907 | 1.2 | 4.5277 | 3.1692 | 0 | 0.9482 | 0 | 21.5939 | -176.4297 | 986.6753
27 | 1452.8133 | 28.4642 | 139.6207 | 0 | 514.2087 | 0 | 249.9083 | 287.985 | 132.6863 | 0 | 99.94 | 77.6087 | -531.3491 | -490.0588 | -30.2674 | -11.0229 | 999.0729 | 980.4744 | 266.2661 | 326.7929 | 387.4155 | 18.5985 | 1.92 | 3.8333 | 3.0553 | 0 | 1.0034 | 0 | 18.2448 | -9.4583 | 999.0729
28 | 1358.5387 | 28.4642 | 48.8423 | 0 | 512.3509 | 0 | 249.9083 | 287.985 | 132.6863 | 0 | 98.3016 | 77.6234 | -608.8623 | -563.2619 | -33.7775 | -11.8229 | 827.2998 | 968.502 | 252.4631 | 361.9329 | 354.106 | -141.2022 | 1.2 | 2.8102 | 0.16106 | 0 | 0.97614 | 0 | 16.2777 | -162.6273 | 827.2998
29 | 1410.7625 | 28.464 | 86.712 | 0 | 509.5614 | 0 | 249.9083 | 287.985 | 140 | 0 | 108.1318 | 77.7945 | -517.8629 | -477.9322 | -33.108 | -6.8227 | 970.6941 | 1107.0364 | 303.9911 | 402.3064 | 400.7389 | -136.3423 | 1.2 | 2.4413 | 0 | 0 | 0.98859 | 0 | 19.699 | -160.6712 | 970.6941
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Nomination - Monthly report
Month: April 2024
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Piombino | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Tarvisio | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Deliveries to other distribution networks | Other | Total Offtake
1 | 73.6411 | 1.0536 | 0 | 0 | 43.4381 | 0 | 18.8574 | 8.5019 | 0 | 0 | 1.7901 | 6.5087 | -1.2309 | -1.2309 | 0 | 0 | 78.919 | 94.8851 | 21.644 | 25.259 | 47.9821 | -15.9661 | 0.10471 | 0.28199 | 0.037275 | 0 | 0.11253 | 0 | 1.5913 | -18.0939 | 78.919
2 | 82.2862 | 1.0534 | 4.7519 | 0 | 36.3522 | 0 | 21.33 | 17.0044 | 0 | 0 | 1.7944 | 6.2655 | -1.2833 | -1.2833 | 0 | 0 | 87.2684 | 102.5298 | 26.4147 | 24.4639 | 51.6511 | -15.2614 | 0.10472 | 0.31304 | 0.043719 | 0 | 0.11687 | 0 | 2.2045 | -18.0443 | 87.2684
3 | 90.8854 | 1.8184 | 4.7511 | 0 | 36.271 | 0 | 21.3325 | 24.9321 | 0 | 0 | 1.7804 | 6.9679 | -1.9721 | -1.9721 | 0 | 0 | 95.8813 | 118.7443 | 26.8594 | 36.0805 | 55.8043 | -22.863 | 1.5482 | 0.33028 | 0.27467 | 0 | 0.11375 | 0 | 2.3596 | -27.4896 | 95.8813
4 | 101.9077 | 1.822 | 7.0823 | 0 | 36.3968 | 0 | 21.3353 | 24.9278 | 5.2002 | 0 | 5.1432 | 6.9888 | -1.9857 | -1.9857 | 0 | 0 | 106.9108 | 128.8627 | 28.8037 | 40.4318 | 59.6272 | -21.9519 | 0.39858 | 0.32354 | 0.033264 | 0 | 0.11019 | 0 | 2.4542 | -25.2717 | 106.9108
5 | 121.7888 | 1.823 | 12.1251 | 0 | 43.9738 | 0 | 21.3237 | 24.5945 | 11.452 | 0 | 6.4968 | 7.0409 | -1.2616 | -1.2616 | 0 | 0 | 127.5681 | 119.8582 | 28.6711 | 34.1855 | 57.0016 | 7.71 | 0.46143 | 0.27682 | 0.0099417 | 0 | 0.10799 | 0 | 2.3803 | 4.4735 | 127.5681
6 | 122.0669 | 1.8219 | 12.119 | 0 | 44.0641 | 0 | 21.3273 | 24.8949 | 11.5549 | 0 | 6.2848 | 6.9503 | -6.237 | -4.0154 | -1.3413 | -0.88039 | 122.7801 | 104.9552 | 25.2352 | 32.8488 | 46.8712 | 17.8249 | 1.5522 | 0.18652 | 0.2808 | 0 | 0.10936 | 0 | 1.9311 | 13.7649 | 122.7801
7 | 115.5927 | 2.6817 | 4.7411 | 0 | 44.0999 | 0 | 21.3033 | 24.8992 | 11.5552 | 0 | 6.3123 | 6.9989 | -31.0173 | -27.9037 | -2.2333 | -0.88039 | 91.5742 | 95.7089 | 24.3271 | 28.2022 | 43.1795 | -4.1347 | 0.8662 | 0.15296 | 0.008038 | 0 | 0.10863 | 0 | 1.6936 | -6.9641 | 91.5742
8 | 118.5594 | 2.6818 | 4.7537 | 0 | 44.1594 | 0 | 21.3183 | 24.9043 | 11.5331 | 0 | 9.2088 | 7.0185 | -34.1834 | -31.2791 | -2.0239 | -0.88039 | 91.3944 | 111.3243 | 28.4896 | 35.8553 | 46.9793 | -19.9299 | 0.10483 | 0.18683 | 0.015653 | 0 | 0.1129 | 0 | 2.16 | -22.5101 | 91.3944
9 | 118.935 | 0.19501 | 7.1114 | 0 | 44.0601 | 0 | 21.3188 | 24.9043 | 12.1495 | 0 | 9.1959 | 6.6861 | -35.0419 | -31.8625 | -2.299 | -0.88039 | 90.5793 | 115.6532 | 29.5888 | 37.2403 | 48.8241 | -25.0739 | 0.46123 | 0.2468 | 0.0061546 | 0 | 0.11104 | 0 | 2.3547 | -28.2539 | 90.5793
10 | 110.4667 | 1.8221 | 7.0929 | 0 | 34.1519 | 0 | 21.3215 | 24.9308 | 11.8473 | 0 | 9.3002 | 6.7966 | -30.5174 | -27.2421 | -2.395 | -0.88039 | 86.7459 | 114.4803 | 29.5072 | 33.3064 | 51.6666 | -27.7344 | 0.41102 | 0.29783 | 0.27029 | 0 | 0.11092 | 0 | 2.4683 | -31.2927 | 86.7459
11 | 93.3975 | 2.6834 | 7.0967 | 0 | 36.3707 | 0 | 2.4745 | 24.9159 | 10.5364 | 0 | 9.32 | 7.137 | -32.3348 | -29.0512 | -2.4032 | -0.88039 | 68.1997 | 115.2157 | 28.7453 | 35.548 | 50.9224 | -47.016 | 0.30421 | 0.20464 | 0.2065 | 0 | 0.11366 | 0 | 2.036 | -49.881 | 68.1997
12 | 111.9055 | 1.8232 | 8.0559 | 0 | 43.548 | 0 | 21.3256 | 24.9285 | 9.7443 | 0 | 2.48 | 6.9715 | -35.722 | -32.7821 | -2.0596 | -0.88039 | 83.155 | 105.8788 | 29.1744 | 30.4779 | 46.2265 | -22.7238 | 0.46165 | 0.18658 | 0.206 | 0 | 0.11271 | 0 | 2.0327 | -25.7234 | 83.155
13 | 112.04 | 1.8208 | 6.1763 | 0 | 44.1294 | 0 | 21.3253 | 24.9601 | 11.9052 | 0 | 1.7229 | 6.937 | -37.6241 | -34.1226 | -2.3993 | -1.1022 | 81.3529 | 88.8875 | 25.9115 | 25.6297 | 37.3463 | -7.5346 | 0.16768 | 0.16544 | 0.015205 | 0 | 0.10913 | 0 | 1.7337 | -9.7258 | 81.3529
14 | 111.0188 | 0.85864 | 6.1717 | 0 | 44.0425 | 0 | 21.3196 | 25.0392 | 11.8647 | 0 | 1.7225 | 6.9801 | -38.8687 | -37.7668 | 0 | -1.1019 | 79.1301 | 82.8022 | 23.845 | 23.089 | 35.8681 | -3.672 | 4.8058 | 0.14699 | 0 | 0 | 0.1084 | 0 | 1.6576 | -10.3909 | 79.1301
15 | 115.2757 | 2.6792 | 8.0505 | 0 | 44.0304 | 0 | 21.3222 | 24.9499 | 10.957 | 0 | 3.2865 | 7.1403 | -36.2632 | -32.623 | -2.7602 | -0.8801 | 86.1528 | 93.8433 | 28.2607 | 29.6856 | 35.8969 | -7.6905 | 0 | 0.18962 | 0.019899 | 0 | 0.11291 | 0 | 1.9438 | -9.9566 | 86.1528
16 | 107.2592 | 0.19507 | 7.0958 | 0 | 36.4595 | 0 | 21.3244 | 24.9595 | 10.9551 | 0 | 6.2698 | 6.446 | -45.4823 | -41.6355 | -2.9664 | -0.88039 | 68.2229 | 100.6201 | 28.8113 | 34.6385 | 37.1703 | -32.3972 | 0.46143 | 0.20766 | 0 | 0 | 0.093399 | 0 | 1.8035 | -34.9632 | 68.2229
17 | 116.7177 | 1.8187 | 7.0997 | 0 | 43.9949 | 0 | 21.329 | 24.9623 | 10.9771 | 0 | 6.5359 | 6.9742 | -46.3871 | -42.544 | -2.9627 | -0.88039 | 77.3048 | 97.5486 | 29.0844 | 29.1285 | 39.3357 | -20.2437 | 0.46067 | 0.30863 | 0.47615 | 0 | 0.09323 | 0 | 2.1254 | -23.7078 | 77.3048
18 | 116.326 | 1.8101 | 6.6346 | 0 | 44.0088 | 0 | 21.3265 | 24.9843 | 10.9829 | 0 | 6.579 | 6.9673 | -44.2666 | -42.4018 | -1.0301 | -0.83468 | 79.0267 | 104.6276 | 28.7028 | 35.9858 | 39.939 | -25.6008 | 0.45826 | 0.33508 | 0.47662 | 0 | 0.092873 | 0 | 2.1334 | -29.097 | 79.0267
19 | 113.9032 | 1.8118 | 4.747 | 0 | 43.641 | 0 | 21.3267 | 24.7899 | 10.9907 | 0 | 6.5961 | 6.9331 | -46.3352 | -42.6062 | -2.8486 | -0.88039 | 74.5011 | 106.7063 | 29.1102 | 35.0806 | 42.5155 | -32.2052 | 0.45868 | 0.32015 | 0.47667 | 0 | 0.09057 | 0 | 2.1303 | -35.6816 | 74.5011
20 | 109.5793 | 1.8099 | 3.8023 | 0 | 44.0919 | 0 | 21.3235 | 24.2379 | 11.0015 | 0 | 3.3123 | 6.9149 | -46.541 | -42.3028 | -3.0057 | -1.2325 | 69.9532 | 91.0575 | 25.718 | 25.002 | 40.3375 | -21.1044 | 0.24996 | 0.29019 | 0.47659 | 0 | 0.090626 | 0 | 1.8371 | -24.0488 | 69.9532
21 | 112.7953 | 2.6667 | 4.7478 | 0 | 43.8756 | 0 | 21.3225 | 24.4854 | 12.4029 | 0 | 3.2943 | 6.9507 | -55.0077 | -50.2842 | -3.492 | -1.2315 | 64.7383 | 91.3733 | 24.5204 | 25.5129 | 41.3401 | -26.635 | 0.10426 | 0.29307 | 0.027738 | 0 | 0.087928 | 0 | 1.7988 | -28.9468 | 64.7383
22 | 115.2193 | 2.664 | 7.0983 | 0 | 43.8676 | 0 | 21.3246 | 24.5346 | 12.4436 | 0 | 3.2867 | 6.8954 | -42.5698 | -41.2432 | -0.92684 | -0.39981 | 79.5449 | 107.2739 | 29.3045 | 33.279 | 44.6905 | -27.729 | 0 | 0.41025 | 0.034056 | 0 | 0.090722 | 0 | 2.0976 | -30.3617 | 79.5449
23 | 118.49 | 1.8137 | 12.1694 | 0 | 43.7956 | 0 | 21.3316 | 24.5354 | 11.5572 | 0 | 3.287 | 6.8363 | -45.9917 | -42.3647 | -2.9814 | -0.64563 | 79.3347 | 117.1796 | 29.4579 | 43.4466 | 44.275 | -37.8449 | 0.10436 | 0.39885 | 0.015532 | 0 | 0.088611 | 0 | 2.173 | -40.6252 | 79.3347
24 | 119.8336 | 2.6713 | 12.1878 | 0 | 43.777 | 0 | 21.329 | 25.0339 | 11.5565 | 0 | 3.2781 | 6.9157 | -43.1457 | -40.9217 | -1.5784 | -0.64563 | 83.6036 | 107.6174 | 28.8384 | 33.9335 | 44.8455 | -24.0137 | 0.10443 | 0.25794 | 0.012869 | 0 | 0.088331 | 0 | 2.1321 | -26.6094 | 83.6036
25 | 116.2631 | 2.6712 | 5.695 | 0 | 43.8091 | 0 | 21.3294 | 25.3193 | 10.9033 | 0 | 6.5358 | 6.9309 | -44.6925 | -42.1087 | -1.5959 | -0.98794 | 78.5015 | 93.7572 | 24.8513 | 32.8738 | 36.0321 | -15.2557 | 0.25063 | 0.38101 | 0.27891 | 0 | 0.080894 | 0 | 1.6858 | -17.9329 | 78.5015
26 | 119.9062 | 2.4781 | 7.5822 | 0 | 44.1046 | 0 | 21.3305 | 25.1643 | 10.9003 | 0 | 8.3462 | 6.921 | -41.5573 | -40.6954 | -0.021113 | -0.8407 | 85.2699 | 101.4272 | 27.4103 | 31.8164 | 42.2004 | -16.1573 | 0.10448 | 0.39373 | 0.27658 | 0 | 0.083653 | 0 | 1.9354 | -18.9511 | 85.2699
27 | 125.2281 | 2.4776 | 12.2063 | 0 | 44.1448 | 0 | 21.3284 | 24.9187 | 11.7865 | 0 | 8.3658 | 6.9558 | -45.927 | -42.2263 | -2.7128 | -0.98794 | 86.2569 | 87.8764 | 23.8645 | 29.2893 | 34.7227 | -1.6196 | 0.16712 | 0.33154 | 0.26664 | 0 | 0.087529 | 0 | 1.6352 | -4.1076 | 86.2569
28 | 116.9543 | 2.4781 | 4.2689 | 0 | 43.9884 | 0 | 21.3204 | 24.9196 | 11.7812 | 0 | 8.1978 | 6.9571 | -52.5571 | -48.4701 | -3.0274 | -1.0596 | 71.3543 | 86.8034 | 22.6274 | 32.4388 | 31.7373 | -15.449 | 0.10447 | 0.24332 | 0.01406 | 0 | 0.087793 | 0 | 1.4589 | -17.3576 | 71.3543
29 | 121.4938 | 2.478 | 7.5787 | 0 | 43.7489 | 0 | 21.3204 | 24.9196 | 12.4306 | 0 | 9.0175 | 6.9724 | -44.7061 | -41.1273 | -2.9674 | -0.61149 | 83.7602 | 99.2197 | 27.2456 | 36.0573 | 35.9168 | -15.4596 | 0.10447 | 0.21138 | 0 | 0 | 0.088913 | 0 | 1.7656 | -17.6299 | 83.7602
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Nomination - Monthly report
Month: April 2024
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Piombino | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Tarvisio | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Deliveries to other distribution networks | Other | Total Offtake
1 | 81.352 | 1.1418 | 0 | 0 | 48.0145 | 0 | 20.8941 | 9.2786 | 0 | 0 | 2.023 | 6.8687 | -1.3626 | -1.3626 | 0 | 0 | 86.8581 | 100.1322 | 22.8409 | 26.6558 | 50.6355 | -13.2741 | 0.1135 | 0.30131 | 0.04068 | 0 | 0.12174 | 0 | 1.6793 | -15.5306 | 86.8581
2 | 90.8081 | 1.1418 | 5.1659 | 0 | 40.2831 | 0 | 23.637 | 18.5571 | 0 | 0 | 2.023 | 6.612 | -1.4209 | -1.4209 | 0 | 0 | 95.9992 | 108.1997 | 27.8754 | 25.8168 | 54.5074 | -12.2005 | 0.1135 | 0.3348 | 0.047179 | 0 | 0.12174 | 0 | 2.3264 | -15.1441 | 95.9992
3 | 99.8615 | 1.9726 | 5.168 | 0 | 40.256 | 0 | 23.637 | 26.8048 | 0 | 0 | 2.023 | 7.3533 | -2.174 | -2.174 | 0 | 0 | 105.0408 | 125.3108 | 28.3447 | 38.0758 | 58.8903 | -20.2701 | 1.6798 | 0.35432 | 0.29608 | 0 | 0.12174 | 0 | 2.4901 | -25.2121 | 105.0408
4 | 112.0038 | 1.9726 | 7.7263 | 0 | 40.2989 | 0 | 23.637 | 26.8048 | 5.675 | 0 | 5.8893 | 7.3752 | -2.1748 | -2.1748 | 0 | 0 | 117.2042 | 135.9888 | 30.3966 | 42.6677 | 62.9245 | -18.7846 | 0.4313 | 0.35106 | 0.035805 | 0 | 0.12169 | 0 | 2.5899 | -22.3144 | 117.2042
5 | 133.7765 | 1.9726 | 13.2078 | 0 | 48.4197 | 0 | 23.637 | 26.8048 | 12.2958 | 0 | 7.4389 | 7.4302 | -1.3968 | -1.3968 | 0 | 0 | 139.8099 | 126.4863 | 30.2566 | 36.0759 | 60.1538 | 13.3236 | 0.4994 | 0.29902 | 0.010703 | 0 | 0.11925 | 0 | 2.5119 | 9.8833 | 139.8099
6 | 133.964 | 1.9726 | 13.2093 | 0 | 48.482 | 0 | 23.637 | 27.2384 | 12.2958 | 0 | 7.1289 | 7.3347 | -6.7848 | -4.4403 | -1.4154 | -0.92907 | 134.5139 | 110.7592 | 26.6307 | 34.6654 | 49.4631 | 23.7546 | 1.6798 | 0.20132 | 0.30249 | 0 | 0.11959 | 0 | 2.0379 | 19.4136 | 134.5139
7 | 126.8866 | 2.9033 | 5.1611 | 0 | 48.5229 | 0 | 23.637 | 27.2384 | 12.2958 | 0 | 7.1282 | 7.3859 | -34.0769 | -30.7911 | -2.3568 | -0.92907 | 100.1957 | 101.0016 | 25.6724 | 29.7618 | 45.5674 | -0.80597 | 0.93069 | 0.16501 | 0.0086577 | 0 | 0.11879 | 0 | 1.7873 | -3.8164 | 100.1957
8 | 130.3067 | 2.9033 | 5.1643 | 0 | 48.6081 | 0 | 23.637 | 27.2384 | 12.2958 | 0 | 10.4598 | 7.4066 | -37.5874 | -34.5225 | -2.1358 | -0.92907 | 100.1259 | 117.4805 | 30.0651 | 37.8381 | 49.5773 | -17.3547 | 0.1135 | 0.20143 | 0.016859 | 0 | 0.12143 | 0 | 2.2795 | -20.0874 | 100.1259
9 | 131.0503 | 0.21113 | 7.7365 | 0 | 48.5258 | 0 | 23.637 | 27.2384 | 13.2416 | 0 | 10.4598 | 7.0559 | -38.452 | -35.0968 | -2.4261 | -0.92907 | 99.6542 | 122.0488 | 31.225 | 39.2997 | 51.5241 | -22.3946 | 0.4994 | 0.26974 | 0.0066352 | 0 | 0.12143 | 0 | 2.4849 | -25.7767 | 99.6542
10 | 121.9653 | 1.9726 | 7.7208 | 0 | 37.6176 | 0 | 23.637 | 27.2384 | 13.2416 | 0 | 10.5373 | 7.1725 | -33.4727 | -30.0163 | -2.5274 | -0.92907 | 95.665 | 120.811 | 31.139 | 35.1483 | 54.5238 | -25.146 | 0.44492 | 0.32504 | 0.29142 | 0 | 0.12143 | 0 | 2.6048 | -28.9335 | 95.665
11 | 102.5058 | 2.9033 | 7.7321 | 0 | 40.0017 | 0 | 2.7429 | 27.2384 | 11.3499 | 0 | 10.5373 | 7.5317 | -35.4627 | -31.9975 | -2.5361 | -0.92907 | 74.5748 | 121.5871 | 30.3349 | 37.5138 | 53.7384 | -47.0124 | 0.32915 | 0.22095 | 0.22263 | 0 | 0.12115 | 0 | 2.1486 | -50.0548 | 74.5748
12 | 122.7379 | 1.9726 | 8.7677 | 0 | 47.9288 | 0 | 23.637 | 27.2384 | 10.4041 | 0 | 2.7893 | 7.357 | -39.1888 | -36.0863 | -2.1735 | -0.92907 | 90.9061 | 111.7339 | 30.7878 | 32.1633 | 48.7828 | -20.8278 | 0.4994 | 0.20469 | 0.22192 | 0 | 0.11875 | 0 | 2.1451 | -24.0176 | 90.9061
13 | 122.8293 | 1.9726 | 6.7104 | 0 | 48.5651 | 0 | 23.637 | 27.2384 | 12.7687 | 0 | 1.937 | 7.3206 | -41.305 | -37.6099 | -2.5319 | -1.1632 | 88.8449 | 93.803 | 27.3444 | 27.047 | 39.4116 | -4.9581 | 0.1816 | 0.17859 | 0.016455 | 0 | 0.1191 | 0 | 1.8296 | -7.2834 | 88.8449
14 | 121.6725 | 0.93069 | 6.7036 | 0 | 48.4571 | 0 | 23.637 | 27.2384 | 12.7687 | 0 | 1.937 | 7.3661 | -42.7631 | -41.6002 | 0 | -1.1629 | 86.2755 | 87.3811 | 25.1637 | 24.3659 | 37.8516 | -1.1056 | 5.2073 | 0.15867 | 0 | 0 | 0.11835 | 0 | 1.7493 | -8.3393 | 86.2755
15 | 126.5196 | 2.9033 | 8.7511 | 0 | 48.4479 | 0 | 23.637 | 27.2384 | 11.8228 | 0 | 3.7191 | 7.5352 | -39.695 | -35.8535 | -2.9128 | -0.92877 | 94.3598 | 99.0328 | 29.8236 | 31.3272 | 37.882 | -4.673 | 0 | 0.20469 | 0.021699 | 0 | 0.12094 | 0 | 2.0512 | -7.0716 | 94.3598
16 | 117.8824 | 0.21113 | 7.7195 | 0 | 40.1253 | 0 | 23.637 | 27.2384 | 11.8228 | 0 | 7.1282 | 6.8024 | -49.8365 | -45.777 | -3.1304 | -0.92907 | 74.8483 | 106.1844 | 30.4046 | 36.554 | 39.2258 | -31.336 | 0.4994 | 0.22746 | 0 | 0 | 0.097299 | 0 | 1.9033 | -34.0635 | 74.8483
17 | 128.3617 | 1.9726 | 7.7265 | 0 | 48.5262 | 0 | 23.637 | 27.2384 | 11.8228 | 0 | 7.4381 | 7.3599 | -50.9335 | -46.8779 | -3.1265 | -0.92907 | 84.7881 | 102.943 | 30.6928 | 30.7393 | 41.5109 | -18.1549 | 0.4994 | 0.33805 | 0.51831 | 0 | 0.097299 | 0 | 2.2429 | -21.8509 | 84.7881
18 | 127.8289 | 1.9726 | 7.2162 | 0 | 48.5037 | 0 | 23.637 | 27.2384 | 11.8228 | 0 | 7.4381 | 7.3526 | -48.6248 | -46.657 | -1.087 | -0.88084 | 86.5567 | 110.4135 | 30.29 | 37.9758 | 42.1476 | -23.8568 | 0.4994 | 0.36733 | 0.51831 | 0 | 0.096795 | 0 | 2.2513 | -27.5899 | 86.5567
19 | 125.3476 | 1.9726 | 5.1562 | 0 | 48.0795 | 0 | 23.637 | 27.2384 | 11.8228 | 0 | 7.4409 | 7.3165 | -50.742 | -46.8068 | -3.0061 | -0.92907 | 81.9222 | 112.6072 | 30.72 | 37.0205 | 44.8666 | -30.685 | 0.4994 | 0.35106 | 0.51831 | 0 | 0.094407 | 0 | 2.2481 | -34.3963 | 81.9222
20 | 121.0754 | 1.9726 | 4.1227 | 0 | 48.5542 | 0 | 23.637 | 27.2384 | 11.8228 | 0 | 3.7276 | 7.2973 | -51.2579 | -46.7853 | -3.1719 | -1.3007 | 77.1147 | 96.093 | 27.1402 | 26.3846 | 42.5682 | -18.9783 | 0.2724 | 0.31499 | 0.51831 | 0 | 0.094756 | 0 | 1.9387 | -22.1174 | 77.1147
21 | 124.192 | 2.9033 | 5.1471 | 0 | 48.2969 | 0 | 23.637 | 27.2384 | 13.2416 | 0 | 3.7276 | 7.3351 | -60.6149 | -55.6302 | -3.6851 | -1.2996 | 70.9122 | 96.4263 | 25.8763 | 26.9238 | 43.6262 | -25.5141 | 0.1135 | 0.31715 | 0.030127 | 0 | 0.093998 | 0 | 1.8982 | -27.9672 | 70.9122
22 | 126.7214 | 2.9033 | 7.7068 | 0 | 48.2667 | 0 | 23.637 | 27.2384 | 13.2416 | 0 | 3.7276 | 7.2768 | -46.988 | -45.588 | -0.97809 | -0.42192 | 87.0101 | 113.2062 | 30.925 | 35.1193 | 47.1619 | -26.1961 | 0 | 0.4454 | 0.036937 | 0 | 0.096574 | 0 | 2.2136 | -28.9886 | 87.0101
23 | 130.3656 | 1.9726 | 13.2061 | 0 | 48.2881 | 0 | 23.637 | 27.2384 | 12.2958 | 0 | 3.7276 | 7.2144 | -50.6374 | -46.8098 | -3.1463 | -0.68133 | 86.9426 | 123.6596 | 31.087 | 45.8492 | 46.7235 | -36.717 | 0.1135 | 0.43239 | 0.016787 | 0 | 0.096574 | 0 | 2.2931 | -39.6694 | 86.9426
24 | 131.2601 | 2.9033 | 13.2061 | 0 | 48.2604 | 0 | 23.637 | 27.2384 | 12.2958 | 0 | 3.7191 | 7.2982 | -47.3736 | -45.0265 | -1.6657 | -0.68133 | 91.1847 | 113.5686 | 30.4332 | 35.81 | 47.3254 | -22.3839 | 0.1135 | 0.2795 | 0.013922 | 0 | 0.096574 | 0 | 2.25 | -25.1375 | 91.1847
25 | 127.2619 | 2.9033 | 6.1699 | 0 | 48.2711 | 0 | 23.637 | 27.2384 | 11.604 | 0 | 7.4381 | 7.3142 | -48.6735 | -45.9468 | -1.6841 | -1.0426 | 85.9026 | 98.942 | 26.2256 | 34.6917 | 38.0247 | -13.0394 | 0.2724 | 0.4157 | 0.30219 | 0 | 0.088704 | 0 | 1.779 | -15.8974 | 85.9026
26 | 131.4245 | 2.6922 | 8.2142 | 0 | 48.5861 | 0 | 23.637 | 27.2384 | 11.604 | 0 | 9.4526 | 7.3037 | -45.4057 | -44.4962 | -0.022281 | -0.88719 | 93.3225 | 107.0361 | 28.9261 | 33.5759 | 44.5341 | -13.7136 | 0.1135 | 0.42824 | 0.29975 | 0 | 0.089683 | 0 | 2.0424 | -16.6872 | 93.3225
27 | 137.4111 | 2.6922 | 13.2057 | 0 | 48.6353 | 0 | 23.637 | 27.2384 | 12.5498 | 0 | 9.4526 | 7.3404 | -50.2565 | -46.3511 | -2.8628 | -1.0426 | 94.4951 | 92.736 | 25.1842 | 30.909 | 36.6428 | 1.7591 | 0.1816 | 0.36256 | 0.28898 | 0 | 0.094905 | 0 | 1.7256 | -0.89459 | 94.4951
28 | 128.4944 | 2.6922 | 4.6196 | 0 | 48.4596 | 0 | 23.637 | 27.2384 | 12.5498 | 0 | 9.2976 | 7.3418 | -57.5879 | -53.2749 | -3.1948 | -1.1182 | 78.2483 | 91.6036 | 23.8787 | 34.2326 | 33.4923 | -13.3553 | 0.1135 | 0.2658 | 0.015234 | 0 | 0.092326 | 0 | 1.5396 | -15.3817 | 78.2483
29 | 133.4338 | 2.6922 | 8.2015 | 0 | 48.1957 | 0 | 23.637 | 27.2384 | 13.2416 | 0 | 10.2274 | 7.358 | -48.9809 | -45.2042 | -3.1314 | -0.64531 | 91.8109 | 104.7066 | 28.7523 | 38.0513 | 37.903 | -12.8956 | 0.1135 | 0.23091 | 0 | 0 | 0.093503 | 0 | 1.8632 | -15.1967 | 91.8109
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points