## kWh
Gas Transportation - Monthly report
May 2020
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 1757.281 | 763.7729 | 141.997 | 0 | 180.0592 | 419.4371 | 140.4891 | 4.9419 | 106.5838 | 113.4504 | -913.5844 | -832.814 | 0.96483 | -68.4451 | -12.3253 | 957.1471 | 1024.9341 | 253.9631 | 391.1099 | 379.8612 | 25.6276 | 2.4656 | 0 | 0 | 0.7346 | 0 | 22.3018 | 0.12557 | -67.5853 | -25.8293 | 957.1471
2 | 1795.3745 | 821.7471 | 136.2337 | 0 | 179.6764 | 405.7753 | 140.5343 | 4.9416 | 106.466 | 112.5907 | -915.2538 | -833.4874 | 0.6212 | -70.4519 | -11.3145 | 992.7114 | 1033.2252 | 275.2155 | 410.1608 | 347.8489 | 21.4386 | 1.7124 | 0 | 0 | 0.66813 | 0 | 18.3463 | 0.71166 | -80.0335 | 18.0811 | 992.7114
3 | 1798.4319 | 826.714 | 136.3516 | 0 | 184.5869 | 404.3359 | 140.5665 | 0 | 105.8771 | 112.6285 | -909.0177 | -827.1887 | 5.793 | -70.4492 | -11.3798 | 1002.0427 | 1027.1586 | 278.6713 | 402.0784 | 346.4088 | 20.79 | 1.5908 | 0 | 0 | 0.73514 | 0 | 18.5188 | -0.054694 | -74.2117 | 28.3058 | 1002.0427
4 | 2169.6714 | 1060.2277 | 157.3694 | 0 | 180.7091 | 420.8601 | 240.6493 | 0 | 109.8559 | 112.6673 | -915.3197 | -834.8559 | 1.8884 | -69.1329 | -11.3308 | 1367.019 | 1313.1687 | 363.6426 | 528.3306 | 421.1955 | 26.1334 | 1.9558 | 0 | 0 | 0.80418 | 0 | 21.713 | 1.6604 | 8.0375 | 19.6794 | 1367.019
5 | 2184.4221 | 1041.9973 | 130.8611 | 0 | 179.973 | 481.6572 | 240.3244 | 0 | 109.6091 | 112.8156 | -891.602 | -811.1077 | 22.6663 | -69.131 | -11.3632 | 1405.6357 | 1285.5061 | 373.2016 | 487.2799 | 425.0246 | 24.0084 | 1.9221 | 0 | 0 | 0.58871 | 0 | 22.4947 | -0.99709 | 24.3724 | 71.7488 | 1405.6357
6 | 2144.934 | 1030.5936 | 142.3123 | 0 | 185.0611 | 437.0736 | 240.5773 | 0 | 109.3162 | 113.3697 | -894.4545 | -834.8299 | 3.531 | -49.4017 | -10.2229 | 1363.8492 | 1356.3232 | 379.6172 | 536.1488 | 440.5573 | 25.3139 | 1.8812 | 0 | 0 | 0.79148 | 0 | 22.3626 | 0.27862 | -56.9585 | 39.1706 | 1363.8492
7 | 2123.3602 | 1018.8499 | 130.6368 | 0 | 183.6097 | 440.128 | 240.5732 | 0 | 109.5626 | 113.0242 | -912.6897 | -833.2955 | 1.1781 | -69.133 | -10.2612 | 1323.6946 | 1370.134 | 384.9658 | 522.0797 | 463.0884 | 27.8249 | 1.76 | 0 | 0 | 0.83249 | 0 | 24.9578 | 0.2745 | -72.4423 | -1.8219 | 1323.6946
8 | 2110.7771 | 964.3406 | 147.1931 | 0 | 185.246 | 411.6069 | 240.682 | 52.0469 | 109.6615 | 113.4021 | -900.7123 | -823.7371 | 11.0035 | -66.8333 | -10.142 | 1323.4668 | 1328.6278 | 364.9218 | 543.3465 | 420.3595 | 28.6605 | 1.5685 | 0 | 0 | 0.78435 | 0 | 26.5825 | -0.27485 | -43.3103 | 9.4887 | 1323.4668
9 | 1944.3438 | 864.7409 | 114.5183 | 0 | 183.6008 | 411.8665 | 240.5806 | 22.7478 | 106.289 | 113.2214 | -896.1967 | -824.0046 | -0.115 | -61.8211 | -10.3709 | 1161.3686 | 1133.8886 | 313.5538 | 486.6281 | 333.7067 | 23.0867 | 1.1982 | 0 | 0 | 0.68189 | 0 | 21.2548 | -0.04828 | -16.0429 | 20.4363 | 1161.3686
10 | 1982.941 | 899.6567 | 114.7486 | 0 | 179.5452 | 419.3763 | 240.5156 | 22.7892 | 106.3094 | 113.0767 | -916.4096 | -836.3347 | 0.30368 | -69.8587 | -10.2162 | 1179.6081 | 1058.1039 | 303.4202 | 430.1843 | 324.4994 | 23.992 | 1.3252 | 0 | 0 | 0.65213 | 0 | 21.6162 | 0.39842 | 81.853 | 15.6592 | 1179.6081
11 | 2172.3822 | 1000.3761 | 157.7072 | 0 | 184.1245 | 420.5965 | 240.4634 | 62.7144 | 106.4001 | 112.6521 | -898.0462 | -828.6565 | 2.0008 | -69.3861 | -0.003611 | 1386.988 | 1263.9401 | 378.3304 | 464.6709 | 420.9388 | 29.1487 | 2.4056 | 0 | 0 | 0.84786 | 0 | 26.1908 | -0.29559 | 54.0187 | 39.8805 | 1386.988
12 | 2162.3147 | 1042.9842 | 141.9365 | 0 | 179.6734 | 430.4615 | 240.5876 | 29.9968 | 96.6747 | 112.8604 | -863.3237 | -831.2261 | -1.8397 | -22.6234 | -9.4742 | 1411.8514 | 1327.2678 | 376.9235 | 529.6439 | 420.7004 | 25.9582 | 1.9136 | 0 | 0 | 0.82613 | 0 | 22.9177 | 0.30081 | 19.769 | 38.8564 | 1411.8514
13 | 2219.6871 | 1031.1193 | 130.6964 | 0 | 184.4558 | 411.4492 | 241.2308 | 123.7949 | 96.9407 | 112.9546 | -874.6383 | -821.1298 | 10.9391 | -43.3684 | -10.14 | 1458.0035 | 1437.0823 | 382.6052 | 562.3217 | 492.1554 | 28.8383 | 2.4625 | 0 | 0 | 0.83919 | 0 | 25.7422 | -0.20556 | 20.2322 | -28.1492 | 1458.0035
14 | 2135.3679 | 892.1209 | 153.0436 | 0 | 184.0378 | 421.0452 | 235.911 | 152.4927 | 96.7168 | 113.6407 | -882.5716 | -825.3854 | 4.3147 | -46.8607 | -10.3256 | 1366.437 | 1313.832 | 377.5452 | 517.9521 | 418.3347 | 26.9106 | 1.8392 | 0 | 0 | 0.84244 | 0 | 24.1224 | 0.10649 | -15.9346 | 41.629 | 1366.437
15 | 2164.0467 | 900.5817 | 180.0332 | 0 | 183.775 | 413.6319 | 235.4909 | 152.5913 | 97.9428 | 113.5957 | -885.7548 | -811.1824 | 24.3003 | -64.3699 | -10.2025 | 1391.8877 | 1337.176 | 365.9828 | 556.9653 | 414.2279 | 26.1123 | 1.8811 | 0 | 0 | 0.59407 | 0 | 24.4764 | -0.83924 | 32.0377 | -3.4383 | 1391.8877
16 | 1914.9914 | 749.9486 | 159.0612 | 0 | 180.6818 | 420.9757 | 171.8315 | 130.2466 | 102.2461 | 113.155 | -882.756 | -813.9612 | 19.7511 | -58.8473 | -9.9475 | 1145.3904 | 1081.4324 | 309.8497 | 449.9825 | 321.6002 | 20.6509 | 1.8011 | 0 | 0 | 0.44733 | 0 | 19.5201 | -1.1176 | 10.0766 | 33.2305 | 1145.3904
17 | 1841.8444 | 708.556 | 141.8623 | 0 | 181.4784 | 413.8195 | 171.0335 | 122.9046 | 102.1902 | 113.2568 | -908.7254 | -828.6534 | 5.305 | -69.8571 | -10.215 | 1046.3758 | 1045.7577 | 298.635 | 415.8277 | 331.2951 | 20.5214 | 1.3626 | 0 | 0 | 0.37553 | 0 | 18.1211 | 0.66217 | -4.5781 | -15.3253 | 1046.3758
18 | 2158.8558 | 922.2743 | 157.8785 | 0 | 183.1528 | 421.4578 | 239.3066 | 129.3863 | 105.3995 | 111.8886 | -861.0987 | -822.0883 | 1.4894 | -29.0848 | -9.9256 | 1409.6458 | 1355.9056 | 384.3238 | 548.0069 | 423.5749 | 33.3497 | 1.5234 | 0 | 0 | 0.50282 | 0 | 25.401 | 5.9224 | -13.063 | 33.4535 | 1409.6458
19 | 2208.5395 | 953.2066 | 142.1918 | 0 | 185.0526 | 451.6998 | 239.3557 | 131.6905 | 105.3425 | 112.8906 | -851.9908 | -818.6221 | 1.1988 | -23.2745 | -10.0942 | 1469.4393 | 1460.4646 | 388.8716 | 631.1712 | 440.4218 | 32.9965 | 1.5537 | 0 | 0 | 0.52397 | 0 | 28.6123 | 2.3066 | -21.3244 | -2.6974 | 1469.4393
20 | 2142.1833 | 860.4166 | 131.0379 | 0 | 183.3152 | 493.7555 | 239.4038 | 129.3194 | 104.935 | 112.4514 | -857.3047 | -826.3304 | -2.6454 | -20.7848 | -10.1894 | 1397.33 | 1392.516 | 389.1677 | 573.5933 | 429.755 | 28.33 | 1.3375 | 0 | 0 | 0.81635 | 0 | 26.4444 | -0.26818 | -12.3162 | -11.1998 | 1397.33
21 | 2033.2776 | 743.3764 | 130.9821 | 0 | 170.1174 | 495.3323 | 239.3725 | 154.6925 | 99.4043 | 112.4105 | -846.409 | -816.4547 | 4.5797 | -20.6279 | -9.3264 | 1299.2791 | 1239.7192 | 382.6817 | 435.2048 | 421.8327 | 27.3232 | 1.107 | 0 | 0 | 0.82621 | 0 | 25.7268 | -0.3368 | 39.2877 | -7.051 | 1299.2791
22 | 1998.9702 | 715.8225 | 146.929 | 0 | 165.0128 | 497.9847 | 240.1806 | 137.0667 | 95.9739 | 111.3875 | -889.7028 | -828.3577 | -4.4453 | -51.6661 | -9.6789 | 1220.655 | 1180.7195 | 354.785 | 434.1169 | 391.8177 | 27.2947 | 1.2112 | 0 | 0 | 0.76015 | 0 | 24.3556 | 0.9677 | -5.8677 | 18.5085 | 1220.655
23 | 1790.1009 | 560.7976 | 98.1486 | 0 | 177.8612 | 596.4628 | 175.2246 | 85.6266 | 95.9796 | 112.0973 | -870.5944 | -798.3706 | -8.9643 | -61.4009 | -10.8228 | 1031.6038 | 1029.1587 | 294.5844 | 426.7075 | 307.8668 | 19.9716 | 1.0614 | 0 | 0 | 0.69927 | 0 | 19.5141 | -1.3032 | -0.63738 | -16.8891 | 1031.6038
24 | 1700.5576 | 489.603 | 98.0026 | 0 | 170.0313 | 595.7807 | 175.1814 | 72.7665 | 99.1922 | 112.257 | -786.7522 | -718.7344 | -3.721 | -57.1244 | -10.8933 | 1026.0624 | 1001.7919 | 285.2292 | 415.6259 | 300.9368 | 21.6042 | 1.1394 | 0 | 0 | 0.65983 | 0 | 19.0524 | 0.7525 | 2.9907 | -0.32443 | 1026.0624
25 | 1965.3223 | 583.743 | 153.1011 | 3.009 | 175.0104 | 588.3832 | 239.8546 | 109.7591 | 112.4619 | 111.3667 | -777.327 | -713.8982 | -3.0324 | -53.6649 | -9.7639 | 1299.3619 | 1283.5144 | 363.0353 | 510.5351 | 409.9441 | 31.1351 | 1.4404 | 0 | 0 | 0.7873 | 0 | 25.8848 | 3.0226 | -19.1485 | 3.8609 | 1299.3619
26 | 1907.749 | 596.0394 | 142.2447 | 3.2049 | 175.6591 | 584.5613 | 164.3128 | 142.4361 | 99.2907 | 110.8208 | -671.4199 | -649.2847 | -13.596 | -13.1071 | -9.0281 | 1347.15 | 1345.1015 | 375.8321 | 542.8963 | 426.3732 | 24.5526 | 1.4688 | 0 | 0 | 0.014691 | 0 | 26.0459 | -2.9767 | 18.9227 | -41.4268 | 1347.15
27 | 1828.3 | 788.4928 | 114.9688 | 0 | 175.7538 | 432.6304 | 164.4612 | 112.4102 | 39.5827 | 111.3788 | -664.6868 | -641.6829 | -11.0194 | -13.1702 | -9.8337 | 1274.992 | 1294.5707 | 376.3097 | 509.9475 | 408.3136 | 25.457 | 1.4869 | 0 | 0 | 0.82605 | 0 | 23.4028 | -0.2587 | -11.5843 | -33.4514 | 1274.992
28 | 1826.5178 | 645.8824 | 120.426 | 0 | 175.6114 | 540.325 | 164.5945 | 145.0128 | 34.6657 | 112.5039 | -654.3193 | -621.921 | -3.6823 | -23.4816 | -8.9167 | 1284.7024 | 1300.3008 | 374.4049 | 521.0985 | 404.7974 | 26.3488 | 1.4713 | 0 | 0 | 0.75648 | 0 | 25.0154 | -0.89444 | -57.8946 | 15.9474 | 1284.7024
29 | 1787.7614 | 580.0323 | 147.471 | 0 | 175.8131 | 545.1736 | 164.5268 | 139.9976 | 34.747 | 112.5447 | -535.7405 | -500.4988 | -2.1996 | -27.032 | -8.2097 | 1364.5656 | 1341.1255 | 361.7804 | 577.9064 | 401.4387 | 26.9569 | 1.4472 | 0 | 0 | 0.64682 | 0 | 24.8687 | -0.005818 | -11.693 | 8.1761 | 1364.5656
30 | 1744.9572 | 554.3906 | 98.3552 | 0 | 175.4371 | 558.1081 | 162.2828 | 155.0124 | 41.3711 | 111.9986 | -605.1825 | -546.1571 | 27.1636 | -49.2195 | -9.8058 | 1251.7734 | 1203.9565 | 307.1873 | 581.5622 | 315.2071 | 20.3302 | 1.1215 | 0 | 0 | 0.45482 | 0 | 18.7752 | -0.021365 | 20.2296 | 7.257 | 1251.7734
31 | 1714.2839 | 535.1057 | 98.4133 | 0 | 175.2111 | 552.798 | 162.3601 | 109.2628 | 81.1329 | 112.2539 | -735.7881 | -661.5212 | -3.1888 | -64.3522 | -9.9147 | 1090.7497 | 1077.2383 | 282.8948 | 493.7137 | 300.6298 | 19.7851 | 1.128 | 0 | 0 | 0.38579 | 0 | 17.8622 | 0.40911 | -40.8516 | 34.5779 | 1090.7497
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Transportation - Monthly report
May 2020
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 153.0245 | 67.1747 | 12.3375 | 0 | 15.4041 | 36.5251 | 12.1306 | 0.42921 | 9.0234 | 10.1682 | -79.619 | -72.5281 | 0.086474 | -6.0225 | -1.0685 | 83.5737 | 91.8612 | 22.7618 | 35.0538 | 34.0456 | 0.084895 | 0.21528 | 0 | 0 | 0.066557 | 0 | 1.9988 | -2.1958 | -6.0574 | -2.315 | 83.5737
2 | 156.3233 | 72.22 | 11.8559 | 0 | 15.3973 | 35.2702 | 12.1276 | 0.42925 | 9.0231 | 10.0911 | -79.7796 | -72.6024 | 0.055676 | -6.1965 | -0.98066 | 86.6348 | 92.6043 | 24.6666 | 36.7612 | 31.1765 | -0.4169 | 0.14913 | 0 | 0 | 0.060557 | 0 | 1.6443 | -2.2709 | -7.1731 | 1.6205 | 86.6348
3 | 156.6295 | 72.6909 | 11.8542 | 0 | 15.8192 | 35.1384 | 12.1271 | 0 | 8.9997 | 10.0945 | -79.1584 | -71.9776 | 0.5192 | -6.1926 | -0.98822 | 87.5656 | 92.0606 | 24.9763 | 36.0369 | 31.0474 | -0.3806 | 0.13835 | 0 | 0 | 0.06663 | 0 | 1.6598 | -2.2454 | -6.6513 | 2.5369 | 87.5656
4 | 189.1286 | 93.2755 | 13.6902 | 0 | 15.4856 | 36.587 | 20.7551 | 0 | 9.3351 | 10.098 | -79.798 | -72.732 | 0.16925 | -6.0812 | -0.98478 | 119.4285 | 117.6946 | 32.592 | 47.3524 | 37.7503 | -0.75031 | 0.17006 | 0 | 0 | 0.07285 | 0 | 1.9461 | -2.9393 | 0.72037 | 1.7638 | 119.4285
5 | 190.5216 | 91.7954 | 11.3812 | 0 | 15.4168 | 41.9009 | 20.744 | 0 | 9.2832 | 10.1113 | -77.7862 | -70.7153 | 2.0315 | -6.088 | -0.98291 | 122.8466 | 115.2153 | 33.4487 | 43.6732 | 38.0934 | -0.98369 | 0.16728 | 0 | 0 | 0.053314 | 0 | 2.0161 | -3.2204 | 2.1844 | 6.4306 | 122.8466
6 | 186.8196 | 90.7003 | 12.3365 | 0 | 15.8238 | 37.9375 | 20.7535 | 0 | 9.2679 | 10.1609 | -78.0621 | -72.8316 | 0.31647 | -4.351 | -0.87953 | 118.9184 | 121.5624 | 34.0237 | 48.0531 | 39.4856 | -1.0498 | 0.1636 | 0 | 0 | 0.071323 | 0 | 2.0043 | -3.289 | -5.105 | 3.5107 | 118.9184
7 | 184.9721 | 89.6699 | 11.3829 | 0 | 15.6795 | 38.1788 | 20.7514 | 0 | 9.3097 | 10.13 | -79.4074 | -72.4395 | 0.10559 | -6.0844 | -0.88355 | 115.6946 | 122.8002 | 34.5031 | 46.7921 | 41.505 | -0.44962 | 0.153 | 0 | 0 | 0.074806 | 0 | 2.2369 | -2.9143 | -6.4927 | -0.16329 | 115.6946
8 | 183.7756 | 84.8507 | 12.7981 | 0 | 15.8397 | 35.6938 | 20.7582 | 4.5186 | 9.3166 | 10.1638 | -78.3142 | -71.5538 | 0.9862 | -5.8843 | -0.87607 | 115.6253 | 119.0802 | 32.7066 | 48.6982 | 37.6753 | -0.4236 | 0.13598 | 0 | 0 | 0.070914 | 0 | 2.3825 | -3.013 | -3.8817 | 0.85044 | 115.6253
9 | 169.1471 | 76.0607 | 9.9672 | 0 | 15.7162 | 35.6657 | 20.76 | 1.9749 | 9.0024 | 10.1476 | -78.0536 | -71.7157 | -0.010009 | -5.4422 | -0.89576 | 101.2411 | 101.6264 | 28.1027 | 43.6147 | 29.9089 | -0.77905 | 0.10391 | 0 | 0 | 0.061785 | 0 | 1.905 | -2.8497 | -1.4379 | 1.8316 | 101.2411
10 | 172.5848 | 79.1684 | 9.9588 | 0 | 15.3659 | 36.3466 | 20.7556 | 1.9766 | 9.0129 | 10.1347 | -79.8005 | -72.7742 | 0.027218 | -6.1476 | -0.87872 | 102.9189 | 94.8341 | 27.1945 | 38.5559 | 29.0837 | -0.65483 | 0.11483 | 0 | 0 | 0.0591 | 0 | 1.9374 | -2.7661 | 7.3362 | 1.4035 | 102.9189
11 | 189.2142 | 88.1018 | 13.6863 | 0 | 15.7386 | 36.4563 | 20.7563 | 5.4387 | 9.0361 | 10.0966 | -78.2316 | -72.1198 | 0.17932 | -6.1115 | -0.0003099 | 121.0792 | 113.2824 | 33.9084 | 41.6468 | 37.7272 | -0.61907 | 0.20858 | 0 | 0 | 0.076859 | 0 | 2.3474 | -3.2519 | 4.8415 | 3.5743 | 121.0792
12 | 188.5438 | 91.889 | 12.3311 | 0 | 15.3501 | 37.3923 | 20.7588 | 2.6005 | 8.222 | 10.1153 | -75.0564 | -72.2499 | -0.15991 | -1.9934 | -0.81305 | 123.6027 | 118.9583 | 33.7823 | 47.4701 | 37.7059 | -0.60995 | 0.16727 | 0 | 0 | 0.074863 | 0 | 2.054 | -2.9061 | 1.7718 | 3.4826 | 123.6027
13 | 193.5123 | 90.7904 | 11.3841 | 0 | 15.7738 | 35.7729 | 20.8368 | 10.7376 | 8.2168 | 10.1237 | -76.0937 | -71.3986 | 0.98043 | -3.8218 | -0.87327 | 127.5424 | 128.8006 | 34.2915 | 50.3989 | 44.1101 | -0.54862 | 0.21554 | 0 | 0 | 0.07599 | 0 | 2.3072 | -3.1473 | 1.8133 | -2.5229 | 127.5424
14 | 186.3797 | 78.5911 | 13.2826 | 0 | 15.7163 | 36.6927 | 20.6626 | 13.2497 | 8.1847 | 10.1852 | -77.148 | -72.1242 | 0.38671 | -4.1294 | -0.89438 | 119.4169 | 117.7541 | 33.838 | 46.4222 | 37.4938 | -0.64011 | 0.16206 | 0 | 0 | 0.076433 | 0 | 2.162 | -3.0406 | -1.4282 | 3.7311 | 119.4169
15 | 188.6982 | 79.3648 | 15.5857 | 0 | 15.6933 | 35.8919 | 20.6618 | 13.2583 | 8.2425 | 10.1812 | -77.5462 | -70.9909 | 2.178 | -5.6739 | -0.88146 | 121.3332 | 119.8463 | 32.8017 | 49.9188 | 37.1258 | -1.0764 | 0.16415 | 0 | 0 | 0.053908 | 0 | 2.1937 | -3.4882 | 2.8714 | -0.30817 | 121.3332
16 | 166.4526 | 66.0562 | 13.7517 | 0 | 15.4293 | 36.556 | 15.0689 | 11.1249 | 8.4655 | 10.1417 | -77.2516 | -71.2082 | 1.7702 | -5.1841 | -0.85935 | 99.3427 | 96.9249 | 27.7707 | 40.3303 | 28.8239 | -1.4637 | 0.15648 | 0 | 0 | 0.040593 | 0 | 1.7495 | -3.4103 | 0.90313 | 2.9783 | 99.3427
17 | 159.9862 | 62.3674 | 12.3297 | 0 | 15.506 | 35.9628 | 14.8813 | 10.4958 | 8.4432 | 10.1508 | -79.1249 | -72.0951 | 0.47546 | -6.1505 | -0.87925 | 91.0121 | 93.7275 | 26.7656 | 37.2691 | 29.6928 | -0.93154 | 0.11847 | 0 | 0 | 0.034067 | 0 | 1.6241 | -2.7082 | -0.41031 | -1.3735 | 91.0121
18 | 187.7044 | 81.0416 | 13.693 | 0 | 15.6651 | 36.5537 | 20.8051 | 11.2421 | 8.7037 | 10.0282 | -74.9254 | -71.5197 | 0.13349 | -2.5594 | -0.84627 | 122.8071 | 121.525 | 34.4456 | 49.1159 | 37.9635 | -0.5454 | 0.1324 | 0 | 0 | 0.045602 | 0 | 2.2766 | -3 | -1.1708 | 2.9983 | 122.8071
19 | 191.943 | 83.8113 | 12.3306 | 0 | 15.8469 | 39.1896 | 20.8021 | 11.2525 | 8.71 | 10.118 | -74.2325 | -71.3201 | 0.10745 | -2.0451 | -0.86736 | 127.8284 | 130.8962 | 34.8532 | 56.5696 | 39.4734 | -0.91484 | 0.13481 | 0 | 0 | 0.047484 | 0 | 2.5644 | -3.6616 | -1.9112 | -0.24176 | 127.8284
20 | 186.284 | 75.5998 | 11.3833 | 0 | 15.7027 | 42.8713 | 20.7994 | 11.2363 | 8.6913 | 10.0786 | -74.4876 | -71.7817 | -0.2298 | -1.8282 | -0.87777 | 121.875 | 124.8062 | 34.8797 | 51.4091 | 38.5174 | -0.82356 | 0.11635 | 0 | 0 | 0.073983 | 0 | 2.3701 | -3.384 | -1.1039 | -1.0038 | 121.875
21 | 176.6174 | 65.1526 | 11.3881 | 0 | 14.5601 | 43.0384 | 20.795 | 13.4409 | 8.2423 | 10.075 | -73.4901 | -70.8673 | 0.41046 | -1.8132 | -0.80953 | 113.2023 | 111.1116 | 34.2984 | 39.0059 | 37.8074 | -0.79855 | 0.095766 | 0 | 0 | 0.074875 | 0 | 2.3058 | -3.275 | 3.5212 | -0.63196 | 113.2023
22 | 173.4653 | 62.702 | 12.7949 | 0 | 14.1194 | 43.2515 | 20.7907 | 11.8868 | 7.9199 | 9.9833 | -77.1242 | -71.7562 | -0.38507 | -4.5287 | -0.83928 | 106.3244 | 105.8237 | 31.7981 | 38.9084 | 35.1172 | -0.63227 | 0.10559 | 0 | 0 | 0.068902 | 0 | 2.1829 | -2.9897 | -0.5259 | 1.6589 | 106.3244
23 | 155.6831 | 49.3431 | 8.5491 | 0 | 15.2099 | 51.8586 | 15.1655 | 7.4399 | 8.1171 | 10.0469 | -75.3319 | -69.0108 | -0.77487 | -5.3815 | -0.93959 | 90.3981 | 92.2398 | 26.4025 | 38.2443 | 27.593 | -0.27085 | 0.092908 | 0 | 0 | 0.063317 | 0 | 1.749 | -2.1761 | -0.057126 | -1.5137 | 90.3981
24 | 147.6308 | 43.0789 | 8.5364 | 0 | 14.5403 | 51.7993 | 15.1604 | 6.3225 | 8.1931 | 10.0612 | -68.2404 | -62.289 | -0.32248 | -5.0066 | -0.94485 | 89.4516 | 89.787 | 25.5641 | 37.2511 | 26.9719 | -0.57445 | 0.099735 | 0 | 0 | 0.059748 | 0 | 1.7076 | -2.4415 | 0.26805 | -0.029077 | 89.4516
25 | 170.1878 | 51.09 | 13.2788 | 0.26513 | 14.9842 | 50.9992 | 20.7473 | 9.5144 | 9.3087 | 9.9814 | -67.4006 | -61.8515 | -0.26272 | -4.7033 | -0.8458 | 112.7686 | 115.0368 | 32.5376 | 45.7574 | 36.7418 | -0.89806 | 0.12496 | 0 | 0 | 0.071384 | 0 | 2.32 | -3.4144 | -1.7162 | 0.34604 | 112.7686
26 | 165.2848 | 52.1657 | 12.3289 | 0.28287 | 15.0581 | 50.7067 | 14.2064 | 12.3418 | 8.1943 | 9.9325 | -58.1762 | -56.2463 | -1.1778 | -1.1479 | -0.78206 | 117.041 | 120.5566 | 33.6845 | 48.6579 | 38.2143 | -1.4987 | 0.12744 | 0 | 0 | 0.0013304 | 0 | 2.3344 | -3.9618 | 1.696 | -3.7129 | 117.041
27 | 158.9581 | 69.0866 | 9.9617 | 0 | 15.0521 | 37.6237 | 14.2151 | 9.7387 | 3.2802 | 9.9825 | -57.5636 | -55.558 | -0.95408 | -1.1527 | -0.85286 | 111.377 | 116.0278 | 33.7273 | 45.7048 | 36.5957 | -0.61439 | 0.12891 | 0 | 0 | 0.074883 | 0 | 2.0975 | -2.9157 | -1.0383 | -2.9981 | 111.377
28 | 158.5892 | 56.5988 | 10.4289 | 0 | 15.033 | 46.943 | 14.214 | 12.4975 | 2.874 | 10.0833 | -56.741 | -53.908 | -0.31918 | -2.0577 | -0.77539 | 111.9315 | 116.5413 | 33.5566 | 46.7042 | 36.2805 | -0.85024 | 0.12792 | 0 | 0 | 0.068576 | 0 | 2.242 | -3.2888 | -5.1889 | 1.4293 | 111.9315
29 | 155.037 | 50.7509 | 12.8032 | 0 | 15.0415 | 47.34 | 14.2157 | 12.009 | 2.8767 | 10.087 | -46.5466 | -43.4636 | -0.19101 | -2.37 | -0.713 | 118.5773 | 120.2003 | 32.4251 | 51.7957 | 35.9795 | -1.3077 | 0.12592 | 0 | 0 | 0.058636 | 0 | 2.2289 | -3.7212 | -1.048 | 0.7328 | 118.5773
30 | 151.2815 | 48.5796 | 8.5443 | 0 | 15.0113 | 48.4319 | 14.0212 | 13.2829 | 3.4104 | 10.038 | -52.4974 | -47.3366 | 2.4346 | -4.3094 | -0.85146 | 108.8222 | 107.9063 | 27.5321 | 52.1233 | 28.2509 | -1.5477 | 0.097534 | 0 | 0 | 0.041226 | 0 | 1.6828 | -3.3692 | 1.8131 | 0.65042 | 108.8222
31 | 148.6381 | 46.775 | 8.55 | 0 | 15.0124 | 48.0375 | 14.0233 | 9.4936 | 6.7463 | 10.0609 | -63.7967 | -57.3084 | -0.27625 | -5.628 | -0.86028 | 94.9023 | 96.549 | 25.3549 | 44.2498 | 26.9444 | -1.0844 | 0.098012 | 0 | 0 | 0.034982 | 0 | 1.6009 | -2.8184 | -3.6614 | 3.0991 | 94.9023
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Transportation - Monthly report
May 2020
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 166.2085 | 72.2398 | 13.4305 | 0 | 17.0305 | 39.6715 | 13.2879 | 0.46742 | 10.081 | 10.7305 | -86.4093 | -78.7699 | 0.091256 | -6.4737 | -1.1658 | 90.5296 | 96.9411 | 24.0205 | 36.9923 | 35.9283 | 2.4239 | 0.23321 | 0 | 0 | 0.06948 | 0 | 2.1094 | 0.011876 | -6.3924 | -2.443 | 90.5296
2 | 169.8115 | 77.7231 | 12.8854 | 0 | 16.9943 | 38.3793 | 13.2921 | 0.46739 | 10.0699 | 10.6491 | -86.5672 | -78.8335 | 0.058754 | -6.6635 | -1.0702 | 93.8934 | 97.7253 | 26.0306 | 38.7941 | 32.9005 | 2.0277 | 0.16197 | 0 | 0 | 0.063193 | 0 | 1.7352 | 0.06731 | -7.5698 | 1.7102 | 93.8934
3 | 170.1007 | 78.1929 | 12.8965 | 0 | 17.4587 | 38.2432 | 13.2952 | 0 | 10.0142 | 10.6527 | -85.9774 | -78.2378 | 0.54791 | -6.6633 | -1.0763 | 94.776 | 97.1515 | 26.3575 | 38.0297 | 32.7643 | 1.9664 | 0.15046 | 0 | 0 | 0.069532 | 0 | 1.7516 | -0.0051731 | -7.0191 | 2.6772 | 94.776
4 | 205.2135 | 100.2793 | 14.8844 | 0 | 17.092 | 39.8061 | 22.7613 | 0 | 10.3905 | 10.6564 | -86.5735 | -78.963 | 0.17861 | -6.5388 | -1.0717 | 129.2964 | 124.2031 | 34.3943 | 49.971 | 39.8378 | 2.4718 | 0.18499 | 0 | 0 | 0.076062 | 0 | 2.0537 | 0.15704 | 0.76021 | 1.8613 | 129.2964
5 | 206.6087 | 98.555 | 12.3772 | 0 | 17.0223 | 45.5565 | 22.7305 | 0 | 10.3671 | 10.6704 | -84.3302 | -76.7168 | 2.1438 | -6.5386 | -1.0748 | 132.9489 | 121.5867 | 35.2984 | 46.0883 | 40.2 | 2.2708 | 0.1818 | 0 | 0 | 0.055682 | 0 | 2.1276 | -0.094308 | 2.3052 | 6.7862 | 132.9489
6 | 202.8738 | 97.4764 | 13.4603 | 0 | 17.5036 | 41.3396 | 22.7545 | 0 | 10.3394 | 10.7228 | -84.6 | -78.9605 | 0.33397 | -4.6726 | -0.96691 | 128.9966 | 128.2848 | 35.9053 | 50.7104 | 41.6691 | 2.3943 | 0.17793 | 0 | 0 | 0.07486 | 0 | 2.1151 | 0.026353 | -5.3873 | 3.7049 | 128.9966
7 | 200.8333 | 96.3657 | 12.356 | 0 | 17.3663 | 41.6285 | 22.7541 | 0 | 10.3627 | 10.6901 | -86.3247 | -78.8154 | 0.11143 | -6.5388 | -0.97054 | 125.1987 | 129.5911 | 36.4111 | 49.3797 | 43.8002 | 2.6318 | 0.16647 | 0 | 0 | 0.078739 | 0 | 2.3606 | 0.025963 | -6.8518 | -0.17232 | 125.1987
8 | 199.6431 | 91.21 | 13.9219 | 0 | 17.5211 | 38.9309 | 22.7644 | 4.9227 | 10.3721 | 10.7259 | -85.1919 | -77.9113 | 1.0407 | -6.3213 | -0.95926 | 125.1772 | 125.6653 | 34.5153 | 51.3912 | 39.7588 | 2.7108 | 0.14835 | 0 | 0 | 0.074186 | 0 | 2.5142 | -0.025996 | -4.0964 | 0.89747 | 125.1772
9 | 183.9014 | 81.7896 | 10.8315 | 0 | 17.3655 | 38.9555 | 22.7548 | 2.1515 | 10.0531 | 10.7088 | -84.7648 | -77.9366 | -0.010877 | -5.8472 | -0.98091 | 109.8455 | 107.2463 | 29.6568 | 46.0266 | 31.5629 | 2.1836 | 0.11333 | 0 | 0 | 0.064495 | 0 | 2.0103 | -0.0045667 | -1.5174 | 1.9329 | 109.8455
10 | 187.5521 | 85.092 | 10.8532 | 0 | 16.9819 | 39.6658 | 22.7486 | 2.1555 | 10.055 | 10.6951 | -86.6766 | -79.1029 | 0.028723 | -6.6074 | -0.96628 | 111.5706 | 100.0784 | 28.6983 | 40.688 | 30.6921 | 2.2692 | 0.12535 | 0 | 0 | 0.061681 | 0 | 2.0445 | 0.037684 | 7.7419 | 1.4811 | 111.5706
11 | 205.4699 | 94.6183 | 14.9164 | 0 | 17.415 | 39.7812 | 22.7437 | 5.9317 | 10.0636 | 10.6549 | -84.9397 | -78.3766 | 0.18924 | -6.5627 | -0.0003415 | 131.1852 | 119.547 | 35.7835 | 43.9499 | 39.8136 | 2.757 | 0.22753 | 0 | 0 | 0.080193 | 0 | 2.4772 | -0.027958 | 5.1092 | 3.772 | 131.1852
12 | 204.5177 | 98.6483 | 13.4247 | 0 | 16.994 | 40.7142 | 22.7554 | 2.8372 | 9.1438 | 10.6746 | -81.6555 | -78.6197 | -0.17401 | -2.1398 | -0.89609 | 133.5368 | 125.5367 | 35.6505 | 50.0952 | 39.791 | 2.4552 | 0.18099 | 0 | 0 | 0.078138 | 0 | 2.1676 | 0.028451 | 1.8698 | 3.6751 | 133.5368
13 | 209.9442 | 97.5261 | 12.3616 | 0 | 17.4463 | 38.916 | 22.8163 | 11.7089 | 9.1689 | 10.6836 | -82.7257 | -77.6647 | 1.0347 | -4.1019 | -0.95907 | 137.902 | 135.9232 | 36.1879 | 53.1859 | 46.5494 | 2.7276 | 0.23291 | 0 | 0 | 0.079373 | 0 | 2.4348 | -0.019443 | 1.9136 | -2.6624 | 137.902
14 | 201.969 | 84.3793 | 14.4753 | 0 | 17.4068 | 39.8236 | 22.3131 | 14.4232 | 9.1477 | 10.7485 | -83.4761 | -78.0672 | 0.40809 | -4.4322 | -0.97662 | 129.2414 | 124.2659 | 35.7093 | 48.9893 | 39.5673 | 2.5453 | 0.17396 | 0 | 0 | 0.079681 | 0 | 2.2816 | 0.010072 | -1.5071 | 3.9374 | 129.2414
15 | 204.6815 | 85.1795 | 17.028 | 0 | 17.3819 | 39.1224 | 22.2734 | 14.4325 | 9.2637 | 10.7442 | -83.7771 | -76.7239 | 2.2984 | -6.0883 | -0.96498 | 131.6486 | 126.4738 | 34.6157 | 52.6793 | 39.1788 | 2.4698 | 0.17792 | 0 | 0 | 0.056189 | 0 | 2.315 | -0.079378 | 3.0302 | -0.32521 | 131.6486
16 | 181.1252 | 70.9322 | 15.0444 | 0 | 17.0894 | 39.817 | 16.2523 | 12.3191 | 9.6707 | 10.7025 | -83.4935 | -76.9867 | 1.8681 | -5.5659 | -0.94086 | 108.3342 | 102.2849 | 29.3064 | 42.5606 | 30.4178 | 1.9532 | 0.17035 | 0 | 0 | 0.04231 | 0 | 1.8463 | -0.10571 | 0.95307 | 3.143 | 108.3342
17 | 174.2067 | 67.0172 | 13.4177 | 0 | 17.1647 | 39.1402 | 16.1768 | 11.6247 | 9.6654 | 10.7121 | -85.9498 | -78.3763 | 0.50176 | -6.6073 | -0.96616 | 98.9691 | 98.9107 | 28.2457 | 39.3301 | 31.3348 | 1.941 | 0.12888 | 0 | 0 | 0.035519 | 0 | 1.7139 | 0.06263 | -0.43301 | -1.4495 | 98.9691
18 | 204.1906 | 87.2313 | 14.9326 | 0 | 17.3231 | 39.8627 | 22.6343 | 12.2377 | 9.969 | 10.5827 | -81.4451 | -77.7554 | 0.14087 | -2.7509 | -0.93879 | 133.3282 | 128.2453 | 36.3504 | 51.832 | 40.0629 | 3.1543 | 0.14409 | 0 | 0 | 0.047559 | 0 | 2.4025 | 0.56016 | -1.2355 | 3.1641 | 133.3282
19 | 208.8898 | 90.1569 | 13.4489 | 0 | 17.5028 | 42.723 | 22.6389 | 12.4557 | 9.9636 | 10.6775 | -80.5836 | -77.4275 | 0.11339 | -2.2014 | -0.95473 | 138.9836 | 138.1348 | 36.7805 | 59.6979 | 41.6563 | 3.1209 | 0.14695 | 0 | 0 | 0.049559 | 0 | 2.7062 | 0.21816 | -2.0169 | -0.25513 | 138.9836
20 | 202.6136 | 81.3806 | 12.3939 | 0 | 17.3385 | 46.7008 | 22.6435 | 12.2314 | 9.925 | 10.636 | -81.0863 | -78.1566 | -0.25021 | -1.9659 | -0.96375 | 132.1633 | 131.708 | 36.8086 | 54.252 | 40.6474 | 2.6795 | 0.1265 | 0 | 0 | 0.077213 | 0 | 2.5012 | -0.025365 | -1.1649 | -1.0593 | 132.1633
21 | 192.313 | 70.3106 | 12.3887 | 0 | 16.0902 | 46.8499 | 22.6405 | 14.6312 | 9.4019 | 10.6321 | -80.0557 | -77.2226 | 0.43316 | -1.951 | -0.88212 | 122.8894 | 117.2561 | 36.1951 | 41.1629 | 39.8981 | 2.5843 | 0.10471 | 0 | 0 | 0.078145 | 0 | 2.4333 | -0.031855 | 3.7159 | -0.66691 | 122.8894
22 | 189.0681 | 67.7045 | 13.8969 | 0 | 15.6074 | 47.1008 | 22.7169 | 12.9641 | 9.0775 | 10.5353 | -84.1506 | -78.3484 | -0.42044 | -4.8867 | -0.91546 | 115.4529 | 111.6757 | 33.5565 | 41.06 | 37.0592 | 2.5816 | 0.11456 | 0 | 0 | 0.071897 | 0 | 2.3036 | 0.091528 | -0.55498 | 1.7506 | 115.4529
23 | 169.3127 | 53.0418 | 9.2832 | 0 | 16.8226 | 56.4151 | 16.5732 | 8.0988 | 9.078 | 10.6025 | -82.3432 | -75.5121 | -0.84787 | -5.8075 | -1.0236 | 97.5719 | 97.3407 | 27.8626 | 40.3592 | 29.1189 | 1.889 | 0.10039 | 0 | 0 | 0.066139 | 0 | 1.8457 | -0.12326 | -0.060286 | -1.5974 | 97.5719
24 | 160.8435 | 46.308 | 9.2694 | 0 | 16.082 | 56.3506 | 16.5691 | 6.8825 | 9.3819 | 10.6176 | -74.4132 | -67.9799 | -0.35194 | -5.403 | -1.0303 | 97.0478 | 94.7523 | 26.9778 | 39.311 | 28.4634 | 2.0434 | 0.10777 | 0 | 0 | 0.062409 | 0 | 1.802 | 0.071174 | 0.28287 | -0.030685 | 97.0478
25 | 185.8856 | 55.212 | 14.4807 | 0.28459 | 16.553 | 55.6509 | 22.6861 | 10.3813 | 10.637 | 10.5334 | -73.5217 | -67.5225 | -0.28681 | -5.0758 | -0.9235 | 122.8973 | 121.3984 | 34.3369 | 48.2878 | 38.7736 | 2.9448 | 0.13624 | 0 | 0 | 0.074465 | 0 | 2.4483 | 0.28588 | -1.8111 | 0.36518 | 122.8973
26 | 180.4402 | 56.3751 | 13.4539 | 0.30313 | 16.6143 | 55.2894 | 15.5412 | 13.472 | 9.3912 | 10.4817 | -63.5048 | -61.4111 | -1.2859 | -1.2397 | -0.8539 | 127.4172 | 127.2234 | 35.5472 | 51.3486 | 40.3276 | 2.3223 | 0.13892 | 0 | 0 | 0.0013895 | 0 | 2.4635 | -0.28155 | 1.7898 | -3.9183 | 127.4172
27 | 172.9257 | 74.5778 | 10.8741 | 0 | 16.6233 | 40.9194 | 15.5552 | 10.6321 | 3.7438 | 10.5345 | -62.8679 | -60.6921 | -1.0422 | -1.2457 | -0.9301 | 120.5923 | 122.4441 | 35.5924 | 48.2322 | 38.6194 | 2.4078 | 0.14063 | 0 | 0 | 0.07813 | 0 | 2.2135 | -0.024468 | -1.0957 | -3.1639 | 120.5923
28 | 172.7571 | 61.0894 | 11.3902 | 0 | 16.6098 | 51.1054 | 15.5678 | 13.7157 | 3.2788 | 10.6409 | -61.8873 | -58.823 | -0.34828 | -2.221 | -0.84336 | 121.5107 | 122.9861 | 35.4123 | 49.2869 | 38.2869 | 2.4921 | 0.13916 | 0 | 0 | 0.07155 | 0 | 2.366 | -0.084599 | -5.4758 | 1.5083 | 121.5107
29 | 169.0914 | 54.8611 | 13.9482 | 0 | 16.6289 | 51.564 | 15.5614 | 13.2414 | 3.2865 | 10.6448 | -50.6718 | -47.3386 | -0.20804 | -2.5568 | -0.7765 | 129.0644 | 126.8474 | 34.2182 | 54.66 | 37.9692 | 2.5497 | 0.13688 | 0 | 0 | 0.061178 | 0 | 2.3521 | -0.0005502 | -1.106 | 0.77332 | 129.0644
30 | 165.0429 | 52.4358 | 9.3027 | 0 | 16.5933 | 52.7874 | 15.3492 | 14.6615 | 3.913 | 10.5931 | -57.2398 | -51.6571 | 2.5692 | -4.6553 | -0.92746 | 118.3962 | 113.8735 | 29.0546 | 55.0058 | 29.8132 | 1.9229 | 0.10607 | 0 | 0 | 0.043018 | 0 | 1.7758 | -0.0020209 | 1.9134 | 0.68639 | 118.3962
31 | 162.1417 | 50.6118 | 9.3082 | 0 | 16.5719 | 52.2852 | 15.3565 | 10.3344 | 7.6738 | 10.6173 | -69.5929 | -62.5685 | -0.30161 | -6.0866 | -0.93776 | 103.1661 | 101.8882 | 26.757 | 46.6968 | 28.4344 | 1.8713 | 0.10669 | 0 | 0 | 0.036489 | 0 | 1.6895 | 0.038695 | -3.8639 | 3.2705 | 103.1661
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## GCV kWhNm3
Gas Transportation - Monthly report
May 2020
(Related GCV expressed in kWh/Nm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio
1 | 11.37 | 11.5094 | 11.335 | 11.689 | 11.4835 | 11.5814 | 11.514 | 11.8119 | 11.4532 | 11.335 | 11.4835 | 11.037 | 11.37
2 | 11.3784 | 11.4908 | 11.3297 | 11.6694 | 11.5048 | 11.588 | 11.5123 | 11.7993 | 11.4827 | 11.3297 | 11.5048 | 11.033 | 11.3784
3 | 11.373 | 11.5024 | 11.3297 | 11.6685 | 11.507 | 11.5911 | 11.5123 | 11.7645 | 11.4985 | 11.3297 | 11.507 | 11.0331 | 11.373
4 | 11.3666 | 11.4951 | 11.3318 | 11.6695 | 11.503 | 11.5947 | 11.5091 | 11.768 | 11.5007 | 11.3318 | 11.503 | 11.0388 | 11.3666
5 | 11.3513 | 11.498 | 11.3318 | 11.6738 | 11.4951 | 11.5853 | 11.5133 | 11.8072 | 11.4901 | 11.3318 | 11.4951 | 11.0424 | 11.3513
6 | 11.3626 | 11.5359 | 11.3318 | 11.6951 | 11.5209 | 11.5921 | 11.5091 | 11.7951 | 11.4985 | 11.3318 | 11.5209 | 11.0971 | 11.3626
7 | 11.3622 | 11.4766 | 11.3318 | 11.7102 | 11.5281 | 11.5931 | 11.5091 | 11.7687 | 11.5038 | 11.3318 | 11.5282 | 11.1286 | 11.3622
8 | 11.3651 | 11.5012 | 11.3297 | 11.695 | 11.5316 | 11.5946 | 11.5184 | 11.7706 | 11.5344 | 11.3297 | 11.5316 | 11.0607 | 11.3651
9 | 11.3691 | 11.4895 | 11.3297 | 11.6823 | 11.548 | 11.5887 | 11.5184 | 11.8067 | 11.5313 | 11.3297 | 11.548 | 11.0364 | 11.3691
10 | 11.3638 | 11.5223 | 11.3297 | 11.6847 | 11.5383 | 11.588 | 11.5293 | 11.7952 | 11.5408 | 11.3297 | 11.5383 | 11.0345 | 11.3638
11 | 11.3548 | 11.523 | 11.3297 | 11.6989 | 11.537 | 11.5851 | 11.5311 | 11.775 | 11.5334 | 11.3297 | 11.537 | 11.0314 | 11.3548
12 | 11.3505 | 11.5105 | 11.3392 | 11.705 | 11.512 | 11.5897 | 11.5348 | 11.758 | 11.4405 | 11.3392 | 11.512 | 11.0352 | 11.3505
13 | 11.3571 | 11.4806 | 11.3297 | 11.6938 | 11.5017 | 11.5772 | 11.5292 | 11.7979 | 11.4247 | 11.3297 | 11.5017 | 11.0435 | 11.3571
14 | 11.3514 | 11.5221 | 11.336 | 11.71 | 11.4749 | 11.4173 | 11.5091 | 11.8168 | 11.3487 | 11.336 | 11.4749 | 11.022 | 11.3514
15 | 11.3474 | 11.5512 | 11.3297 | 11.7104 | 11.5244 | 11.3974 | 11.5091 | 11.8827 | 11.4595 | 11.3297 | 11.5244 | 11.0201 | 11.3474
16 | 11.3532 | 11.5666 | 11.3297 | 11.7103 | 11.5159 | 11.403 | 11.7077 | 12.0779 | 11.5102 | 11.3297 | 11.5159 | 11.0198 | 11.3532
17 | 11.361 | 11.5057 | 11.3297 | 11.7038 | 11.5069 | 11.4932 | 11.7099 | 12.1032 | 11.5017 | 11.3297 | 11.5069 | 11.0232 | 11.361
18 | 11.3803 | 11.5298 | 11.3297 | 11.6918 | 11.5298 | 11.5023 | 11.5091 | 12.1098 | 11.5059 | 11.3297 | 11.5298 | 11.0263 | 11.3803
19 | 11.3733 | 11.5316 | 11.3392 | 11.6775 | 11.526 | 11.5063 | 11.7032 | 12.0944 | 11.5249 | 11.3392 | 11.526 | 11.0347 | 11.3733
20 | 11.3812 | 11.5114 | 11.3381 | 11.6741 | 11.5172 | 11.5101 | 11.5091 | 12.0735 | 11.4954 | 11.3381 | 11.5172 | 11.0344 | 11.3812
21 | 11.4098 | 11.5017 | 11.3371 | 11.6838 | 11.5091 | 11.5111 | 11.5091 | 12.0603 | 11.5598 | 11.3371 | 11.5091 | 11.0344 | 11.4098
22 | 11.4163 | 11.4834 | 11.3371 | 11.6869 | 11.5137 | 11.5523 | 11.531 | 12.118 | 11.4711 | 11.3371 | 11.5137 | 11.0324 | 11.4163
23 | 11.3653 | 11.4806 | 11.3297 | 11.6938 | 11.5017 | 11.5541 | 11.5091 | 11.8244 | 11.4247 | 11.3297 | 11.5017 | 11.0439 | 11.3653
24 | 11.3653 | 11.4806 | 11.3297 | 11.6938 | 11.5017 | 11.5552 | 11.5091 | 12.1068 | 11.4247 | 11.3297 | 11.5017 | 11.0436 | 11.3653
25 | 11.4258 | 11.5297 | 11.349 | 11.6797 | 11.5371 | 11.5608 | 11.5361 | 12.0814 | 11.527 | 11.5371 | 11.5371 | 11.0292 | 11.4258
26 | 11.4259 | 11.5375 | 11.3297 | 11.6654 | 11.5283 | 11.5661 | 11.5409 | 12.1171 | 11.5249 | 11.3297 | 11.5283 | 11.0423 | 11.4259
27 | 11.4131 | 11.5411 | 11.3297 | 11.6764 | 11.4989 | 11.5695 | 11.5427 | 12.0671 | 11.5344 | 11.3297 | 11.4989 | 11.0312 | 11.4131
28 | 11.4116 | 11.5473 | 11.3498 | 11.6817 | 11.5102 | 11.5798 | 11.6034 | 12.062 | 11.5017 | 11.3498 | 11.5102 | 11.0313 | 11.4116
29 | 11.429 | 11.5183 | 11.3508 | 11.6885 | 11.5161 | 11.5736 | 11.6578 | 12.079 | 11.4933 | 11.3508 | 11.5161 | 11.031 | 11.429
30 | 11.412 | 11.5113 | 11.3498 | 11.687 | 11.5236 | 11.5741 | 11.6701 | 12.1308 | 11.4985 | 11.3498 | 11.5236 | 11.0323 | 11.412
31 | 11.44 | 11.5103 | 11.3519 | 11.6711 | 11.5076 | 11.5779 | 11.5091 | 12.0262 | 11.5091 | 11.3519 | 11.5076 | 11.0281 | 11.44

## GCV kWhSm3
Gas Transportation - Monthly report
May 2020
(Related GCV expressed in kWh/Sm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio
1 | 10.7741 | 10.9063 | 10.741 | 11.0765 | 10.8818 | 10.9745 | 10.9107 | 11.193 | 10.853 | 10.741 | 10.8818 | 10.4587 | 10.7741
2 | 10.7821 | 10.8887 | 10.736 | 11.0579 | 10.9019 | 10.9807 | 10.909 | 11.181 | 10.881 | 10.736 | 10.9019 | 10.4548 | 10.7821
3 | 10.777 | 10.8996 | 10.736 | 11.0571 | 10.904 | 10.9837 | 10.909 | 11.148 | 10.896 | 10.736 | 10.904 | 10.455 | 10.777
4 | 10.771 | 10.8927 | 10.738 | 11.058 | 10.9002 | 10.9871 | 10.906 | 11.1513 | 10.898 | 10.738 | 10.9002 | 10.4603 | 10.771
5 | 10.7565 | 10.8954 | 10.738 | 11.0621 | 10.8928 | 10.9782 | 10.91 | 11.1885 | 10.888 | 10.738 | 10.8928 | 10.4638 | 10.7565
6 | 10.7672 | 10.9313 | 10.738 | 11.0823 | 10.9172 | 10.9847 | 10.906 | 11.177 | 10.896 | 10.738 | 10.9172 | 10.5156 | 10.7672
7 | 10.7668 | 10.8752 | 10.738 | 11.0966 | 10.924 | 10.9856 | 10.906 | 11.152 | 10.901 | 10.738 | 10.9241 | 10.5454 | 10.7668
8 | 10.7696 | 10.8985 | 10.736 | 11.0822 | 10.9273 | 10.987 | 10.9148 | 11.1538 | 10.93 | 10.736 | 10.9273 | 10.4811 | 10.7696
9 | 10.7733 | 10.8874 | 10.736 | 11.0701 | 10.9428 | 10.9814 | 10.9148 | 11.188 | 10.927 | 10.736 | 10.9428 | 10.4581 | 10.7733
10 | 10.7684 | 10.9185 | 10.736 | 11.0724 | 10.9336 | 10.9808 | 10.9251 | 11.1771 | 10.936 | 10.736 | 10.9336 | 10.4562 | 10.7684
11 | 10.7598 | 10.9191 | 10.736 | 11.0859 | 10.9324 | 10.978 | 10.9268 | 11.158 | 10.929 | 10.736 | 10.9324 | 10.4534 | 10.7598
12 | 10.7557 | 10.9073 | 10.745 | 11.0916 | 10.9088 | 10.9823 | 10.9304 | 11.1419 | 10.841 | 10.745 | 10.9088 | 10.457 | 10.7557
13 | 10.762 | 10.879 | 10.736 | 11.081 | 10.899 | 10.9705 | 10.925 | 11.1796 | 10.826 | 10.736 | 10.899 | 10.4648 | 10.762
14 | 10.7566 | 10.9183 | 10.742 | 11.0963 | 10.8736 | 10.819 | 10.906 | 11.1976 | 10.754 | 10.742 | 10.8736 | 10.4444 | 10.7566
15 | 10.7527 | 10.9459 | 10.736 | 11.0968 | 10.9205 | 10.8002 | 10.906 | 11.26 | 10.859 | 10.736 | 10.9205 | 10.4426 | 10.7527
16 | 10.7583 | 10.9605 | 10.736 | 11.0967 | 10.9125 | 10.8055 | 11.0942 | 11.445 | 10.907 | 10.736 | 10.9125 | 10.4423 | 10.7583
17 | 10.7657 | 10.9028 | 10.736 | 11.0905 | 10.9039 | 10.8909 | 11.0963 | 11.469 | 10.899 | 10.736 | 10.9039 | 10.4456 | 10.7657
18 | 10.7839 | 10.9257 | 10.736 | 11.0791 | 10.9256 | 10.8996 | 10.906 | 11.4752 | 10.903 | 10.736 | 10.9256 | 10.4485 | 10.7839
19 | 10.7773 | 10.9274 | 10.745 | 11.0656 | 10.922 | 10.9034 | 11.0899 | 11.4607 | 10.921 | 10.745 | 10.922 | 10.4564 | 10.7773
20 | 10.7848 | 10.9082 | 10.744 | 11.0624 | 10.9136 | 10.907 | 10.906 | 11.4408 | 10.893 | 10.744 | 10.9137 | 10.4561 | 10.7848
21 | 10.8119 | 10.899 | 10.743 | 11.0715 | 10.906 | 10.9079 | 10.906 | 11.4283 | 10.954 | 10.743 | 10.906 | 10.4562 | 10.8119
22 | 10.818 | 10.8817 | 10.743 | 11.0745 | 10.9103 | 10.9469 | 10.9268 | 11.483 | 10.87 | 10.743 | 10.9103 | 10.4543 | 10.818
23 | 10.7697 | 10.879 | 10.736 | 11.081 | 10.899 | 10.9487 | 10.906 | 11.2048 | 10.826 | 10.736 | 10.899 | 10.4652 | 10.7697
24 | 10.7697 | 10.879 | 10.736 | 11.081 | 10.899 | 10.9497 | 10.906 | 11.4724 | 10.826 | 10.736 | 10.899 | 10.4649 | 10.7697
25 | 10.827 | 10.9255 | 10.7543 | 11.0676 | 10.9325 | 10.955 | 10.9316 | 11.4483 | 10.923 | 10.9325 | 10.9325 | 10.4512 | 10.827
26 | 10.8272 | 10.9329 | 10.736 | 11.0541 | 10.9242 | 10.96 | 10.9362 | 11.4821 | 10.921 | 10.736 | 10.9242 | 10.4637 | 10.8272
27 | 10.815 | 10.9363 | 10.736 | 11.0645 | 10.8963 | 10.9632 | 10.9378 | 11.4348 | 10.93 | 10.736 | 10.8963 | 10.4532 | 10.815
28 | 10.8136 | 10.9422 | 10.755 | 11.0696 | 10.9071 | 10.9729 | 10.9953 | 11.4299 | 10.899 | 10.755 | 10.9071 | 10.4532 | 10.8136
29 | 10.8301 | 10.9147 | 10.756 | 11.076 | 10.9127 | 10.9671 | 11.0469 | 11.446 | 10.891 | 10.756 | 10.9127 | 10.453 | 10.8301
30 | 10.814 | 10.908 | 10.755 | 11.0746 | 10.9197 | 10.9676 | 11.0585 | 11.4952 | 10.896 | 10.755 | 10.9197 | 10.4542 | 10.814
31 | 10.8405 | 10.9072 | 10.757 | 11.0595 | 10.9046 | 10.9712 | 10.906 | 11.396 | 10.906 | 10.757 | 10.9046 | 10.4502 | 10.8405