## kWh
Gas Transportation - Monthly report
January 2021
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 1810.5704 | 733.9709 | 87.6096 | 0 | 712.8573 | 0 | 113.6953 | 142.734 | 0 | 19.7034 | 105.0499 | 688.1 | 667.1454 | 5.7526 | 15.4635 | 5.4911 | 2603.7203 | 2554.3014 | 231.6488 | 556.7045 | 1765.948 | 61.2107 | 7.1332 | 0 | 5.9229 | 0.93473 | 0 | 0 | 48.6273 | -1.4073 | -21.8234 | 10.0316 | 2603.7203
2 | 1767.0161 | 731.327 | 87.9214 | 0 | 672.2486 | 0 | 114.3611 | 141.4089 | 0 | 19.7491 | 107.5826 | 732.0996 | 691.3605 | 0.34446 | 36.0231 | 4.7161 | 2606.6983 | 2539.5133 | 264.4469 | 538.9875 | 1736.0788 | 66.7953 | 6.6913 | 0 | 7.6943 | 1.9265 | 0 | 0 | 51.0389 | -0.55568 | -9.6666 | 10.0563 | 2606.6983
3 | 1655.8007 | 764.7781 | 87.7433 | 0 | 523.9997 | 0 | 116.777 | 142.7795 | 0 | 19.7231 | 105.1543 | 781.7984 | 740.4981 | 1.2071 | 32.7597 | 8.5406 | 2542.7534 | 2539.8655 | 268.9236 | 584.1697 | 1686.7722 | 68.8255 | 6.4776 | 0 | 8.1732 | 1.1659 | 0 | 0 | 51.5092 | 1.4996 | -57.4555 | -8.4821 | 2542.7534
4 | 1862.3706 | 1029.9176 | 94.9313 | 0 | 393.5537 | 0 | 116.777 | 207.692 | 0 | 19.499 | 103.9747 | 1108.6154 | 1072.7911 | 1.9577 | 31.8867 | 3.9375 | 3074.9607 | 3110.2827 | 342.3405 | 873.7477 | 1894.1944 | 66.8515 | 6.9684 | 0 | 7.5953 | 2.7352 | 0 | 0 | 54.261 | -4.7085 | -86.67 | -15.5035 | 3074.9607
5 | 1979.4797 | 1146.1192 | 87.5924 | 0 | 401.4159 | 0 | 115.7373 | 208.9116 | 0 | 19.7033 | 105.6251 | 1264.0658 | 1155.2538 | 0.45798 | 93.4962 | 15.3158 | 3349.1706 | 3148.2573 | 352.2716 | 848.224 | 1947.7617 | 72.2552 | 7.007 | 0 | 1.3527 | 2.8042 | 0 | 0 | 57.6748 | 3.4166 | 102.0448 | 26.6134 | 3349.1706
6 | 1867.9583 | 1049.1603 | 76.6368 | 0 | 473.5915 | 0.4647 | 115.6865 | 142.7909 | 0 | 9.6276 | 105.4449 | 1116.341 | 1063.2892 | 0.60373 | 47.9474 | 5.1044 | 3089.7442 | 2988.3941 | 325.4118 | 780.5553 | 1882.427 | 58.9025 | 7.1261 | 0 | 0 | 2.669 | 0 | 0 | 51.1581 | -2.0506 | 28.0048 | 14.4428 | 3089.7442
7 | 2248.5351 | 1216.3841 | 87.5635 | 0 | 569.7039 | 115.4751 | 115.8552 | 142.734 | 0 | 0.81918 | 107.9389 | 1264.5233 | 1153.5548 | -3.7863 | 95.5644 | 15.4042 | 3620.9973 | 3551.0994 | 403.1959 | 1015.7456 | 2132.158 | 74.7839 | 7.9657 | 0 | 0 | 3.2025 | 0 | 0 | 61.6256 | 1.9902 | -28.0413 | 23.1553 | 3620.9973
8 | 2413.6523 | 1198.3379 | 87.6289 | 0 | 704.6012 | 131.3711 | 115.5354 | 175.7186 | 0 | 0.45906 | 104.4286 | 1192.8736 | 1089.8996 | 5.7894 | 90.3116 | 12.6625 | 3710.9545 | 3528.2786 | 412.8063 | 981.8051 | 2133.6672 | 74.7512 | 8.1661 | 0 | 0 | 3.3456 | 0 | 0 | 63.1975 | 0.041986 | 59.6037 | 48.321 | 3710.9545
9 | 2036.9408 | 997.9258 | 87.6061 | 0 | 737.9929 | 0 | 114.4117 | 98.7119 | 0 | 0.29235 | 107.3572 | 1181.0311 | 1128.2318 | 0.67673 | 41.1396 | 11.6597 | 3325.3292 | 3236.7632 | 365.968 | 797.0501 | 2073.7451 | 71.417 | 7.7252 | 0 | 11.0316 | 3.1415 | 0 | 0 | 56.4228 | -6.9041 | 1.3828 | 15.7662 | 3325.3292
10 | 2023.6498 | 969.1475 | 98.6281 | 0 | 741.1463 | 0 | 115.6841 | 98.8154 | 0 | 0.22845 | 105.3074 | 1052.8435 | 1030.1237 | 0.3015 | 13.2301 | 9.4897 | 3181.8006 | 3164.1271 | 352.261 | 776.3491 | 2035.5171 | 63.0995 | 7.7918 | 0 | 0 | 3.2288 | 0 | 0 | 51.4865 | 0.59235 | -84.871 | 39.4451 | 3181.8006
11 | 2722.268 | 1203.8886 | 136.5374 | 18.5704 | 718.8342 | 297.2908 | 116.0966 | 230.8572 | 0 | 0.19265 | 103.6446 | 1270.9413 | 1161.1379 | 2.3199 | 93.5638 | 16.2397 | 4096.8539 | 3890.8026 | 453.5455 | 1056.1863 | 2381.0707 | 81.1197 | 8.7078 | 0 | 0 | 4.0378 | 0 | 0 | 63.3079 | 5.0663 | 65.3094 | 59.6222 | 4096.8539
12 | 2758.0893 | 1227.6323 | 142.0485 | 20.3574 | 617.7477 | 402.7241 | 116.4895 | 230.8963 | 0 | 0.19356 | 105.9856 | 1268.7327 | 1158.9434 | 0.20017 | 93.5726 | 16.2167 | 4132.8076 | 3788.8644 | 462.2246 | 927.5647 | 2399.0752 | 72.1474 | 8.2459 | 0 | 0 | 1.9509 | 0 | 0 | 59.4004 | 2.5503 | 164.4299 | 107.3658 | 4132.8076
13 | 2392.3797 | 1187.9632 | 125.5187 | 0.10729 | 563.7721 | 168.741 | 116.5111 | 229.5491 | 0 | 0.21706 | 107.9155 | 1230.0558 | 1132.3668 | -23.4986 | 87.8745 | 9.8144 | 3730.351 | 3556.9783 | 456.308 | 807.8908 | 2292.7795 | 64.8254 | 6.7318 | 0 | 0 | 3.5649 | 0 | 0 | 55.2732 | -0.74454 | 17.5822 | 90.9651 | 3730.351
14 | 2292.3061 | 1208.8614 | 109.08 | 0 | 566.9471 | 70.9596 | 116.5194 | 219.7201 | 0 | 0.21862 | 107.7394 | 1264.3696 | 1158.0664 | 0.41729 | 90.0921 | 16.2111 | 3664.4151 | 3506.0015 | 447.9482 | 908.9721 | 2149.0811 | 63.2723 | 6.2195 | 0 | 0 | 1.7409 | 0 | 0 | 54.1863 | 1.1256 | 5.8819 | 89.2595 | 3664.4151
15 | 2331.3039 | 1189.3057 | 92.8302 | 0 | 610.5719 | 91.333 | 116.3327 | 230.7907 | 0 | 0.13978 | 104.0735 | 1264.2011 | 1158.4461 | -0.44399 | 89.5692 | 16.1858 | 3699.5785 | 3655.3322 | 453.1192 | 1007.469 | 2194.744 | 68.3249 | 7.3024 | 0 | 0 | 3.404 | 0 | 0 | 60.6386 | -3.0202 | -91.5048 | 67.4262 | 3699.5785
16 | 2069.8108 | 1035.4025 | 60.0027 | 0 | 682.1885 | 0 | 116.1914 | 175.8966 | 0 | 0.12925 | 108.0004 | 1122.1247 | 1063.7188 | 1.2066 | 52.7623 | 5.6436 | 3299.9358 | 3224.709 | 392.6255 | 738.3006 | 2093.7828 | 90.9406 | 7.4613 | 0 | 26.2245 | 3.1679 | 0 | 0 | 55.1812 | -1.0943 | -28.4574 | 12.7438 | 3299.9358
17 | 2095.0155 | 1032.8809 | 92.5606 | 0 | 677.8502 | 0 | 115.6612 | 175.9268 | 0 | 0.13576 | 107.4663 | 1225.8003 | 1179.8195 | -5.4408 | 40.1648 | 5.8161 | 3428.2822 | 3202.7879 | 378.1853 | 686.0507 | 2138.5519 | 73.773 | 7.2433 | 0 | 13.58 | 3.1732 | 0 | 0 | 51.6651 | -1.8887 | 108.9101 | 42.8111 | 3428.2822
18 | 2609.7489 | 1207.4693 | 98.0639 | 0 | 640.5133 | 308.8134 | 115.8021 | 238.9665 | 0 | 0.12037 | 105.0509 | 1339.349 | 1229.2536 | -2.5527 | 93.5534 | 16.5419 | 4054.1488 | 3872.8317 | 474.0551 | 974.6198 | 2424.1568 | 46.19 | 7.3572 | 0 | 0 | 3.6805 | 0 | 0 | 42.4537 | -7.3014 | 5.5821 | 129.5449 | 4054.1488
19 | 2526.5908 | 1221.7224 | 81.9011 | 0 | 609.4107 | 256.9477 | 115.9221 | 240.5904 | 0.00011 | 0.09626 | 108.0012 | 1307.4193 | 1224.4018 | -8.7472 | 66.4506 | 16.5669 | 3942.0113 | 3898.9674 | 480.1083 | 1012.8949 | 2405.9642 | 73.3499 | 7.479 | 0 | 0 | 3.4652 | 0 | 0 | 62.3981 | 0.007502 | -112.7553 | 82.4493 | 3942.0113
20 | 2393.5169 | 1212.6553 | 81.6972 | 0 | 617.2568 | 157.4456 | 115.6024 | 208.6644 | 0 | 0.19523 | 109.3717 | 1312.0119 | 1228.9878 | -4.2749 | 66.4405 | 16.5836 | 3814.9005 | 3772.4924 | 476.0345 | 1011.574 | 2284.8838 | 71.5361 | 7.2325 | 0 | 0 | 3.1731 | 0 | 0 | 61.726 | -0.59559 | -46.6765 | 17.5486 | 3814.9005
21 | 2167.1902 | 1130.891 | 81.6503 | 0 | 586.6613 | 10.74 | 116.4971 | 240.5186 | 0 | 0.23188 | 108.1498 | 1339.2055 | 1230.6149 | -1.5957 | 92.1936 | 16.3969 | 3614.5455 | 3516.8668 | 469.4969 | 908.22 | 2139.1499 | 71.3672 | 7.4234 | 0 | 0 | 3.0127 | 0 | 0 | 60.7788 | 0.15228 | -1.3084 | 27.6198 | 3614.5455
22 | 1953.97 | 976.3672 | 92.6065 | 0 | 558.9124 | 0 | 117.2365 | 208.5988 | 0 | 0.24872 | 103.7615 | 1240.2607 | 1166.6104 | -0.24855 | 61.2247 | 12.4256 | 3297.9922 | 3168.2438 | 451.2206 | 740.9798 | 1976.0434 | 86.4818 | 7.1713 | 0 | 17.5263 | 2.5123 | 0 | 0 | 59.9904 | -0.71851 | -17.3924 | 60.659 | 3297.9922
23 | 1767.6124 | 841.1472 | 81.6533 | 0 | 629.3958 | 0 | 116.5857 | 98.6813 | 0 | 0.1491 | 107.3123 | 1081.2402 | 1040.5381 | 0.12428 | 31.9977 | 8.7044 | 2956.1649 | 2650.2662 | 388.787 | 533.15 | 1728.3292 | 222.3684 | 6.1894 | 0 | 166.0629 | 2.4186 | 0 | 0 | 46.3165 | 1.381 | 44.4433 | 39.0869 | 2956.1649
24 | 1795.8568 | 841.2256 | 81.6951 | 0 | 657.8047 | 0 | 116.3939 | 98.7376 | 0 | 0 | 105.106 | 958.4054 | 929.7104 | 5.4091 | 20.4839 | 8.2111 | 2859.3683 | 2633.071 | 376.3844 | 478.3468 | 1778.3398 | 238.5546 | 6.5106 | 0 | 183.1775 | 2.6123 | 0 | 0 | 47.537 | -1.2828 | -34.0115 | 21.7541 | 2859.3683
25 | 2189.4689 | 1077.6335 | 119.6621 | 0 | 650.5374 | 0 | 116.436 | 225.1999 | 0 | 0 | 103.651 | 1261.0143 | 1157.6849 | 1.6208 | 90.7246 | 12.6047 | 3554.1342 | 3442.2308 | 472.0779 | 827.1481 | 2143.0048 | 89.6727 | 7.0814 | 0 | 20.1489 | 3.4748 | 0 | 0 | 59.8755 | -0.90794 | 12.1897 | 10.041 | 3554.1342
26 | 2250.2404 | 1094.5455 | 119.7433 | 0 | 694.1761 | 0 | 116.3551 | 225.4144 | 0 | 0.005864 | 105.3128 | 1240.4867 | 1139.2551 | -0.62562 | 89.2394 | 11.9922 | 3596.0398 | 3476.5674 | 475.8516 | 820.2147 | 2180.5011 | 78.6433 | 7.2822 | 0 | 12.5775 | 3.5134 | 0 | 0 | 57.1274 | -1.8571 | 7.886 | 32.943 | 3596.0398
27 | 2352.5259 | 1153.5438 | 87.1955 | 0 | 708.3083 | 62.9809 | 116.1749 | 224.3226 | 0 | 0 | 107.5425 | 1338.1819 | 1229.8242 | -3.4828 | 92.4296 | 15.9281 | 3798.2503 | 3794.4173 | 470.1011 | 921.1902 | 2403.126 | 75.1832 | 7.8106 | 0 | 0 | 1.737 | 0 | 0 | 62.7209 | 2.9146 | -33.1209 | -38.2293 | 3798.2503
28 | 2215.4114 | 1074.3846 | 87.2858 | 0 | 713.3651 | 0 | 115.7259 | 224.1657 | 0 | 0.48437 | 107.632 | 1329.9934 | 1225.785 | -3.1832 | 91.3921 | 12.8164 | 3653.0368 | 3530.985 | 475.1139 | 838.8375 | 2217.0336 | 77.7646 | 7.0824 | 0 | 10.4456 | 3.4576 | 0 | 0 | 59.2312 | -2.4521 | 21.8212 | 22.4659 | 3653.0368
29 | 2025.1718 | 891.2571 | 87.7396 | 0 | 703.8838 | 0 | 116.4421 | 224.9854 | 0 | 0.86383 | 103.8586 | 1252.1993 | 1160.7005 | -0.41846 | 83.9743 | 7.5244 | 3381.2297 | 3239.7041 | 459.9353 | 706.1375 | 2073.6312 | 92.1474 | 6.3378 | 0 | 23.2892 | 3.2072 | 0 | 0 | 59.8116 | -0.49846 | 26.4233 | 22.955 | 3381.2297
30 | 1910.3909 | 805.5758 | 87.6623 | 0 | 696.7345 | 0 | 116.2571 | 175.7164 | 0 | 28.4448 | 108.0409 | 861.3237 | 837.6331 | -0.4706 | 17.7695 | 5.9211 | 2879.7554 | 2648.2043 | 388.5986 | 534.3553 | 1725.2504 | 154.2429 | 5.7789 | 0 | 96.0925 | 2.3151 | 0 | 0 | 50.1719 | -0.11553 | 53.1326 | 24.1756 | 2879.7554
31 | 1906.2629 | 749.5741 | 87.765 | 0 | 707.5035 | 0 | 116.8765 | 175.7469 | 0 | 68.7968 | 105.0955 | 670.9134 | 654.4061 | -2.4987 | 10.5973 | 5.91 | 2682.2718 | 2527.6344 | 371.818 | 520.8516 | 1634.9649 | 146.6241 | 5.4933 | 0 | 93.5705 | 2.4319 | 0 | 0 | 44.3497 | 0.77867 | -17.563 | 25.5763 | 2682.2718
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Transportation - Monthly report
January 2021
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 156.8473 | 64.662 | 7.5967 | 0 | 60.9055 | 0 | 9.7174 | 12.3243 | 0 | 1.6414 | 9.4152 | 59.8958 | 58.0604 | 0.50063 | 1.3555 | 0.47988 | 226.1583 | 228.9329 | 20.7619 | 49.8954 | 158.2756 | -1.7178 | 0.62235 | 0 | 0.52549 | 0.080115 | 0 | 0 | 4.3583 | -7.304 | -1.956 | 0.8991 | 226.1583
2 | 153.0894 | 64.4768 | 7.5955 | 0 | 57.4061 | 0 | 9.7593 | 12.2086 | 0 | 1.643 | 9.6422 | 63.7619 | 60.1825 | 0.029985 | 3.1677 | 0.41174 | 226.4936 | 227.6075 | 23.7014 | 48.3075 | 155.5985 | -1.1488 | 0.58273 | 0 | 0.67749 | 0.17266 | 0 | 0 | 4.5744 | -7.1561 | -0.86638 | 0.90131 | 226.4936
3 | 143.6975 | 67.4358 | 7.5959 | 0 | 44.7362 | 0 | 9.9643 | 12.3255 | 0 | 1.6398 | 9.4246 | 68.1035 | 64.4786 | 0.1051 | 2.8792 | 0.74569 | 221.2256 | 227.6391 | 24.1027 | 52.357 | 151.1794 | -0.50374 | 0.5635 | 0 | 0.72079 | 0.099625 | 0 | 0 | 4.6166 | -6.5042 | -5.1495 | -0.76022 | 221.2256
4 | 162.1575 | 90.8495 | 8.2268 | 0 | 33.5884 | 0 | 9.9625 | 17.909 | 0 | 1.6213 | 9.3189 | 96.5662 | 93.4156 | 0.17047 | 2.8067 | 0.34382 | 268.0426 | 278.7635 | 30.6828 | 78.3109 | 169.7699 | -1.5635 | 0.60714 | 0 | 0.66767 | 0.23737 | 0 | 0 | 4.8632 | -7.9389 | -7.7679 | -1.3895 | 268.0426
5 | 172.5322 | 101.1857 | 7.5868 | 0 | 34.2429 | 0 | 9.8737 | 18.0076 | 0 | 1.6353 | 9.4668 | 110.1789 | 100.6083 | 0.039884 | 8.2335 | 1.337 | 292.1778 | 282.1671 | 31.5728 | 76.0233 | 174.5709 | -1.5204 | 0.6114 | 0 | 0.11966 | 0.24625 | 0 | 0 | 5.1692 | -7.6669 | 9.1459 | 2.3853 | 292.1778
6 | 162.7768 | 92.6604 | 6.641 | 0 | 40.4452 | 0.041133 | 9.8703 | 12.3194 | 0 | 0.79936 | 9.4506 | 97.2819 | 92.6172 | 0.052587 | 4.219 | 0.4456 | 269.5093 | 267.8391 | 29.1655 | 69.9584 | 168.7152 | -2.1342 | 0.62432 | 0 | 0 | 0.2336 | 0 | 0 | 4.5851 | -7.5773 | 2.51 | 1.2945 | 269.5093
7 | 196.2449 | 107.3962 | 7.5943 | 0 | 48.7406 | 10.225 | 9.8887 | 12.3248 | 0 | 0.07532 | 9.6742 | 110.1966 | 100.4366 | -0.33027 | 8.4152 | 1.3448 | 316.1157 | 318.2724 | 36.137 | 91.0376 | 191.0977 | -1.7188 | 0.69885 | 0 | 0 | 0.27921 | 0 | 0 | 5.5233 | -8.2201 | -2.5132 | 2.0753 | 316.1157
8 | 210.5331 | 105.8163 | 7.5945 | 0 | 60.4185 | 11.6384 | 9.8571 | 15.1664 | 0 | 0.041827 | 9.3596 | 103.9808 | 94.9227 | 0.50421 | 7.952 | 1.1061 | 323.8734 | 316.227 | 36.9984 | 87.9957 | 191.233 | -2.0265 | 0.72306 | 0 | 0 | 0.28964 | 0 | 0 | 5.6642 | -8.7034 | 5.3421 | 4.3308 | 323.8734
9 | 177.328 | 88.1343 | 7.5926 | 0 | 63.29 | 0 | 9.763 | 8.5216 | 0 | 0.026462 | 9.622 | 102.8815 | 98.2422 | 0.058927 | 3.6202 | 1.0191 | 289.8316 | 290.0995 | 32.8004 | 71.4368 | 185.8624 | -1.805 | 0.67769 | 0 | 0.97565 | 0.27038 | 0 | 0 | 5.057 | -8.7856 | 0.12394 | 1.4131 | 289.8316
10 | 176.0014 | 85.5938 | 8.5392 | 0 | 63.4404 | 0 | 9.8787 | 8.5288 | 0 | 0.020478 | 9.4383 | 91.6992 | 89.7065 | 0.026255 | 1.163 | 0.82971 | 277.139 | 283.5894 | 31.5719 | 69.5814 | 182.4361 | -2.3791 | 0.68176 | 0 | 0 | 0.27973 | 0 | 0 | 4.6146 | -7.9551 | -7.6067 | 3.5353 | 277.139
11 | 237.3612 | 106.3421 | 11.8556 | 1.6399 | 61.3222 | 26.3622 | 9.9154 | 19.9064 | 0 | 0.01727 | 9.2893 | 110.7759 | 101.1175 | 0.20203 | 8.2382 | 1.4201 | 357.4264 | 348.7187 | 40.6497 | 94.6622 | 213.4069 | -2.4895 | 0.76566 | 0 | 0 | 0.35065 | 0 | 0 | 5.6741 | -9.2799 | 5.8534 | 5.3437 | 357.4264
12 | 240.6733 | 108.4693 | 12.3321 | 1.8 | 52.5892 | 35.6145 | 9.9449 | 19.9066 | 0 | 0.016744 | 9.4991 | 110.6083 | 100.9505 | 0.017435 | 8.2393 | 1.4184 | 360.7807 | 339.5824 | 41.4275 | 83.1343 | 215.0205 | -3.1618 | 0.72822 | 0 | 0 | 0.16999 | 0 | 0 | 5.3238 | -9.3838 | 14.7373 | 9.6228 | 360.7807
13 | 208.6747 | 104.9845 | 10.9053 | 0.0094839 | 48.0734 | 14.9311 | 9.9428 | 19.8089 | 0 | 0.019174 | 9.6721 | 107.215 | 98.6194 | -2.043 | 7.7366 | 0.85898 | 325.5618 | 318.7993 | 40.8973 | 72.4084 | 205.4936 | -2.9662 | 0.59246 | 0 | 0 | 0.30815 | 0 | 0 | 4.9539 | -8.8208 | 1.5758 | 8.1529 | 325.5618
14 | 199.8465 | 106.8235 | 9.4868 | 0 | 48.3358 | 6.2813 | 9.9432 | 18.9563 | 0 | 0.019558 | 9.6563 | 110.2384 | 100.8875 | 0.036353 | 7.9328 | 1.4182 | 319.7412 | 314.2304 | 40.148 | 81.4679 | 192.6145 | -3.0164 | 0.54727 | 0 | 0 | 0.1521 | 0 | 0 | 4.8565 | -8.5723 | 0.52717 | 8 | 319.7412
15 | 203.1451 | 105.1119 | 8.0771 | 0 | 52.0386 | 8.0763 | 9.9258 | 19.9029 | 0 | 0.012674 | 9.3277 | 110.2464 | 100.9445 | -0.038599 | 7.8863 | 1.4156 | 322.7192 | 327.6144 | 40.6115 | 90.2958 | 196.7071 | -2.7371 | 0.6458 | 0 | 0 | 0.29458 | 0 | 0 | 5.4348 | -9.1122 | -8.2012 | 6.0432 | 322.7192
16 | 179.8269 | 91.5202 | 5.2223 | 0 | 57.9938 | 0 | 9.9162 | 15.1627 | 0 | 0.011715 | 9.6797 | 97.8073 | 92.6715 | 0.10512 | 4.642 | 0.4938 | 287.314 | 289.0192 | 35.1896 | 66.1712 | 187.6583 | -0.29683 | 0.65339 | 0 | 2.3177 | 0.27432 | 0 | 0 | 4.9457 | -8.488 | -2.5505 | 1.1422 | 287.314
17 | 182.006 | 91.279 | 8.0568 | 0 | 57.6302 | 0 | 9.8692 | 15.1584 | 0 | 0.012287 | 9.6318 | 106.8349 | 102.7939 | -0.47302 | 3.5321 | 0.50885 | 298.4726 | 287.0544 | 33.8954 | 61.4883 | 191.6708 | -2.18 | 0.634 | 0 | 1.2013 | 0.27614 | 0 | 0 | 4.6306 | -8.9221 | 9.7612 | 3.837 | 298.4726
18 | 227.4034 | 106.6377 | 8.5367 | 0 | 54.3909 | 27.3547 | 9.8823 | 20.5902 | 0 | 0.010887 | 9.4153 | 116.7781 | 107.093 | -0.22195 | 8.2383 | 1.4468 | 353.5968 | 347.1081 | 42.4879 | 87.3517 | 217.2685 | -5.6222 | 0.3818 | 0 | 0 | 0.31895 | 0 | 0 | 3.805 | -10.1279 | 0.50031 | 11.6106 | 353.5968
19 | 220.2125 | 107.9176 | 7.1257 | 0 | 51.6904 | 22.8294 | 9.8927 | 20.7481 | 9.5e-06 | 0.0087046 | 9.6798 | 113.975 | 106.6714 | -0.76043 | 5.8548 | 1.4488 | 343.8673 | 349.4505 | 43.0304 | 90.7822 | 215.638 | -2.867 | 0.65694 | 0 | 0 | 0.29975 | 0 | 0 | 5.5925 | -9.4162 | -10.1059 | 7.3896 | 343.8673
20 | 208.3971 | 107.0805 | 7.1147 | 0 | 52.3444 | 13.9701 | 9.8663 | 18.0034 | 0 | 0.017716 | 9.8026 | 114.3912 | 107.0864 | -0.3717 | 5.8545 | 1.4502 | 332.5909 | 338.115 | 42.6653 | 90.6638 | 204.786 | -2.9135 | 0.64142 | 0 | 0 | 0.27592 | 0 | 0 | 5.5323 | -9.3632 | -4.1834 | 1.5728 | 332.5909
21 | 188.4227 | 99.8329 | 7.1175 | 0 | 49.803 | 0.94998 | 9.9427 | 20.7556 | 0 | 0.021116 | 9.6931 | 116.7685 | 107.217 | -0.13876 | 8.1182 | 1.4334 | 314.8843 | 315.2042 | 42.0793 | 81.4005 | 191.7244 | -2.6781 | 0.652 | 0 | 0 | 0.26351 | 0 | 0 | 5.4474 | -9.041 | -0.11726 | 2.4755 | 314.8843
22 | 169.8006 | 86.1826 | 8.0652 | 0 | 47.5181 | 0 | 10.0076 | 18.0044 | 0 | 0.022702 | 9.2998 | 108.1174 | 101.6419 | -0.021621 | 5.3894 | 1.0862 | 287.2178 | 283.9584 | 40.4413 | 66.4114 | 177.1057 | -0.61839 | 0.62782 | 0 | 1.5512 | 0.22082 | 0 | 0 | 5.3767 | -8.395 | -1.5588 | 5.4366 | 287.2178
23 | 153.3491 | 74.1532 | 7.1207 | 0 | 53.583 | 0 | 9.9546 | 8.524 | 0 | 0.013615 | 9.618 | 94.2435 | 90.6671 | 0.010829 | 2.815 | 0.76141 | 257.2106 | 237.5339 | 34.8456 | 47.7843 | 154.904 | 12.1902 | 0.54336 | 0 | 14.6901 | 0.21311 | 0 | 0 | 4.1512 | -7.4076 | 3.9833 | 3.5032 | 257.2106
24 | 155.7566 | 74.1387 | 7.1233 | 0 | 56.0316 | 0 | 9.9378 | 8.5252 | 0 | 0 | 9.4203 | 83.5184 | 81.0005 | 0.47126 | 1.7992 | 0.71865 | 248.6952 | 235.9928 | 33.734 | 42.8725 | 159.3862 | 13.8011 | 0.57098 | 0 | 16.0301 | 0.22959 | 0 | 0 | 4.2606 | -7.2902 | -3.0483 | 1.9497 | 248.6952
25 | 190.2433 | 95.0544 | 10.4363 | 0 | 55.3898 | 0 | 9.9397 | 19.4231 | 0 | 0 | 9.2899 | 109.9491 | 100.8587 | 0.14121 | 7.9883 | 1.1021 | 309.4822 | 308.5149 | 42.3107 | 74.1343 | 192.0699 | -1.0251 | 0.62018 | 0 | 1.7824 | 0.30288 | 0 | 0 | 5.3664 | -9.097 | 1.0925 | 0.89994 | 309.4822
26 | 195.579 | 96.6009 | 10.4329 | 0 | 59.1792 | 0 | 9.9378 | 19.4278 | 0 | 0.0005344 | 9.4388 | 108.1676 | 99.2615 | -0.054381 | 7.8574 | 1.0487 | 313.1854 | 311.5923 | 42.6489 | 73.5129 | 195.4305 | -2.0663 | 0.63617 | 0 | 1.0936 | 0.30323 | 0 | 0 | 5.1201 | -9.2195 | 0.7068 | 2.9526 | 313.1854
27 | 204.4646 | 101.8235 | 7.5946 | 0 | 60.3068 | 5.4857 | 9.9196 | 19.3345 | 0 | 0 | 9.6387 | 116.6635 | 107.1323 | -0.30294 | 8.1385 | 1.3928 | 330.7668 | 340.0801 | 42.1335 | 82.563 | 215.3836 | -2.9184 | 0.68209 | 0 | 0 | 0.1483 | 0 | 0 | 5.6215 | -9.3702 | -2.9685 | -3.4264 | 330.7668
28 | 192.453 | 94.8937 | 7.5956 | 0 | 60.709 | 0 | 9.8803 | 19.3304 | 0 | 0.04402 | 9.6467 | 115.9439 | 106.7756 | -0.27669 | 8.0476 | 1.1208 | 318.0436 | 316.4696 | 42.5828 | 75.182 | 198.7048 | -2.3953 | 0.61964 | 0 | 0.91689 | 0.30445 | 0 | 0 | 5.3087 | -9.545 | 1.9558 | 2.0135 | 318.0436
29 | 175.6844 | 78.6979 | 7.5937 | 0 | 59.9391 | 0 | 9.9508 | 19.4243 | 0 | 0.078565 | 9.3085 | 109.1623 | 101.1103 | -0.036379 | 7.3941 | 0.65788 | 294.1552 | 290.3631 | 41.2224 | 63.2886 | 185.8522 | -0.63355 | 0.55557 | 0 | 2.0315 | 0.28389 | 0 | 0 | 5.3607 | -8.8652 | 2.3682 | 2.0574 | 294.1552
30 | 165.5491 | 71.1295 | 7.5927 | 0 | 59.2819 | 0 | 9.9532 | 15.1613 | 0 | 2.4305 | 9.6833 | 75.0404 | 72.9599 | -0.040909 | 1.5625 | 0.51789 | 250.2728 | 237.3491 | 34.8287 | 47.8924 | 154.628 | 5.9948 | 0.50676 | 0 | 8.3985 | 0.20557 | 0 | 0 | 4.4967 | -7.6128 | 4.7621 | 2.1668 | 250.2728
31 | 164.8838 | 66.133 | 7.6068 | 0 | 60.2657 | 0 | 10.0048 | 15.162 | 0 | 5.7115 | 9.4193 | 58.4676 | 57.0183 | -0.21721 | 0.93233 | 0.51697 | 232.7707 | 226.5428 | 33.3247 | 46.6821 | 146.5361 | 5.5096 | 0.48239 | 0 | 8.1491 | 0.21599 | 0 | 0 | 3.9749 | -7.3128 | -1.5741 | 2.2923 | 232.7707
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Transportation - Monthly report
January 2021
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 171.2488 | 69.421 | 8.2864 | 0 | 67.424 | 0 | 10.7536 | 13.5002 | 0 | 1.8636 | 9.9359 | 65.0824 | 63.1005 | 0.54409 | 1.4626 | 0.51936 | 246.2671 | 241.5929 | 21.91 | 52.6547 | 167.0283 | 5.7895 | 0.67467 | 0 | 0.5602 | 0.088409 | 0 | 0 | 4.5993 | -0.13311 | -2.0641 | 0.94882 | 246.2671
2 | 167.1293 | 69.1709 | 8.3159 | 0 | 63.5831 | 0 | 10.8166 | 13.3748 | 0 | 1.8679 | 10.1755 | 69.244 | 65.3908 | 0.03258 | 3.4072 | 0.44606 | 246.5487 | 240.1942 | 25.0121 | 50.9789 | 164.2031 | 6.3177 | 0.63288 | 0 | 0.72775 | 0.18221 | 0 | 0 | 4.8274 | -0.052558 | -0.9143 | 0.95115 | 246.5487
3 | 156.6102 | 72.3348 | 8.299 | 0 | 49.5613 | 0 | 11.0451 | 13.5045 | 0 | 1.8655 | 9.9458 | 73.9447 | 70.0384 | 0.11417 | 3.0985 | 0.80779 | 240.5007 | 240.2275 | 25.4355 | 55.2524 | 159.5396 | 6.5097 | 0.61267 | 0 | 0.77305 | 0.11028 | 0 | 0 | 4.8719 | 0.14183 | -5.4343 | -0.80226 | 240.5007
4 | 176.1482 | 97.4125 | 8.9789 | 0 | 37.2234 | 0 | 11.0451 | 19.6441 | 0 | 1.8443 | 9.8342 | 104.8559 | 101.4676 | 0.18517 | 3.0159 | 0.37242 | 290.8383 | 294.1792 | 32.3795 | 82.6415 | 179.1582 | 6.323 | 0.65909 | 0 | 0.71839 | 0.25871 | 0 | 0 | 5.1322 | -0.44534 | -8.1975 | -1.4664 | 290.8383
5 | 187.2247 | 108.4031 | 8.2847 | 0 | 37.967 | 0 | 10.9468 | 19.7594 | 0 | 1.8636 | 9.9903 | 119.5588 | 109.2671 | 0.043317 | 8.8431 | 1.4486 | 316.7738 | 297.7709 | 33.3188 | 80.2274 | 184.2247 | 6.8341 | 0.66274 | 0 | 0.12794 | 0.26523 | 0 | 0 | 5.455 | 0.32315 | 9.6517 | 2.5172 | 316.7738
6 | 176.6767 | 99.2325 | 7.2485 | 0 | 44.7936 | 0.043952 | 10.942 | 13.5056 | 0 | 0.91061 | 9.9733 | 105.5866 | 100.5688 | 0.057102 | 4.535 | 0.48279 | 292.2366 | 282.6506 | 30.7784 | 73.8271 | 178.0452 | 5.5712 | 0.674 | 0 | 0 | 0.25244 | 0 | 0 | 4.8387 | -0.19395 | 2.6488 | 1.366 | 292.2366
7 | 212.6727 | 115.049 | 8.282 | 0 | 53.8842 | 10.922 | 10.9579 | 13.5002 | 0 | 0.07748 | 10.2092 | 119.6021 | 109.1064 | -0.35812 | 9.0387 | 1.457 | 342.484 | 335.8728 | 38.1354 | 96.072 | 201.6654 | 7.0733 | 0.75341 | 0 | 0 | 0.3029 | 0 | 0 | 5.8287 | 0.18824 | -2.6522 | 2.1901 | 342.484
8 | 228.2899 | 113.3421 | 8.2882 | 0 | 66.6431 | 12.4254 | 10.9277 | 16.62 | 0 | 0.043419 | 9.8771 | 112.8253 | 103.0857 | 0.54758 | 8.5419 | 1.1977 | 350.9924 | 333.7144 | 39.0444 | 92.8618 | 201.8082 | 7.0702 | 0.77237 | 0 | 0 | 0.31644 | 0 | 0 | 5.9774 | 0.0039713 | 5.6375 | 4.5703 | 350.9924
9 | 192.6595 | 94.3866 | 8.286 | 0 | 69.8014 | 0 | 10.8214 | 9.3364 | 0 | 0.027651 | 10.1541 | 111.7052 | 106.7113 | 0.064007 | 3.8911 | 1.1028 | 314.5188 | 306.142 | 34.6143 | 75.3872 | 196.1406 | 6.7548 | 0.73067 | 0 | 1.0434 | 0.29713 | 0 | 0 | 5.3366 | -0.65301 | 0.13079 | 1.4912 | 314.5188
10 | 191.4024 | 91.6647 | 9.3285 | 0 | 70.0997 | 0 | 10.9417 | 9.3462 | 0 | 0.021608 | 9.9603 | 99.5809 | 97.432 | 0.028516 | 1.2513 | 0.89756 | 300.9435 | 299.2719 | 33.3178 | 73.4292 | 192.5248 | 5.9681 | 0.73697 | 0 | 0 | 0.30539 | 0 | 0 | 4.8697 | 0.056026 | -8.0273 | 3.7308 | 300.9435
11 | 257.4797 | 113.8671 | 12.9141 | 1.7564 | 67.9893 | 28.1186 | 10.9807 | 21.8351 | 0 | 0.018221 | 9.803 | 120.2092 | 109.8236 | 0.21942 | 8.8495 | 1.536 | 387.4918 | 368.0029 | 42.8976 | 99.897 | 225.2083 | 7.6725 | 0.82361 | 0 | 0 | 0.38191 | 0 | 0 | 5.9878 | 0.47918 | 6.1771 | 5.6392 | 387.4918
12 | 260.8677 | 116.1129 | 13.4353 | 1.9255 | 58.4283 | 38.0908 | 11.0179 | 21.8388 | 0 | 0.018307 | 10.0244 | 120.0003 | 109.6161 | 0.018932 | 8.8504 | 1.5338 | 390.8924 | 358.3613 | 43.7185 | 87.7316 | 226.9112 | 6.8239 | 0.77992 | 0 | 0 | 0.18452 | 0 | 0 | 5.6183 | 0.24121 | 15.5522 | 10.155 | 390.8924
13 | 226.2779 | 112.3609 | 11.8719 | 0.010148 | 53.3231 | 15.96 | 11.0199 | 21.7114 | 0 | 0.02053 | 10.207 | 116.3421 | 107.1024 | -2.2226 | 8.3114 | 0.92828 | 352.8269 | 336.4289 | 43.1589 | 76.4126 | 216.8574 | 6.1314 | 0.63671 | 0 | 0 | 0.33718 | 0 | 0 | 5.2279 | -0.07042 | 1.663 | 8.6037 | 352.8269
14 | 216.8127 | 114.3375 | 10.3171 | 0 | 53.6234 | 6.7116 | 11.0207 | 20.7817 | 0 | 0.020677 | 10.1903 | 119.5876 | 109.5331 | 0.039468 | 8.5212 | 1.5333 | 346.5905 | 331.6073 | 42.3682 | 85.9731 | 203.266 | 5.9845 | 0.58826 | 0 | 0 | 0.16466 | 0 | 0 | 5.1251 | 0.10646 | 0.55633 | 8.4424 | 346.5905
15 | 220.5012 | 112.4878 | 8.7801 | 0 | 57.7496 | 8.6385 | 11.0031 | 21.8288 | 0 | 0.01322 | 9.8436 | 119.5716 | 109.569 | -0.041994 | 8.4717 | 1.5309 | 349.9164 | 345.7315 | 42.8573 | 95.2892 | 207.585 | 6.4624 | 0.69068 | 0 | 0 | 0.32196 | 0 | 0 | 5.7354 | -0.28565 | -8.6548 | 6.3774 | 349.9164
16 | 195.7684 | 97.9312 | 5.6752 | 0 | 64.5233 | 0 | 10.9897 | 16.6368 | 0 | 0.012224 | 10.215 | 106.1337 | 100.6095 | 0.11412 | 4.9904 | 0.53379 | 312.1171 | 305.0019 | 37.1356 | 69.8305 | 198.0358 | 8.6014 | 0.70571 | 0 | 2.4804 | 0.29962 | 0 | 0 | 5.2192 | -0.10351 | -2.6916 | 1.2053 | 312.1171
17 | 198.1524 | 97.6927 | 8.7546 | 0 | 64.113 | 0 | 10.9396 | 16.6396 | 0 | 0.012841 | 10.1645 | 115.9396 | 111.5906 | -0.51461 | 3.7989 | 0.5501 | 324.2564 | 302.9286 | 35.7698 | 64.8886 | 202.2702 | 6.9777 | 0.68509 | 0 | 1.2844 | 0.30013 | 0 | 0 | 4.8866 | -0.17864 | 10.301 | 4.0492 | 324.2564
18 | 246.8373 | 114.2058 | 9.2752 | 0 | 60.5815 | 29.2084 | 10.9529 | 22.6021 | 0 | 0.011385 | 9.936 | 126.6793 | 116.2662 | -0.24144 | 8.8485 | 1.5646 | 383.4526 | 366.3032 | 44.8374 | 92.1822 | 229.2835 | 4.3688 | 0.69587 | 0 | 0 | 0.34811 | 0 | 0 | 4.0154 | -0.69059 | 0.52797 | 12.2527 | 383.4526
19 | 238.972 | 115.5539 | 7.7464 | 0 | 57.6398 | 24.3028 | 10.9642 | 22.7557 | 1.04e-05 | 0.0091045 | 10.2151 | 123.6593 | 115.8073 | -0.82733 | 6.2851 | 1.5669 | 372.8464 | 368.7751 | 45.41 | 95.8024 | 227.5628 | 6.9376 | 0.70738 | 0 | 0 | 0.32775 | 0 | 0 | 5.9018 | 0.0007097 | -10.6647 | 7.7983 | 372.8464
20 | 226.3855 | 114.6963 | 7.7271 | 0 | 58.3819 | 14.8916 | 10.934 | 19.7361 | 0 | 0.018466 | 10.3447 | 124.0937 | 116.2411 | -0.40433 | 6.2841 | 1.5685 | 360.8239 | 356.8128 | 45.0247 | 95.6775 | 216.1106 | 6.7661 | 0.68407 | 0 | 0 | 0.30012 | 0 | 0 | 5.8382 | -0.056333 | -4.4148 | 1.6598 | 360.8239
21 | 204.9789 | 106.9628 | 7.7227 | 0 | 55.4881 | 1.0158 | 11.0186 | 22.7489 | 0 | 0.021932 | 10.2291 | 126.6658 | 116.395 | -0.15092 | 8.7199 | 1.5509 | 341.8737 | 332.635 | 44.4063 | 85.902 | 202.3267 | 6.7501 | 0.70213 | 0 | 0 | 0.28495 | 0 | 0 | 5.7486 | 0.014403 | -0.12375 | 2.6124 | 341.8737
22 | 184.8119 | 92.3475 | 8.759 | 0 | 52.8635 | 0 | 11.0886 | 19.7298 | 0 | 0.023525 | 9.814 | 117.3073 | 110.3412 | -0.023509 | 5.7908 | 1.1752 | 311.9332 | 299.6613 | 42.6777 | 70.0839 | 186.8997 | 8.1797 | 0.67828 | 0 | 1.6577 | 0.23762 | 0 | 0 | 5.6741 | -0.067958 | -1.645 | 5.7373 | 311.9332
23 | 167.1857 | 79.558 | 7.723 | 0 | 59.53 | 0 | 11.027 | 9.3336 | 0 | 0.014102 | 10.1499 | 102.2667 | 98.417 | 0.011755 | 3.0264 | 0.82329 | 279.6023 | 250.6695 | 36.7726 | 50.4268 | 163.4702 | 21.0322 | 0.58541 | 0 | 15.7067 | 0.22876 | 0 | 0 | 4.3807 | 0.13062 | 4.2036 | 3.6969 | 279.6023
24 | 169.8571 | 79.5654 | 7.7269 | 0 | 62.217 | 0 | 11.0089 | 9.3389 | 0 | 0 | 9.9412 | 90.6486 | 87.9346 | 0.51161 | 1.9374 | 0.77663 | 270.447 | 249.0432 | 35.5995 | 45.2434 | 168.2003 | 22.5632 | 0.61579 | 0 | 17.3254 | 0.24708 | 0 | 0 | 4.4962 | -0.12133 | -3.2169 | 2.0576 | 270.447
25 | 207.086 | 101.9256 | 11.318 | 0 | 61.5296 | 0 | 11.0128 | 21.3 | 0 | 0 | 9.8036 | 119.2702 | 109.4971 | 0.1533 | 8.581 | 1.1922 | 336.1599 | 325.5757 | 44.6504 | 78.234 | 202.6913 | 8.4815 | 0.66978 | 0 | 1.9057 | 0.32866 | 0 | 0 | 5.6632 | -0.085875 | 1.1529 | 0.94971 | 336.1599
26 | 212.834 | 103.5252 | 11.3257 | 0 | 65.6571 | 0 | 11.0052 | 21.3203 | 0 | 0.0005546 | 9.9608 | 117.3287 | 107.7539 | -0.059173 | 8.4405 | 1.1343 | 340.1234 | 328.8234 | 45.0074 | 77.5782 | 206.2378 | 7.4383 | 0.68877 | 0 | 1.1896 | 0.33231 | 0 | 0 | 5.4033 | -0.17565 | 0.74588 | 3.1158 | 340.1234
27 | 222.5084 | 109.1054 | 8.2472 | 0 | 66.9938 | 5.9569 | 10.9881 | 21.2171 | 0 | 0 | 10.1717 | 126.569 | 116.3202 | -0.32941 | 8.7422 | 1.5065 | 359.249 | 358.8865 | 44.4635 | 87.1287 | 227.2943 | 7.111 | 0.73875 | 0 | 0 | 0.16429 | 0 | 0 | 5.9323 | 0.27567 | -3.1327 | -3.6158 | 359.249
28 | 209.5397 | 101.6183 | 8.2557 | 0 | 67.472 | 0 | 10.9457 | 21.2022 | 0 | 0.045813 | 10.1801 | 125.7945 | 115.9381 | -0.30107 | 8.6441 | 1.2122 | 345.5143 | 333.9703 | 44.9376 | 79.3396 | 209.6932 | 7.3552 | 0.66987 | 0 | 0.98797 | 0.32703 | 0 | 0 | 5.6023 | -0.23193 | 2.0639 | 2.1249 | 345.5143
29 | 191.5464 | 84.2976 | 8.2987 | 0 | 66.5753 | 0 | 11.0134 | 21.2797 | 0 | 0.081704 | 9.8232 | 118.4365 | 109.7823 | -0.039579 | 7.9425 | 0.71168 | 319.8061 | 306.4202 | 43.502 | 66.7884 | 196.1298 | 8.7156 | 0.59945 | 0 | 2.2028 | 0.30334 | 0 | 0 | 5.6571 | -0.047145 | 2.4992 | 2.1711 | 319.8061
30 | 180.6901 | 76.1936 | 8.2913 | 0 | 65.8991 | 0 | 10.9959 | 16.6197 | 0 | 2.6904 | 10.2188 | 81.4664 | 79.2257 | -0.044511 | 1.6807 | 0.56003 | 272.3752 | 250.4745 | 36.7547 | 50.5408 | 163.179 | 14.5887 | 0.54659 | 0 | 9.0887 | 0.21897 | 0 | 0 | 4.7454 | -0.010927 | 5.0254 | 2.2866 | 272.3752
31 | 180.2996 | 70.8968 | 8.3011 | 0 | 66.9176 | 0 | 11.0545 | 16.6226 | 0 | 6.507 | 9.9402 | 63.4569 | 61.8955 | -0.23634 | 1.0023 | 0.55898 | 253.6967 | 239.0707 | 35.1676 | 49.2636 | 154.6395 | 13.8681 | 0.51957 | 0 | 8.8502 | 0.23001 | 0 | 0 | 4.1947 | 0.073649 | -1.6612 | 2.4191 | 253.6967
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## GCV kWhNm3
Gas Transportation - Monthly report
January 2021
(Related GCV expressed in kWh/Nm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio
1 | 11.3509 | 11.5327 | 11.3687 | 11.7043 | 11.271 | 11.7002 | 11.5815 | 12.1191 | 12.0037 | 11.4616 | 11.3687 | 11.271 | 11.6674 | 11.7002 | 11.3509
2 | 11.3425 | 11.5754 | 11.3687 | 11.7104 | 11.3571 | 11.7181 | 11.5827 | 12.1191 | 12.0199 | 11.4827 | 11.3687 | 11.3571 | 11.1574 | 11.7181 | 11.3425
3 | 11.3408 | 11.5515 | 11.3687 | 11.7131 | 11.3392 | 11.7195 | 11.5841 | 12.1191 | 12.0279 | 11.4954 | 11.3687 | 11.3392 | 11.7033 | 11.7195 | 11.3408
4 | 11.3365 | 11.5392 | 11.3687 | 11.717 | 11.2947 | 11.7216 | 11.5971 | 12.1212 | 12.0269 | 11.4774 | 11.3687 | 11.3759 | 11.5229 | 11.7216 | 11.3365
5 | 11.3269 | 11.5453 | 11.3624 | 11.7226 | 11.3044 | 11.7217 | 11.6013 | 12.1212 | 12.0484 | 11.4606 | 11.3624 | 11.3044 | 11.3876 | 11.7217 | 11.3269
6 | 11.3226 | 11.54 | 11.3614 | 11.7095 | 11.2975 | 11.7207 | 11.5907 | 12.1212 | 12.0442 | 11.4141 | 11.3614 | 11.3044 | 11.4251 | 11.7207 | 11.3226
7 | 11.3261 | 11.5302 | 11.3614 | 11.6885 | 11.2934 | 11.7159 | 11.581 | 12.1222 | 10.876 | 11.3983 | 11.3614 | 11.4313 | 11.4699 | 11.7159 | 11.3261
8 | 11.3247 | 11.5384 | 11.3624 | 11.662 | 11.2877 | 11.721 | 11.586 | 12.1191 | 10.9751 | 11.2938 | 11.3624 | 11.3392 | 11.5512 | 11.721 | 11.3261
9 | 11.3228 | 11.5384 | 11.3624 | 11.6605 | 11.2614 | 11.7189 | 11.5837 | 12.1222 | 11.0479 | 11.3994 | 11.3624 | 11.3069 | 11.6188 | 11.7189 | 11.3261
10 | 11.3226 | 11.55 | 11.3624 | 11.6826 | 11.3044 | 11.7104 | 11.5861 | 12.1222 | 11.1563 | 11.4289 | 11.3624 | 11.3044 | 11.5425 | 11.7104 | 11.3226
11 | 11.3209 | 11.5167 | 11.324 | 11.7222 | 11.2772 | 11.7087 | 11.5971 | 12.1212 | 11.1551 | 11.373 | 11.3329 | 11.2929 | 11.5153 | 11.7087 | 11.3209
12 | 11.3178 | 11.5186 | 11.3093 | 11.7467 | 11.3079 | 11.7135 | 11.599 | 12.023 | 11.5598 | 11.3234 | 11.3149 | 11.3079 | 11.4764 | 11.6944 | 11.3178
13 | 11.3156 | 11.5099 | 11.3128 | 11.7273 | 11.3013 | 11.7181 | 11.5882 | 12.118 | 11.3205 | 11.3624 | 11.3128 | 11.3013 | 11.5686 | 11.7191 | 11.3156
14 | 11.3164 | 11.4981 | 11.3139 | 11.7293 | 11.2969 | 11.7185 | 11.5909 | 12.1159 | 11.1776 | 11.3645 | 11.3139 | 11.3392 | 11.4458 | 11.7191 | 11.3164
15 | 11.3147 | 11.493 | 11.3139 | 11.7331 | 11.3088 | 11.7203 | 11.5959 | 12.1159 | 11.0289 | 11.3075 | 11.3139 | 11.3088 | 11.5556 | 11.7212 | 11.3147
16 | 11.3134 | 11.4896 | 11.3139 | 11.7631 | 11.3148 | 11.7173 | 11.6006 | 11.1574 | 11.0321 | 11.4194 | 11.3139 | 11.3148 | 11.5478 | 11.7173 | 11.3134
17 | 11.3156 | 11.4884 | 11.3139 | 11.7621 | 11.3044 | 11.7194 | 11.6059 | 11.1574 | 11.0491 | 11.4247 | 11.3139 | 11.3044 | 11.4914 | 11.7194 | 11.3156
18 | 11.3231 | 11.4873 | 11.3139 | 11.7761 | 11.2892 | 11.7181 | 11.6058 | 11.1574 | 11.0567 | 19.2698 | 11.3139 | 11.2895 | 11.5394 | 11.7181 | 11.3231
19 | 11.3209 | 11.4938 | 11.3139 | 11.7896 | 11.2551 | 11.7179 | 11.5958 | 11.6083 | 11.0585 | 11.3846 | 11.3139 | 11.2551 | 11.5603 | 11.7179 | 11.3209
20 | 11.3247 | 11.4829 | 11.3128 | 11.7922 | 11.2702 | 11.7168 | 11.5903 | 12.023 | 11.0201 | 11.2759 | 11.3128 | 11.2702 | 11.5003 | 11.7168 | 11.3247
21 | 11.3278 | 11.4718 | 11.3128 | 11.7796 | 11.3055 | 11.7169 | 11.5882 | 12.1096 | 10.9811 | 11.3856 | 11.3128 | 11.3055 | 11.4331 | 11.7181 | 11.3278
22 | 11.3291 | 11.4822 | 11.3118 | 11.7621 | 11.305 | 11.7148 | 11.586 | 12.1064 | 10.9561 | 11.4226 | 11.3118 | 11.2982 | 11.377 | 11.7159 | 11.3278
23 | 11.3434 | 11.467 | 11.3118 | 11.7462 | 11.3044 | 11.7118 | 11.5768 | 12.023 | 10.9508 | 11.3909 | 11.3118 | 11.3044 | 11.3494 | 11.7128 | 11.3434
24 | 11.3466 | 11.4687 | 11.3118 | 11.7399 | 11.2897 | 11.7123 | 11.5818 | 12.023 | 10.9498 | 11.4025 | 11.3118 | 11.4271 | 11.3784 | 11.7128 | 11.1574
25 | 11.337 | 11.466 | 11.3118 | 11.7447 | 11.3044 | 11.7142 | 11.5945 | 12.1096 | 10.9561 | 11.4183 | 11.3118 | 11.3044 | 11.4726 | 11.7149 | 11.337
26 | 11.3306 | 11.4775 | 11.3139 | 11.7301 | 11.5007 | 11.7084 | 11.6027 | 12.1148 | 10.9729 | 11.4468 | 11.3139 | 11.5007 | 11.5866 | 11.7084 | 11.3306
27 | 11.3289 | 11.4813 | 11.3139 | 11.7451 | 11.4809 | 11.7117 | 11.6022 | 12.1148 | 11.0237 | 11.4511 | 11.3139 | 11.4809 | 11.7128 | 11.7117 | 11.3289
28 | 11.322 | 11.4916 | 11.3128 | 11.7506 | 11.3924 | 11.7128 | 11.5965 | 12.023 | 11.0034 | 11.43 | 11.3128 | 11.3924 | 11.3569 | 11.7128 | 11.322
29 | 11.325 | 11.5542 | 11.3128 | 11.7433 | 11.4643 | 11.7017 | 11.5827 | 12.1117 | 10.9952 | 11.4078 | 11.3128 | 11.4643 | 11.2974 | 11.7017 | 11.325
30 | 11.3255 | 11.5456 | 11.3128 | 11.7529 | 11.4416 | 11.6804 | 11.5898 | 12.023 | 11.7033 | 11.4036 | 11.3128 | 11.4416 | 11.2621 | 11.6804 | 11.3255
31 | 11.3343 | 11.5378 | 11.3128 | 11.7397 | 11.4823 | 11.682 | 11.5913 | 12.1159 | 12.0453 | 11.3877 | 11.3128 | 11.4823 | 11.2591 | 11.6832 | 11.3343

## GCV kWhSm3
Gas Transportation - Monthly report
January 2021
(Related GCV expressed in kWh/Sm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio
1 | 10.7561 | 10.9283 | 10.773 | 11.091 | 10.6804 | 11.0871 | 10.9746 | 11.484 | 11.3747 | 10.861 | 10.773 | 10.6804 | 11.056 | 11.0871 | 10.7561
2 | 10.7481 | 10.9689 | 10.773 | 11.0968 | 10.7619 | 11.1041 | 10.9757 | 11.484 | 11.39 | 10.881 | 10.773 | 10.7619 | 10.5727 | 11.1041 | 10.7481
3 | 10.7466 | 10.9461 | 10.773 | 11.0993 | 10.745 | 11.1054 | 10.977 | 11.484 | 11.3976 | 10.893 | 10.773 | 10.745 | 11.09 | 11.1054 | 10.7466
4 | 10.7425 | 10.9345 | 10.773 | 11.103 | 10.7028 | 11.1074 | 10.9894 | 11.486 | 11.3967 | 10.876 | 10.773 | 10.7798 | 10.9191 | 11.1074 | 10.7425
5 | 10.7333 | 10.9403 | 10.767 | 11.1083 | 10.712 | 11.1075 | 10.9934 | 11.486 | 11.417 | 10.86 | 10.767 | 10.712 | 10.7909 | 11.1075 | 10.7333
6 | 10.7293 | 10.9353 | 10.766 | 11.0959 | 10.7055 | 11.1065 | 10.9834 | 11.486 | 11.413 | 10.816 | 10.766 | 10.712 | 10.8264 | 11.1065 | 10.7293
7 | 10.7326 | 10.926 | 10.766 | 11.076 | 10.7016 | 11.102 | 10.9742 | 11.487 | 10.3061 | 10.801 | 10.766 | 10.8323 | 10.8688 | 11.102 | 10.7326
8 | 10.7313 | 10.9338 | 10.767 | 11.0509 | 10.6962 | 11.1068 | 10.9789 | 11.484 | 10.4 | 10.702 | 10.767 | 10.745 | 10.9459 | 11.1068 | 10.7326
9 | 10.7294 | 10.9338 | 10.767 | 11.0495 | 10.6713 | 11.1048 | 10.9767 | 11.487 | 10.469 | 10.802 | 10.767 | 10.7144 | 11.01 | 11.1048 | 10.7326
10 | 10.7293 | 10.9447 | 10.767 | 11.0704 | 10.712 | 11.0967 | 10.9789 | 11.487 | 10.5716 | 10.83 | 10.767 | 10.712 | 10.9377 | 11.0967 | 10.7293
11 | 10.7277 | 10.9132 | 10.7306 | 11.108 | 10.6862 | 11.0951 | 10.9894 | 11.486 | 10.5706 | 10.777 | 10.739 | 10.7011 | 10.9119 | 11.0951 | 10.7277
12 | 10.7247 | 10.915 | 10.7167 | 11.1311 | 10.7153 | 11.0997 | 10.9912 | 11.393 | 10.954 | 10.73 | 10.722 | 10.7153 | 10.875 | 11.0816 | 10.7247
13 | 10.7226 | 10.9068 | 10.72 | 11.1128 | 10.7091 | 11.1041 | 10.9809 | 11.483 | 10.7273 | 10.767 | 10.72 | 10.7091 | 10.9624 | 11.105 | 10.7226
14 | 10.7234 | 10.8955 | 10.721 | 11.1147 | 10.7049 | 11.1044 | 10.9835 | 11.481 | 10.5919 | 10.769 | 10.721 | 10.745 | 10.846 | 11.105 | 10.7234
15 | 10.7218 | 10.8908 | 10.721 | 11.1182 | 10.7162 | 11.1061 | 10.9882 | 11.481 | 10.451 | 10.715 | 10.721 | 10.7162 | 10.9501 | 11.107 | 10.7218
16 | 10.7205 | 10.8875 | 10.721 | 11.1467 | 10.7219 | 11.1033 | 10.9927 | 10.5727 | 10.454 | 10.821 | 10.721 | 10.7219 | 10.9427 | 11.1033 | 10.7205
17 | 10.7227 | 10.8864 | 10.721 | 11.1457 | 10.712 | 11.1053 | 10.9977 | 10.5727 | 10.4701 | 10.826 | 10.721 | 10.712 | 10.8892 | 11.1053 | 10.7227
18 | 10.7297 | 10.8853 | 10.721 | 11.159 | 10.6977 | 11.1041 | 10.9977 | 10.5727 | 10.4773 | 18.26 | 10.721 | 10.6979 | 10.9348 | 11.1041 | 10.7297
19 | 10.7276 | 10.8915 | 10.721 | 11.1718 | 10.6653 | 11.1039 | 10.9881 | 11 | 10.479 | 10.788 | 10.721 | 10.6653 | 10.9545 | 11.1039 | 10.7276
20 | 10.7313 | 10.8811 | 10.72 | 11.1743 | 10.6796 | 11.1028 | 10.9829 | 11.393 | 10.4426 | 10.685 | 10.72 | 10.6796 | 10.8976 | 11.1028 | 10.7313
21 | 10.7342 | 10.8706 | 10.72 | 11.1624 | 10.7131 | 11.1029 | 10.9809 | 11.475 | 10.4057 | 10.789 | 10.72 | 10.7131 | 10.834 | 11.104 | 10.7342
22 | 10.7354 | 10.8805 | 10.719 | 11.1457 | 10.7125 | 11.1009 | 10.9788 | 11.472 | 10.382 | 10.824 | 10.719 | 10.7062 | 10.7808 | 11.102 | 10.7342
23 | 10.749 | 10.8661 | 10.719 | 11.1307 | 10.712 | 11.0981 | 10.9702 | 11.393 | 10.377 | 10.794 | 10.719 | 10.712 | 10.7547 | 11.099 | 10.749
24 | 10.7521 | 10.8677 | 10.719 | 11.1247 | 10.6981 | 11.0985 | 10.9749 | 11.393 | 10.376 | 10.805 | 10.719 | 10.8283 | 10.7821 | 11.099 | 10.5727
25 | 10.7429 | 10.8651 | 10.719 | 11.1293 | 10.712 | 11.1004 | 10.9869 | 11.475 | 10.382 | 10.82 | 10.719 | 10.712 | 10.8714 | 11.101 | 10.7429
26 | 10.7369 | 10.876 | 10.721 | 11.1154 | 10.898 | 11.0948 | 10.9947 | 11.48 | 10.3979 | 10.847 | 10.721 | 10.898 | 10.9794 | 11.0948 | 10.7369
27 | 10.7352 | 10.8796 | 10.721 | 11.1296 | 10.8792 | 11.098 | 10.9942 | 11.48 | 10.446 | 10.851 | 10.721 | 10.8792 | 11.099 | 11.098 | 10.7352
28 | 10.7287 | 10.8895 | 10.72 | 11.1348 | 10.7954 | 11.099 | 10.9888 | 11.393 | 10.4268 | 10.831 | 10.72 | 10.7954 | 10.7618 | 11.099 | 10.7287
29 | 10.7316 | 10.9488 | 10.72 | 11.1279 | 10.8636 | 11.0886 | 10.9757 | 11.477 | 10.419 | 10.81 | 10.72 | 10.8636 | 10.7054 | 11.0886 | 10.7316
30 | 10.732 | 10.9406 | 10.72 | 11.137 | 10.842 | 11.0683 | 10.9825 | 11.393 | 11.09 | 10.806 | 10.72 | 10.842 | 10.672 | 11.0683 | 10.732
31 | 10.7404 | 10.9332 | 10.72 | 11.1245 | 10.8806 | 11.0699 | 10.9839 | 11.481 | 11.4141 | 10.791 | 10.72 | 10.8806 | 10.6691 | 11.071 | 10.7404