## kWh
Gas Transportation - Monthly report
June 2021
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 2036.9265 | 777.9262 | 87.4562 | 0 | 579.1617 | 10.2754 | 229.5758 | 240.444 | 112.0871 | 0 | 58.2381 | -648.6744 | -563.2992 | -3.2423 | -69.1437 | -16.2314 | 1446.4903 | 1481.895 | 509.1845 | 563.0555 | 409.655 | 40.2092 | 1.6196 | 0 | 0 | 0.8252 | 0 | 0 | 34.9519 | 2.8125 | 6.4204 | -82.0343 | 1446.4903
2 | 1979.5871 | 744.1189 | 87.399 | 0 | 576.6894 | 11.7571 | 217.8 | 288.1891 | 53.6337 | 0 | 61.1108 | -801.0863 | -712.4264 | 17.9309 | -71.5418 | -17.1181 | 1239.6116 | 1188.8117 | 356.8589 | 497.8095 | 334.1433 | 34.4844 | 1.5812 | 0 | 0 | 0 | 0 | 0 | 30.9779 | 1.9254 | -17.0997 | 33.4151 | 1239.6116
3 | 2146.3109 | 796.9615 | 109.2842 | 0 | 597.8325 | 10.8526 | 224.1495 | 288.1965 | 119.0339 | 0 | 61.7551 | -707.0944 | -622.0687 | -4.0557 | -70.7704 | -14.2553 | 1500.9715 | 1517.4836 | 425.3635 | 650.5765 | 441.5437 | 36.3732 | 1.2634 | 0 | 0 | 0 | 0 | 0 | 34.3214 | 0.78831 | -47.569 | -5.3163 | 1500.9715
4 | 2082.6146 | 776.2812 | 109.2428 | 0 | 590.9406 | 10.0874 | 218.3224 | 288.4815 | 89.2586 | 0 | 84.8757 | -694.4994 | -636.298 | -6.6282 | -49.5542 | -8.6472 | 1472.9909 | 1435.884 | 408.0978 | 616.3335 | 411.4527 | 37.8947 | 1.2972 | 0 | 0 | 0.67052 | 0 | 0 | 33.827 | 2.1 | -48.8808 | 48.093 | 1472.9909
5 | 1842.4617 | 634.2833 | 98.451 | 0 | 594.0244 | 11.0108 | 211.7616 | 288.4894 | 4.4411 | 0 | 90.3663 | -712.5834 | -627.6258 | -4.8612 | -68.0878 | -16.8697 | 1220.2446 | 1118.3132 | 359.651 | 443.5126 | 315.1496 | 29.2775 | 1.0997 | 0 | 0 | 0.60495 | 0 | 0 | 27.7834 | -0.21051 | 38.8413 | 33.8126 | 1220.2446
6 | 1948.0882 | 611.1737 | 98.3836 | 0 | 592.2344 | 9.5698 | 213.1552 | 288.5566 | 135.0149 | 0 | 72.6249 | -823.7668 | -734.9767 | -4.5801 | -70.9763 | -17.8139 | 1196.9462 | 1084.9931 | 340.8925 | 437.4824 | 306.6182 | 30.4435 | 1.1121 | 0 | 0 | 0.57053 | 0 | 0 | 26.5661 | 2.1947 | 72.8939 | 8.6158 | 1196.9462
7 | 2131.4276 | 739.05 | 109.3672 | 0 | 585.915 | 10.3364 | 247.2951 | 289.5087 | 149.9551 | 0 | 93.3922 | -652.6161 | -567.0442 | -5.2049 | -66.1563 | -19.4156 | 1572.2037 | 1523.1399 | 424.0404 | 675.8838 | 423.2158 | 38.2481 | 1.4779 | 0 | 0 | 0.73208 | 0 | 0 | 34.7698 | 1.2683 | -15.7001 | 26.5158 | 1572.2037
8 | 2175.7877 | 794.4254 | 126.2797 | 0 | 586.724 | 10.6614 | 223.8632 | 289.5102 | 144.3239 | 0 | 75.1536 | -664.9868 | -575.7762 | -5.5132 | -68.0829 | -21.1277 | 1585.9546 | 1536.8342 | 428.7806 | 674.4066 | 433.647 | 37.7203 | 1.2291 | 0 | 0 | 0.77491 | 0 | 0 | 34.4768 | 1.2396 | 1.3621 | 10.038 | 1585.9546
9 | 2125.8572 | 863.6263 | 0 | 0 | 593.5351 | 10.1665 | 224.8703 | 289.4239 | 144.2352 | 0 | 77.835 | -625.993 | -556.1372 | 0.21829 | -51.705 | -18.1508 | 1577.6992 | 1496.6996 | 428.6382 | 641.8244 | 426.2369 | 37.3383 | 1.5084 | 0 | 0 | 0 | 0 | 0 | 35.0032 | 0.82662 | 22.4489 | 21.2124 | 1577.6992
10 | 2152.6559 | 758.2552 | 143.4357 | 0 | 590.1501 | 10.2823 | 216.834 | 289.3632 | 144.3354 | 0 | 79.5821 | -729.7448 | -646.612 | 2.6291 | -67.6386 | -15.4942 | 1502.4932 | 1477.0882 | 428.1511 | 631.4597 | 417.4774 | 36.9341 | 1.4616 | 0 | 0 | 0.71816 | 0 | 0 | 34.7238 | 0.030582 | 1.1055 | -12.6346 | 1502.4932
11 | 2136.7221 | 764.5655 | 133.6609 | 0 | 588.5414 | 0.15079 | 216.0602 | 289.5272 | 144.2161 | 0 | 81.1036 | -765.7165 | -685.9746 | -11.6588 | -65.0963 | -14.6456 | 1452.1092 | 1406.6921 | 417.0651 | 584.6112 | 405.0158 | 36.8305 | 1.3627 | 0 | 0 | 0.68889 | 0 | 0 | 33.3953 | 1.3836 | 1.2734 | 7.3133 | 1452.1092
12 | 1908.6126 | 600.9953 | 81.8605 | 0 | 602.2096 | 0.11354 | 214.5663 | 289.7009 | 119.1664 | 0 | 79.8063 | -823.889 | -734.3965 | -11.2037 | -71.7203 | -17.7722 | 1164.53 | 1102.228 | 356.4803 | 436.9257 | 308.822 | 29.9401 | 1.0604 | 0 | 0 | 0.5934 | 0 | 0 | 27.2106 | 1.0757 | 19.7309 | 12.6309 | 1164.53
13 | 1889.6721 | 601.2303 | 81.8189 | 0 | 605.4323 | 0.11354 | 202.1306 | 289.0238 | 109.9226 | 0 | 80.5711 | -825.1814 | -737.262 | -14.0253 | -71.4744 | -16.445 | 1145.0618 | 1042.851 | 337.8843 | 413.9836 | 290.9831 | 28.2816 | 0.93729 | 0 | 0 | 0.54785 | 0 | 0 | 25.5483 | 1.2481 | 69.5849 | 4.3444 | 1145.0618
14 | 2144.6936 | 746.6839 | 109.1896 | 0 | 596.0917 | 10.9592 | 234.8803 | 289.0527 | 157.8363 | 0 | 79.1988 | -707.7472 | -615.8229 | -11.996 | -71.6835 | -20.2408 | 1516.1452 | 1481.0518 | 418.3737 | 659.5273 | 403.1508 | 39.3175 | 1.2992 | 0 | 0 | 0.75445 | 0 | 0 | 34.7885 | 2.4753 | -26.5862 | 22.3621 | 1516.1452
15 | 2158.1452 | 813.8302 | 98.2741 | 0 | 577.3658 | 9.9147 | 226.651 | 288.9911 | 143.1183 | 0 | 77.672 | -619.1726 | -572.0456 | -6.4205 | -34.5062 | -12.6208 | 1616.6446 | 1581.1051 | 421.2218 | 746.7825 | 413.1008 | 37.8879 | 1.4014 | 0 | 0 | 0.73204 | 0 | 0 | 36.1736 | -0.41915 | -3.5083 | 1.1598 | 1616.6446
16 | 2216.0053 | 852.7711 | 76.3971 | 0 | 574.127 | 10.8351 | 269.772 | 288.8545 | 143.2485 | 0 | 77.7678 | -524.3741 | -469.9832 | -4.5514 | -41.4528 | -12.9381 | 1769.399 | 1667.6665 | 402.0708 | 854.3014 | 411.2944 | 40.5235 | 1.3799 | 0 | 0 | 0.70365 | 0 | 0 | 37.2393 | 1.2007 | 32.8278 | 28.3812 | 1769.399
17 | 2106.6152 | 807.2246 | 32.9843 | 0 | 572.7211 | 10.3592 | 251.1905 | 289.016 | 143.1194 | 0 | 79.4092 | -495.0348 | -428.6332 | -6.0218 | -56.2186 | -10.1831 | 1690.9895 | 1652.4138 | 409.843 | 840.0193 | 402.5515 | 40.5116 | 1.3532 | 0 | 0 | 0.73554 | 0 | 0 | 36.3148 | 2.108 | 9.9053 | -11.8411 | 1690.9895
18 | 2071.9055 | 795.3255 | 16.5506 | 0 | 573.2053 | 10.2306 | 244.3468 | 288.9902 | 143.2565 | 0 | 78.2288 | -567.6369 | -484.3663 | -3.4596 | -70.327 | -12.9436 | 1582.4974 | 1556.3923 | 398.2698 | 773.6784 | 384.4441 | 36.9668 | 1.3418 | 0 | 0 | 0.66857 | 0 | 0 | 32.7773 | 2.1791 | -27.3225 | 16.4608 | 1582.4974
19 | 1801.3858 | 690.9492 | 16.4833 | 0 | 557.2638 | 0 | 244.3046 | 287.976 | 4.4089 | 0 | 79.7911 | -670.9395 | -591.7514 | 19.2967 | -62.537 | -16.6511 | 1210.2374 | 1148.506 | 331.5309 | 526.4447 | 290.5304 | 26.6283 | 0.90414 | 0 | 0 | 0.51035 | 0 | 0 | 25.2546 | -0.040791 | 38.7261 | -3.6231 | 1210.2374
20 | 1776.7034 | 665.3274 | 16.4391 | 0 | 560.8323 | 0.0665 | 239.9555 | 289.6135 | 4.4691 | 0 | 80.4033 | -704.1657 | -614.9734 | 0.34501 | -71.7256 | -17.4667 | 1152.9411 | 1103.9245 | 312.7942 | 514.223 | 276.9072 | 28.1833 | 0.93116 | 0 | 0 | 0.54285 | 0 | 0 | 25.0062 | 1.703 | 23.7723 | -2.939 | 1152.9411
21 | 1852.9256 | 615.3664 | 16.3567 | 0 | 555.5585 | 11.7779 | 220.4683 | 288.4674 | 144.9304 | 0 | 78.6966 | -326.3142 | -282.0022 | -23.0068 | -36.04 | -8.2719 | 1605.3081 | 1597.1756 | 390.2926 | 822.1989 | 384.6841 | 35.9966 | 1.282 | 0 | 0 | 0.71188 | 0 | 0 | 34.3136 | -0.31088 | -33.6136 | 5.7494 | 1605.3081
22 | 1955.6594 | 729.8355 | 0 | 0 | 562.1722 | 11.9645 | 226.9181 | 289.7232 | 135.0458 | 0 | 79.455 | -354.6834 | -300.5361 | -3.7997 | -42.2765 | -11.8708 | 1680.4309 | 1718.4315 | 394.1688 | 930.4554 | 393.8072 | 42.2793 | 1.3279 | 0 | 0 | 0.70648 | 0 | 0 | 38.6813 | 1.5636 | -69.5807 | -10.6992 | 1680.4309
23 | 1952.8842 | 609.4757 | 11.109 | 13.6569 | 555.7667 | 109.5693 | 222.414 | 286.6654 | 144.2271 | 0 | 80.803 | -238.3923 | -233.1301 | -2.6988 | -2.6092 | -2.6531 | 1795.2949 | 1775.3545 | 396.512 | 982.0521 | 396.7903 | 43.9428 | 1.4087 | 0 | 0 | 0.73761 | 0 | 0 | 37.5116 | 4.2848 | -40.6422 | 16.6398 | 1795.2949
24 | 1924.6098 | 713.9594 | 10.9921 | 0 | 547.4209 | 6.9346 | 212.1287 | 288.8383 | 144.3358 | 0 | 80.7447 | -242.1941 | -193.2245 | -17.3638 | -33.5587 | -15.4108 | 1763.1604 | 1704.8039 | 391.2367 | 922.6214 | 390.9458 | 35.3118 | 1.4483 | 0 | 0 | 0.70805 | 0 | 0 | 35.0711 | -1.9156 | 22.62 | 0.42468 | 1763.1604
25 | 1850.8091 | 682.7283 | 21.8695 | 0 | 551.8778 | 10.2907 | 199.2937 | 240.5128 | 144.2362 | 0 | 82.5013 | -347.7458 | -323.0737 | -0.082179 | -18.111 | -6.5611 | 1585.5646 | 1595.2918 | 383.5049 | 837.8582 | 373.9287 | 36.2908 | 1.389 | 0 | 0 | 0.68683 | 0 | 0 | 33.8766 | 0.33838 | -45.528 | -0.48994 | 1585.5646
26 | 1874.0401 | 805.053 | 21.9583 | 0 | 565.2665 | 0 | 230.2013 | 175.5931 | 75.968 | 0 | 79.0612 | -684.6156 | -596.5986 | -4.262 | -71.7198 | -16.2972 | 1268.4857 | 1212.3324 | 332.2185 | 598.1754 | 281.9385 | 27.832 | 0.94699 | 0 | 0.059222 | 0.58695 | 0 | 0 | 27.0277 | -0.78877 | 27.8009 | 0.52024 | 1268.4857
27 | 1877.8322 | 790.8325 | 65.659 | 0 | 571.8035 | 0.090302 | 226.1 | 174.2705 | 49.0762 | 0 | 78.974 | -747.1905 | -659.1006 | -3.1018 | -71.5435 | -16.5464 | 1209.6157 | 1177.8185 | 309.3559 | 602.652 | 265.8106 | 29.5973 | 0.87355 | 0 | 0 | 0.54265 | 0 | 0 | 26.0846 | 2.0966 | 7.2433 | -5.0434 | 1209.6157
28 | 2167.8124 | 861.2644 | 109.1813 | 0 | 558.2764 | 11.3075 | 254.1944 | 236.9442 | 136.6442 | 0 | 79.0263 | -470.2106 | -410.062 | -6.3117 | -52.6947 | -7.4539 | 1776.628 | 1669.798 | 389.9203 | 905.258 | 374.6197 | 35.6642 | 1.0844 | 0 | 0 | 0.67999 | 0 | 0 | 32.5926 | 1.3073 | 46.4255 | 24.7403 | 1776.628
29 | 2138.5026 | 958.917 | 98.6353 | 9.3601 | 536.9899 | 41.3057 | 249.6291 | 236.0155 | 7.65 | 0 | 79.8248 | -386.7298 | -337.1377 | -7.4735 | -46.564 | -3.0281 | 1831.5976 | 1693.1381 | 395.4275 | 912.3873 | 385.3233 | 37.9766 | 1.0956 | 0 | 0 | 0.71212 | 0 | 0 | 33.9907 | 2.1782 | 105.1238 | -4.6409 | 1831.5976
30 | 1926.5751 | 810.9644 | 0 | 7.0054 | 522.4906 | 90.6677 | 258.5981 | 236.8488 | 0 | 0 | 79.3389 | -230.803 | -184.9624 | -5.002 | -41.1461 | -4.6944 | 1775.1111 | 1697.5601 | 395.8888 | 912.6713 | 389 | 43.2449 | 1.355 | 0 | 0 | 0.71339 | 0 | 0 | 36.1003 | 5.0762 | 41.0975 | -6.7914 | 1775.1111
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Transportation - Monthly report
June 2021
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 176.9377 | 68.442 | 7.6014 | 0 | 49.6094 | 0.89725 | 19.5842 | 20.9435 | 9.8599 | 0 | 5.2197 | -56.271 | -48.8198 | -0.281 | -6.0239 | -1.4273 | 125.8864 | 132.817 | 45.6364 | 50.4647 | 36.7159 | -0.15358 | 0.14259 | 0 | 0 | 0.07421 | 0 | 0 | 3.1326 | -3.503 | 0.57544 | -7.3524 | 125.8864
2 | 171.5358 | 65.3098 | 7.5968 | 0 | 49.3764 | 1.0275 | 18.5861 | 24.9223 | 4.7169 | 0 | 5.4771 | -69.5291 | -61.8056 | 1.6071 | -6.2263 | -1.4972 | 107.4838 | 106.549 | 31.984 | 44.6169 | 29.9481 | -0.52746 | 0.13931 | 0 | 0 | 0 | 0 | 0 | 2.7764 | -3.4432 | -1.5326 | 2.9949 | 107.4838
3 | 186.1114 | 69.9286 | 9.4896 | 0 | 51.1589 | 0.97268 | 19.179 | 24.9152 | 10.4675 | 0 | 5.5349 | -61.3009 | -53.9103 | -0.35148 | -6.1512 | -1.2395 | 130.3454 | 136.0066 | 38.1238 | 58.3088 | 39.574 | -0.92134 | 0.11128 | 0 | 0 | 0 | 0 | 0 | 3.0761 | -4.1087 | -4.2634 | -0.47648 | 130.3454
4 | 180.4304 | 68.0991 | 9.4841 | 0 | 50.5426 | 0.88172 | 18.6559 | 24.9176 | 7.8493 | 0 | 7.6071 | -60.0585 | -55.0068 | -0.57299 | -4.301 | -0.75079 | 127.979 | 128.6932 | 36.5763 | 55.2398 | 36.877 | -0.64359 | 0.11342 | 0 | 0 | 0.060669 | 0 | 0 | 3.0318 | -3.8495 | -4.381 | 4.3104 | 127.979
5 | 159.2706 | 55.6585 | 8.5402 | 0 | 50.7258 | 0.96212 | 18.0772 | 24.9158 | 0.39103 | 0 | 8.0992 | -61.7674 | -54.3737 | -0.42114 | -5.9207 | -1.4731 | 105.6024 | 100.2304 | 32.2342 | 39.7504 | 28.2457 | -1.1398 | 0.095497 | 0 | 0 | 0.054736 | 0 | 0 | 2.4901 | -3.7801 | 3.4812 | 3.0305 | 105.6024
6 | 167.8261 | 53.6058 | 8.5407 | 0 | 50.4532 | 0.83503 | 18.1992 | 24.9216 | 11.2707 | 0 | 6.5091 | -71.4349 | -63.6967 | -0.39694 | -6.1747 | -1.5636 | 102.9003 | 97.2441 | 30.553 | 39.21 | 27.4811 | -1.6492 | 0.097247 | 0 | 0 | 0.051621 | 0 | 0 | 2.381 | -4.1791 | 6.5332 | 0.7722 | 102.9003
7 | 183.5654 | 64.8394 | 9.4889 | 0 | 49.9171 | 0.89931 | 21.0943 | 24.9247 | 12.4017 | 0 | 8.3704 | -56.3318 | -48.8951 | -0.44881 | -5.7324 | -1.7043 | 135.604 | 136.5136 | 38.0052 | 60.5771 | 37.9313 | -1.879 | 0.12865 | 0 | 0 | 0.066239 | 0 | 0 | 3.1163 | -5.1902 | -1.4071 | 2.3765 | 135.604
8 | 187.5404 | 69.733 | 10.9002 | 0 | 50.0297 | 0.92282 | 19.1005 | 24.9199 | 11.9343 | 0 | 6.7358 | -57.4227 | -49.6886 | -0.47578 | -5.914 | -1.82 | 136.8535 | 137.741 | 38.4301 | 60.4447 | 38.8662 | -1.9092 | 0.10686 | 0 | 0 | 0.070107 | 0 | 0 | 3.09 | -5.1762 | 0.12208 | 0.89967 | 136.8535
9 | 183.3199 | 75.7868 | 0 | 0 | 50.6181 | 0.87969 | 19.1902 | 24.9176 | 11.9277 | 0 | 6.9761 | -54.0471 | -47.9816 | 0.019565 | -4.4722 | -1.5933 | 136.2489 | 134.1438 | 38.4173 | 57.5244 | 38.2021 | -1.8082 | 0.13097 | 0 | 0 | 0 | 0 | 0 | 3.1372 | -5.0763 | 2.012 | 1.9012 | 136.2489
10 | 185.4704 | 66.5806 | 12.3264 | 0 | 50.31 | 0.89022 | 18.5048 | 24.9203 | 11.938 | 0 | 7.1327 | -63.0892 | -55.8625 | 0.23564 | -5.8663 | -1.3603 | 129.5138 | 132.3861 | 38.3737 | 56.5955 | 37.417 | -1.839 | 0.1285 | 0 | 0 | 0.064188 | 0 | 0 | 3.1122 | -5.1439 | 0.099082 | -1.1324 | 129.5138
11 | 184.2261 | 67.1476 | 11.5689 | 0 | 50.2108 | 0.013064 | 18.4393 | 24.9235 | 11.9229 | 0 | 7.269 | -66.1363 | -59.2051 | -1.0063 | -5.6449 | -1.2863 | 125.3588 | 126.0768 | 37.3801 | 52.3966 | 36.3001 | -1.4876 | 0.11979 | 0 | 0 | 0.061538 | 0 | 0 | 2.9931 | -4.662 | 0.11413 | 0.65546 | 125.3588
12 | 164.4639 | 52.8148 | 7.1191 | 0 | 51.3627 | 0.009834 | 18.3183 | 24.9293 | 9.9099 | 0 | 7.1528 | -70.9963 | -63.2062 | -0.96425 | -6.2289 | -1.5612 | 100.6204 | 98.7888 | 31.9501 | 39.1601 | 27.6786 | -1.0688 | 0.092409 | 0 | 0 | 0.053593 | 0 | 0 | 2.4388 | -3.6536 | 1.7684 | 1.1321 | 100.6204
13 | 163.2512 | 52.7457 | 7.1172 | 0 | 51.6264 | 0.0098342 | 17.2613 | 24.9264 | 9.5644 | 0 | 7.2213 | -71.02 | -63.3719 | -1.2056 | -6.2026 | -1.4456 | 99.4525 | 93.467 | 30.2834 | 37.1039 | 26.0798 | -0.64056 | 0.080993 | 0 | 0 | 0.04957 | 0 | 0 | 2.2898 | -3.0609 | 6.2366 | 0.38937 | 99.4525
14 | 185.5725 | 65.4753 | 9.489 | 0 | 50.8387 | 0.94583 | 20.0863 | 24.9269 | 13.8105 | 0 | 7.0983 | -61.0658 | -53.0723 | -1.0338 | -6.2148 | -1.7787 | 131.605 | 132.7414 | 37.4973 | 59.1111 | 36.133 | -0.75779 | 0.11229 | 0 | 0 | 0.068263 | 0 | 0 | 3.118 | -4.0563 | -2.3828 | 2.0042 | 131.605
15 | 186.9901 | 71.4954 | 8.5417 | 0 | 49.303 | 0.85672 | 19.3541 | 24.9186 | 12.5205 | 0 | 6.9615 | -53.4203 | -49.341 | -0.55379 | -2.9802 | -1.0991 | 140.5313 | 141.7088 | 37.7526 | 66.9315 | 37.0248 | -0.96707 | 0.1219 | 0 | 0 | 0.066235 | 0 | 0 | 3.2421 | -4.3973 | -0.31443 | 0.10395 | 140.5313
16 | 192.0626 | 74.9922 | 6.6411 | 0 | 49.0089 | 0.93898 | 23.0347 | 24.9155 | 12.5312 | 0 | 6.9701 | -45.3152 | -40.6068 | -0.39324 | -3.5816 | -1.1268 | 153.7174 | 149.467 | 36.0362 | 76.568 | 36.8628 | -1.2355 | 0.12078 | 0 | 0 | 0.06307 | 0 | 0 | 3.3376 | -4.757 | 2.9422 | 2.5437 | 153.7174
17 | 182.5507 | 71.044 | 2.851 | 0 | 48.8723 | 0.89777 | 21.4412 | 24.9259 | 12.5186 | 0 | 7.1172 | -42.8384 | -37.0515 | -0.52053 | -4.8931 | -0.8938 | 146.8294 | 148.1 | 36.7328 | 75.2879 | 36.0793 | -1.097 | 0.11908 | 0 | 0 | 0.066204 | 0 | 0 | 3.2548 | -4.5371 | 0.88777 | -1.0613 | 146.8294
18 | 179.5508 | 70.0311 | 1.435 | 0 | 48.8951 | 0.88392 | 20.8589 | 24.9187 | 12.5281 | 0 | 7.0114 | -49.1964 | -41.9149 | -0.29938 | -6.1425 | -1.1389 | 137.3658 | 139.4939 | 35.6955 | 69.342 | 34.4563 | -1.1546 | 0.11818 | 0 | 0 | 0.060394 | 0 | 0 | 2.9377 | -4.2709 | -2.4488 | 1.4753 | 137.3658
19 | 155.8724 | 60.8042 | 1.4317 | 0 | 47.5637 | 0 | 20.8551 | 24.8321 | 0.38559 | 0 | 7.1514 | -58.2343 | -51.3284 | 1.7295 | -5.4397 | -1.4663 | 104.7895 | 102.9365 | 29.7139 | 47.1834 | 26.0392 | -1.2932 | 0.079691 | 0 | 0 | 0.046176 | 0 | 0 | 2.2635 | -3.6825 | 3.4709 | -0.32472 | 104.7895
20 | 153.6065 | 58.4689 | 1.4304 | 0 | 47.8961 | 0.0056609 | 20.49 | 24.9251 | 0.39043 | 0 | 7.2063 | -61.06 | -53.2756 | 0.030922 | -6.2457 | -1.5387 | 99.7528 | 98.9408 | 28.0346 | 46.088 | 24.8182 | -1.0552 | 0.082104 | 0 | 0 | 0.049112 | 0 | 0 | 2.2412 | -3.4277 | 2.1306 | -0.26341 | 99.7528
21 | 159.948 | 54.1018 | 1.4226 | 0 | 47.4332 | 1.0172 | 18.8268 | 24.8252 | 12.3212 | 0 | 7.0533 | -28.0829 | -24.2405 | -1.9776 | -3.1143 | -0.72814 | 138.9184 | 143.1492 | 34.9805 | 73.6908 | 34.4779 | -1.7334 | 0.11301 | 0 | 0 | 0.064441 | 0 | 0 | 3.0754 | -4.9862 | -3.0127 | 0.5153 | 138.9184
22 | 168.914 | 64.1828 | 0 | 0 | 48.0054 | 1.0363 | 19.3679 | 24.9295 | 11.3922 | 0 | 7.1213 | -30.6581 | -25.9563 | -0.32816 | -3.6694 | -1.0325 | 145.3771 | 154.0169 | 35.3279 | 83.3934 | 35.2955 | -1.4446 | 0.11613 | 0 | 0 | 0.063929 | 0 | 0 | 3.4669 | -5.0915 | -6.2363 | -0.95893 | 145.3771
23 | 168.6235 | 53.5728 | 0.9649 | 1.2015 | 47.4449 | 9.5753 | 18.9847 | 24.7309 | 12.1485 | 0 | 7.2421 | -20.5538 | -20.0935 | -0.23261 | -0.22956 | -0.23075 | 155.3118 | 159.1187 | 35.538 | 88.0178 | 35.5629 | -1.6557 | 0.12337 | 0 | 0 | 0.066739 | 0 | 0 | 3.362 | -5.2078 | -3.6426 | 1.4914 | 155.3118
24 | 166.0988 | 62.6553 | 0.95433 | 0 | 46.6892 | 0.60255 | 18.1165 | 24.9223 | 12.1587 | 0 | 7.2369 | -20.8497 | -16.6074 | -1.4924 | -2.9013 | -1.341 | 152.486 | 152.7955 | 35.0652 | 82.6913 | 35.0391 | -2.3749 | 0.12681 | 0 | 0 | 0.064064 | 0 | 0 | 3.1433 | -5.7091 | 2.0273 | 0.038063 | 152.486
25 | 159.7305 | 59.9025 | 1.8996 | 0 | 47.1014 | 0.90352 | 17.0146 | 20.7577 | 12.1512 | 0 | 7.3943 | -29.9962 | -27.8862 | -0.0070933 | -1.5506 | -0.55941 | 137.1286 | 142.9803 | 34.3722 | 75.0942 | 33.5139 | -1.7273 | 0.12056 | 0 | 0 | 0.062144 | 0 | 0 | 3.0362 | -4.9462 | -4.0805 | -0.043911 | 137.1286
26 | 161.9927 | 70.6036 | 1.9082 | 0 | 48.2636 | 0 | 19.6494 | 15.1631 | 6.4049 | 0 | 7.086 | -59.3382 | -51.7015 | -0.36935 | -6.2168 | -1.4199 | 109.7405 | 108.657 | 29.7756 | 53.6123 | 25.2691 | -1.4549 | 0.082585 | 0 | 0.0051948 | 0.053107 | 0 | 0 | 2.4224 | -4.0181 | 2.4917 | 0.046628 | 109.7405
27 | 162.4521 | 69.3998 | 5.6994 | 0 | 48.831 | 0.0079053 | 19.306 | 15.0674 | 4.1407 | 0 | 7.0782 | -64.8213 | -57.1624 | -0.26902 | -6.2135 | -1.4454 | 104.709 | 105.5637 | 27.7265 | 54.0135 | 23.8237 | -1.0518 | 0.076468 | 0 | 0 | 0.049108 | 0 | 0 | 2.3379 | -3.5153 | 0.64919 | -0.45203 | 104.709
28 | 187.4609 | 75.6375 | 9.4793 | 0 | 47.6562 | 0.99453 | 21.6973 | 20.4644 | 11.5318 | 0 | 7.0828 | -40.7291 | -35.5141 | -0.54663 | -4.5614 | -0.65365 | 153.8146 | 149.658 | 34.9472 | 81.135 | 33.5758 | -2.2218 | 0.095095 | 0 | 0 | 0.061555 | 0 | 0 | 2.9212 | -5.2996 | 4.161 | 2.2174 | 153.8146
29 | 185.2778 | 84.1281 | 8.5371 | 0.82293 | 45.8354 | 3.6203 | 21.3087 | 20.3802 | 0.6451 | 0 | 7.1544 | -33.5573 | -29.2683 | -0.64881 | -4.0241 | -0.26495 | 158.8749 | 151.7499 | 35.4408 | 81.774 | 34.5352 | -1.8809 | 0.095974 | 0 | 0 | 0.064438 | 0 | 0 | 3.0465 | -5.0878 | 9.4219 | -0.41594 | 158.8749
30 | 166.9996 | 71.2006 | 0 | 0.61507 | 44.7053 | 7.9347 | 22.0795 | 20.4644 | 0 | 0 | 7.1109 | -19.9137 | -15.9585 | -0.43157 | -3.5451 | -0.41003 | 154.1968 | 152.1463 | 35.4821 | 81.7995 | 34.8647 | -1.0242 | 0.1192 | 0 | 0 | 0.06421 | 0 | 0 | 3.2355 | -4.4431 | 3.6834 | -0.60869 | 154.1968
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Transportation - Monthly report
June 2021
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 192.6582 | 73.5784 | 8.2718 | 0 | 54.7787 | 0.97188 | 21.7139 | 22.7419 | 10.6015 | 0 | 5.5083 | -61.3534 | -53.2784 | -0.30666 | -6.5398 | -1.5352 | 136.8131 | 140.1617 | 48.1601 | 53.2553 | 38.7463 | 3.8031 | 0.15319 | 0 | 0 | 0.078049 | 0 | 0 | 3.3058 | 0.26601 | 0.60726 | -7.759 | 136.8131
2 | 187.2348 | 70.3808 | 8.2664 | 0 | 54.5449 | 1.112 | 20.6001 | 27.2577 | 5.0728 | 0 | 5.78 | -75.769 | -67.3833 | 1.696 | -6.7666 | -1.6191 | 117.2459 | 112.4411 | 33.7527 | 47.0842 | 31.6042 | 3.2616 | 0.14955 | 0 | 0 | 0 | 0 | 0 | 2.93 | 0.18211 | -1.6173 | 3.1605 | 117.2459
3 | 203.004 | 75.3788 | 10.3364 | 0 | 56.5447 | 1.0265 | 21.2007 | 27.2584 | 11.2586 | 0 | 5.841 | -66.8789 | -58.837 | -0.3836 | -6.6937 | -1.3483 | 141.966 | 143.5278 | 40.2321 | 61.5333 | 41.7624 | 3.4403 | 0.1195 | 0 | 0 | 0 | 0 | 0 | 3.2462 | 0.074561 | -4.4992 | -0.50283 | 141.966
4 | 196.9795 | 73.4228 | 10.3325 | 0 | 55.8928 | 0.95409 | 20.6495 | 27.2854 | 8.4423 | 0 | 8.0278 | -65.6877 | -60.1828 | -0.62691 | -4.687 | -0.81788 | 139.3196 | 135.8099 | 38.599 | 58.2945 | 38.9163 | 3.5842 | 0.12269 | 0 | 0 | 0.06342 | 0 | 0 | 3.1995 | 0.19862 | -4.6233 | 4.5488 | 139.3196
5 | 174.2651 | 59.9923 | 9.3118 | 0 | 56.1845 | 1.0414 | 20.029 | 27.2861 | 0.42005 | 0 | 8.5471 | -67.3981 | -59.3626 | -0.45979 | -6.4399 | -1.5956 | 115.4141 | 105.7732 | 34.0168 | 41.9486 | 29.8077 | 2.7691 | 0.10401 | 0 | 0 | 0.057218 | 0 | 0 | 2.6278 | -0.019911 | 3.6737 | 3.1981 | 115.4141
6 | 184.2556 | 57.8065 | 9.3054 | 0 | 56.0152 | 0.90514 | 20.1608 | 27.2925 | 12.7701 | 0 | 6.8691 | -77.9141 | -69.5161 | -0.4332 | -6.7131 | -1.6849 | 113.2105 | 102.6217 | 32.2426 | 41.3783 | 29.0008 | 2.8794 | 0.10519 | 0 | 0 | 0.053962 | 0 | 0 | 2.5127 | 0.20758 | 6.8945 | 0.8149 | 113.2105
7 | 201.5963 | 69.9014 | 10.3443 | 0 | 55.4175 | 0.97765 | 23.3899 | 27.3825 | 14.1832 | 0 | 8.8333 | -61.7262 | -53.6326 | -0.4923 | -6.2572 | -1.8364 | 148.7034 | 144.0628 | 40.1069 | 63.927 | 40.0289 | 3.6176 | 0.13979 | 0 | 0 | 0.069242 | 0 | 0 | 3.2886 | 0.11996 | -1.485 | 2.5079 | 148.7034
8 | 205.792 | 75.139 | 11.9439 | 0 | 55.494 | 1.0084 | 21.1736 | 27.3827 | 13.6506 | 0 | 7.1082 | -62.8963 | -54.4585 | -0.52145 | -6.4395 | -1.9983 | 150.004 | 145.358 | 40.5553 | 63.7872 | 41.0155 | 3.5677 | 0.11625 | 0 | 0 | 0.073293 | 0 | 0 | 3.2609 | 0.11724 | 0.12883 | 0.94942 | 150.004
9 | 201.0695 | 81.6842 | 0 | 0 | 56.1382 | 0.96157 | 21.2689 | 27.3745 | 13.6422 | 0 | 7.3619 | -59.2082 | -52.601 | 0.020647 | -4.8904 | -1.7168 | 149.2232 | 141.562 | 40.5418 | 60.7055 | 40.3147 | 3.5316 | 0.14267 | 0 | 0 | 0 | 0 | 0 | 3.3107 | 0.078184 | 2.1233 | 2.0063 | 149.2232
10 | 203.6042 | 71.7179 | 13.5665 | 0 | 55.818 | 0.97252 | 20.5088 | 27.3688 | 13.6516 | 0 | 7.5271 | -69.0213 | -61.1584 | 0.24867 | -6.3974 | -1.4655 | 142.11 | 139.7071 | 40.4957 | 59.7252 | 39.4862 | 3.4933 | 0.13824 | 0 | 0 | 0.067925 | 0 | 0 | 3.2843 | 0.0028927 | 0.10456 | -1.195 | 142.11
11 | 202.0971 | 72.3147 | 12.642 | 0 | 55.6659 | 0.014262 | 20.4356 | 27.3843 | 13.6404 | 0 | 7.671 | -72.4236 | -64.8814 | -1.1027 | -6.157 | -1.3852 | 137.3445 | 133.0488 | 39.4472 | 55.2942 | 38.3075 | 3.4835 | 0.12889 | 0 | 0 | 0.065157 | 0 | 0 | 3.1586 | 0.13086 | 0.12044 | 0.69171 | 137.3445
12 | 180.5219 | 56.8438 | 7.7426 | 0 | 56.9587 | 0.010739 | 20.2943 | 27.4007 | 11.2711 | 0 | 7.5483 | -77.9257 | -69.4613 | -1.0597 | -6.7835 | -1.6809 | 110.1445 | 104.2518 | 33.7169 | 41.3256 | 29.2092 | 2.8318 | 0.1003 | 0 | 0 | 0.056125 | 0 | 0 | 2.5737 | 0.10174 | 1.8662 | 1.1947 | 110.1445
13 | 178.7304 | 56.866 | 7.7387 | 0 | 57.2635 | 0.010739 | 19.1181 | 27.3367 | 10.3968 | 0 | 7.6206 | -78.0479 | -69.7323 | -1.3266 | -6.7602 | -1.5554 | 108.3031 | 98.6357 | 31.958 | 39.1557 | 27.522 | 2.675 | 0.088651 | 0 | 0 | 0.051818 | 0 | 0 | 2.4164 | 0.11805 | 6.5815 | 0.4109 | 108.3031
14 | 202.8511 | 70.6234 | 10.3275 | 0 | 56.38 | 1.0366 | 22.2156 | 27.3394 | 14.9286 | 0 | 7.4908 | -66.9407 | -58.2462 | -1.1346 | -6.78 | -1.9144 | 143.4012 | 140.082 | 39.5709 | 62.3799 | 38.1311 | 3.7188 | 0.12289 | 0 | 0 | 0.071358 | 0 | 0 | 3.2904 | 0.23412 | -2.5146 | 2.1151 | 143.4012
15 | 204.1234 | 76.9743 | 9.295 | 0 | 54.6089 | 0.93776 | 21.4373 | 27.3336 | 13.5365 | 0 | 7.3464 | -58.5631 | -54.1057 | -0.60727 | -3.2637 | -1.1937 | 152.9067 | 149.5453 | 39.8403 | 70.6328 | 39.0722 | 3.5835 | 0.13255 | 0 | 0 | 0.069239 | 0 | 0 | 3.4214 | -0.039645 | -0.33182 | 0.1097 | 152.9067
16 | 209.5959 | 80.6575 | 7.2258 | 0 | 54.3025 | 1.0248 | 25.5158 | 27.3207 | 13.5488 | 0 | 7.3555 | -49.5968 | -44.4523 | -0.43048 | -3.9207 | -1.2237 | 167.3547 | 157.7325 | 38.029 | 80.8022 | 38.9014 | 3.8328 | 0.13051 | 0 | 0 | 0.066553 | 0 | 0 | 3.5222 | 0.11357 | 3.1049 | 2.6844 | 167.3547
17 | 199.2495 | 76.3495 | 3.1197 | 0 | 54.1695 | 0.97981 | 23.7583 | 27.3359 | 13.5366 | 0 | 7.5107 | -46.8218 | -40.5413 | -0.56955 | -5.3173 | -0.96314 | 159.9385 | 156.2899 | 38.7641 | 79.4514 | 38.0744 | 3.8317 | 0.12799 | 0 | 0 | 0.069569 | 0 | 0 | 3.4348 | 0.19938 | 0.93687 | -1.12 | 159.9385
18 | 195.9666 | 75.2241 | 1.5654 | 0 | 54.2154 | 0.96764 | 23.111 | 27.3335 | 13.5496 | 0 | 7.3991 | -53.6887 | -45.8127 | -0.32722 | -6.6517 | -1.2242 | 149.677 | 147.2079 | 37.6695 | 73.1767 | 36.3618 | 3.4964 | 0.12691 | 0 | 0 | 0.063235 | 0 | 0 | 3.1002 | 0.20611 | -2.5842 | 1.5569 | 149.677
19 | 170.3801 | 65.3519 | 1.559 | 0 | 52.7076 | 0 | 23.107 | 27.2376 | 0.41701 | 0 | 7.5469 | -63.4593 | -55.9695 | 1.8251 | -5.9149 | -1.5749 | 114.4676 | 108.6289 | 31.3571 | 49.7926 | 27.4792 | 2.5186 | 0.085516 | 0 | 0 | 0.04827 | 0 | 0 | 2.3887 | -0.0038582 | 3.6628 | -0.34268 | 114.4676
20 | 168.0455 | 62.9285 | 1.5549 | 0 | 53.0451 | 0.0062898 | 22.6957 | 27.3924 | 0.4227 | 0 | 7.6048 | -66.6019 | -58.1659 | 0.032632 | -6.784 | -1.652 | 109.0484 | 104.4122 | 29.5849 | 48.6366 | 26.1907 | 2.6657 | 0.088072 | 0 | 0 | 0.051344 | 0 | 0 | 2.3652 | 0.16108 | 2.2485 | -0.27798 | 109.0484
21 | 175.2548 | 58.2031 | 1.5471 | 0 | 52.5463 | 1.114 | 20.8525 | 27.284 | 13.7079 | 0 | 7.4433 | -30.8637 | -26.6726 | -2.176 | -3.4088 | -0.78238 | 151.8345 | 151.0653 | 36.915 | 77.7659 | 36.3845 | 3.4047 | 0.12126 | 0 | 0 | 0.067331 | 0 | 0 | 3.2455 | -0.029404 | -3.1793 | 0.54379 | 151.8345
22 | 184.9717 | 69.0299 | 0 | 0 | 53.1718 | 1.1316 | 21.4625 | 27.4028 | 12.773 | 0 | 7.5151 | -33.5469 | -28.4255 | -0.35938 | -3.9986 | -1.1228 | 158.9398 | 162.534 | 37.2816 | 88.0051 | 37.2474 | 3.9989 | 0.12559 | 0 | 0 | 0.066821 | 0 | 0 | 3.6586 | 0.14789 | -6.5811 | -1.012 | 158.9398
23 | 184.7092 | 57.6459 | 1.0507 | 1.2917 | 52.566 | 10.3634 | 21.0365 | 27.1136 | 13.6414 | 0 | 7.6426 | -22.5478 | -22.0501 | -0.25526 | -0.24679 | -0.25093 | 169.804 | 167.9179 | 37.5032 | 92.8852 | 37.5295 | 4.1562 | 0.13324 | 0 | 0 | 0.069765 | 0 | 0 | 3.548 | 0.40527 | -3.844 | 1.5738 | 169.804
24 | 182.0349 | 67.5283 | 1.0397 | 0 | 51.7766 | 0.6559 | 20.0637 | 27.3191 | 13.6517 | 0 | 7.6371 | -22.9074 | -18.2757 | -1.6423 | -3.1741 | -1.4576 | 166.7646 | 161.2451 | 37.0043 | 87.2641 | 36.9767 | 3.3399 | 0.13698 | 0 | 0 | 0.066969 | 0 | 0 | 3.3171 | -0.18118 | 2.1395 | 0.040167 | 166.7646
25 | 175.0547 | 64.5743 | 2.0685 | 0 | 52.1981 | 0.97333 | 18.8498 | 22.7484 | 13.6423 | 0 | 7.8032 | -32.8908 | -30.5572 | -0.0077727 | -1.713 | -0.62057 | 149.9671 | 150.8871 | 36.273 | 79.2469 | 35.3672 | 3.4325 | 0.13137 | 0 | 0 | 0.064962 | 0 | 0 | 3.2041 | 0.032005 | -4.3062 | -0.04634 | 149.9671
26 | 177.2519 | 76.1441 | 2.0769 | 0 | 53.4645 | 0 | 21.7731 | 16.6081 | 7.1853 | 0 | 7.4778 | -64.7528 | -56.428 | -0.40311 | -6.7835 | -1.5414 | 119.9769 | 114.6658 | 31.4221 | 56.5771 | 26.6665 | 2.6324 | 0.089569 | 0 | 0.0056014 | 0.055515 | 0 | 0 | 2.5564 | -0.074604 | 2.6295 | 0.049206 | 119.9769
27 | 177.6106 | 74.7991 | 6.2102 | 0 | 54.0828 | 0.008541 | 21.3852 | 16.483 | 4.6418 | 0 | 7.4696 | -70.6713 | -62.3396 | -0.29338 | -6.7668 | -1.565 | 114.4088 | 111.4013 | 29.2597 | 57.0005 | 25.1411 | 2.7994 | 0.082622 | 0 | 0 | 0.051325 | 0 | 0 | 2.4672 | 0.1983 | 0.68509 | -0.47702 | 114.4088
28 | 205.0377 | 81.4608 | 10.3267 | 0 | 52.8033 | 1.0695 | 24.0424 | 22.4108 | 12.9242 | 0 | 7.4745 | -44.4738 | -38.7848 | -0.59698 | -4.984 | -0.70501 | 168.0384 | 157.9341 | 36.8797 | 85.6218 | 35.4326 | 3.3732 | 0.10257 | 0 | 0 | 0.064315 | 0 | 0 | 3.0827 | 0.12364 | 4.3911 | 2.34 | 168.0384
29 | 202.2655 | 90.697 | 9.3292 | 0.8853 | 50.79 | 3.9068 | 23.6106 | 22.323 | 0.72355 | 0 | 7.55 | -36.578 | -31.8874 | -0.70687 | -4.4041 | -0.2864 | 173.2376 | 160.1417 | 37.4006 | 86.2961 | 36.4449 | 3.5919 | 0.10362 | 0 | 0 | 0.067354 | 0 | 0 | 3.2149 | 0.20602 | 9.9429 | -0.43895 | 173.2376
30 | 182.2208 | 76.7033 | 0 | 0.66259 | 49.4186 | 8.5756 | 24.4589 | 22.4018 | 0 | 0 | 7.5041 | -21.83 | -17.4943 | -0.4731 | -3.8917 | -0.44401 | 167.8949 | 160.5599 | 37.4443 | 86.323 | 36.7927 | 4.0902 | 0.12816 | 0 | 0 | 0.067474 | 0 | 0 | 3.4145 | 0.48012 | 3.8871 | -0.64235 | 167.8949
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## GCV kWhNm3
Gas Transportation - Monthly report
June 2021
(Related GCV expressed in kWh/Nm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio
1 | 11.3662 | 11.5053 | 11.3191 | 11.6744 | 11.4521 | 11.7225 | 11.4806 | 11.3679 | 12.0948 | 11.3582 | 11.3191 | 11.4521 | 11.1197 | 11.717 | 11.3662
2 | 11.3937 | 11.5047 | 11.3202 | 11.6795 | 11.4424 | 11.7184 | 11.5635 | 11.3706 | 12.0943 | 11.3498 | 11.3202 | 11.4599 | 11.1574 | 11.7138 | 11.3662
3 | 11.3968 | 11.5162 | 11.3213 | 11.6858 | 11.1574 | 11.6872 | 11.5671 | 11.3718 | 12.0943 | 11.354 | 11.3213 | 11.1574 | 11.1574 | 11.6822 | 11.3968
4 | 11.3993 | 11.5186 | 11.3213 | 11.6919 | 11.4405 | 11.7026 | 11.5774 | 11.3715 | 12.0943 | 11.4373 | 11.3213 | 11.4405 | 11.0522 | 11.6991 | 11.3993
5 | 11.396 | 11.528 | 11.3213 | 11.7105 | 11.4444 | 11.7143 | 11.5786 | 11.3573 | 12.0943 | 11.5154 | 11.3213 | 11.4444 | 11.0522 | 11.7143 | 11.396
6 | 11.4013 | 11.5194 | 11.3202 | 11.7383 | 11.4604 | 11.7123 | 11.5786 | 11.9793 | 12.0943 | 11.4363 | 11.3202 | 11.4604 | 11.0522 | 11.7123 | 11.4013
7 | 11.3982 | 11.5258 | 11.3191 | 11.7378 | 11.4937 | 11.7233 | 11.6153 | 12.0915 | 12.0943 | 11.488 | 11.3191 | 11.4937 | 11.0522 | 11.7233 | 11.3982
8 | 11.3924 | 11.5851 | 11.3181 | 11.7275 | 11.5531 | 11.7202 | 11.6176 | 12.0932 | 12.0943 | 11.5017 | 11.3181 | 11.5531 | 11.0532 | 11.7202 | 11.3924
9 | 11.3955 | - | 11.3181 | 11.7258 | 11.5569 | 11.718 | 11.6153 | 12.0925 | 12.0943 | 11.5175 | 11.3181 | 11.5569 | 11.1574 | 11.718 | 11.3955
10 | 11.3885 | 11.6364 | 11.3191 | 11.7303 | 11.5503 | 11.7177 | 11.6115 | 12.0904 | 12.0663 | 11.374 | 11.3191 | 11.5503 | 11.1883 | 11.7177 | 11.3885
11 | 11.3863 | 11.5534 | 11.3202 | 11.7214 | 11.5419 | 11.7174 | 11.6166 | 12.0958 | 12.0663 | 11.3761 | 11.3202 | 11.5419 | 11.1946 | 11.7149 | 11.3863
12 | 11.3793 | 11.4988 | 11.3191 | 11.7246 | 11.546 | 11.7132 | 11.6209 | 12.025 | 12.0663 | 11.4753 | 11.3191 | 11.546 | 11.0722 | 11.7132 | 11.3793
13 | 11.3987 | 11.4959 | 11.3191 | 11.7272 | 11.5459 | 11.71 | 11.5951 | 11.4929 | 12.0663 | 11.5724 | 11.3191 | 11.546 | 11.0522 | 11.71 | 11.3987
14 | 11.404 | 11.507 | 11.3286 | 11.7252 | 11.5869 | 11.6935 | 11.596 | 11.4287 | 12.0663 | 11.5703 | 11.3286 | 11.5869 | 11.0522 | 11.6938 | 11.404
15 | 11.383 | 11.5052 | 11.3202 | 11.7106 | 11.5729 | 11.7107 | 11.5974 | 11.4307 | 12.0663 | 11.4964 | 11.3202 | 11.5729 | 11.0522 | 11.7107 | 11.383
16 | 11.3715 | 11.5037 | 11.3213 | 11.7147 | 11.5392 | 11.7116 | 11.5934 | 11.4313 | 12.0663 | 11.4247 | 11.3213 | 11.5392 | 11.1566 | 11.7128 | 11.3715
17 | 11.3623 | 11.5696 | 11.3234 | 11.7187 | 11.5389 | 11.7153 | 11.595 | 11.4325 | 12.0663 | 11.3645 | 11.3234 | 11.5389 | 11.1102 | 11.7159 | 11.3623
18 | 11.3567 | 11.5333 | 11.3244 | 11.7232 | 11.574 | 11.7143 | 11.5973 | 11.4348 | 12.0663 | 11.354 | 11.3244 | 11.574 | 11.0701 | 11.7143 | 11.3567
19 | 11.3635 | 11.5132 | 11.3244 | 11.7162 | 11.1574 | 11.7144 | 11.5969 | 11.4342 | 12.0663 | 11.3455 | 11.3244 | 11.5999 | 11.0522 | 11.7149 | 11.3635
20 | 11.3792 | 11.493 | 11.3234 | 11.7094 | 11.7472 | 11.7109 | 11.6193 | 11.4468 | 12.0663 | 11.3413 | 11.3234 | 11.7472 | 11.0532 | 11.7109 | 11.3792
21 | 11.3742 | 11.4977 | 11.3234 | 11.7124 | 11.5785 | 11.7104 | 11.62 | 11.7627 | 12.0663 | 11.3445 | 11.3234 | 11.5785 | 11.0469 | 11.7104 | 11.3742
22 | 11.3712 | - | 11.3234 | 11.7106 | 11.5459 | 11.7162 | 11.6217 | 11.8542 | 11.5126 | 11.4342 | 11.3234 | 11.5459 | 11.0511 | 11.7162 | 11.3742
23 | 11.3766 | 11.5132 | 11.3669 | 11.7139 | 11.4429 | 11.7154 | 11.5914 | 11.872 | 11.5126 | 11.4183 | 11.3529 | 11.4429 | 11.0522 | 11.7159 | 11.3766
24 | 11.395 | 11.5181 | 11.3761 | 11.7248 | 11.5088 | 11.7092 | 11.5896 | 11.871 | 12.0663 | 11.4205 | 11.3761 | 11.5459 | 11.0522 | 11.7092 | 11.395
25 | 11.3973 | 11.5128 | 11.3751 | 11.7168 | 11.3897 | 11.7131 | 11.5867 | 11.8701 | 12.0663 | 11.5207 | 11.3751 | 11.3897 | 11.0522 | 11.7131 | 11.3973
26 | 11.4024 | 11.5074 | 11.3761 | 11.7121 | 11.4003 | 11.7155 | 11.5803 | 11.8609 | 12.0663 | 11.4669 | 11.3761 | 11.4003 | 11.0522 | 11.7155 | 11.4024
27 | 11.3953 | 11.5204 | 11.3761 | 11.7099 | 11.4229 | 11.7114 | 11.5661 | 11.8522 | 12.0663 | 11.4236 | 11.3761 | 11.4229 | 11.05 | 11.7114 | 11.3953
28 | 11.3867 | 11.5179 | 11.3244 | 11.7147 | 11.3697 | 11.7155 | 11.5784 | 11.8493 | 12.0663 | 11.4036 | 11.3244 | 11.3697 | 11.0469 | - | 11.3867
29 | 11.3983 | 11.5537 | 11.374 | 11.7156 | 11.4095 | 11.7149 | 11.5806 | 11.8586 | 12.0663 | 11.4152 | 11.374 | 11.4095 | 11.0511 | 11.7149 | 11.3983
30 | 11.3899 | 11.5144 | 11.3895 | 11.6874 | 11.4268 | 11.7121 | 11.5737 | 11.5387 | 12.0663 | 11.3677 | 11.3895 | 11.4268 | 11.1102 | 11.7121 | 11.3899

## GCV kWhSm3
Gas Transportation - Monthly report
June 2021
(Related GCV expressed in kWh/Sm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio
1 | 10.7706 | 10.9024 | 10.726 | 11.0627 | 10.852 | 11.1082 | 10.879 | 10.7722 | 11.461 | 10.763 | 10.726 | 10.852 | 10.537 | 11.103 | 10.7706
2 | 10.7966 | 10.9018 | 10.727 | 11.0674 | 10.8428 | 11.1044 | 10.9575 | 10.7748 | 11.4605 | 10.755 | 10.727 | 10.8594 | 10.5727 | 11.1 | 10.7706
3 | 10.7996 | 10.9128 | 10.728 | 11.0734 | 10.5727 | 11.0748 | 10.961 | 10.7759 | 11.4605 | 10.759 | 10.728 | 10.5727 | 10.5727 | 11.07 | 10.7996
4 | 10.8019 | 10.915 | 10.728 | 11.0792 | 10.841 | 11.0894 | 10.9707 | 10.7756 | 11.4605 | 10.838 | 10.728 | 10.841 | 10.473 | 11.086 | 10.8019
5 | 10.7988 | 10.9239 | 10.728 | 11.0968 | 10.8447 | 11.1005 | 10.9718 | 10.7622 | 11.4605 | 10.912 | 10.728 | 10.8447 | 10.473 | 11.1005 | 10.7988
6 | 10.8038 | 10.9158 | 10.727 | 11.1232 | 10.8599 | 11.0986 | 10.9718 | 11.3515 | 11.4605 | 10.837 | 10.727 | 10.8599 | 10.473 | 11.0986 | 10.8038
7 | 10.8009 | 10.9218 | 10.726 | 11.1227 | 10.8914 | 11.109 | 11.0067 | 11.4579 | 11.4605 | 10.886 | 10.726 | 10.8914 | 10.473 | 11.109 | 10.8009
8 | 10.7954 | 10.978 | 10.725 | 11.113 | 10.9477 | 11.1061 | 11.0088 | 11.4595 | 11.4605 | 10.899 | 10.725 | 10.9477 | 10.474 | 11.1061 | 10.7954
9 | 10.7983 | - | 10.725 | 11.1113 | 10.9513 | 11.1039 | 11.0066 | 11.4588 | 11.4605 | 10.914 | 10.725 | 10.9513 | 10.5727 | 11.1039 | 10.7983
10 | 10.7918 | 11.0267 | 10.726 | 11.1156 | 10.945 | 11.1037 | 11.0031 | 11.4569 | 11.434 | 10.778 | 10.726 | 10.945 | 10.602 | 11.1037 | 10.7918
11 | 10.7897 | 10.948 | 10.727 | 11.1072 | 10.9371 | 11.1034 | 11.0079 | 11.4619 | 11.434 | 10.78 | 10.727 | 10.9371 | 10.608 | 11.101 | 10.7897
12 | 10.783 | 10.8962 | 10.726 | 11.1103 | 10.941 | 11.0994 | 11.0119 | 11.3949 | 11.434 | 10.874 | 10.726 | 10.941 | 10.492 | 11.0994 | 10.783
13 | 10.8014 | 10.8935 | 10.726 | 11.1127 | 10.9408 | 11.0964 | 10.9875 | 10.8907 | 11.434 | 10.966 | 10.726 | 10.941 | 10.473 | 11.0964 | 10.8014
14 | 10.8064 | 10.904 | 10.735 | 11.1107 | 10.9797 | 11.0808 | 10.9884 | 10.8299 | 11.434 | 10.964 | 10.735 | 10.9797 | 10.473 | 11.081 | 10.8064
15 | 10.7865 | 10.9023 | 10.727 | 11.0969 | 10.9664 | 11.0971 | 10.9897 | 10.8317 | 11.434 | 10.894 | 10.727 | 10.9664 | 10.473 | 11.0971 | 10.7865
16 | 10.7756 | 10.9008 | 10.728 | 11.1009 | 10.9345 | 11.0979 | 10.9859 | 10.8323 | 11.434 | 10.826 | 10.728 | 10.9345 | 10.572 | 11.099 | 10.7756
17 | 10.7669 | 10.9633 | 10.73 | 11.1046 | 10.9343 | 11.1014 | 10.9874 | 10.8335 | 11.434 | 10.769 | 10.73 | 10.9343 | 10.528 | 11.102 | 10.7669
18 | 10.7616 | 10.9289 | 10.731 | 11.1088 | 10.9675 | 11.1004 | 10.9896 | 10.8356 | 11.434 | 10.759 | 10.731 | 10.9675 | 10.49 | 11.1004 | 10.7616
19 | 10.768 | 10.9099 | 10.731 | 11.1022 | 10.5727 | 11.1005 | 10.9892 | 10.835 | 11.434 | 10.751 | 10.731 | 10.992 | 10.473 | 11.101 | 10.768
20 | 10.7829 | 10.8907 | 10.73 | 11.0958 | 11.1316 | 11.0972 | 11.0105 | 10.847 | 11.434 | 10.747 | 10.73 | 11.1316 | 10.474 | 11.0972 | 10.7829
21 | 10.7782 | 10.8952 | 10.73 | 11.0987 | 10.9717 | 11.0967 | 11.011 | 11.1463 | 11.434 | 10.75 | 10.73 | 10.9717 | 10.468 | 11.0967 | 10.7782
22 | 10.7753 | - | 10.73 | 11.0969 | 10.9409 | 11.1022 | 11.0127 | 11.2331 | 10.9093 | 10.835 | 10.73 | 10.9409 | 10.472 | 11.1022 | 10.7782
23 | 10.7804 | 10.9099 | 10.7712 | 11.1001 | 10.8432 | 11.1015 | 10.984 | 11.2499 | 10.9093 | 10.82 | 10.758 | 10.8432 | 10.473 | 11.102 | 10.7804
24 | 10.7979 | 10.9146 | 10.78 | 11.1104 | 10.9057 | 11.0956 | 10.9822 | 11.2489 | 11.434 | 10.822 | 10.78 | 10.9409 | 10.473 | 11.0956 | 10.7979
25 | 10.8001 | 10.9095 | 10.779 | 11.1028 | 10.7928 | 11.0993 | 10.9795 | 11.2481 | 11.434 | 10.917 | 10.779 | 10.7928 | 10.473 | 11.0993 | 10.8001
26 | 10.8049 | 10.9044 | 10.78 | 11.0983 | 10.8029 | 11.1015 | 10.9735 | 11.2394 | 11.434 | 10.866 | 10.78 | 10.8029 | 10.473 | 11.1015 | 10.8049
27 | 10.7982 | 10.9167 | 10.78 | 11.0962 | 10.8243 | 11.0977 | 10.96 | 11.2312 | 11.434 | 10.825 | 10.78 | 10.8243 | 10.471 | 11.0977 | 10.7982
28 | 10.7901 | 10.9143 | 10.731 | 11.1008 | 10.7739 | 11.1016 | 10.9717 | 11.2284 | 11.434 | 10.806 | 10.731 | 10.7739 | 10.468 | - | 10.7901
29 | 10.801 | 10.9483 | 10.778 | 11.1017 | 10.8116 | 11.101 | 10.9738 | 11.2372 | 11.434 | 10.817 | 10.778 | 10.8116 | 10.472 | 11.101 | 10.801
30 | 10.793 | 10.911 | 10.7927 | 11.075 | 10.828 | 11.0984 | 10.9672 | 10.934 | 11.434 | 10.772 | 10.7927 | 10.828 | 10.528 | 11.0984 | 10.793