## kWh
Gas Transportation - Monthly report
July 2020
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 2050.1934 | 1045.1647 | 114.6562 | 0 | 338.2748 | 5.7774 | 285.3308 | 155.0147 | 105.9748 | 109.7626 | -395.918 | -349.7231 | -0.52904 | -36.8508 | -9.344 | 1764.0381 | 1676.9078 | 404.3964 | 910.1121 | 362.3994 | 37.8297 | 1.2778 | 0 | 0 | 0.6645 | 0 | 33.8023 | 2.0851 | 28.6446 | 20.6559 | 1764.0381
2 | 2243.546 | 913.071 | 141.4613 | 0 | 303.7801 | 350.872 | 285.505 | 142.7013 | 106.1553 | 109.4764 | -495.9094 | -445.7945 | 0.097199 | -40.8655 | -9.2494 | 1857.113 | 1700.0005 | 406.5669 | 933.6286 | 359.8051 | 34.6818 | 1.2651 | 0 | 0 | 0.68743 | 0 | 33.7296 | -1.0003 | 89.4057 | 33.025 | 1857.113
3 | 2036.325 | 796.3232 | 141.5222 | 0 | 300.2183 | 308.7651 | 285.4535 | 94.6136 | 109.4291 | 110.1119 | -481.4094 | -432.1881 | 3.7126 | -39.3563 | -9.865 | 1665.0275 | 1578.7798 | 399.3712 | 836.5675 | 342.8412 | 36.6591 | 1.2442 | 0 | 0 | 0.71422 | 0 | 33.3444 | 1.3562 | 26.2769 | 23.3117 | 1665.0275
4 | 1626.7267 | 483.2413 | 103.7867 | 0 | 298.296 | 279.0159 | 285.3812 | 68.6166 | 108.3889 | 111.2663 | -538.7164 | -459.4164 | 0.74474 | -69.9975 | -9.3026 | 1199.2765 | 1132.886 | 345.6539 | 523.3045 | 263.9276 | 25.9305 | 0.9732 | 0 | 0 | 0.59403 | 0 | 25.1376 | -0.77424 | 13.2737 | 27.1863 | 1199.2765
5 | 1609.036 | 463.6006 | 98.4186 | 0 | 302.6713 | 273.7395 | 285.3991 | 76.7999 | 108.407 | 110.4795 | -533.8915 | -453.7494 | 8.6825 | -70.1315 | -10.0106 | 1185.624 | 1018.9843 | 329.8617 | 438.1914 | 250.9312 | 22.8891 | 0.86493 | 0 | 0 | 0.50476 | 0 | 20.8691 | 0.65024 | 120.5844 | 23.1662 | 1185.624
6 | 2034.3759 | 738.037 | 163.7837 | 0 | 298.7595 | 295.2137 | 285.6472 | 144.32 | 108.6148 | 110.9199 | -570.5464 | -492.8743 | -1.2456 | -69.0667 | -8.6054 | 1574.7494 | 1598.8811 | 406.7391 | 837.6781 | 354.4639 | 31.7509 | 1.217 | 0 | 0 | 0.74095 | 0 | 29.7504 | 0.042547 | -66.7645 | 10.8819 | 1574.7494
7 | 2023.9559 | 817.0058 | 152.8825 | 0 | 304.0439 | 260.8388 | 285.5515 | 95.0179 | 108.6155 | 110.3983 | -546.3558 | -497.2059 | -3.8209 | -40.8407 | -8.3091 | 1587.9985 | 1603.8404 | 416.4874 | 816.8411 | 370.512 | 34.8513 | 1.254 | 0 | 0 | 0.75529 | 0 | 32.1284 | 0.71364 | -64.3843 | 13.6911 | 1587.9985
8 | 2056.9695 | 796.9982 | 125.7114 | 0 | 301.186 | 284.1277 | 285.3106 | 154.9983 | 108.6373 | 110.5552 | -501.9301 | -460.1039 | 1.1715 | -34.5667 | -7.2594 | 1665.5946 | 1694.9406 | 417.1486 | 904.5183 | 373.2737 | 37.9976 | 1.2426 | 0 | 0 | 0.7052 | 0 | 35.976 | 0.073885 | -83.4493 | 16.1056 | 1665.5946
9 | 2179.2274 | 916.3987 | 120.7268 | 0 | 301.3119 | 293.757 | 283.472 | 155.0176 | 108.5434 | 109.9795 | -493.8941 | -466.4835 | 0.95615 | -19.157 | -8.2536 | 1795.3128 | 1778.2622 | 407.9345 | 1003.2486 | 367.0791 | 38.8312 | 1.2283 | 0 | 0 | 0.75189 | 0 | 36.7294 | 0.12158 | -9.6143 | -12.1663 | 1795.3128
10 | 2095.2265 | 818.9142 | 169.746 | 0 | 300.7462 | 302.5631 | 239.8914 | 154.9965 | 108.3691 | 103.5417 | -523.1978 | -467.7713 | -2.931 | -46.9991 | -8.4275 | 1675.5704 | 1670.8135 | 399.3451 | 928.826 | 342.6424 | 35.5269 | 1.1514 | 0 | 0 | 0.71713 | 0 | 34.4724 | -0.8141 | -46.8816 | 16.1116 | 1675.5704
11 | 1733.8344 | 618.6173 | 125.9239 | 0 | 301.7552 | 284.2425 | 240.0678 | 54.5595 | 108.6683 | 109.815 | -559.3277 | -482.887 | -5.2362 | -67.7757 | -8.665 | 1284.3217 | 1262.2991 | 349.5715 | 652.4182 | 260.3095 | 26.4891 | 0.93247 | 0 | 0 | 0.61834 | 0 | 23.8847 | 1.0537 | -21.1527 | 16.6861 | 1284.3217
12 | 1571.6369 | 468.9066 | 126.4986 | 0 | 299.8933 | 285.4466 | 196.2176 | 82.74 | 111.9343 | 110.7309 | -593.7056 | -511.8853 | 0.86647 | -70.1481 | -11.6722 | 1088.6622 | 1109.379 | 330.8182 | 527.8332 | 250.7276 | 21.9524 | 0.86855 | 0 | 0 | 0.55832 | 0 | 22.2121 | -1.6866 | -49.9669 | 7.2977 | 1088.6622
13 | 2026.0213 | 788.536 | 159.0936 | 0 | 299.4173 | 281.6621 | 239.8957 | 144.3149 | 113.1017 | 111.0857 | -516.9843 | -490.2563 | -2.2928 | -17.2107 | -9.5172 | 1620.1227 | 1582.7457 | 415.2564 | 803.0035 | 364.4859 | 38.4893 | 1.1835 | 0 | 0 | 0.76338 | 0 | 35.0948 | 1.4476 | -7.5474 | 6.4351 | 1620.1227
14 | 2166.4787 | 931.9347 | 136.8489 | 0 | 298.4481 | 302.1436 | 239.996 | 144.3013 | 112.8061 | 111.2213 | -476.6312 | -438.8572 | -2.7013 | -29.2475 | -8.5265 | 1801.0689 | 1700.9912 | 422.5313 | 903.2075 | 375.2524 | 43.0491 | 1.3446 | 0 | 0 | 0.67986 | 0 | 35.3351 | 5.6896 | 39.2468 | 17.7817 | 1801.0689
15 | 2185.6623 | 927.588 | 115.3059 | 0 | 300.9155 | 359.053 | 239.8531 | 130.0096 | 112.9372 | 110.0424 | -410.929 | -378.6302 | -8.4758 | -22.8182 | -9.4806 | 1884.7757 | 1746.8973 | 423.2026 | 945.6974 | 377.9973 | 38.0404 | 1.38 | 0 | 0 | 0.76261 | 0 | 36.7439 | -0.8461 | 67.5689 | 32.2691 | 1884.7757
16 | 2240.6766 | 948.6773 | 126.2016 | 0 | 301.2359 | 357.7928 | 239.8318 | 154.987 | 111.9502 | 109.6025 | -525.6379 | -472.5915 | -1.5755 | -43.9592 | -9.0872 | 1824.6412 | 1738.9512 | 412.3101 | 952.5121 | 374.1289 | 38.4485 | 1.311 | 0 | 0 | 0.7247 | 0 | 35.9288 | 0.48407 | 29.8904 | 17.3512 | 1824.6412
17 | 2107.652 | 834.9602 | 148.0441 | 0 | 301.6651 | 315.9936 | 239.6857 | 155.0034 | 112.3 | 109.8102 | -522.4504 | -472.7994 | -2.8368 | -41.0057 | -8.6453 | 1695.0118 | 1679.7793 | 404.9272 | 921.2799 | 353.5722 | 33.5665 | 1.1782 | 0 | 0 | 0.71613 | 0 | 34.6034 | -2.9313 | -43.5667 | 25.2328 | 1695.0118
18 | 1792.6666 | 701.1333 | 105.1054 | 0 | 301.287 | 301.4349 | 239.863 | 31.6815 | 112.1613 | 109.4796 | -578.8917 | -511.7919 | -12.2888 | -57.7839 | -9.3158 | 1323.2544 | 1282.0947 | 353.2236 | 659.427 | 269.444 | 27.5118 | 0.90817 | 0 | 0 | 0.64666 | 0 | 24.804 | 1.153 | -18.209 | 31.857 | 1323.2544
19 | 1768.5659 | 705.7325 | 100.1784 | 0 | 301.1584 | 301.0852 | 228.9258 | 19.4566 | 112.029 | 109.3508 | -632.1769 | -549.9973 | 5.3313 | -70.1508 | -12.0289 | 1245.7399 | 1178.097 | 336.8396 | 586.0139 | 255.2435 | 23.7933 | 0.87914 | 0 | 0 | 0.59699 | 0 | 23.7267 | -1.4096 | 21.9969 | 21.8528 | 1245.7399
20 | 2079.3911 | 837.0886 | 144.0151 | 0 | 301.2997 | 297.3408 | 240.0351 | 144.3292 | 115.2827 | 110.2796 | -459.0054 | -411.7354 | -9.3337 | -40.3971 | -6.8728 | 1730.6653 | 1675.7051 | 415.8196 | 895.8708 | 364.0147 | 41.0546 | 1.2433 | 0 | 0 | 0.71613 | 0 | 36.5662 | 2.529 | -10.389 | 24.2945 | 1730.6653
21 | 2140.5722 | 854.9031 | 132.7481 | 0 | 301.5628 | 351.4755 | 240.5032 | 144.2898 | 115.0897 | 110.5997 | -473.5697 | -425.0964 | -8.2764 | -41.198 | -7.2753 | 1777.6023 | 1763.8611 | 420.7445 | 974.2512 | 368.8653 | 37.5173 | 1.1986 | 0 | 0 | 0.73739 | 0 | 35.8381 | -0.25677 | -43.7327 | 19.9565 | 1777.6023
22 | 2188.6559 | 859.4648 | 127.7557 | 0 | 346.8694 | 356.1436 | 240.6244 | 144.2994 | 113.4985 | 112.0961 | -499.6236 | -435.9568 | 0.79429 | -58.2827 | -5.3842 | 1801.1284 | 1754.5983 | 415.8283 | 971.4227 | 367.3473 | 36.7393 | 1.2358 | 0 | 0 | 0.70644 | 0 | 37.2153 | -2.4182 | -15.2348 | 25.0256 | 1801.1284
23 | 2164.8353 | 875.273 | 127.8223 | 0 | 355.3793 | 356.5527 | 240.6405 | 140.0162 | 69.1512 | 111.6653 | -422.5358 | -382.0188 | 2.0082 | -35.0061 | -5.511 | 1853.9648 | 1737.3629 | 408.1583 | 965.1646 | 364.04 | 36.3922 | 1.2408 | 0 | 0 | 0.67606 | 0 | 34.0197 | 0.45564 | 48.0209 | 32.1888 | 1853.9648
24 | 2082.4953 | 865.7218 | 115.6157 | 0 | 309.4775 | 367.0519 | 240.4628 | 144.9907 | 39.175 | 110.6745 | -406.6936 | -359.6411 | -0.59616 | -41.0342 | -6.0183 | 1786.4762 | 1636.0967 | 402.5339 | 878.5312 | 355.0317 | 34.2376 | 1.2377 | 0 | 0 | 0.46213 | 0 | 32.0432 | 0.49455 | 89.0128 | 27.1291 | 1786.4762
25 | 1808.6416 | 691.7488 | 121.2864 | 0 | 299.7806 | 348.6886 | 237.9235 | 69.5489 | 39.6649 | 111.2518 | -622.8256 | -542.865 | 1.4982 | -69.4261 | -10.5344 | 1297.0678 | 1255.0443 | 353.5842 | 633.7275 | 267.7327 | 22.7879 | 0.88672 | 0 | 0 | 0.36796 | 0 | 21.3212 | 0.21203 | -12.61 | 31.8455 | 1297.0678
26 | 1660.769 | 564.6683 | 121.7142 | 0 | 288.2637 | 350.0789 | 216.0577 | 63.9436 | 56.0427 | 111.2614 | -633.339 | -551.9829 | 3.1044 | -70.1516 | -11.2044 | 1138.6914 | 1171.8613 | 330.7257 | 588.3551 | 252.7805 | 22.2111 | 0.85442 | 0 | 0 | 0.29882 | 0 | 21.6615 | -0.60366 | -79.0904 | 23.7095 | 1138.6914
27 | 2083.2448 | 756.8053 | 174.9775 | 0 | 320.0863 | 361.5716 | 240.2084 | 147.9992 | 81.5964 | 110.5454 | -467.8917 | -396.6508 | -3.1502 | -65.6237 | -5.6172 | 1725.8985 | 1685.9435 | 395.5823 | 930.2378 | 360.1233 | 37.9518 | 1.1587 | 0 | 0 | 0.69883 | 0 | 31.5131 | 4.5812 | -16.3095 | 18.3127 | 1725.8985
28 | 2114.8498 | 746.4542 | 173.1824 | 0 | 338.3493 | 367.2457 | 240.0746 | 144.3001 | 105.2437 | 110.5534 | -415.5177 | -368.0397 | -5.8004 | -41.7223 | -5.7557 | 1809.8855 | 1716.3852 | 399.0533 | 952.3154 | 365.0165 | 35.5957 | 1.139 | 0 | 0 | 0.67342 | 0 | 32.3825 | 1.4008 | 26.8151 | 31.0895 | 1809.8855
29 | 2124.2756 | 755.606 | 156.4351 | 0 | 268.3106 | 454.0837 | 240.0251 | 144.3049 | 105.5102 | 110.3133 | -374.2246 | -324.8684 | 0.54656 | -44.7465 | -4.6097 | 1860.3643 | 1743.7455 | 397.6198 | 986.2921 | 359.8337 | 35.3557 | 1.2219 | 0 | 0 | 0.74404 | 0 | 32.0849 | 1.3049 | 57.5857 | 23.6774 | 1860.3643
30 | 2144.7817 | 755.5467 | 167.2998 | 0 | 282.332 | 449.7622 | 240.1363 | 144.3 | 105.4047 | 107.8745 | -378.1395 | -327.2353 | 0.64802 | -45.4666 | -5.4375 | 1874.5167 | 1799.7272 | 393.5174 | 1052.7879 | 353.4218 | 35.9307 | 1.1462 | 0 | 0 | 0.70583 | 0 | 33.9382 | 0.14052 | 13.4655 | 25.3933 | 1874.5167
31 | 2120.1307 | 739.9381 | 167.2507 | 0 | 301.8047 | 435.2238 | 240.164 | 130.0008 | 105.7488 | 107.2369 | -464.3411 | -417.8671 | -0.67861 | -41.3159 | -5.1581 | 1763.0265 | 1711.7692 | 379.169 | 1003.8898 | 328.7104 | 34.4474 | 0.93353 | 0 | 0 | 0.56327 | 0 | 31.2777 | 1.6729 | -11.9877 | 28.7976 | 1763.0265
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Transportation - Monthly report
July 2020
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 178.9307 | 92.2667 | 9.9636 | 0 | 28.9746 | 0.50731 | 24.6355 | 13.5653 | 9.0177 | 9.8376 | -34.5511 | -30.4732 | -0.046098 | -3.2542 | -0.82373 | 154.2172 | 150.2953 | 36.2446 | 81.5701 | 32.4806 | -0.49671 | 0.11246 | 0 | 0 | 0.060244 | 0 | 3.0296 | -3.699 | 2.5673 | 1.8513 | 154.2172
2 | 195.8396 | 80.6358 | 12.3264 | 0 | 26.0098 | 30.7069 | 24.6419 | 12.4864 | 9.0324 | 9.812 | -43.3532 | -38.928 | 0.0084536 | -3.6089 | -0.8163 | 162.2983 | 152.365 | 36.4391 | 83.6778 | 32.248 | -1.0397 | 0.11113 | 0 | 0 | 0.062347 | 0 | 3.0231 | -4.2362 | 8.0131 | 2.9599 | 162.2983
3 | 177.5708 | 70.3622 | 12.3241 | 0 | 25.7164 | 26.977 | 24.6346 | 8.2774 | 9.279 | 9.8689 | -42.1142 | -37.7744 | 0.32289 | -3.4696 | -0.87017 | 145.3255 | 141.5004 | 35.7942 | 74.9786 | 30.7276 | -0.61931 | 0.10886 | 0 | 0 | 0.064771 | 0 | 2.9885 | -3.7815 | 2.3551 | 2.0893 | 145.3255
4 | 141.555 | 42.6731 | 9.0246 | 0 | 25.6442 | 24.3557 | 24.6375 | 6.0026 | 9.2174 | 9.9724 | -46.9639 | -39.9751 | 0.064771 | -6.1696 | -0.81925 | 104.5635 | 101.5365 | 30.9797 | 46.9019 | 23.6549 | -0.59936 | 0.085066 | 0 | 0 | 0.053877 | 0 | 2.253 | -2.9913 | 1.1897 | 2.4366 | 104.5635
5 | 140.0161 | 40.9139 | 8.5492 | 0 | 26.0042 | 23.9097 | 24.6455 | 6.7188 | 9.2748 | 9.9019 | -46.4846 | -39.4471 | 0.75513 | -6.1652 | -0.87219 | 103.4334 | 91.3279 | 29.5643 | 39.2735 | 22.4901 | -0.77837 | 0.075687 | 0 | 0 | 0.045776 | 0 | 1.8704 | -2.7703 | 10.8075 | 2.0763 | 103.4334
6 | 177.3406 | 65.0595 | 14.2252 | 0 | 25.6401 | 25.8383 | 24.6519 | 12.6227 | 9.3028 | 9.9414 | -49.77 | -42.9501 | -0.10855 | -6.0684 | -0.75146 | 137.512 | 143.302 | 36.4546 | 75.0781 | 31.7693 | -0.78142 | 0.10585 | 0 | 0 | 0.067182 | 0 | 2.6664 | -3.6209 | -5.9839 | 0.9753 | 137.512
7 | 176.5164 | 72.1145 | 13.2737 | 0 | 26.0422 | 22.8477 | 24.6493 | 8.3104 | 9.2787 | 9.8946 | -47.4778 | -43.1737 | -0.33177 | -3.5762 | -0.72795 | 138.9332 | 143.7465 | 37.3283 | 73.2105 | 33.2077 | -0.26985 | 0.10988 | 0 | 0 | 0.06845 | 0 | 2.8796 | -3.3277 | -5.7705 | 1.2271 | 138.9332
8 | 179.4273 | 70.3967 | 10.9071 | 0 | 25.7895 | 24.8544 | 24.6303 | 13.5473 | 9.3019 | 9.9087 | -43.5437 | -39.8771 | 0.10189 | -3.0323 | -0.63431 | 145.7922 | 151.9115 | 37.3875 | 81.0687 | 33.4552 | -0.083458 | 0.10949 | 0 | 0 | 0.063911 | 0 | 3.2244 | -3.4813 | -7.4793 | 1.4435 | 145.7922
9 | 190.2212 | 80.8512 | 10.4413 | 0 | 25.7907 | 25.7344 | 24.5349 | 13.5418 | 9.3269 | 9.8571 | -42.9544 | -40.5419 | 0.083158 | -1.69 | -0.72243 | 157.1239 | 159.3793 | 36.5617 | 89.9176 | 32.9 | -0.30331 | 0.10843 | 0 | 0 | 0.068142 | 0 | 3.2919 | -3.7718 | -0.8617 | -1.0904 | 157.1239
10 | 182.9215 | 72.3557 | 14.6936 | 0 | 25.7868 | 26.4919 | 20.7464 | 13.5319 | 9.3152 | 9.2801 | -45.493 | -40.6086 | -0.25445 | -4.1472 | -0.73718 | 146.7086 | 149.7491 | 35.7919 | 83.2474 | 30.7098 | -0.28265 | 0.10158 | 0 | 0 | 0.064991 | 0 | 3.0896 | -3.5389 | -4.2018 | 1.444 | 146.7086
11 | 151.108 | 54.6306 | 10.9188 | 0 | 25.8754 | 24.8526 | 20.7551 | 4.7633 | 9.3123 | 9.8423 | -48.6474 | -41.9017 | -0.45436 | -5.987 | -0.7586 | 112.303 | 113.1354 | 31.3308 | 58.4739 | 23.3306 | -0.43207 | 0.082051 | 0 | 0 | 0.056038 | 0 | 2.1407 | -2.7109 | -1.8958 | 1.4955 | 112.303
12 | 136.7911 | 41.4015 | 10.9088 | 0 | 25.8012 | 24.9431 | 16.9607 | 7.2231 | 9.5529 | 9.9244 | -51.6618 | -44.444 | 0.075359 | -6.1969 | -1.0208 | 95.0538 | 99.4297 | 29.6501 | 47.3078 | 22.4718 | -0.55161 | 0.076179 | 0 | 0 | 0.050599 | 0 | 1.9908 | -2.6692 | -4.4784 | 0.65406 | 95.0538
13 | 176.5055 | 69.6169 | 13.7531 | 0 | 25.7674 | 24.5944 | 20.752 | 12.5972 | 9.4245 | 9.9562 | -45.1027 | -42.7516 | -0.19994 | -1.5199 | -0.83122 | 141.3589 | 141.8559 | 37.2179 | 71.9703 | 32.6676 | -0.39721 | 0.10376 | 0 | 0 | 0.06919 | 0 | 3.1454 | -3.7156 | -0.67645 | 0.57675 | 141.3589
14 | 189.0537 | 82.3712 | 11.8541 | 0 | 25.7664 | 26.3754 | 20.7554 | 12.5929 | 9.3383 | 9.9684 | -41.3571 | -38.0233 | -0.23404 | -2.5816 | -0.75217 | 157.665 | 152.4538 | 37.87 | 80.9513 | 33.6325 | 0.099956 | 0.11874 | 0 | 0 | 0.061614 | 0 | 3.167 | -3.2474 | 3.5176 | 1.5937 | 157.665
15 | 190.5935 | 81.9677 | 9.9663 | 0 | 25.9556 | 31.4047 | 20.7194 | 11.254 | 9.3259 | 9.8627 | -35.5162 | -32.6661 | -0.73124 | -2.0159 | -0.83433 | 164.9399 | 156.5682 | 37.9301 | 84.7595 | 33.8785 | -0.57635 | 0.12111 | 0 | 0 | 0.069106 | 0 | 3.2932 | -4.0598 | 6.056 | 2.8922 | 164.9399
16 | 195.2828 | 83.707 | 10.9111 | 0 | 25.9876 | 31.3216 | 20.7284 | 13.368 | 9.2592 | 9.8233 | -45.8666 | -41.1813 | -0.13729 | -3.8841 | -0.80122 | 159.2395 | 155.856 | 36.9539 | 85.3703 | 33.5318 | -0.85057 | 0.11583 | 0 | 0 | 0.065671 | 0 | 3.2202 | -4.2522 | 2.679 | 1.5551 | 159.2395
17 | 183.4058 | 73.6178 | 12.8013 | 0 | 25.9951 | 27.6309 | 20.7072 | 13.3633 | 9.2901 | 9.8419 | -45.4407 | -41.0648 | -0.24639 | -3.6168 | -0.75916 | 147.8069 | 150.5526 | 36.2922 | 82.571 | 31.6894 | -1.1025 | 0.10411 | 0 | 0 | 0.064894 | 0 | 3.1014 | -4.3729 | -3.9047 | 2.2615 | 147.8069
18 | 155.7732 | 61.7498 | 9.0238 | 0 | 25.9964 | 26.2841 | 20.7075 | 2.7324 | 9.2791 | 9.8123 | -50.2812 | -44.3663 | -1.0653 | -5.0947 | -0.82021 | 115.3042 | 114.9096 | 31.6582 | 59.1021 | 24.1493 | -0.82855 | 0.080143 | 0 | 0 | 0.058599 | 0 | 2.2231 | -3.1904 | -1.632 | 2.8552 | 115.3042
19 | 153.6507 | 62.1433 | 8.5406 | 0 | 25.9951 | 26.2921 | 19.7639 | 1.6778 | 9.238 | 9.8007 | -55.024 | -47.7933 | 0.46368 | -6.1735 | -1.0572 | 108.4274 | 105.5886 | 30.1897 | 52.5223 | 22.8766 | -1.0913 | 0.077538 | 0 | 0 | 0.054098 | 0 | 2.1265 | -3.3495 | 1.9715 | 1.9586 | 108.4274
20 | 180.645 | 73.7115 | 12.326 | 0 | 25.9914 | 25.9413 | 20.7189 | 12.4466 | 9.5092 | 9.884 | -39.8915 | -35.7421 | -0.81024 | -3.5449 | -0.6046 | 150.6374 | 150.1875 | 37.2684 | 80.2937 | 32.6253 | -0.79635 | 0.10944 | 0 | 0 | 0.064894 | 0 | 3.2773 | -4.248 | -0.93113 | 2.1774 | 150.6374
21 | 185.959 | 75.2496 | 11.3733 | 0 | 25.9933 | 30.6477 | 20.7553 | 12.4421 | 9.4977 | 9.9127 | -41.2413 | -36.9705 | -0.7198 | -3.6294 | -0.64145 | 154.6303 | 158.0886 | 37.7098 | 87.3187 | 33.0601 | -1.3273 | 0.10502 | 0 | 0 | 0.066827 | 0 | 3.212 | -4.7111 | -3.9196 | 1.7886 | 154.6303
22 | 190.2816 | 75.681 | 10.9054 | 0 | 29.9544 | 31.1813 | 20.7533 | 12.44 | 9.3664 | 10.0468 | -43.6166 | -38.0097 | 0.069081 | -5.133 | -0.47396 | 156.7118 | 157.2584 | 37.2692 | 87.0651 | 32.924 | -1.4241 | 0.10832 | 0 | 0 | 0.064016 | 0 | 3.3355 | -4.9319 | -1.3654 | 2.243 | 156.7118
23 | 188.4345 | 77.0994 | 10.9045 | 0 | 30.6876 | 31.2266 | 20.7522 | 12.0546 | 5.7097 | 10.0082 | -36.8379 | -33.3121 | 0.17466 | -3.0403 | -0.48553 | 161.6047 | 155.7136 | 36.5818 | 86.5043 | 32.6276 | -1.2978 | 0.10897 | 0 | 0 | 0.061269 | 0 | 3.0491 | -4.5171 | 4.3039 | 2.885 | 161.6047
24 | 181.5666 | 76.2955 | 9.9623 | 0 | 26.7169 | 32.1379 | 20.7491 | 12.4716 | 3.2334 | 9.9194 | -35.5342 | -31.4152 | -0.052075 | -3.5892 | -0.5298 | 155.9517 | 146.6375 | 36.0777 | 78.7396 | 31.8202 | -1.0952 | 0.10902 | 0 | 0 | 0.041877 | 0 | 2.8719 | -4.118 | 7.9779 | 2.4315 | 155.9517
25 | 157.5335 | 60.9368 | 10.4349 | 0 | 25.8567 | 30.5349 | 20.5252 | 5.975 | 3.2698 | 9.9711 | -54.4678 | -47.4637 | 0.1303 | -6.0783 | -0.92588 | 113.0367 | 112.4851 | 31.6905 | 56.7987 | 23.9959 | -1.1724 | 0.078105 | 0 | 0 | 0.033347 | 0 | 1.9109 | -3.1948 | -1.1302 | 2.8542 | 113.0367
26 | 144.3525 | 49.7036 | 10.4352 | 0 | 24.8648 | 30.6086 | 18.6356 | 5.493 | 4.6116 | 9.972 | -55.2511 | -48.1309 | 0.27 | -6.1393 | -0.98093 | 99.0733 | 105.0297 | 29.6418 | 52.7322 | 22.6558 | -0.99285 | 0.075252 | 0 | 0 | 0.027092 | 0 | 1.9414 | -3.0366 | -7.0886 | 2.125 | 99.0733
27 | 180.9101 | 66.6062 | 14.8881 | 0 | 27.6217 | 31.5891 | 20.7197 | 12.709 | 6.7763 | 9.9078 | -40.5549 | -34.3088 | -0.27248 | -5.7546 | -0.49146 | 150.263 | 151.1051 | 35.4546 | 83.3739 | 32.2766 | -1.0216 | 0.10199 | 0 | 0 | 0.06337 | 0 | 2.8244 | -4.0114 | -1.4618 | 1.6413 | 150.263
28 | 183.7226 | 65.7418 | 14.6978 | 0 | 29.2007 | 32.0912 | 20.7184 | 12.3835 | 8.8892 | 9.9085 | -36.1458 | -32.0082 | -0.50446 | -3.6349 | -0.5028 | 157.4853 | 153.8335 | 35.7657 | 85.3526 | 32.7151 | -1.5379 | 0.1003 | 0 | 0 | 0.061024 | 0 | 2.9023 | -4.6016 | 2.4033 | 2.7864 | 157.4853
29 | 184.7852 | 66.5884 | 13.2823 | 0 | 23.1788 | 39.7366 | 20.715 | 12.3764 | 8.9076 | 9.887 | -32.6414 | -28.3414 | 0.047535 | -3.8977 | -0.40229 | 162.0308 | 156.2857 | 35.6372 | 88.3978 | 32.2506 | -1.5383 | 0.10759 | 0 | 0 | 0.067423 | 0 | 2.8757 | -4.5889 | 5.1612 | 2.1221 | 162.0308
30 | 186.5882 | 66.582 | 14.2273 | 0 | 24.3498 | 39.4725 | 20.7187 | 12.3707 | 8.8673 | 9.6684 | -32.9169 | -28.4808 | 0.05636 | -3.962 | -0.47402 | 163.3398 | 161.3031 | 35.2696 | 94.3576 | 31.6759 | -1.4461 | 0.10054 | 0 | 0 | 0.06401 | 0 | 3.0418 | -4.6524 | 1.2069 | 2.2759 | 163.3398
31 | 184.1776 | 65.2053 | 14.2256 | 0 | 26.0324 | 38.186 | 20.7194 | 10.9506 | 8.8583 | 9.6113 | -40.306 | -36.2565 | -0.05888 | -3.5989 | -0.45058 | 153.4829 | 153.4198 | 33.9836 | 89.9751 | 29.4611 | -1.4435 | 0.082175 | 0 | 0 | 0.051057 | 0 | 2.8033 | -4.38 | -1.0744 | 2.581 | 153.4829
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Transportation - Monthly report
July 2020
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 193.913 | 98.8546 | 10.8445 | 0 | 31.995 | 0.54644 | 26.9874 | 14.6617 | 10.0234 | 10.3817 | -37.447 | -33.0778 | -0.050038 | -3.4855 | -0.88378 | 166.8476 | 158.6066 | 38.2489 | 86.0809 | 34.2767 | 3.578 | 0.12086 | 0 | 0 | 0.062851 | 0 | 3.1971 | 0.19722 | 2.7093 | 1.9537 | 166.8476
2 | 212.2008 | 86.3608 | 13.3798 | 0 | 28.7324 | 33.1864 | 27.0039 | 13.4971 | 10.0405 | 10.3546 | -46.9045 | -42.1645 | 0.0091934 | -3.8652 | -0.87483 | 175.6509 | 160.7908 | 38.4542 | 88.3052 | 34.0314 | 3.2803 | 0.11965 | 0 | 0 | 0.065019 | 0 | 3.1902 | -0.094609 | 8.4562 | 3.1236 | 175.6509
3 | 192.6013 | 75.3185 | 13.3856 | 0 | 28.3955 | 29.2039 | 26.999 | 8.9488 | 10.3501 | 10.4147 | -45.533 | -40.8775 | 0.35114 | -3.7224 | -0.93306 | 157.4829 | 149.3254 | 37.7736 | 79.1249 | 32.4269 | 3.4673 | 0.11768 | 0 | 0 | 0.067553 | 0 | 3.1538 | 0.12827 | 2.4853 | 2.2049 | 157.4829
4 | 153.8603 | 45.7063 | 9.8164 | 0 | 28.2137 | 26.3901 | 26.9921 | 6.4899 | 10.2517 | 10.5239 | -50.9533 | -43.4529 | 0.070439 | -6.6206 | -0.87986 | 113.4309 | 107.1515 | 32.6929 | 49.4956 | 24.963 | 2.4526 | 0.092048 | 0 | 0 | 0.056185 | 0 | 2.3776 | -0.073229 | 1.2555 | 2.5714 | 113.4309
5 | 152.1871 | 43.8486 | 9.3087 | 0 | 28.6275 | 25.891 | 26.9938 | 7.2639 | 10.2534 | 10.4495 | -50.4969 | -42.9169 | 0.82121 | -6.6332 | -0.94683 | 112.1396 | 96.3784 | 31.1992 | 41.4454 | 23.7338 | 2.1649 | 0.081808 | 0 | 0 | 0.047742 | 0 | 1.9739 | 0.061502 | 11.4052 | 2.1911 | 112.1396
6 | 192.4169 | 69.8056 | 15.4911 | 0 | 28.2575 | 27.9221 | 27.0173 | 13.6502 | 10.2731 | 10.4911 | -53.9639 | -46.6174 | -0.11781 | -6.5325 | -0.81392 | 148.9442 | 151.2266 | 38.4705 | 79.2299 | 33.5262 | 3.0031 | 0.11511 | 0 | 0 | 0.070081 | 0 | 2.8139 | 0.0040243 | -6.3148 | 1.0292 | 148.9442
7 | 191.4314 | 77.2747 | 14.4601 | 0 | 28.7573 | 24.6709 | 27.0083 | 8.9871 | 10.2732 | 10.4418 | -51.6758 | -47.0271 | -0.36139 | -3.8628 | -0.7859 | 150.1973 | 151.6957 | 39.3925 | 77.2591 | 35.0441 | 3.2963 | 0.11861 | 0 | 0 | 0.071437 | 0 | 3.0388 | 0.067498 | -6.0896 | 1.2949 | 150.1973
8 | 194.5539 | 75.3823 | 11.8901 | 0 | 28.487 | 26.8736 | 26.9855 | 14.6602 | 10.2752 | 10.4566 | -47.4739 | -43.5179 | 0.11081 | -3.2694 | -0.68662 | 157.5366 | 160.3122 | 39.4551 | 85.5519 | 35.3053 | 3.5939 | 0.11752 | 0 | 0 | 0.0667 | 0 | 3.4027 | 0.0069883 | -7.8929 | 1.5233 | 157.5366
9 | 206.1174 | 86.6755 | 11.4187 | 0 | 28.4989 | 27.7843 | 26.8116 | 14.662 | 10.2663 | 10.4022 | -46.7139 | -44.1213 | 0.090435 | -1.8119 | -0.78065 | 169.8057 | 168.193 | 38.5836 | 94.89 | 34.7194 | 3.6728 | 0.11618 | 0 | 0 | 0.071116 | 0 | 3.474 | 0.011499 | -0.90935 | -1.1507 | 169.8057
10 | 198.1723 | 77.4552 | 16.055 | 0 | 28.4454 | 28.6173 | 22.6896 | 14.66 | 10.2499 | 9.7933 | -49.4855 | -44.2431 | -0.27722 | -4.4453 | -0.7971 | 158.4801 | 158.0302 | 37.7712 | 87.8509 | 32.4081 | 3.3602 | 0.10891 | 0 | 0 | 0.067828 | 0 | 3.2605 | -0.077 | -4.4342 | 1.5239 | 158.4801
11 | 163.9909 | 58.5105 | 11.9102 | 0 | 28.5408 | 26.8844 | 22.7063 | 5.1604 | 10.2781 | 10.3866 | -52.9028 | -45.6728 | -0.49526 | -6.4104 | -0.81956 | 121.4747 | 119.3918 | 33.0634 | 61.7075 | 24.6208 | 2.5054 | 0.088195 | 0 | 0 | 0.058484 | 0 | 2.2591 | 0.099658 | -2.0007 | 1.5782 | 121.4747
12 | 148.6498 | 44.3505 | 11.9646 | 0 | 28.3647 | 26.9983 | 18.5588 | 7.8258 | 10.5871 | 10.4732 | -56.1543 | -48.4155 | 0.081953 | -6.6348 | -1.104 | 102.9687 | 104.9281 | 31.2897 | 49.9239 | 23.7145 | 2.0763 | 0.08215 | 0 | 0 | 0.052807 | 0 | 2.1009 | -0.15952 | -4.726 | 0.69023 | 102.9687
13 | 191.6267 | 74.5819 | 15.0475 | 0 | 28.3197 | 26.6404 | 22.69 | 13.6497 | 10.6975 | 10.5068 | -48.8978 | -46.3698 | -0.21686 | -1.6278 | -0.90017 | 153.2357 | 149.7005 | 39.2761 | 75.9503 | 34.4741 | 3.6404 | 0.11194 | 0 | 0 | 0.072203 | 0 | 3.3194 | 0.13691 | -0.71385 | 0.60865 | 153.2357
14 | 204.9116 | 88.145 | 12.9435 | 0 | 28.228 | 28.5776 | 22.6995 | 13.6484 | 10.6695 | 10.5196 | -45.0811 | -41.5083 | -0.25549 | -2.7663 | -0.80646 | 170.3501 | 160.8845 | 39.9642 | 85.4279 | 35.4924 | 4.0717 | 0.12717 | 0 | 0 | 0.064303 | 0 | 3.3421 | 0.53814 | 3.7121 | 1.6818 | 170.3501
15 | 206.726 | 87.7338 | 10.9059 | 0 | 28.4614 | 33.9602 | 22.686 | 12.2967 | 10.6819 | 10.4081 | -38.8668 | -35.8119 | -0.80166 | -2.1582 | -0.8967 | 178.2673 | 165.2264 | 40.0277 | 89.4467 | 35.752 | 3.598 | 0.13052 | 0 | 0 | 0.07213 | 0 | 3.4753 | -0.080026 | 6.3909 | 3.0521 | 178.2673
16 | 211.9294 | 89.7285 | 11.9365 | 0 | 28.4917 | 33.841 | 22.684 | 14.6591 | 10.5886 | 10.3665 | -49.7163 | -44.699 | -0.14902 | -4.1578 | -0.85949 | 172.5796 | 164.4748 | 38.9974 | 90.0912 | 35.3862 | 3.6366 | 0.124 | 0 | 0 | 0.068544 | 0 | 3.3982 | 0.045785 | 2.8271 | 1.6411 | 172.5796
17 | 199.3476 | 78.9728 | 14.0024 | 0 | 28.5323 | 29.8876 | 22.6701 | 14.6607 | 10.6216 | 10.3862 | -49.4148 | -44.7187 | -0.26831 | -3.8784 | -0.81769 | 160.3189 | 158.8782 | 38.2991 | 87.1372 | 33.4418 | 3.1748 | 0.11144 | 0 | 0 | 0.067733 | 0 | 3.2729 | -0.27725 | -4.1207 | 2.3866 | 160.3189
18 | 169.5554 | 66.3151 | 9.9412 | 0 | 28.4966 | 28.5106 | 22.6869 | 2.9965 | 10.6085 | 10.3549 | -54.7532 | -48.4067 | -1.1623 | -5.4654 | -0.88112 | 125.1571 | 121.2641 | 33.4089 | 62.3704 | 25.4848 | 2.6021 | 0.085897 | 0 | 0 | 0.061163 | 0 | 2.346 | 0.10905 | -1.7223 | 3.0131 | 125.1571
19 | 167.2759 | 66.7501 | 9.4752 | 0 | 28.4844 | 28.4775 | 21.6524 | 1.8403 | 10.596 | 10.3427 | -59.793 | -52.0203 | 0.50425 | -6.6351 | -1.1377 | 117.8255 | 111.4277 | 31.8592 | 55.4268 | 24.1416 | 2.2504 | 0.083151 | 0 | 0 | 0.056465 | 0 | 2.2441 | -0.13332 | 2.0805 | 2.0669 | 117.8255
20 | 196.6746 | 79.1742 | 13.6213 | 0 | 28.4978 | 28.1233 | 22.7032 | 13.6511 | 10.9038 | 10.4305 | -43.414 | -38.9431 | -0.88281 | -3.8209 | -0.65005 | 163.6911 | 158.4928 | 39.3294 | 84.7339 | 34.4295 | 3.8831 | 0.11759 | 0 | 0 | 0.067733 | 0 | 3.4585 | 0.2392 | -0.98262 | 2.2978 | 163.6911
21 | 202.4613 | 80.8591 | 12.5557 | 0 | 28.5226 | 33.2435 | 22.7475 | 13.6473 | 10.8855 | 10.4608 | -44.7915 | -40.2068 | -0.7828 | -3.8966 | -0.68812 | 168.1306 | 166.8309 | 39.7952 | 92.1474 | 34.8883 | 3.5485 | 0.11337 | 0 | 0 | 0.069745 | 0 | 3.3897 | -0.024286 | -4.1364 | 1.8875 | 168.1306
22 | 207.0091 | 81.2906 | 12.0835 | 0 | 32.8079 | 33.6851 | 22.7589 | 13.6482 | 10.735 | 10.6024 | -47.2558 | -41.234 | 0.075126 | -5.5125 | -0.50925 | 170.3557 | 165.9548 | 39.3302 | 91.8798 | 34.7447 | 3.4749 | 0.11688 | 0 | 0 | 0.066817 | 0 | 3.5199 | -0.22872 | -1.4409 | 2.367 | 170.3557
23 | 204.7561 | 82.7857 | 12.0898 | 0 | 33.6128 | 33.7237 | 22.7604 | 13.2431 | 6.5405 | 10.5616 | -39.9646 | -36.1324 | 0.18994 | -3.311 | -0.52124 | 175.3531 | 164.3246 | 38.6047 | 91.2879 | 34.4319 | 3.4421 | 0.11736 | 0 | 0 | 0.063943 | 0 | 3.2177 | 0.043096 | 4.542 | 3.0445 | 175.3531
24 | 196.9682 | 81.8824 | 10.9352 | 0 | 29.2712 | 34.7168 | 22.7436 | 13.7136 | 3.7053 | 10.4679 | -38.4662 | -34.0159 | -0.056386 | -3.8811 | -0.56923 | 168.9699 | 154.7466 | 38.0728 | 83.0939 | 33.5799 | 3.2383 | 0.11706 | 0 | 0 | 0.043709 | 0 | 3.0307 | 0.046776 | 8.4191 | 2.5659 | 168.9699
25 | 171.0663 | 65.4275 | 11.4716 | 0 | 28.3541 | 32.9799 | 22.5035 | 6.5781 | 3.7516 | 10.5225 | -58.9086 | -51.3457 | 0.14171 | -6.5665 | -0.99638 | 122.6803 | 118.7056 | 33.443 | 59.9397 | 25.3229 | 2.1553 | 0.083868 | 0 | 0 | 0.034802 | 0 | 2.0166 | 0.020054 | -1.1927 | 3.012 | 122.6803
26 | 157.0801 | 53.4079 | 11.5121 | 0 | 27.2648 | 33.1114 | 20.4353 | 6.048 | 5.3007 | 10.5234 | -59.903 | -52.2081 | 0.29363 | -6.6351 | -1.0597 | 107.7006 | 110.8379 | 31.281 | 55.6483 | 23.9087 | 2.1008 | 0.080813 | 0 | 0 | 0.028264 | 0 | 2.0488 | -0.057096 | -7.4806 | 2.2425 | 107.7006
27 | 197.0391 | 71.5807 | 16.5499 | 0 | 30.2747 | 34.1984 | 22.7196 | 13.9982 | 7.7176 | 10.4557 | -44.2545 | -37.5163 | -0.29796 | -6.2069 | -0.53129 | 163.2403 | 159.4612 | 37.4153 | 87.9845 | 34.0615 | 3.5896 | 0.1096 | 0 | 0 | 0.066098 | 0 | 2.9806 | 0.4333 | -1.5426 | 1.7321 | 163.2403
28 | 200.0284 | 70.6017 | 16.3801 | 0 | 32.002 | 34.7351 | 22.7069 | 13.6483 | 9.9542 | 10.4564 | -39.3008 | -34.8102 | -0.54862 | -3.9462 | -0.54439 | 171.184 | 162.3405 | 37.7436 | 90.0726 | 34.5243 | 3.3667 | 0.10773 | 0 | 0 | 0.063694 | 0 | 3.0628 | 0.13249 | 2.5362 | 2.9405 | 171.184
29 | 200.9199 | 71.4673 | 14.7961 | 0 | 25.3776 | 42.9485 | 22.7022 | 13.6488 | 9.9794 | 10.4337 | -35.3952 | -30.727 | 0.051695 | -4.2322 | -0.436 | 175.9584 | 164.9283 | 37.608 | 93.2862 | 34.0341 | 3.344 | 0.11557 | 0 | 0 | 0.070374 | 0 | 3.0347 | 0.12342 | 5.4466 | 2.2395 | 175.9584
30 | 202.8594 | 71.4617 | 15.8237 | 0 | 26.7037 | 42.5398 | 22.7128 | 13.6483 | 9.9695 | 10.2031 | -35.7655 | -30.9508 | 0.061292 | -4.3004 | -0.51429 | 177.297 | 170.2232 | 37.22 | 99.5756 | 33.4276 | 3.3984 | 0.10841 | 0 | 0 | 0.06676 | 0 | 3.21 | 0.013291 | 1.2736 | 2.4018 | 177.297
31 | 200.5278 | 69.9854 | 15.819 | 0 | 28.5455 | 41.1647 | 22.7154 | 12.2958 | 10.002 | 10.1428 | -43.9187 | -39.523 | -0.064185 | -3.9078 | -0.48786 | 166.7519 | 161.9039 | 35.8629 | 94.9507 | 31.0903 | 3.2581 | 0.088296 | 0 | 0 | 0.053275 | 0 | 2.9583 | 0.15822 | -1.1338 | 2.7238 | 166.7519
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## GCV kWhNm3
Gas Transportation - Monthly report
July 2020
(Related GCV expressed in kWh/Nm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio
1 | 11.3276 | 11.5075 | 11.3434 | 11.6749 | 11.3883 | 11.5821 | 11.4273 | 11.7519 | 11.3624 | 11.3434 | 11.3883 | 11.0301 | 11.3276
2 | 11.3234 | 11.4763 | 11.3445 | 11.6794 | 11.4265 | 11.5862 | 11.4285 | 11.7528 | 11.3835 | 11.3445 | 11.4265 | 11.0258 | 11.3234
3 | 11.3175 | 11.4834 | 11.3466 | 11.6742 | 11.4455 | 11.5875 | 11.4303 | 11.7932 | 11.4289 | 11.3466 | 11.4455 | 11.0269 | 11.3175
4 | 11.3243 | 11.5004 | 11.3455 | 11.6321 | 11.4559 | 11.5832 | 11.4312 | 11.7592 | 11.4405 | 11.3455 | 11.4559 | 11.0258 | 11.3243
5 | 11.3311 | 11.5121 | 11.3445 | 11.6393 | 11.4489 | 11.5801 | 11.4306 | 11.6884 | 11.4278 | 11.3445 | 11.4489 | 11.0269 | 11.3311
6 | 11.344 | 11.5136 | 11.3445 | 11.652 | 11.4254 | 11.5872 | 11.4333 | 11.6755 | 11.4975 | 11.3445 | 11.4254 | 11.029 | 11.344
7 | 11.3293 | 11.5177 | 11.3424 | 11.675 | 11.4164 | 11.5846 | 11.4336 | 11.7059 | 11.412 | 11.3424 | 11.4164 | 11.0342 | 11.3293
8 | 11.3215 | 11.5256 | 11.3424 | 11.6786 | 11.4317 | 11.5837 | 11.4413 | 11.679 | 11.3487 | 11.3424 | 11.4317 | 11.0342 | 11.3215
9 | 11.3344 | 11.5625 | 11.3413 | 11.683 | 11.4149 | 11.5538 | 11.4473 | 11.6377 | 11.3276 | 11.3413 | 11.4149 | 11.0342 | 11.3344
10 | 11.3179 | 11.5524 | 11.3434 | 11.6628 | 11.421 | 11.563 | 11.4542 | 11.6336 | 11.335 | 11.3434 | 11.421 | 11.0343 | 11.3179
11 | 11.3236 | 11.5328 | 11.3424 | 11.6619 | 11.4371 | 11.5667 | 11.4542 | 11.6693 | 11.3645 | 11.3424 | 11.4371 | 11.0343 | 11.3236
12 | 11.3258 | 11.5961 | 11.3413 | 11.6232 | 11.4439 | 11.5689 | 11.455 | 11.7173 | 11.4015 | 11.3413 | 11.4439 | 11.0342 | 11.3258
13 | 11.3268 | 11.5679 | 11.3403 | 11.62 | 11.4523 | 11.5601 | 11.4561 | 12.0008 | 11.4067 | 11.3403 | 11.4523 | 11.0332 | 11.3268
14 | 11.3138 | 11.5445 | 11.3413 | 11.5829 | 11.4555 | 11.563 | 11.4589 | 12.0799 | 11.3234 | 11.3413 | 11.4555 | 11.0342 | 11.3138
15 | 11.3165 | 11.5695 | 11.3445 | 11.5935 | 11.4331 | 11.5763 | 11.5523 | 12.1101 | 11.3941 | 11.3445 | 11.4331 | 11.0353 | 11.3165
16 | 11.3333 | 11.5663 | 11.3424 | 11.5915 | 11.4232 | 11.5702 | 11.5939 | 12.0907 | 11.3181 | 11.3424 | 11.4232 | 11.0353 | 11.3333
17 | 11.3418 | 11.5647 | 11.3445 | 11.6047 | 11.4363 | 11.575 | 11.5992 | 12.0881 | 11.317 | 11.3445 | 11.4363 | 11.0353 | 11.3418
18 | 11.3544 | 11.6476 | 11.3434 | 11.5896 | 11.4683 | 11.5834 | 11.5947 | 12.0875 | 11.3318 | 11.3434 | 11.4683 | 11.0353 | 11.3544
19 | 11.3565 | 11.7297 | 11.3434 | 11.5852 | 11.4516 | 11.583 | 11.5965 | 12.127 | 11.3381 | 11.3434 | 11.4516 | 11.0353 | 11.3565
20 | 11.3563 | 11.6838 | 11.3445 | 11.5923 | 11.462 | 11.5853 | 11.5959 | 12.1232 | 11.3603 | 11.3445 | 11.462 | 11.0353 | 11.3563
21 | 11.3609 | 11.6719 | 11.3434 | 11.6016 | 11.4682 | 11.5875 | 11.5969 | 12.1177 | 11.4131 | 11.3434 | 11.4682 | 11.0343 | 11.3609
22 | 11.3564 | 11.7149 | 11.3424 | 11.5799 | 11.4217 | 11.5945 | 11.5997 | 12.1177 | 11.4088 | 11.3424 | 11.4217 | 11.0353 | 11.3564
23 | 11.3525 | 11.722 | 11.3445 | 11.5805 | 11.4182 | 11.5959 | 11.6152 | 12.1112 | 11.3867 | 11.3445 | 11.4182 | 11.0343 | 11.3525
24 | 11.347 | 11.6053 | 11.3434 | 11.5836 | 11.4212 | 11.5891 | 11.6257 | 12.1159 | 11.3529 | 11.3434 | 11.4212 | 11.0353 | 11.347
25 | 11.3519 | 11.6232 | 11.3424 | 11.5939 | 11.4193 | 11.5918 | 11.64 | 12.1305 | 11.3529 | 11.3424 | 11.4193 | 11.0342 | 11.3519
26 | 11.3607 | 11.6638 | 11.3434 | 11.5932 | 11.4373 | 11.5938 | 11.6408 | 12.1525 | 11.354 | 11.3434 | 11.4373 | 11.03 | 11.3607
27 | 11.3624 | 11.7528 | 11.3434 | 11.5882 | 11.4461 | 11.5932 | 11.6452 | 12.0415 | 11.3614 | 11.3434 | 11.4461 | 11.0279 | 11.3624
28 | 11.3543 | 11.7829 | 11.3424 | 11.587 | 11.4438 | 11.5875 | 11.6527 | 11.8395 | 11.3561 | 11.3424 | 11.4438 | 11.0353 | 11.3543
29 | 11.3474 | 11.7777 | 11.3434 | 11.5757 | 11.4273 | 11.587 | 11.6597 | 11.845 | 11.3571 | 11.3434 | 11.4273 | 11.0353 | 11.3474
30 | 11.3476 | 11.759 | 11.3413 | 11.5949 | 11.3943 | 11.5903 | 11.6647 | 11.8869 | 11.4004 | 11.3413 | 11.3943 | 11.0269 | 11.3476
31 | 11.3478 | 11.757 | 11.3434 | 11.5934 | 11.3975 | 11.5913 | 11.8715 | 11.9379 | 11.3603 | 11.3434 | 11.3975 | 11.0322 | 11.3478

## GCV kWhSm3
Gas Transportation - Monthly report
July 2020
(Related GCV expressed in kWh/Sm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio
1 | 10.7341 | 10.9045 | 10.749 | 11.0631 | 10.7916 | 10.9752 | 10.8285 | 11.1361 | 10.767 | 10.749 | 10.7916 | 10.4521 | 10.7341
2 | 10.73 | 10.8749 | 10.75 | 11.0674 | 10.8277 | 10.979 | 10.8296 | 11.1369 | 10.787 | 10.75 | 10.8277 | 10.448 | 10.73
3 | 10.7244 | 10.8816 | 10.752 | 11.0624 | 10.8457 | 10.9803 | 10.8313 | 11.1752 | 10.83 | 10.752 | 10.8457 | 10.449 | 10.7244
4 | 10.7308 | 10.8978 | 10.751 | 11.0225 | 10.8556 | 10.9762 | 10.8322 | 11.143 | 10.841 | 10.751 | 10.8556 | 10.448 | 10.7308
5 | 10.7373 | 10.9088 | 10.75 | 11.0294 | 10.8489 | 10.9733 | 10.8317 | 11.0759 | 10.829 | 10.75 | 10.8489 | 10.449 | 10.7373
6 | 10.7496 | 10.9103 | 10.75 | 11.0415 | 10.8267 | 10.98 | 10.8342 | 11.0636 | 10.895 | 10.75 | 10.8267 | 10.451 | 10.7496
7 | 10.7356 | 10.9142 | 10.748 | 11.0632 | 10.8182 | 10.9775 | 10.8345 | 11.0925 | 10.814 | 10.748 | 10.8182 | 10.456 | 10.7356
8 | 10.7282 | 10.9216 | 10.748 | 11.0666 | 10.8326 | 10.9767 | 10.8418 | 11.067 | 10.754 | 10.748 | 10.8326 | 10.456 | 10.7282
9 | 10.7404 | 10.9566 | 10.747 | 11.0707 | 10.8168 | 10.9484 | 10.8475 | 11.0279 | 10.734 | 10.747 | 10.8168 | 10.456 | 10.7404
10 | 10.7248 | 10.947 | 10.749 | 11.0516 | 10.8225 | 10.9571 | 10.854 | 11.024 | 10.741 | 10.749 | 10.8225 | 10.456 | 10.7248
11 | 10.7303 | 10.9285 | 10.748 | 11.0508 | 10.8378 | 10.9606 | 10.8539 | 11.0578 | 10.769 | 10.748 | 10.8378 | 10.4561 | 10.7303
12 | 10.7323 | 10.9884 | 10.747 | 11.0142 | 10.8442 | 10.9627 | 10.8547 | 11.1033 | 10.804 | 10.747 | 10.8442 | 10.456 | 10.7323
13 | 10.7332 | 10.9617 | 10.746 | 11.0111 | 10.8522 | 10.9544 | 10.8558 | 11.372 | 10.809 | 10.746 | 10.8522 | 10.455 | 10.7332
14 | 10.721 | 10.9395 | 10.747 | 10.9759 | 10.8552 | 10.9571 | 10.8585 | 11.4469 | 10.73 | 10.747 | 10.8552 | 10.456 | 10.721
15 | 10.7235 | 10.9633 | 10.75 | 10.986 | 10.834 | 10.9697 | 10.947 | 11.4755 | 10.797 | 10.75 | 10.834 | 10.457 | 10.7235
16 | 10.7394 | 10.9602 | 10.748 | 10.9841 | 10.8246 | 10.9639 | 10.9864 | 11.4571 | 10.725 | 10.748 | 10.8246 | 10.457 | 10.7394
17 | 10.7475 | 10.9587 | 10.75 | 10.9966 | 10.837 | 10.9684 | 10.9914 | 11.4546 | 10.724 | 10.75 | 10.837 | 10.457 | 10.7475
18 | 10.7594 | 11.0372 | 10.749 | 10.9823 | 10.8674 | 10.9764 | 10.9871 | 11.4541 | 10.738 | 10.749 | 10.8674 | 10.457 | 10.7594
19 | 10.7614 | 11.1151 | 10.749 | 10.9781 | 10.8515 | 10.976 | 10.9888 | 11.4916 | 10.744 | 10.749 | 10.8515 | 10.457 | 10.7614
20 | 10.7612 | 11.0716 | 10.75 | 10.9848 | 10.8614 | 10.9782 | 10.9882 | 11.4879 | 10.765 | 10.75 | 10.8614 | 10.457 | 10.7612
21 | 10.7656 | 11.0602 | 10.749 | 10.9936 | 10.8673 | 10.9803 | 10.9892 | 11.4827 | 10.815 | 10.749 | 10.8673 | 10.456 | 10.7656
22 | 10.7613 | 11.101 | 10.748 | 10.9731 | 10.8232 | 10.987 | 10.9918 | 11.4827 | 10.811 | 10.748 | 10.8232 | 10.457 | 10.7613
23 | 10.7576 | 11.1078 | 10.75 | 10.9737 | 10.8199 | 10.9883 | 11.0065 | 11.4766 | 10.79 | 10.75 | 10.8199 | 10.456 | 10.7576
24 | 10.7524 | 10.9972 | 10.749 | 10.9766 | 10.8227 | 10.9818 | 11.0165 | 11.481 | 10.758 | 10.749 | 10.8227 | 10.457 | 10.7524
25 | 10.757 | 11.0141 | 10.748 | 10.9864 | 10.8209 | 10.9843 | 11.03 | 11.4949 | 10.758 | 10.748 | 10.8209 | 10.456 | 10.757
26 | 10.7654 | 11.0526 | 10.749 | 10.9857 | 10.8379 | 10.9863 | 11.0308 | 11.5157 | 10.759 | 10.749 | 10.8379 | 10.452 | 10.7654
27 | 10.767 | 11.137 | 10.749 | 10.981 | 10.8463 | 10.9857 | 11.035 | 11.4105 | 10.766 | 10.749 | 10.8463 | 10.45 | 10.767
28 | 10.7593 | 11.1654 | 10.748 | 10.9798 | 10.8441 | 10.9803 | 11.042 | 11.219 | 10.761 | 10.748 | 10.8441 | 10.457 | 10.7593
29 | 10.7528 | 11.1605 | 10.749 | 10.9691 | 10.8285 | 10.9798 | 11.0487 | 11.2243 | 10.762 | 10.749 | 10.8285 | 10.4571 | 10.7528
30 | 10.753 | 11.1428 | 10.747 | 10.9873 | 10.7972 | 10.983 | 11.0534 | 11.264 | 10.803 | 10.747 | 10.7972 | 10.4491 | 10.753
31 | 10.7532 | 11.1409 | 10.749 | 10.9859 | 10.8002 | 10.9839 | 11.2494 | 11.3123 | 10.765 | 10.749 | 10.8002 | 10.4541 | 10.7532