## kWh
Gas Transportation - Monthly report
January 2021
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 1810.5704 | 733.9709 | 87.6096 | 0 | 712.8573 | 0 | 113.6953 | 142.734 | 0 | 19.7034 | 103.2738 | 688.0948 | 667.1402 | 5.7526 | 15.4635 | 5.4911 | 2601.939 | 2541.4002 | 219.3817 | 558.3927 | 1763.6257 | 83.5291 | 7.1332 | 0 | 13.9748 | 2.0307 | 0 | 0 | 62.3434 | -1.953 | -21.8234 | -1.1668 | 2601.939
2 | 1767.0161 | 731.327 | 87.9214 | 0 | 672.2486 | 0 | 114.3611 | 141.4089 | 0 | 19.7491 | 102.8843 | 732.0933 | 691.3542 | 0.34446 | 36.0231 | 4.7161 | 2601.9937 | 2537.6223 | 252.6232 | 551.4609 | 1733.5382 | 80.0564 | 6.6913 | 0 | 7.6943 | 2.1847 | 0 | 0 | 62.9454 | 0.5407 | -9.6666 | -6.0184 | 2601.9937
3 | 1655.8007 | 764.7781 | 87.7433 | 0 | 523.9997 | 0 | 116.777 | 142.7795 | 0 | 19.7231 | 102.9139 | 781.7921 | 740.4919 | 1.2071 | 32.7597 | 8.5406 | 2540.5068 | 2526.2038 | 260.5416 | 585.7704 | 1679.8919 | 82.1583 | 6.4776 | 0 | 8.1721 | 2.2397 | 0 | 0 | 64.9859 | 0.28295 | -57.4555 | -10.3998 | 2540.5068
4 | 1860.2929 | 1029.9176 | 93.1025 | 0 | 393.5537 | 0 | 116.5039 | 207.692 | 0 | 19.523 | 103.4621 | 1108.6676 | 1072.8434 | 1.9577 | 31.8867 | 3.9375 | 3072.4226 | 3084.6338 | 334.4954 | 853.1431 | 1896.9952 | 88.4517 | 6.9684 | 0 | 7.5953 | 2.6312 | 0 | 0 | 76.6159 | -5.3591 | -86.67 | -13.993 | 3072.4226
5 | 1979.7098 | 1146.1192 | 87.5923 | 0 | 401.4159 | 0 | 115.9666 | 208.9116 | 0 | 19.7041 | 102.1756 | 1264.1501 | 1155.3381 | 0.45798 | 93.4962 | 15.3158 | 3346.0355 | 3154.5656 | 346.5678 | 865.0058 | 1942.992 | 94.6742 | 7.007 | 0 | 1.3527 | 2.7365 | 0 | 0 | 79.6722 | 3.9057 | 102.0448 | -5.2491 | 3346.0355
6 | 1868.5521 | 1049.1603 | 76.6367 | 0 | 473.5915 | 0.46472 | 115.9057 | 142.7909 | 0 | 10.0023 | 102.8664 | 1116.4075 | 1063.3557 | 0.60373 | 47.9474 | 5.1044 | 3087.826 | 2994.3415 | 325.5867 | 789.5228 | 1879.232 | 83.0184 | 7.1261 | 0 | 0 | 2.593 | 0 | 0 | 76.879 | -3.5796 | 28.0048 | -17.5387 | 3087.826
7 | 2249.3463 | 1216.3841 | 87.5635 | 0 | 569.7039 | 116.031 | 116.0271 | 142.734 | 0 | 0.90271 | 103.3682 | 1264.6224 | 1153.6539 | -3.7863 | 95.5644 | 15.4042 | 3617.337 | 3552.5253 | 403.6578 | 1039.4887 | 2109.3788 | 99.7658 | 7.9657 | 0 | 0 | 3.1007 | 0 | 0 | 86.9794 | 1.7201 | -28.0413 | -6.9129 | 3617.337
8 | 2413.8745 | 1198.3379 | 87.6289 | 0 | 704.6012 | 131.3711 | 115.7577 | 175.7186 | 0 | 0.45905 | 102.8323 | 1192.9347 | 1089.9607 | 5.7894 | 90.3116 | 12.6625 | 3709.6416 | 3539.3314 | 415.8624 | 1009.5431 | 2113.9259 | 101.1517 | 8.1661 | 0 | 0 | 3.2107 | 0 | 0 | 89.7684 | 0.006512 | 59.6037 | 9.5548 | 3709.6416
9 | 2037.1394 | 997.9258 | 87.6061 | 0 | 737.9929 | 0 | 114.6102 | 98.7119 | 0 | 0.29235 | 103.1379 | 1181.0689 | 1128.2696 | 0.67673 | 41.1396 | 11.6597 | 3321.3462 | 3211.2763 | 371.5464 | 805.1741 | 2034.5558 | 97.4011 | 7.7252 | 0 | 10.8573 | 2.9986 | 0 | 0 | 83.3845 | -7.5645 | 1.3828 | 11.286 | 3321.3462
10 | 2023.7666 | 969.1475 | 98.6278 | 0 | 741.1463 | 0 | 115.8012 | 98.8154 | 0 | 0.22845 | 103.1495 | 1052.8881 | 1030.1682 | 0.3015 | 13.2301 | 9.4897 | 3179.8041 | 3188.7624 | 368.4449 | 793.5362 | 2026.7814 | 103.0613 | 7.7918 | 0 | 12.081 | 3.1009 | 0 | 0 | 81.2758 | -1.1882 | -84.871 | -27.1486 | 3179.8041
11 | 2722.4153 | 1203.8886 | 136.5335 | 18.5704 | 718.8342 | 297.4364 | 116.0966 | 230.8572 | 0 | 0.1983 | 102.6012 | 1270.8796 | 1161.0761 | 2.3199 | 93.5637 | 16.2397 | 4095.8961 | 3907.6666 | 461.5225 | 1064.3195 | 2381.8246 | 114.8559 | 8.7078 | 0 | 0 | 3.8837 | 0 | 0 | 97.2808 | 4.9836 | 65.3094 | 8.0642 | 4095.8961
12 | 2758.0891 | 1227.6323 | 142.0483 | 20.3574 | 617.7477 | 402.7241 | 116.4895 | 230.8963 | 0 | 0.19356 | 102.1369 | 1268.5684 | 1158.7791 | 0.20017 | 93.5726 | 16.2167 | 4128.7945 | 3826.7322 | 470.7268 | 956.1908 | 2399.8147 | 111.9158 | 8.2459 | 0 | 0 | 3.6029 | 0 | 0 | 97.7591 | 2.3079 | 164.4299 | 25.7165 | 4128.7945
13 | 2392.3816 | 1187.9632 | 125.5185 | 0.10721 | 563.7721 | 168.7433 | 116.5111 | 229.5491 | 0 | 0.21706 | 100.1586 | 1229.8508 | 1132.1619 | -23.4986 | 87.8745 | 9.8144 | 3722.391 | 3594.0026 | 467.172 | 861.1241 | 2265.7065 | 104.8381 | 6.7318 | 0 | 0 | 3.4161 | 0 | 0 | 95.9548 | -1.2646 | 17.5822 | 5.9681 | 3722.391
14 | 2292.2416 | 1208.8614 | 109.0798 | 0 | 566.9471 | 70.8953 | 116.5194 | 219.7201 | 0 | 0.21862 | 102.841 | 1264.5631 | 1158.0954 | 0.41729 | 90.0921 | 16.3756 | 3659.6457 | 3548.2622 | 463.8107 | 930.1102 | 2154.3413 | 102.54 | 6.287 | 0 | 0 | 3.2425 | 0 | 0 | 91.3699 | 1.6406 | 5.8819 | 2.9615 | 3659.6457
15 | 2331.3039 | 1189.3057 | 92.8302 | 0 | 610.5719 | 91.333 | 116.3327 | 230.7907 | 0 | 0.13978 | 102.0721 | 1264.182 | 1158.427 | -0.44399 | 89.5692 | 16.1858 | 3697.558 | 3677.3069 | 459.1368 | 1035.6255 | 2182.5446 | 99.9693 | 7.3024 | 0 | 0 | 3.2666 | 0 | 0 | 91.514 | -2.1138 | -91.5048 | 11.7866 | 3697.558
16 | 2069.7898 | 1035.4025 | 59.9817 | 0 | 682.1885 | 0 | 116.1914 | 175.8966 | 0 | 0.12925 | 102.3167 | 1122.0385 | 1063.6327 | 1.2066 | 52.7623 | 5.6436 | 3294.1451 | 3183.3412 | 397.8131 | 717.2577 | 2068.2704 | 118.326 | 7.4613 | 0 | 25.869 | 3.0432 | 0 | 0 | 83.4718 | -1.5193 | -28.4574 | 20.9353 | 3294.1451
17 | 2095.0106 | 1032.8809 | 92.5557 | 0 | 677.8502 | 0 | 115.6612 | 175.9268 | 0 | 0.13576 | 102.0397 | 1225.7899 | 1179.809 | -5.4408 | 40.1648 | 5.8161 | 3422.8402 | 3195.1058 | 382.273 | 694.7075 | 2118.1253 | 107.953 | 7.2433 | 0 | 14.8556 | 3.0633 | 0 | 0 | 85.7142 | -2.9233 | 109.369 | 10.4123 | 3422.8402
18 | 2605.7486 | 1203.4429 | 98.0637 | 0 | 640.5133 | 308.8397 | 115.8021 | 238.9665 | 0 | 0.12037 | 103.4704 | 1339.2359 | 1229.1405 | -2.5527 | 93.5534 | 16.5419 | 4048.4549 | 3939.7498 | 478.1483 | 1048.4507 | 2413.1508 | 116.7954 | 7.654 | 0 | 0 | 3.5384 | 0 | 0 | 97.6546 | 7.9483 | 5.5822 | -13.6725 | 4048.4549
19 | 2537.1281 | 1221.7224 | 81.8563 | 0 | 609.4107 | 267.5298 | 115.9221 | 240.5904 | 0 | 0.09626 | 102.5225 | 1307.2771 | 1224.2596 | -8.7472 | 66.4506 | 16.5669 | 3946.9276 | 3927.8315 | 483.2299 | 1042.404 | 2402.1975 | 104.5821 | 7.5555 | 0 | 0 | 3.3239 | 0 | 0 | 97.6713 | -3.9687 | -112.7572 | 27.2712 | 3946.9276
20 | 2403.4209 | 1212.6553 | 81.6972 | 0 | 617.2568 | 167.3496 | 115.6024 | 208.6644 | 0 | 0.19523 | 103.4974 | 1311.8266 | 1228.8025 | -4.2749 | 66.4405 | 16.5836 | 3818.7449 | 3767.5623 | 480.2258 | 1001.9884 | 2285.3481 | 104.394 | 7.2325 | 0 | 0 | 3.0654 | 0 | 0 | 93.4734 | 0.62259 | -46.6773 | -6.5341 | 3818.7449
21 | 2167.1902 | 1130.891 | 81.6503 | 0 | 586.6613 | 10.74 | 116.4971 | 240.5186 | 0 | 0.23188 | 103.956 | 1339.0144 | 1230.4238 | -1.5957 | 92.1936 | 16.3969 | 3610.1606 | 3502.8164 | 472.1589 | 884.0377 | 2146.6197 | 99.9086 | 7.4234 | 0 | 0 | 2.9296 | 0 | 0 | 87.9928 | 1.5628 | -1.3084 | 8.7439 | 3610.1606
22 | 1953.9702 | 976.3672 | 92.6065 | 0 | 558.9124 | 0 | 117.2365 | 208.5988 | 0 | 0.24888 | 104.0945 | 1239.4373 | 1165.787 | -0.24855 | 61.2247 | 12.4256 | 3297.5019 | 3199.0368 | 459.4413 | 754.7801 | 1984.8154 | 110.5026 | 7.1713 | 0 | 18.4113 | 2.4556 | 0 | 0 | 81.5539 | 0.91047 | -17.3927 | 5.3552 | 3297.5019
23 | 1767.6124 | 841.1472 | 81.6533 | 0 | 629.3958 | 0 | 116.5857 | 98.6813 | 0 | 0.1491 | 103.545 | 1080.9906 | 1040.2885 | 0.12428 | 31.9977 | 8.7044 | 2952.148 | 2650.4273 | 392.4852 | 528.2013 | 1729.7409 | 248.4442 | 6.1894 | 0 | 167.2647 | 2.3743 | 0 | 0 | 70.7719 | 1.8439 | 44.4441 | 8.8323 | 2952.148
24 | 1795.8568 | 841.2256 | 81.6951 | 0 | 657.8047 | 0 | 116.3939 | 98.7376 | 0 | 0 | 104.0188 | 958.4017 | 929.7067 | 5.4091 | 20.4839 | 8.2111 | 2858.2774 | 2638.4328 | 384.9607 | 482.5084 | 1770.9637 | 263.7132 | 6.5106 | 0 | 183.1775 | 2.5542 | 0 | 0 | 74.1211 | -2.6501 | -34.0121 | -9.8566 | 2858.2774
25 | 2189.4689 | 1077.6335 | 119.6621 | 0 | 650.5374 | 0 | 116.436 | 225.1999 | 0 | 0 | 102.987 | 1260.7072 | 1157.3778 | 1.6208 | 90.7246 | 12.6047 | 3553.1631 | 3428.7301 | 478.3854 | 824.1521 | 2126.1927 | 121.3057 | 7.0814 | 0 | 20.5595 | 3.3655 | 0 | 0 | 90.3601 | -0.060824 | 12.1899 | -9.0626 | 3553.1631
26 | 2250.2404 | 1094.5455 | 119.7433 | 0 | 694.1761 | 0 | 116.3551 | 225.4144 | 0 | 0.005864 | 98.5067 | 1240.2204 | 1138.9889 | -0.62562 | 89.2394 | 11.9922 | 3588.9675 | 3465.6113 | 484.6115 | 822.3543 | 2158.6454 | 113.429 | 7.2822 | 0 | 12.5775 | 3.363 | 0 | 0 | 91.5293 | -1.323 | 7.8862 | 2.041 | 3588.9675
27 | 2352.3124 | 1153.5438 | 87.1955 | 0 | 708.3083 | 62.7674 | 116.1749 | 224.3226 | 0 | 0 | 99.0939 | 1337.6406 | 1229.2829 | -3.4828 | 92.4296 | 15.9281 | 3789.0469 | 3712.0311 | 484.0489 | 970.8843 | 2257.0979 | 108.3342 | 7.8106 | 0 | 0 | 3.3885 | 0 | 0 | 93.8021 | 3.333 | -33.1214 | 1.803 | 3789.0469
28 | 2215.4114 | 1074.3846 | 87.2858 | 0 | 713.3651 | 0 | 115.7259 | 224.1657 | 0 | 0.48437 | 102.7705 | 1329.5554 | 1225.3469 | -3.1832 | 91.3921 | 12.8164 | 3647.7372 | 3515.4194 | 476.0069 | 841.8126 | 2197.5999 | 109.2197 | 7.0824 | 0 | 9.2881 | 3.3767 | 0 | 0 | 90.8716 | -1.3991 | 21.8212 | 1.2769 | 3647.7372
29 | 2025.1718 | 891.2571 | 87.7396 | 0 | 703.8838 | 0 | 116.4421 | 224.9854 | 0 | 0.86383 | 105.5089 | 1251.6755 | 1160.1767 | -0.41846 | 83.9743 | 7.5244 | 3382.3563 | 3225.4539 | 461.1531 | 698.9444 | 2065.3565 | 120.1084 | 6.3378 | 0 | 23.2892 | 3.1538 | 0 | 0 | 86.4432 | 0.88436 | 26.4233 | 10.3707 | 3382.3563
30 | 1915.4333 | 809.4287 | 87.6623 | 0 | 696.7345 | 0 | 116.2571 | 175.7164 | 0 | 29.6343 | 105.9317 | 861.0069 | 837.3162 | -0.4706 | 17.7695 | 5.9211 | 2882.3719 | 2639.2721 | 390.8399 | 533.8402 | 1714.5921 | 176.9712 | 5.7789 | 0 | 96.6725 | 2.2826 | 0 | 0 | 72.4503 | -0.21317 | 53.1335 | 12.9951 | 2882.3719
31 | 1906.2629 | 749.5741 | 87.765 | 0 | 707.5035 | 0 | 116.8765 | 175.7469 | 0 | 68.7968 | 105.7275 | 670.9189 | 654.4116 | -2.4987 | 10.5973 | 5.91 | 2682.9092 | 2529.1894 | 375.417 | 530.7781 | 1622.9943 | 167.2928 | 5.4933 | 0 | 93.5705 | 2.3945 | 0 | 0 | 65.8119 | 0.022619 | -17.5633 | 3.9903 | 2682.9092
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Transportation - Monthly report
January 2021
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 156.8473 | 64.662 | 7.5967 | 0 | 60.9055 | 0 | 9.7174 | 12.3243 | 0 | 1.6414 | 9.2561 | 59.8953 | 58.06 | 0.50063 | 1.3555 | 0.47986 | 225.9986 | 227.7766 | 19.6624 | 50.0467 | 158.0675 | 0.28254 | 0.62235 | 0 | 1.2343 | 0.17988 | 0 | 0 | 5.5876 | -7.3416 | -1.956 | -0.10457 | 225.9986
2 | 153.089 | 64.4768 | 7.5955 | 0 | 57.4061 | 0 | 9.7593 | 12.2086 | 0 | 1.6426 | 9.2212 | 63.7614 | 60.1819 | 0.029985 | 3.1677 | 0.41174 | 226.0715 | 227.438 | 22.6417 | 49.4255 | 155.3708 | 0.039296 | 0.58273 | 0 | 0.67749 | 0.19275 | 0 | 0 | 5.6416 | -7.0552 | -0.86638 | -0.53941 | 226.0715
3 | 143.6974 | 67.4358 | 7.5959 | 0 | 44.7362 | 0 | 9.9643 | 12.3255 | 0 | 1.6397 | 9.2238 | 68.103 | 64.4781 | 0.1051 | 2.8792 | 0.74573 | 221.0242 | 226.4146 | 23.3514 | 52.5005 | 150.5627 | 0.69122 | 0.5635 | 0 | 0.72342 | 0.19753 | 0 | 0 | 5.8245 | -6.6177 | -5.1495 | -0.9321 | 221.0242
4 | 161.9776 | 90.8495 | 8.0681 | 0 | 33.5884 | 0 | 9.9392 | 17.909 | 0 | 1.6235 | 9.2729 | 96.5708 | 93.4202 | 0.17047 | 2.8067 | 0.34381 | 267.8214 | 276.4647 | 29.9796 | 76.4642 | 170.0209 | 0.37874 | 0.60714 | 0 | 0.66767 | 0.23293 | 0 | 0 | 6.8668 | -7.9958 | -7.7679 | -1.2541 | 267.8214
5 | 172.5517 | 101.1857 | 7.5868 | 0 | 34.2429 | 0 | 9.8933 | 18.0076 | 0 | 1.6353 | 9.1576 | 110.186 | 100.6155 | 0.039884 | 8.2335 | 1.3371 | 291.8954 | 282.7325 | 31.0616 | 77.5274 | 174.1434 | 0.48747 | 0.6114 | 0 | 0.11871 | 0.24402 | 0 | 0 | 7.1407 | -7.6274 | 9.1459 | -0.47046 | 291.8954
6 | 162.8292 | 92.6604 | 6.641 | 0 | 40.4452 | 0.040673 | 9.889 | 12.3194 | 0 | 0.8336 | 9.2195 | 97.2877 | 92.623 | 0.052587 | 4.219 | 0.44562 | 269.3365 | 268.3721 | 29.1812 | 70.7621 | 168.4289 | 0.026309 | 0.62432 | 0 | 0 | 0.22968 | 0 | 0 | 6.8904 | -7.7181 | 2.51 | -1.5719 | 269.3365
7 | 196.3165 | 107.3962 | 7.5943 | 0 | 48.7406 | 10.2742 | 9.9034 | 12.3248 | 0 | 0.083 | 9.2645 | 110.2052 | 100.4452 | -0.33025 | 8.4152 | 1.3449 | 315.7862 | 318.4002 | 36.1784 | 93.1657 | 189.0561 | 0.51888 | 0.69885 | 0 | 0 | 0.27492 | 0 | 0 | 7.7957 | -8.2505 | -2.5132 | -0.61957 | 315.7862
8 | 210.5521 | 105.8163 | 7.5945 | 0 | 60.4185 | 11.6385 | 9.8761 | 15.1664 | 0 | 0.041827 | 9.2165 | 103.9862 | 94.928 | 0.50421 | 7.952 | 1.1061 | 323.7547 | 317.2176 | 37.2723 | 90.4817 | 189.4636 | 0.33864 | 0.72306 | 0 | 0 | 0.2834 | 0 | 0 | 8.0456 | -8.7134 | 5.3421 | 0.85636 | 323.7547
9 | 177.345 | 88.1343 | 7.5926 | 0 | 63.29 | 0 | 9.78 | 8.5216 | 0 | 0.026462 | 9.2439 | 102.8849 | 98.2456 | 0.058927 | 3.6202 | 1.019 | 289.4737 | 287.8152 | 33.3004 | 72.1649 | 182.35 | 0.52302 | 0.67769 | 0 | 0.96023 | 0.26375 | 0 | 0 | 7.4735 | -8.8521 | 0.12394 | 1.0115 | 289.4737
10 | 176.0114 | 85.5938 | 8.5392 | 0 | 63.4404 | 0 | 9.8887 | 8.5288 | 0 | 0.020478 | 9.2449 | 91.703 | 89.7103 | 0.026255 | 1.163 | 0.82973 | 276.9594 | 285.7974 | 33.0224 | 71.1218 | 181.6532 | 1.2019 | 0.68176 | 0 | 1.0674 | 0.27417 | 0 | 0 | 7.2845 | -8.1059 | -7.6067 | -2.4332 | 276.9594
11 | 237.3738 | 106.3421 | 11.8553 | 1.6399 | 61.3222 | 26.3751 | 9.9154 | 19.9064 | 0 | 0.01727 | 9.1958 | 110.7706 | 101.1121 | 0.20203 | 8.2382 | 1.4202 | 357.3401 | 350.2302 | 41.3646 | 95.3912 | 213.4744 | 0.5337 | 0.76566 | 0 | 0 | 0.34212 | 0 | 0 | 8.7189 | -9.293 | 5.8534 | 0.72277 | 357.3401
12 | 240.6733 | 108.4693 | 12.3321 | 1.8 | 52.5892 | 35.6145 | 9.9449 | 19.9066 | 0 | 0.016744 | 9.1542 | 110.5938 | 100.9361 | 0.017435 | 8.2393 | 1.4184 | 360.4213 | 342.9763 | 42.1896 | 85.7 | 215.0868 | 0.40277 | 0.72822 | 0 | 0 | 0.31734 | 0 | 0 | 8.7618 | -9.4046 | 14.7373 | 2.3049 | 360.4213
13 | 208.6749 | 104.9845 | 10.9052 | 0.0094817 | 48.0734 | 14.9313 | 9.9428 | 19.8089 | 0 | 0.019174 | 8.9769 | 107.197 | 98.6015 | -2.0426 | 7.7366 | 0.85898 | 324.8488 | 322.1176 | 41.871 | 77.1795 | 203.0672 | 0.62043 | 0.59246 | 0 | 0 | 0.30088 | 0 | 0 | 8.6001 | -8.873 | 1.5758 | 0.5349 | 324.8488
14 | 199.8408 | 106.8235 | 9.4868 | 0 | 48.3358 | 6.2757 | 9.9432 | 18.9563 | 0 | 0.019558 | 9.2173 | 110.2555 | 100.8902 | 0.036353 | 7.9328 | 1.4326 | 319.3135 | 318.0181 | 41.5697 | 83.3625 | 193.0859 | 0.50287 | 0.55321 | 0 | 0 | 0.28622 | 0 | 0 | 8.1892 | -8.5257 | 0.52717 | 0.26543 | 319.3135
15 | 203.1451 | 105.1119 | 8.0771 | 0 | 52.0386 | 8.0763 | 9.9258 | 19.9029 | 0 | 0.012674 | 9.1484 | 110.2446 | 100.9427 | -0.038593 | 7.8863 | 1.4156 | 322.5381 | 329.5839 | 41.1508 | 92.8194 | 195.6137 | 0.099068 | 0.6458 | 0 | 0 | 0.28849 | 0 | 0 | 8.2021 | -9.0373 | -8.2012 | 1.0564 | 322.5381
16 | 179.8251 | 91.5202 | 5.2205 | 0 | 57.9938 | 0 | 9.9162 | 15.1627 | 0 | 0.011715 | 9.1703 | 97.8 | 92.6643 | 0.10512 | 4.642 | 0.49378 | 286.7954 | 285.3115 | 35.6546 | 64.2852 | 185.3717 | 2.1581 | 0.65339 | 0 | 2.2877 | 0.26895 | 0 | 0 | 7.4813 | -8.5332 | -2.5505 | 1.8764 | 286.7954
17 | 182.0055 | 91.279 | 8.0564 | 0 | 57.6302 | 0 | 9.8692 | 15.1584 | 0 | 0.012287 | 9.1455 | 106.834 | 102.793 | -0.47294 | 3.5321 | 0.50884 | 297.985 | 286.3659 | 34.2618 | 62.2642 | 189.84 | 0.88345 | 0.634 | 0 | 1.314 | 0.27076 | 0 | 0 | 7.6823 | -9.0176 | 9.8024 | 0.93322 | 297.985
18 | 227.0495 | 106.2821 | 8.5367 | 0 | 54.3909 | 27.3564 | 9.8823 | 20.5902 | 0 | 0.010887 | 9.2737 | 116.7681 | 107.083 | -0.22192 | 8.2383 | 1.4469 | 353.0913 | 353.1057 | 42.8547 | 93.9689 | 216.2821 | 0.71066 | 0.66933 | 0 | 0 | 0.31212 | 0 | 0 | 8.7524 | -9.0232 | 0.50032 | -1.2254 | 353.0913
19 | 221.1488 | 107.9176 | 7.1218 | 0 | 51.6904 | 23.7696 | 9.8927 | 20.7481 | 0 | 0.0087047 | 9.1887 | 113.9628 | 106.6593 | -0.76027 | 5.8548 | 1.4487 | 344.3004 | 352.0375 | 43.3102 | 93.427 | 215.3004 | -0.075314 | 0.66366 | 0 | 0 | 0.29359 | 0 | 0 | 8.7539 | -9.7865 | -10.106 | 2.4442 | 344.3004
20 | 209.2759 | 107.0805 | 7.1147 | 0 | 52.3444 | 14.8488 | 9.8663 | 18.0034 | 0 | 0.017716 | 9.2761 | 114.3749 | 107.0702 | -0.37163 | 5.8545 | 1.4502 | 332.9269 | 337.6732 | 43.0409 | 89.8046 | 204.8276 | 0.022901 | 0.64142 | 0 | 0 | 0.2719 | 0 | 0 | 8.3777 | -9.2681 | -4.1835 | -0.58562 | 332.9269
21 | 188.4227 | 99.8329 | 7.1175 | 0 | 49.803 | 0.94998 | 9.9427 | 20.7556 | 0 | 0.021116 | 9.3172 | 116.7518 | 107.2002 | -0.13874 | 8.1182 | 1.4333 | 314.4917 | 313.9449 | 42.3179 | 79.2331 | 192.3939 | -0.1197 | 0.652 | 0 | 0 | 0.26052 | 0 | 0 | 7.8865 | -8.9187 | -0.11726 | 0.78369 | 314.4917
22 | 169.8006 | 86.1826 | 8.0652 | 0 | 47.5181 | 0 | 10.0076 | 18.0044 | 0 | 0.022716 | 9.3296 | 108.0459 | 101.5703 | -0.021618 | 5.3894 | 1.0862 | 287.1762 | 286.7183 | 41.1781 | 67.6482 | 177.8919 | 1.5368 | 0.62782 | 0 | 1.6296 | 0.21915 | 0 | 0 | 7.3094 | -8.2491 | -1.5588 | 0.47997 | 287.1762
23 | 153.3491 | 74.1532 | 7.1207 | 0 | 53.583 | 0 | 9.9546 | 8.524 | 0 | 0.013615 | 9.2804 | 94.2219 | 90.6454 | 0.010829 | 2.815 | 0.7614 | 256.8513 | 237.5483 | 35.177 | 47.3408 | 155.0305 | 14.528 | 0.54336 | 0 | 14.7232 | 0.21222 | 0 | 0 | 6.343 | -7.2939 | 3.9834 | 0.79161 | 256.8513
24 | 155.7566 | 74.1387 | 7.1233 | 0 | 56.0316 | 0 | 9.9378 | 8.5252 | 0 | 0 | 9.3228 | 83.5181 | 81.0002 | 0.47126 | 1.7992 | 0.71866 | 248.5975 | 236.4733 | 34.5027 | 43.2455 | 158.7252 | 16.056 | 0.57098 | 0 | 16.0301 | 0.22809 | 0 | 0 | 6.6432 | -7.4164 | -3.0484 | -0.88341 | 248.5975
25 | 190.2433 | 95.0544 | 10.4363 | 0 | 55.3898 | 0 | 9.9397 | 19.4231 | 0 | 0 | 9.2304 | 109.9222 | 100.8319 | 0.14121 | 7.9883 | 1.102 | 309.3958 | 307.3048 | 42.876 | 73.8658 | 190.5631 | 1.8107 | 0.62018 | 0 | 1.7838 | 0.29835 | 0 | 0 | 8.0987 | -8.9902 | 1.0925 | -0.81225 | 309.3958
26 | 195.579 | 96.6009 | 10.4329 | 0 | 59.1792 | 0 | 9.9378 | 19.4278 | 0 | 0.0005344 | 8.8288 | 108.1439 | 99.2379 | -0.054381 | 7.8574 | 1.0487 | 312.5518 | 310.6104 | 43.434 | 73.7047 | 193.4717 | 1.0517 | 0.63617 | 0 | 1.0936 | 0.29636 | 0 | 0 | 8.2034 | -9.178 | 0.70681 | 0.18293 | 312.5518
27 | 204.4461 | 101.8235 | 7.5946 | 0 | 60.3068 | 5.4671 | 9.9196 | 19.3345 | 0 | 0 | 8.8814 | 116.6161 | 107.085 | -0.30291 | 8.1385 | 1.3927 | 329.9436 | 332.6961 | 43.3836 | 87.0169 | 202.2956 | 0.054492 | 0.68209 | 0 | 0 | 0.29844 | 0 | 0 | 8.4071 | -9.3332 | -2.9686 | 0.1616 | 329.9436
28 | 192.453 | 94.8937 | 7.5956 | 0 | 60.709 | 0 | 9.8803 | 19.3304 | 0 | 0.04402 | 9.211 | 115.9055 | 106.7372 | -0.27666 | 8.0476 | 1.1207 | 317.5694 | 315.0745 | 42.6628 | 75.4487 | 196.963 | 0.42475 | 0.61964 | 0 | 0.80988 | 0.29755 | 0 | 0 | 8.1445 | -9.4468 | 1.9558 | 0.11444 | 317.5694
29 | 175.6844 | 78.6979 | 7.5937 | 0 | 59.9391 | 0 | 9.9508 | 19.4243 | 0 | 0.078562 | 9.4564 | 109.1165 | 101.0645 | -0.036373 | 7.3941 | 0.65791 | 294.2573 | 289.0859 | 41.3315 | 62.6439 | 185.1105 | 1.8737 | 0.55557 | 0 | 2.0315 | 0.27929 | 0 | 0 | 7.7476 | -8.7403 | 2.3682 | 0.92949 | 294.2573
30 | 165.8726 | 71.4332 | 7.5927 | 0 | 59.2819 | 0 | 9.9532 | 15.1613 | 0 | 2.4503 | 9.4943 | 75.0126 | 72.9322 | -0.040902 | 1.5625 | 0.51788 | 250.3794 | 236.5485 | 35.0296 | 47.8462 | 153.6728 | 7.904 | 0.50676 | 0 | 8.4492 | 0.20276 | 0 | 0 | 6.4935 | -7.7482 | 4.7622 | 1.1647 | 250.3794
31 | 164.8838 | 66.133 | 7.6068 | 0 | 60.2657 | 0 | 10.0048 | 15.162 | 0 | 5.7115 | 9.476 | 58.4681 | 57.0188 | -0.21719 | 0.93233 | 0.51697 | 232.8278 | 226.6822 | 33.6473 | 47.5717 | 145.4632 | 7.3621 | 0.48239 | 0 | 8.1491 | 0.21277 | 0 | 0 | 5.8985 | -7.3807 | -1.5741 | 0.35763 | 232.8278
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Transportation - Monthly report
January 2021
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Storage of SRG*** | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Delta Line Pack of SRG*** | Consumption, Losses, GNC of SRG*** | Total Offtake
1 | 171.2488 | 69.421 | 8.2864 | 0 | 67.424 | 0 | 10.7536 | 13.5002 | 0 | 1.8636 | 9.7679 | 65.0819 | 63.1 | 0.54409 | 1.4626 | 0.51936 | 246.0986 | 240.3727 | 20.7497 | 52.8143 | 166.8086 | 7.9004 | 0.67467 | 0 | 1.3218 | 0.19207 | 0 | 0 | 5.8966 | -0.18472 | -2.0641 | -0.11036 | 246.0986
2 | 167.1293 | 69.1709 | 8.3159 | 0 | 63.5831 | 0 | 10.8166 | 13.3748 | 0 | 1.8679 | 9.7311 | 69.2434 | 65.3902 | 0.03258 | 3.4072 | 0.44606 | 246.1038 | 240.0154 | 23.8938 | 52.1587 | 163.9628 | 7.572 | 0.63288 | 0 | 0.72775 | 0.20664 | 0 | 0 | 5.9535 | 0.051141 | -0.9143 | -0.56924 | 246.1038
3 | 156.6102 | 72.3348 | 8.299 | 0 | 49.5613 | 0 | 11.0451 | 13.5045 | 0 | 1.8655 | 9.7339 | 73.9441 | 70.0378 | 0.11417 | 3.0985 | 0.80779 | 240.2882 | 238.9354 | 24.6427 | 55.4038 | 158.8888 | 7.7708 | 0.61267 | 0 | 0.77294 | 0.21184 | 0 | 0 | 6.1465 | 0.026762 | -5.4343 | -0.98365 | 240.2882
4 | 175.9517 | 97.4125 | 8.8059 | 0 | 37.2234 | 0 | 11.0193 | 19.6441 | 0 | 1.8465 | 9.7857 | 104.8609 | 101.4725 | 0.18517 | 3.0159 | 0.37242 | 290.5982 | 291.7532 | 31.6375 | 80.6926 | 179.4231 | 8.366 | 0.65909 | 0 | 0.71839 | 0.24887 | 0 | 0 | 7.2465 | -0.50688 | -8.1975 | -1.3235 | 290.5982
5 | 187.2464 | 108.4031 | 8.2847 | 0 | 37.967 | 0 | 10.9684 | 19.7594 | 0 | 1.8637 | 9.6641 | 119.5668 | 109.2751 | 0.043317 | 8.8431 | 1.4486 | 316.4773 | 298.3676 | 32.7793 | 81.8146 | 183.7736 | 8.9545 | 0.66274 | 0 | 0.12794 | 0.25883 | 0 | 0 | 7.5356 | 0.36941 | 9.6517 | -0.49647 | 316.4773
6 | 176.7328 | 99.2325 | 7.2485 | 0 | 44.7936 | 0.043954 | 10.9627 | 13.5056 | 0 | 0.94605 | 9.7294 | 105.5929 | 100.5751 | 0.057102 | 4.535 | 0.48279 | 292.0551 | 283.2131 | 30.7949 | 74.6753 | 177.743 | 7.8521 | 0.674 | 0 | 0 | 0.24525 | 0 | 0 | 7.2714 | -0.33857 | 2.6488 | -1.6589 | 292.0551
7 | 212.7494 | 115.049 | 8.282 | 0 | 53.8842 | 10.9745 | 10.9742 | 13.5002 | 0 | 0.085381 | 9.7769 | 119.6115 | 109.1158 | -0.35812 | 9.0387 | 1.457 | 342.1378 | 336.0077 | 38.1791 | 98.3177 | 199.5109 | 9.4361 | 0.75341 | 0 | 0 | 0.29327 | 0 | 0 | 8.2268 | 0.1627 | -2.6522 | -0.65384 | 342.1378
8 | 228.3109 | 113.3421 | 8.2882 | 0 | 66.6431 | 12.4254 | 10.9487 | 16.62 | 0 | 0.043418 | 9.7262 | 112.8311 | 103.0915 | 0.54758 | 8.5419 | 1.1977 | 350.8682 | 334.7598 | 39.3334 | 95.4854 | 199.941 | 9.5672 | 0.77237 | 0 | 0 | 0.30368 | 0 | 0 | 8.4905 | 0.0006159 | 5.6375 | 0.90372 | 350.8682
9 | 192.6783 | 94.3866 | 8.286 | 0 | 69.8014 | 0 | 10.8402 | 9.3364 | 0 | 0.027651 | 9.7551 | 111.7088 | 106.7149 | 0.064007 | 3.8911 | 1.1028 | 314.1421 | 303.7314 | 35.1419 | 76.1556 | 192.4339 | 9.2125 | 0.73067 | 0 | 1.0269 | 0.28361 | 0 | 0 | 7.8867 | -0.71547 | 0.13079 | 1.0675 | 314.1421
10 | 191.4135 | 91.6647 | 9.3285 | 0 | 70.0997 | 0 | 10.9528 | 9.3462 | 0 | 0.021608 | 9.7562 | 99.5851 | 97.4362 | 0.028516 | 1.2513 | 0.89756 | 300.7547 | 301.602 | 34.8485 | 75.0548 | 191.6986 | 9.7478 | 0.73697 | 0 | 1.1427 | 0.2933 | 0 | 0 | 7.6873 | -0.11238 | -8.0273 | -2.5678 | 300.7547
11 | 257.4936 | 113.8671 | 12.9137 | 1.7564 | 67.9893 | 28.1324 | 10.9807 | 21.8351 | 0 | 0.018756 | 9.7043 | 120.2033 | 109.8178 | 0.21942 | 8.8495 | 1.536 | 387.4012 | 369.5979 | 43.6521 | 100.6663 | 225.2796 | 10.8634 | 0.82361 | 0 | 0 | 0.36733 | 0 | 0 | 9.2011 | 0.47137 | 6.1771 | 0.76274 | 387.4012
12 | 260.8677 | 116.1129 | 13.4353 | 1.9255 | 58.4283 | 38.0908 | 11.0179 | 21.8388 | 0 | 0.018307 | 9.6604 | 119.9847 | 109.6005 | 0.018932 | 8.8504 | 1.5338 | 390.5128 | 361.9429 | 44.5226 | 90.4392 | 226.9811 | 10.5853 | 0.77992 | 0 | 0 | 0.34077 | 0 | 0 | 9.2463 | 0.21829 | 15.5522 | 2.4323 | 390.5128
13 | 226.2781 | 112.3609 | 11.8719 | 0.010141 | 53.3231 | 15.9602 | 11.0199 | 21.7114 | 0 | 0.02053 | 9.4733 | 116.3227 | 107.083 | -2.2226 | 8.3114 | 0.92828 | 352.0741 | 339.9307 | 44.1864 | 81.4475 | 214.2968 | 9.9159 | 0.63671 | 0 | 0 | 0.3231 | 0 | 0 | 9.0757 | -0.11961 | 1.663 | 0.56448 | 352.0741
14 | 216.8066 | 114.3375 | 10.3171 | 0 | 53.6234 | 6.7055 | 11.0207 | 20.7817 | 0 | 0.020677 | 9.727 | 119.6059 | 109.5359 | 0.039468 | 8.5212 | 1.5488 | 346.1394 | 335.6045 | 43.8685 | 87.9724 | 203.7636 | 9.6985 | 0.59464 | 0 | 0 | 0.30669 | 0 | 0 | 8.642 | 0.15517 | 0.55633 | 0.28011 | 346.1394
15 | 220.5012 | 112.4878 | 8.7801 | 0 | 57.7496 | 8.6385 | 11.0031 | 21.8288 | 0 | 0.013221 | 9.6543 | 119.5698 | 109.5672 | -0.041994 | 8.4717 | 1.5309 | 349.7253 | 347.8099 | 43.4264 | 97.9523 | 206.4311 | 9.4554 | 0.69068 | 0 | 0 | 0.30897 | 0 | 0 | 8.6556 | -0.19993 | -8.6548 | 1.1148 | 349.7253
16 | 195.7665 | 97.9312 | 5.6732 | 0 | 64.5233 | 0 | 10.9897 | 16.6368 | 0 | 0.012224 | 9.6774 | 106.1255 | 100.6013 | 0.11412 | 4.9904 | 0.53379 | 311.5694 | 301.0892 | 37.6263 | 67.8402 | 195.6227 | 11.1916 | 0.70571 | 0 | 2.4468 | 0.28783 | 0 | 0 | 7.895 | -0.1437 | -2.6916 | 1.9801 | 311.5694
17 | 198.1519 | 97.6927 | 8.7542 | 0 | 64.113 | 0 | 10.9396 | 16.6396 | 0 | 0.012841 | 9.6512 | 115.9386 | 111.5896 | -0.51461 | 3.7989 | 0.5501 | 323.7417 | 302.202 | 36.1564 | 65.7074 | 200.3382 | 10.2105 | 0.68509 | 0 | 1.4051 | 0.28973 | 0 | 0 | 8.1071 | -0.2765 | 10.3444 | 0.98483 | 323.7417
18 | 246.4589 | 113.825 | 9.2751 | 0 | 60.5815 | 29.2109 | 10.9529 | 22.6021 | 0 | 0.011385 | 9.7865 | 126.6686 | 116.2555 | -0.24144 | 8.8485 | 1.5646 | 382.9141 | 372.6325 | 45.2246 | 99.1654 | 228.2425 | 11.0468 | 0.72394 | 0 | 0 | 0.33467 | 0 | 0 | 9.2364 | 0.75177 | 0.52798 | -1.2932 | 382.9141
19 | 239.9686 | 115.5539 | 7.7422 | 0 | 57.6398 | 25.3037 | 10.9642 | 22.7557 | 0 | 0.0091045 | 9.6969 | 123.6459 | 115.7939 | -0.82733 | 6.2851 | 1.5669 | 373.3114 | 371.5052 | 45.7052 | 98.5935 | 227.2065 | 9.8917 | 0.71462 | 0 | 0 | 0.31438 | 0 | 0 | 9.238 | -0.37537 | -10.6649 | 2.5794 | 373.3114
20 | 227.3222 | 114.6963 | 7.7271 | 0 | 58.3819 | 15.8284 | 10.934 | 19.7361 | 0 | 0.018466 | 9.7891 | 124.0762 | 116.2235 | -0.40433 | 6.2841 | 1.5685 | 361.1875 | 356.3465 | 45.4211 | 94.7708 | 216.1546 | 9.8739 | 0.68407 | 0 | 0 | 0.28993 | 0 | 0 | 8.841 | 0.058886 | -4.4149 | -0.61801 | 361.1875
21 | 204.9789 | 106.9628 | 7.7227 | 0 | 55.4881 | 1.0158 | 11.0186 | 22.7489 | 0 | 0.021932 | 9.8324 | 126.6477 | 116.3769 | -0.15092 | 8.7199 | 1.5509 | 341.459 | 331.3061 | 44.6581 | 83.6147 | 203.0332 | 9.4496 | 0.70213 | 0 | 0 | 0.27709 | 0 | 0 | 8.3226 | 0.14782 | -0.12375 | 0.82703 | 341.459
22 | 184.8119 | 92.3475 | 8.759 | 0 | 52.8635 | 0 | 11.0886 | 19.7298 | 0 | 0.02354 | 9.8455 | 117.2294 | 110.2634 | -0.023509 | 5.7908 | 1.1752 | 311.8869 | 302.5738 | 43.4552 | 71.3892 | 187.7293 | 10.4516 | 0.67828 | 0 | 1.7414 | 0.23226 | 0 | 0 | 7.7136 | 0.086114 | -1.6451 | 0.50651 | 311.8869
23 | 167.1857 | 79.558 | 7.723 | 0 | 59.53 | 0 | 11.027 | 9.3336 | 0 | 0.014102 | 9.7936 | 102.2431 | 98.3934 | 0.011755 | 3.0264 | 0.82329 | 279.2223 | 250.6848 | 37.1223 | 49.9587 | 163.6037 | 23.4985 | 0.58541 | 0 | 15.8204 | 0.22456 | 0 | 0 | 6.6938 | 0.1744 | 4.2036 | 0.83539 | 279.2223
24 | 169.8571 | 79.5654 | 7.7269 | 0 | 62.217 | 0 | 11.0089 | 9.3389 | 0 | 0 | 9.8384 | 90.6483 | 87.9342 | 0.51161 | 1.9374 | 0.77663 | 270.3438 | 249.5503 | 36.4106 | 45.637 | 167.5027 | 24.9427 | 0.61579 | 0 | 17.3254 | 0.24158 | 0 | 0 | 7.0106 | -0.25066 | -3.217 | -0.93226 | 270.3438
25 | 207.086 | 101.9256 | 11.318 | 0 | 61.5296 | 0 | 11.0128 | 21.3 | 0 | 0 | 9.7408 | 119.2412 | 109.468 | 0.1533 | 8.581 | 1.1922 | 336.068 | 324.2988 | 45.247 | 77.9506 | 201.1012 | 11.4734 | 0.66978 | 0 | 1.9446 | 0.31832 | 0 | 0 | 8.5465 | -0.0057529 | 1.153 | -0.85717 | 336.068
26 | 212.834 | 103.5252 | 11.3257 | 0 | 65.6571 | 0 | 11.0052 | 21.3203 | 0 | 0.0005546 | 9.317 | 117.3035 | 107.7287 | -0.059173 | 8.4405 | 1.1343 | 339.4545 | 327.7871 | 45.8359 | 77.7806 | 204.1707 | 10.7284 | 0.68877 | 0 | 1.1896 | 0.31808 | 0 | 0 | 8.6571 | -0.12513 | 0.74589 | 0.19305 | 339.4545
27 | 222.4882 | 109.1054 | 8.2472 | 0 | 66.9938 | 5.9367 | 10.9881 | 21.2171 | 0 | 0 | 9.3726 | 126.5178 | 116.269 | -0.32941 | 8.7422 | 1.5065 | 358.3786 | 351.0942 | 45.7827 | 91.8289 | 213.4826 | 10.2466 | 0.73875 | 0 | 0 | 0.3205 | 0 | 0 | 8.8721 | 0.31524 | -3.1327 | 0.17053 | 358.3786
28 | 209.5397 | 101.6183 | 8.2557 | 0 | 67.472 | 0 | 10.9457 | 21.2022 | 0 | 0.045813 | 9.7203 | 125.753 | 115.8967 | -0.30107 | 8.6441 | 1.2122 | 345.0131 | 332.4981 | 45.0221 | 79.621 | 207.8551 | 10.3303 | 0.66987 | 0 | 0.8785 | 0.31938 | 0 | 0 | 8.5949 | -0.13233 | 2.0639 | 0.12077 | 345.0131
29 | 191.5464 | 84.2976 | 8.2987 | 0 | 66.5753 | 0 | 11.0134 | 21.2797 | 0 | 0.081704 | 9.9793 | 118.3869 | 109.7327 | -0.039579 | 7.9425 | 0.71168 | 319.9126 | 305.0724 | 43.6171 | 66.1081 | 195.3471 | 11.3602 | 0.59945 | 0 | 2.2028 | 0.2983 | 0 | 0 | 8.176 | 0.083645 | 2.4992 | 0.98089 | 319.9126
30 | 181.167 | 76.558 | 8.2913 | 0 | 65.8991 | 0 | 10.9959 | 16.6197 | 0 | 2.8029 | 10.0193 | 81.4364 | 79.1957 | -0.044511 | 1.6807 | 0.56004 | 272.6227 | 249.6297 | 36.9667 | 50.4921 | 162.1709 | 16.7384 | 0.54659 | 0 | 9.1436 | 0.2159 | 0 | 0 | 6.8526 | -0.020162 | 5.0255 | 1.2291 | 272.6227
31 | 180.2996 | 70.8968 | 8.3011 | 0 | 66.9176 | 0 | 11.0545 | 16.6226 | 0 | 6.507 | 10 | 63.4574 | 61.8961 | -0.23634 | 1.0023 | 0.55898 | 253.757 | 239.2177 | 35.508 | 50.2025 | 153.5073 | 15.823 | 0.51957 | 0 | 8.8502 | 0.22648 | 0 | 0 | 6.2247 | 0.0021394 | -1.6612 | 0.37741 | 253.757
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## GCV kWhNm3
Gas Transportation - Monthly report
January 2021
(Related GCV expressed in kWh/Nm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio
1 | 11.3509 | 11.5327 | 11.3687 | 11.7043 | 11.271 | 11.7002 | 11.5815 | 12.1191 | 12.0037 | 11.4616 | 11.3687 | 11.3223 | 11.2891 | 11.7002 | 11.3509
2 | 11.3425 | 11.5754 | 11.3687 | 11.7104 | 11.3571 | 11.7181 | 11.5827 | 12.1191 | 12.0234 | 11.4827 | 11.3687 | 11.3571 | 11.3344 | 11.7181 | 11.3425
3 | 11.3408 | 11.5515 | 11.3687 | 11.7131 | 11.2965 | 11.7195 | 11.5841 | 12.1191 | 12.0283 | 11.4954 | 11.3687 | 11.2965 | 11.339 | 11.7195 | 11.3408
4 | 11.3365 | 11.5396 | 11.3687 | 11.717 | 11.3759 | 11.7216 | 11.5971 | 12.1212 | 12.0254 | 11.4774 | 11.3687 | 11.3759 | 11.296 | 11.7216 | 11.3365
5 | 11.3269 | 11.5453 | 11.3624 | 11.7226 | 11.3947 | 11.7217 | 11.6013 | 12.1201 | 12.0488 | 11.4606 | 11.3624 | 11.3947 | 11.2142 | 11.7217 | 11.3269
6 | 11.3226 | 11.54 | 11.3614 | 11.7095 | 11.4257 | 11.7207 | 11.5907 | 12.1212 | 11.999 | 11.4141 | 11.3614 | 11.4252 | 11.2895 | 11.7207 | 11.3226
7 | 11.3261 | 11.5302 | 11.3614 | 11.6885 | 11.2934 | 11.7159 | 11.581 | 12.1222 | 10.876 | 11.3983 | 11.3614 | 11.4313 | 11.2784 | 11.7159 | 11.3261
8 | 11.3247 | 11.5384 | 11.3624 | 11.662 | 11.2877 | 11.721 | 11.586 | 12.1191 | 10.975 | 11.2938 | 11.3624 | 11.2877 | 11.3292 | 11.721 | 11.3247
9 | 11.3228 | 11.5384 | 11.3624 | 11.6605 | 11.2594 | 11.7189 | 11.5837 | 12.1222 | 11.0479 | 11.3994 | 11.3624 | 11.3069 | 11.3692 | 11.7189 | 11.3228
10 | 11.3226 | 11.55 | 11.3624 | 11.6826 | 11.3178 | 11.7104 | 11.5861 | 12.1222 | 11.1563 | 11.4289 | 11.3624 | 11.3178 | 11.3101 | 11.7104 | 11.3226
11 | 11.3209 | 11.5167 | 11.324 | 11.7222 | 11.2772 | 11.7087 | 11.5971 | 12.1212 | 11.4822 | 11.373 | 11.324 | 11.2929 | 11.3519 | 11.7087 | 11.3209
12 | 11.3178 | 11.5186 | 11.3093 | 11.7467 | 11.3079 | 11.7135 | 11.599 | 12.023 | 11.5598 | 11.3234 | 11.3093 | 11.3079 | 11.3535 | 11.7135 | 11.3178
13 | 11.3156 | 11.5099 | 11.3074 | 11.7273 | 11.3013 | 11.7181 | 11.5882 | 12.118 | 11.3205 | 11.3624 | 11.3074 | 11.3013 | 11.3537 | 11.7181 | 11.3156
14 | 11.3164 | 11.4981 | 11.3128 | 11.7293 | 11.2969 | 11.7185 | 11.5909 | 12.1159 | 11.1776 | 11.3645 | 11.3128 | 11.2969 | 11.3286 | 11.7185 | 11.3164
15 | 11.3147 | 11.493 | 11.3139 | 11.7331 | 11.3088 | 11.7203 | 11.5959 | 12.023 | 11.0286 | 11.3075 | 11.3139 | 11.3088 | 11.3231 | 11.7203 | 11.3147
16 | 11.3134 | 11.4896 | 11.3139 | 11.7631 | 11.3148 | 11.7173 | 11.6006 | 12.1138 | 11.0324 | 11.4194 | 11.3139 | 11.308 | 11.3152 | 11.7173 | 11.3134
17 | 11.3156 | 11.4884 | 11.3139 | 11.7621 | 11.3053 | 11.7194 | 11.6059 | 12.1138 | 11.0491 | 11.4247 | 11.3139 | 11.3053 | 11.3136 | 11.7194 | 11.3156
18 | 11.3231 | 11.4873 | 11.3139 | 11.7761 | 11.2895 | 11.7181 | 11.6058 | 12.1148 | 11.0567 | 11.4352 | 11.3139 | 11.2991 | 11.3366 | 11.7181 | 11.3231
19 | 11.3209 | 11.4938 | 11.3139 | 11.7896 | 11.2551 | 11.7179 | 11.5958 | 11.6083 | 11.0584 | 11.3846 | 11.3139 | 11.2551 | 11.3216 | 11.7179 | 11.3209
20 | 11.3247 | 11.4829 | 11.3128 | 11.7922 | 11.2702 | 11.7168 | 11.5903 | 12.023 | 11.0201 | 11.2759 | 11.3128 | 11.2702 | 11.274 | 11.7168 | 11.3247
21 | 11.3278 | 11.4718 | 11.3128 | 11.7796 | 11.3055 | 11.7169 | 11.5882 | 12.1096 | 10.9811 | 11.3856 | 11.3128 | 11.3055 | 11.2451 | 11.7169 | 11.3278
22 | 11.3291 | 11.4822 | 11.3118 | 11.7621 | 11.3045 | 11.7148 | 11.586 | 12.1064 | 10.9562 | 11.4226 | 11.3118 | 11.2982 | 11.2052 | 11.7148 | 11.3291
23 | 11.3434 | 11.467 | 11.3118 | 11.7462 | 11.3606 | 11.7118 | 11.5768 | 12.023 | 10.951 | 11.3909 | 11.3118 | 11.3606 | 11.1879 | 11.7118 | 11.3434
24 | 11.3466 | 11.4687 | 11.3118 | 11.7399 | 11.4271 | 11.7123 | 11.5818 | 12.023 | 10.951 | 11.4025 | 11.3118 | 11.4271 | 11.198 | 11.7123 | 11.3466
25 | 11.337 | 11.466 | 11.3118 | 11.7447 | 11.5258 | 11.7142 | 11.5945 | 12.1096 | 10.951 | 11.4183 | 11.3118 | 11.5258 | 11.2806 | 11.7142 | 11.337
26 | 11.3306 | 11.4775 | 11.3139 | 11.7301 | 11.5007 | 11.7084 | 11.6027 | 12.1148 | 10.9729 | 11.4468 | 11.3139 | 11.5007 | 11.3476 | 11.7084 | 11.3306
27 | 11.3289 | 11.4813 | 11.3139 | 11.7451 | 11.4809 | 11.7117 | 11.6022 | 12.1148 | 10.9729 | 11.4511 | 11.3139 | 11.4815 | 11.3541 | 11.7117 | 11.3289
28 | 11.322 | 11.4916 | 11.3128 | 11.7506 | 11.3924 | 11.7128 | 11.5965 | 12.023 | 11.0034 | 11.43 | 11.3128 | 11.4685 | 11.3483 | 11.7128 | 11.322
29 | 11.325 | 11.5542 | 11.3128 | 11.7433 | 11.4643 | 11.7017 | 11.5827 | 12.1127 | 10.9955 | 11.4078 | 11.3128 | 11.4643 | 11.2922 | 11.7017 | 11.325
30 | 11.3313 | 11.5456 | 11.3128 | 11.7529 | 11.4416 | 11.6804 | 11.5898 | 12.023 | 12.0943 | 11.4036 | 11.3128 | 11.4416 | 11.2576 | 11.6804 | 11.3313
31 | 11.3343 | 11.5378 | 11.3128 | 11.7397 | 11.4822 | 11.682 | 11.5913 | 12.1159 | 12.0453 | 11.3877 | 11.3128 | 11.4823 | 11.2543 | 11.682 | 11.3343

## GCV kWhSm3
Gas Transportation - Monthly report
January 2021
(Related GCV expressed in kWh/Sm3)
_________________________________________________________________________________________________
DD | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio
1 | 10.7561 | 10.9283 | 10.773 | 11.091 | 10.6804 | 11.0871 | 10.9746 | 11.484 | 11.3747 | 10.861 | 10.773 | 10.729 | 10.6975 | 11.0871 | 10.7561
2 | 10.7481 | 10.9689 | 10.773 | 11.0968 | 10.7619 | 11.1041 | 10.9757 | 11.484 | 11.3933 | 10.881 | 10.773 | 10.7619 | 10.7405 | 11.1041 | 10.7481
3 | 10.7466 | 10.9461 | 10.773 | 11.0993 | 10.7045 | 11.1054 | 10.977 | 11.484 | 11.398 | 10.893 | 10.773 | 10.7045 | 10.7448 | 11.1054 | 10.7466
4 | 10.7425 | 10.9349 | 10.773 | 11.103 | 10.7798 | 11.1074 | 10.9894 | 11.486 | 11.3953 | 10.876 | 10.773 | 10.7798 | 10.704 | 11.1074 | 10.7425
5 | 10.7333 | 10.9403 | 10.767 | 11.1083 | 10.7976 | 11.1075 | 10.9934 | 11.485 | 11.4175 | 10.86 | 10.767 | 10.7975 | 10.6266 | 11.1075 | 10.7333
6 | 10.7293 | 10.9353 | 10.766 | 11.0959 | 10.827 | 11.1065 | 10.9834 | 11.486 | 11.3702 | 10.816 | 10.766 | 10.8265 | 10.6979 | 11.1065 | 10.7293
7 | 10.7326 | 10.926 | 10.766 | 11.076 | 10.7016 | 11.102 | 10.9742 | 11.487 | 10.3061 | 10.801 | 10.766 | 10.8323 | 10.6874 | 11.102 | 10.7326
8 | 10.7313 | 10.9338 | 10.767 | 11.0509 | 10.6962 | 11.1068 | 10.9789 | 11.484 | 10.3999 | 10.702 | 10.767 | 10.6962 | 10.7356 | 11.1068 | 10.7313
9 | 10.7294 | 10.9338 | 10.767 | 11.0495 | 10.6694 | 11.1048 | 10.9767 | 11.487 | 10.469 | 10.802 | 10.767 | 10.7144 | 10.7734 | 11.1048 | 10.7294
10 | 10.7293 | 10.9447 | 10.767 | 11.0704 | 10.7247 | 11.0967 | 10.9789 | 11.487 | 10.5716 | 10.83 | 10.767 | 10.7247 | 10.7174 | 11.0967 | 10.7293
11 | 10.7277 | 10.9132 | 10.7306 | 11.108 | 10.6862 | 11.0951 | 10.9894 | 11.486 | 10.8805 | 10.777 | 10.7306 | 10.7011 | 10.757 | 11.0951 | 10.7277
12 | 10.7247 | 10.915 | 10.7167 | 11.1311 | 10.7153 | 11.0997 | 10.9912 | 11.393 | 10.954 | 10.73 | 10.7167 | 10.7153 | 10.7586 | 11.0997 | 10.7247
13 | 10.7226 | 10.9068 | 10.7149 | 11.1128 | 10.7091 | 11.1041 | 10.9809 | 11.483 | 10.7273 | 10.767 | 10.7149 | 10.7091 | 10.7587 | 11.1041 | 10.7226
14 | 10.7234 | 10.8955 | 10.72 | 11.1147 | 10.7049 | 11.1044 | 10.9835 | 11.481 | 10.5919 | 10.769 | 10.72 | 10.7049 | 10.735 | 11.1044 | 10.7234
15 | 10.7218 | 10.8908 | 10.721 | 11.1182 | 10.7162 | 11.1061 | 10.9882 | 11.393 | 10.4507 | 10.715 | 10.721 | 10.7162 | 10.7298 | 11.1061 | 10.7218
16 | 10.7205 | 10.8875 | 10.721 | 11.1467 | 10.7218 | 11.1033 | 10.9927 | 11.479 | 10.4543 | 10.821 | 10.721 | 10.7154 | 10.7222 | 11.1033 | 10.7205
17 | 10.7227 | 10.8864 | 10.721 | 11.1457 | 10.7129 | 11.1053 | 10.9977 | 11.479 | 10.4701 | 10.826 | 10.721 | 10.7129 | 10.7207 | 11.1053 | 10.7227
18 | 10.7297 | 10.8853 | 10.721 | 11.159 | 10.6979 | 11.1041 | 10.9977 | 11.48 | 10.4773 | 10.836 | 10.721 | 10.707 | 10.7425 | 11.1041 | 10.7297
19 | 10.7276 | 10.8915 | 10.721 | 11.1718 | 10.6653 | 11.1039 | 10.9881 | 11 | 10.479 | 10.788 | 10.721 | 10.6653 | 10.7284 | 11.1039 | 10.7276
20 | 10.7313 | 10.8811 | 10.72 | 11.1743 | 10.6796 | 11.1028 | 10.9829 | 11.393 | 10.4426 | 10.685 | 10.72 | 10.6796 | 10.6832 | 11.1028 | 10.7313
21 | 10.7342 | 10.8706 | 10.72 | 11.1624 | 10.7131 | 11.1029 | 10.9809 | 11.475 | 10.4057 | 10.789 | 10.72 | 10.7131 | 10.6558 | 11.1029 | 10.7342
22 | 10.7354 | 10.8805 | 10.719 | 11.1457 | 10.7121 | 11.1009 | 10.9788 | 11.472 | 10.3821 | 10.824 | 10.719 | 10.7062 | 10.618 | 11.1009 | 10.7354
23 | 10.749 | 10.8661 | 10.719 | 11.1307 | 10.7653 | 11.0981 | 10.9702 | 11.393 | 10.3771 | 10.794 | 10.719 | 10.7653 | 10.6016 | 11.0981 | 10.749
24 | 10.7521 | 10.8677 | 10.719 | 11.1247 | 10.8283 | 11.0985 | 10.9749 | 11.393 | 10.3771 | 10.805 | 10.719 | 10.8283 | 10.6112 | 11.0985 | 10.7521
25 | 10.7429 | 10.8651 | 10.719 | 11.1293 | 10.9218 | 11.1004 | 10.9869 | 11.475 | 10.3771 | 10.82 | 10.719 | 10.9218 | 10.6895 | 11.1004 | 10.7429
26 | 10.7369 | 10.876 | 10.721 | 11.1154 | 10.898 | 11.0948 | 10.9947 | 11.48 | 10.3979 | 10.847 | 10.721 | 10.898 | 10.753 | 11.0948 | 10.7369
27 | 10.7352 | 10.8796 | 10.721 | 11.1296 | 10.8792 | 11.098 | 10.9942 | 11.48 | 10.3979 | 10.851 | 10.721 | 10.8798 | 10.7591 | 11.098 | 10.7352
28 | 10.7287 | 10.8895 | 10.72 | 11.1348 | 10.7954 | 11.099 | 10.9888 | 11.393 | 10.4268 | 10.831 | 10.72 | 10.8675 | 10.7537 | 11.099 | 10.7287
29 | 10.7316 | 10.9488 | 10.72 | 11.1279 | 10.8636 | 11.0886 | 10.9757 | 11.478 | 10.4193 | 10.81 | 10.72 | 10.8636 | 10.7005 | 11.0886 | 10.7316
30 | 10.7375 | 10.9406 | 10.72 | 11.137 | 10.842 | 11.0683 | 10.9825 | 11.393 | 11.4605 | 10.806 | 10.72 | 10.842 | 10.6677 | 11.0683 | 10.7375
31 | 10.7404 | 10.9332 | 10.72 | 11.1245 | 10.8806 | 11.0699 | 10.9839 | 11.481 | 11.4141 | 10.791 | 10.72 | 10.8806 | 10.6646 | 11.0699 | 10.7404