## kWh
Gas Nomination - Monthly report
Month: June 2020
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 1390.643 | 540.9969 | 141.8045 | 0 | 235.7215 | 167.1223 | 142.675 | 80.4048 | 81.918 | 111.4188 | -701.414 | -620.9535 | -69.8087 | -10.6519 | 800.6478 | 1034.5329 | 294.0687 | 424.6288 | 315.8354 | -233.8851 | 1.0427 | 0 | 0 | 0.85278 | 0 | 20.4788 | -256.2593 | 800.6478
2 | 1525.7025 | 809.514 | 8.9814 | 0 | 134.5287 | 140.7223 | 230.475 | 119.5631 | 81.918 | 111.3583 | -687.9727 | -602.9982 | -74.2626 | -10.7119 | 949.0881 | 984.593 | 270.347 | 447.9296 | 266.3165 | -35.5049 | 1.499 | 0 | 0 | 0.84278 | 0 | 15.6613 | -53.508 | 949.0881
3 | 1606.9133 | 806.0327 | 8.9804 | 0 | 236.449 | 140.7223 | 230.475 | 102.336 | 81.918 | 111.2078 | -692.2093 | -617.1559 | -64.5061 | -10.5473 | 1025.9118 | 1155.4802 | 331.7883 | 472.2298 | 351.4621 | -129.5684 | 1.5256 | 0 | 0 | 0.83778 | 0 | 24.0045 | -155.9363 | 1025.9118
4 | 1583.1303 | 774.1025 | 8.9741 | 0 | 235.9123 | 140.7223 | 230.475 | 111.026 | 81.918 | 110.869 | -683.3546 | -604.4559 | -68.3513 | -10.5473 | 1010.6446 | 1159.7854 | 342.1795 | 471.1321 | 346.4739 | -149.1408 | 1.5198 | 0 | 0 | 0.82278 | 0 | 23.9264 | -175.4098 | 1010.6446
5 | 1625.0305 | 774.1025 | 8.9744 | 0 | 235.8363 | 140.7223 | 230.475 | 155 | 79.92 | 110.9896 | -641.5469 | -562.4265 | -68.2867 | -10.8337 | 1094.4732 | 1150.3864 | 340.8671 | 463.2394 | 346.2798 | -55.9132 | 2.1419 | 0 | 0 | 0.465 | 0 | 25.3726 | -83.8927 | 1094.4732
6 | 1357.4355 | 764.7805 | 19.8738 | 0 | 134.2148 | 140.7223 | 201.94 | 0 | 95.904 | 111.1307 | -694.4478 | -623.8016 | -60.4726 | -10.1737 | 774.1183 | 934.1552 | 297.5519 | 378.204 | 258.3993 | -160.0369 | 1.7522 | 0 | 0 | 0.42 | 0 | 20.1373 | -182.3464 | 774.1183
7 | 1400.2863 | 736.2837 | 19.8601 | 0 | 123.8775 | 167.1223 | 155.845 | 95 | 102.2976 | 111.2663 | -727.2603 | -647.8456 | -68.581 | -10.8337 | 784.2923 | 870.9495 | 285.3151 | 347.8147 | 237.8197 | -86.6572 | 1.893 | 0 | 0 | 0.72278 | 0 | 16.0201 | -105.2931 | 784.2923
8 | 1625.7271 | 741.0584 | 19.8725 | 0 | 235.9045 | 147.9223 | 230.475 | 145 | 105.4944 | 110.6512 | -735.1807 | -647.2628 | -77.1888 | -10.7291 | 1001.1977 | 1145.5585 | 364.3199 | 435.2384 | 346.0001 | -144.3608 | 1.9965 | 0 | 0 | 0.42 | 0 | 23.8184 | -170.5957 | 1001.1977
9 | 121.8006 | 0 | 0 | 0 | 0 | 0 | 0 | 121.8006 | 0 | 110.7097 | -687.668 | -606.7255 | -70.3352 | -10.6073 | -455.1577 | 1204.5501 | 365.275 | 489.1818 | 350.0932 | -1659.7078 | 1.8511 | 0 | 0 | 0.425 | 0 | 23.0954 | -1685.0792 | -455.1577
10 | 1595.6756 | 779.8372 | 19.8796 | 0 | 235.8996 | 77.7223 | 240.3525 | 121.8006 | 120.1837 | 110.7313 | -677.058 | -606.1721 | -60.1568 | -10.7291 | 1029.3489 | 1172.9419 | 352.9774 | 502.6793 | 317.2853 | -143.593 | 1.4488 | 0 | 0 | 0.43 | 0 | 22.2038 | -167.6756 | 1029.3489
11 | 1650.6179 | 793.5172 | 19.8836 | 0 | 236.0077 | 140.7223 | 240.3525 | 114.7679 | 105.3665 | 110.4555 | -696.0467 | -614.5594 | -70.7582 | -10.7291 | 1065.0267 | 1202.7179 | 370.0917 | 482.6338 | 349.9924 | -137.6912 | 1.1644 | 0 | 0 | 0.422 | 0 | 23.8044 | -163.082 | 1065.0267
12 | 1602.3815 | 793.5172 | 19.8603 | 0 | 235.844 | 140.7223 | 240.3525 | 111.9933 | 60.0918 | 110.4626 | -691.7743 | -611.2049 | -69.8403 | -10.7291 | 1021.0698 | 1212.1659 | 372.9714 | 493.8397 | 345.3549 | -191.0961 | 1.5901 | 0 | 0 | 0.4 | 0 | 24.3148 | -217.401 | 1021.0698
13 | 1539.984 | 762.0771 | 19.8647 | 0 | 135.4815 | 140.7223 | 240.3525 | 122.9486 | 118.5373 | 110.3772 | -695.448 | -613.3109 | -72.0852 | -10.0519 | 954.9133 | 1008.2459 | 316.5306 | 434.4624 | 257.2529 | -53.3326 | 1.0895 | 0 | 0 | 0.37 | 0 | 19.0087 | -73.8008 | 954.9133
14 | 1465.816 | 737.0602 | 19.8901 | 0 | 126.326 | 140.7223 | 228.28 | 95 | 118.5373 | 110.7159 | -708.4993 | -617.3862 | -80.2795 | -10.8337 | 868.0326 | 894.5158 | 306.3558 | 348.766 | 239.394 | -26.4831 | 1.027 | 0 | 0 | 0.68611 | 0 | 15.0035 | -43.1997 | 868.0326
15 | 1713.8299 | 794.4564 | 19.8901 | 0 | 237.6712 | 147.9223 | 240.3525 | 155 | 118.5373 | 111.0176 | -694.7659 | -615.2742 | -68.8843 | -10.6073 | 1130.0816 | 1236.4569 | 382.5245 | 500.5094 | 353.423 | -106.3753 | 1.3931 | 0 | 0 | 0.74611 | 0 | 23.4724 | -131.9868 | 1130.0816
16 | 1503.2084 | 611.8116 | 19.8901 | 0 | 238.391 | 140.7223 | 240.3525 | 138.4426 | 113.5983 | 110.9596 | -653.948 | -579.5819 | -63.7587 | -10.6073 | 960.22 | 1212.221 | 379.204 | 483.136 | 349.8811 | -252.0009 | 1.4098 | 0 | 0 | 0.75111 | 0 | 22.8183 | -276.9802 | 960.22
17 | 1475.4767 | 590.8576 | 19.9514 | 0 | 235.9491 | 140.7223 | 240.3525 | 134.0455 | 113.5983 | 111.0146 | -531.1892 | -471.4185 | -49.1633 | -10.6073 | 1055.3021 | 1251.9451 | 373.9581 | 527.536 | 350.4511 | -196.643 | 1.4043 | 0 | 0 | 0.75611 | 0 | 23.8725 | -222.6759 | 1055.3021
18 | 1541.0851 | 662.5482 | 19.9272 | 0 | 235.4162 | 140.7223 | 240.3525 | 130.4504 | 111.6682 | 109.8357 | -481.7219 | -439.4575 | -33.8523 | -8.4121 | 1169.1989 | 1283.8697 | 378.0307 | 550.3362 | 355.5027 | -114.6708 | 1.3987 | 0 | 0 | 0.75211 | 0 | 24.9508 | -141.7724 | 1169.1989
19 | 1601.2745 | 844.1217 | 19.9641 | 0 | 133.6582 | 140.7223 | 235.9625 | 115.1775 | 111.6682 | 109.4834 | -646.2896 | -585.2417 | -51.1906 | -9.8573 | 1064.4683 | 1234.6566 | 366.2552 | 537.174 | 331.2274 | -170.1883 | 1.5373 | 0 | 0 | 0.73611 | 0 | 22.0527 | -194.5144 | 1064.4683
20 | 1523.0354 | 747.5674 | 19.936 | 0 | 123.4354 | 159.9223 | 240.3525 | 120.1535 | 111.6682 | 111.9083 | -658.0285 | -585.5412 | -62.3136 | -10.1737 | 976.9152 | 970.6494 | 314.8554 | 405.8095 | 249.9845 | 6.2658 | 1.0446 | 0 | 0 | 0.70611 | 0 | 16.3123 | -11.7972 | 976.9152
21 | 1532.821 | 750.8901 | 19.9502 | 0 | 122.0377 | 147.9223 | 240.3525 | 140 | 111.6682 | 112.0686 | -711.4842 | -620.7868 | -78.8737 | -11.8237 | 933.4054 | 907.5979 | 299.3448 | 364.8859 | 243.3673 | 25.8075 | 1.0006 | 0 | 0 | 0.69611 | 0 | 15.8178 | 8.2929 | 933.4054
22 | 1670.5957 | 812.7541 | 130.896 | 0 | 233.4613 | 0 | 240.3525 | 145 | 108.1318 | 112.1249 | -678.6156 | -600.4713 | -67.4152 | -10.7291 | 1104.1049 | 1222.6243 | 377.2807 | 491.9402 | 353.4035 | -118.5194 | 1.3341 | 0 | 0 | 0.74611 | 0 | 23.9546 | -144.5542 | 1104.1049
23 | 1736.0134 | 779.5996 | 115.2179 | 0 | 233.6064 | 140.7223 | 240.3525 | 118.3829 | 108.1318 | 111.0894 | -661.134 | -589.0682 | -61.3367 | -10.7291 | 1185.9687 | 1222.9002 | 379.0982 | 499.7525 | 344.0495 | -36.9315 | 1.3708 | 0 | 0 | 0.75111 | 0 | 24.4373 | -63.4907 | 1185.9687
24 | 1646.5512 | 833.5188 | 115.4891 | 0 | 234.0869 | 0 | 240.3525 | 114.9723 | 108.1318 | 111.0735 | -665.7894 | -594.17 | -60.8903 | -10.7291 | 1091.8353 | 1262.6828 | 382.0318 | 528.3082 | 352.3428 | -170.8475 | 1.3653 | 0 | 0 | 0.74811 | 0 | 25.1822 | -198.1431 | 1091.8353
25 | 1695.6315 | 838.5868 | 20.0054 | 0 | 233.7804 | 140.7223 | 240.3525 | 109.1372 | 113.0468 | 111.1075 | -670.0261 | -601.6472 | -57.6497 | -10.7291 | 1136.7129 | 1299.6653 | 380.9376 | 567.633 | 351.0947 | -162.9524 | 1.3597 | 0 | 0 | 0.74611 | 0 | 24.891 | -189.9492 | 1136.7129
26 | 736.254 | 227.7944 | 0 | 0 | 56.3795 | 0 | 240.3525 | 100.6108 | 111.1168 | 10.3236 | -594.5051 | -594.5051 | 0 | 0 | 152.0725 | 788.2511 | 201.5082 | 343.7133 | 243.0295 | -636.1785 | 0.72 | 0 | 0 | 0.73611 | 0 | 15.6145 | -653.2491 | 152.0725
27 | 1625.6985 | 826.9148 | 19.9704 | 0 | 235.5819 | 140.7223 | 240.3525 | 51.0398 | 111.1168 | 111.0485 | -613.3299 | -537.0351 | -66.1212 | -10.1737 | 1123.417 | 1035.0366 | 312.5129 | 474.7317 | 247.792 | 88.3804 | 0.95478 | 0 | 0 | 0.70111 | 0 | 16.1289 | 70.5956 | 1123.417
28 | 1621.396 | 764.0524 | 87.3198 | 0 | 235.5441 | 147.9223 | 240.3525 | 65.6854 | 80.5194 | 111.5288 | -687.829 | -606.106 | -69.8994 | -11.8237 | 1045.0957 | 1004.027 | 303.2859 | 459.3307 | 241.4104 | 41.0687 | 0.92134 | 0 | 0 | 0.36 | 0 | 15.4493 | 24.3381 | 1045.0957
29 | 1868.4144 | 864.9491 | 120.0007 | 0 | 237.7539 | 147.9223 | 287.2688 | 130 | 80.5194 | 111.6695 | -685.1569 | -610.2697 | -64.0535 | -10.8337 | 1294.927 | 1318.0576 | 374.5735 | 601.2987 | 342.1855 | -23.1307 | 0.90813 | 0 | 0 | 0.72611 | 0 | 23.9434 | -48.7083 | 1294.927
30 | 1695.3354 | 774.7252 | 19.8901 | 0 | 237.2095 | 140.7223 | 287.2688 | 155 | 80.5194 | 110.7837 | -57.4809 | 0 | -46.6472 | -10.8337 | 1748.6382 | 1284.3072 | 378.5709 | 568.9817 | 336.7546 | 464.331 | 1.189 | 0 | 0 | 0.71611 | 0 | 23.9931 | 438.4328 | 1748.6382
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Nomination - Monthly report
Month: June 2020
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 120.6087 | 47.3973 | 12.3211 | 0 | 20.2151 | 14.5204 | 12.3228 | 6.8819 | 6.9501 | 9.9861 | -60.9892 | -53.7778 | -6.2567 | -0.95469 | 69.6056 | 92.7215 | 26.3563 | 38.058 | 28.3072 | -23.1159 | 0.090604 | 0 | 0 | 0.077313 | 0 | 1.8354 | -25.1192 | 69.6056
2 | 132.8243 | 71.2101 | 0.78092 | 0 | 11.5337 | 12.2167 | 19.9044 | 10.2293 | 6.9491 | 9.9806 | -59.9228 | -52.3069 | -6.6559 | -0.96007 | 82.8821 | 88.2456 | 24.2302 | 40.1463 | 23.869 | -5.3635 | 0.1304 | 0 | 0 | 0.076426 | 0 | 1.4037 | -6.974 | 82.8821
3 | 139.9223 | 70.9522 | 0.78081 | 0 | 20.2878 | 12.2173 | 19.8947 | 8.8609 | 6.9287 | 9.9672 | -60.1931 | -53.4663 | -5.7814 | -0.94532 | 89.6964 | 103.5616 | 29.737 | 42.3243 | 31.5003 | -13.8652 | 0.13263 | 0 | 0 | 0.075973 | 0 | 2.1514 | -16.2252 | 89.6964
4 | 137.8233 | 68.2176 | 0.78024 | 0 | 20.2443 | 12.281 | 19.8889 | 9.4909 | 6.9203 | 9.9368 | -59.5802 | -52.5087 | -6.1261 | -0.94532 | 88.1799 | 103.9474 | 30.6683 | 42.2259 | 31.0532 | -15.7675 | 0.1324 | 0 | 0 | 0.074571 | 0 | 2.1444 | -18.1189 | 88.1799
5 | 141.6838 | 68.2333 | 0.78079 | 0 | 20.2331 | 12.3436 | 19.8814 | 13.4208 | 6.7909 | 9.9476 | -55.848 | -48.7567 | -6.1203 | -0.97098 | 95.7835 | 103.105 | 30.5507 | 41.5185 | 31.0358 | -7.3216 | 0.18769 | 0 | 0 | 0.042138 | 0 | 2.2741 | -9.8255 | 95.7835
6 | 118.5437 | 67.3523 | 1.728 | 0 | 11.5166 | 12.3069 | 17.4253 | 0 | 8.2146 | 9.9602 | -60.4819 | -54.1502 | -5.4199 | -0.91183 | 68.022 | 83.725 | 26.6685 | 33.8971 | 23.1594 | -15.703 | 0.15413 | 0 | 0 | 0.038064 | 0 | 1.8048 | -17.7 | 68.022
7 | 122.2383 | 64.9024 | 1.7264 | 0 | 10.6411 | 14.5164 | 13.4555 | 8.2257 | 8.7708 | 9.9724 | -63.5976 | -56.4799 | -6.1467 | -0.97098 | 68.6131 | 78.0601 | 25.5718 | 31.1734 | 21.3149 | -9.447 | 0.16497 | 0 | 0 | 0.065522 | 0 | 1.4358 | -11.1133 | 68.6131
8 | 141.2853 | 65.2626 | 1.7273 | 0 | 20.2443 | 12.8523 | 19.8746 | 12.3094 | 9.0149 | 9.9173 | -64.4526 | -56.5728 | -6.9182 | -0.96161 | 86.75 | 102.6723 | 32.6527 | 39.0089 | 31.0108 | -15.9223 | 0.17482 | 0 | 0 | 0.038082 | 0 | 2.1348 | -18.27 | 86.75
9 | 10.3373 | 0 | 0 | 0 | 0 | 0 | 0 | 10.3373 | 0 | 9.9225 | -60.0895 | -52.8349 | -6.3039 | -0.9507 | -39.8297 | 107.9595 | 32.7383 | 43.8436 | 31.3776 | -147.7892 | 0.16281 | 0 | 0 | 0.038517 | 0 | 2.07 | -150.0605 | -39.8297
10 | 138.4651 | 68.6586 | 1.7296 | 0 | 20.2295 | 6.7972 | 20.7336 | 10.3354 | 9.9813 | 9.9245 | -59.16 | -52.8068 | -5.3916 | -0.96161 | 89.2296 | 105.1266 | 31.6361 | 45.0533 | 28.4371 | -15.897 | 0.12684 | 0 | 0 | 0.03897 | 0 | 1.99 | -18.0529 | 89.2296
11 | 143.3641 | 69.9345 | 1.7295 | 0 | 20.2426 | 12.2676 | 20.7453 | 9.7336 | 8.7111 | 9.8997 | -60.8827 | -53.5793 | -6.3418 | -0.96161 | 92.3811 | 107.7953 | 33.17 | 43.2567 | 31.3686 | -15.4142 | 0.10232 | 0 | 0 | 0.038241 | 0 | 2.1335 | -17.6882 | 92.3811
12 | 139.4691 | 69.954 | 1.7253 | 0 | 20.1793 | 12.2203 | 20.7187 | 9.6971 | 4.9745 | 9.9004 | -60.4041 | -53.1829 | -6.2595 | -0.96161 | 88.9654 | 108.6421 | 33.4281 | 44.2611 | 30.9529 | -19.6767 | 0.14015 | 0 | 0 | 0.036247 | 0 | 2.1792 | -22.0323 | 88.9654
13 | 133.8574 | 67.1698 | 1.7257 | 0 | 11.5921 | 12.2203 | 20.7331 | 10.6456 | 9.7709 | 9.8927 | -60.7659 | -53.4042 | -6.4607 | -0.90092 | 82.9843 | 90.3655 | 28.3695 | 38.9393 | 23.0567 | -7.3812 | 0.095512 | 0 | 0 | 0.033532 | 0 | 1.7037 | -9.214 | 82.9843
14 | 127.4045 | 64.9527 | 1.7279 | 0 | 10.8087 | 12.2203 | 19.6796 | 8.2257 | 9.7896 | 9.9231 | -61.9576 | -53.7915 | -7.1952 | -0.97098 | 75.37 | 80.1723 | 27.4576 | 31.2586 | 21.456 | -4.8023 | 0.089715 | 0 | 0 | 0.062186 | 0 | 1.3447 | -6.2989 | 75.37
15 | 148.908 | 69.9262 | 1.7226 | 0 | 20.3761 | 12.889 | 20.734 | 13.4738 | 9.7864 | 9.9501 | -60.491 | -53.3664 | -6.1739 | -0.9507 | 98.3671 | 110.8192 | 34.2843 | 44.8589 | 31.676 | -12.4521 | 0.12228 | 0 | 0 | 0.067644 | 0 | 2.1037 | -14.7458 | 98.3671
16 | 130.4075 | 53.8202 | 1.7247 | 0 | 20.4324 | 12.2954 | 20.7487 | 12.0322 | 9.354 | 9.9449 | -57.0953 | -50.4302 | -5.7145 | -0.9507 | 83.2571 | 108.647 | 33.9867 | 43.3018 | 31.3586 | -25.3899 | 0.12357 | 0 | 0 | 0.068091 | 0 | 2.0451 | -27.6267 | 83.2571
17 | 128.0649 | 52.0349 | 1.7268 | 0 | 20.2299 | 12.2825 | 20.7384 | 11.6487 | 9.4038 | 9.9498 | -46.4534 | -41.0963 | -4.4063 | -0.9507 | 91.5614 | 112.2074 | 33.5165 | 47.2812 | 31.4097 | -20.646 | 0.12306 | 0 | 0 | 0.068531 | 0 | 2.1396 | -22.9772 | 91.5614
18 | 134.0328 | 58.3984 | 1.7271 | 0 | 20.1927 | 12.2842 | 20.7381 | 11.335 | 9.3573 | 9.8442 | -41.9663 | -38.1783 | -3.0341 | -0.75395 | 101.9107 | 115.0687 | 33.8815 | 49.3247 | 31.8624 | -13.1579 | 0.1221 | 0 | 0 | 0.068162 | 0 | 2.2363 | -15.5845 | 101.9107
19 | 139.6095 | 74.3459 | 1.7291 | 0 | 11.4478 | 12.2823 | 20.3714 | 10.0069 | 9.426 | 9.8126 | -56.3663 | -50.8948 | -4.588 | -0.88348 | 93.0558 | 110.6579 | 32.8261 | 48.145 | 29.6867 | -17.6021 | 0.13438 | 0 | 0 | 0.066712 | 0 | 1.9765 | -19.7797 | 93.0558
20 | 132.6118 | 65.8603 | 1.7319 | 0 | 10.5614 | 13.8877 | 20.7502 | 10.4036 | 9.4168 | 10.0299 | -57.6186 | -51.1218 | -5.5849 | -0.91183 | 85.0231 | 86.9958 | 28.2194 | 36.3713 | 22.4052 | -1.9727 | 0.090878 | 0 | 0 | 0.064017 | 0 | 1.462 | -3.5896 | 85.0231
21 | 133.6447 | 66.2269 | 1.7228 | 0 | 10.4349 | 12.9337 | 20.7421 | 12.2415 | 9.3428 | 10.0443 | -62.4722 | -54.3433 | -7.0692 | -1.0597 | 81.2168 | 81.3448 | 26.8292 | 32.7034 | 21.8121 | -0.12798 | 0.087722 | 0 | 0 | 0.063123 | 0 | 1.4177 | -1.6965 | 81.2168
22 | 145.5141 | 71.7032 | 11.2771 | 0 | 19.966 | 0 | 20.7301 | 12.7142 | 9.1234 | 10.0494 | -59.4823 | -52.4785 | -6.0422 | -0.96161 | 96.0812 | 109.5795 | 33.8143 | 44.0908 | 31.6743 | -13.4983 | 0.117 | 0 | 0 | 0.067657 | 0 | 2.147 | -15.8299 | 96.0812
23 | 150.9678 | 68.7574 | 9.9515 | 0 | 19.9922 | 12.3218 | 20.7534 | 10.2503 | 8.9412 | 9.9565 | -57.8197 | -51.3607 | -5.4974 | -0.96161 | 103.1047 | 109.6042 | 33.9772 | 44.791 | 30.8359 | -6.4995 | 0.12025 | 0 | 0 | 0.068091 | 0 | 2.1902 | -8.878 | 103.1047
24 | 143.3397 | 73.542 | 9.9746 | 0 | 20.0401 | 0 | 20.7929 | 10.0781 | 8.9121 | 9.9551 | -58.0031 | -51.5841 | -5.4574 | -0.96161 | 95.2917 | 113.1698 | 34.2401 | 47.3504 | 31.5792 | -17.878 | 0.11958 | 0 | 0 | 0.067799 | 0 | 2.257 | -20.3224 | 95.2917
25 | 147.7831 | 74.0305 | 1.7309 | 0 | 19.9845 | 12.3297 | 20.7788 | 9.5653 | 9.3634 | 9.9582 | -58.4329 | -52.3044 | -5.1669 | -0.96161 | 99.3083 | 116.4844 | 34.1421 | 50.8749 | 31.4674 | -17.1761 | 0.11934 | 0 | 0 | 0.067618 | 0 | 2.2309 | -19.5939 | 99.3083
26 | 63.9172 | 20.1134 | 0 | 0 | 4.836 | 0 | 20.7749 | 8.8167 | 9.3761 | 0.92527 | -51.8409 | -51.8409 | 0 | 0 | 13.0016 | 70.6481 | 18.0605 | 30.8058 | 21.7819 | -57.6466 | 0.063597 | 0 | 0 | 0.066712 | 0 | 1.3995 | -59.1763 | 13.0016
27 | 141.7374 | 72.9865 | 1.7349 | 0 | 20.1568 | 12.2203 | 20.7686 | 4.4193 | 9.451 | 9.9529 | -53.6336 | -46.7955 | -5.9262 | -0.91183 | 98.0568 | 92.7666 | 28.0094 | 42.5485 | 22.2087 | 5.2901 | 0.083066 | 0 | 0 | 0.063564 | 0 | 1.4456 | 3.6979 | 98.0568
28 | 141.2986 | 67.438 | 7.5856 | 0 | 20.1536 | 12.8456 | 20.741 | 5.6874 | 6.8473 | 9.9959 | -60.1693 | -52.8447 | -6.2648 | -1.0597 | 91.1253 | 89.9874 | 27.1824 | 41.1682 | 21.6368 | 1.1379 | 0.080157 | 0 | 0 | 0.032638 | 0 | 1.3847 | -0.35951 | 91.1253
29 | 162.8496 | 76.3435 | 10.4247 | 0 | 20.3427 | 12.8456 | 24.7896 | 11.2562 | 6.8473 | 10.0085 | -59.9196 | -53.2077 | -5.7409 | -0.97098 | 112.9386 | 118.1328 | 33.5717 | 53.8923 | 30.6689 | -5.1942 | 0.079007 | 0 | 0 | 0.065831 | 0 | 2.146 | -7.485 | 112.9386
30 | 147.6822 | 68.38 | 1.7279 | 0 | 20.2961 | 12.2203 | 24.7896 | 13.4208 | 6.8473 | 9.9291 | -5.1518 | 0 | -4.1808 | -0.97098 | 152.4595 | 115.1079 | 33.93 | 50.9958 | 30.1821 | 37.3516 | 0.10344 | 0 | 0 | 0.064924 | 0 | 2.1504 | 35.0328 | 152.4595
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Nomination - Monthly report
Month: June 2020
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 131.5309 | 51.169 | 13.4123 | 0 | 22.2952 | 15.8069 | 13.4946 | 7.6049 | 7.748 | 10.5383 | -66.3417 | -58.7315 | -6.6027 | -1.0075 | 75.7275 | 97.849 | 27.8138 | 40.1626 | 29.8726 | -22.1215 | 0.098619 | 0 | 0 | 0.080658 | 0 | 1.9369 | -24.2377 | 75.7275
2 | 144.3052 | 76.5661 | 0.84949 | 0 | 12.7241 | 13.3099 | 21.799 | 11.3086 | 7.748 | 10.5326 | -65.0704 | -57.0332 | -7.024 | -1.0132 | 89.7674 | 93.1255 | 25.5702 | 42.3664 | 25.189 | -3.3582 | 0.14178 | 0 | 0 | 0.079712 | 0 | 1.4813 | -5.0609 | 89.7674
3 | 151.9863 | 76.2368 | 0.84939 | 0 | 22.364 | 13.3099 | 21.799 | 9.6792 | 7.748 | 10.5183 | -65.4711 | -58.3723 | -6.1012 | -0.9976 | 97.0336 | 109.2885 | 31.3815 | 44.6648 | 33.2423 | -12.2549 | 0.1443 | 0 | 0 | 0.079239 | 0 | 2.2704 | -14.7489 | 97.0336
4 | 149.7368 | 73.2168 | 0.8488 | 0 | 22.3132 | 13.3099 | 21.799 | 10.5011 | 7.748 | 10.4863 | -64.6336 | -57.1711 | -6.4649 | -0.9976 | 95.5896 | 109.6957 | 32.3643 | 44.561 | 32.7705 | -14.1062 | 0.14375 | 0 | 0 | 0.077821 | 0 | 2.263 | -16.5907 | 95.5896
5 | 153.6999 | 73.2168 | 0.84882 | 0 | 22.306 | 13.3099 | 21.799 | 14.6603 | 7.5591 | 10.4977 | -60.6793 | -53.1959 | -6.4587 | -1.0247 | 103.5183 | 108.8067 | 32.2402 | 43.8145 | 32.7521 | -5.2884 | 0.20259 | 0 | 0 | 0.043981 | 0 | 2.3998 | -7.9348 | 103.5183
6 | 128.39 | 72.3351 | 1.8797 | 0 | 12.6944 | 13.3099 | 19.1 | 0 | 9.0709 | 10.511 | -65.6828 | -59.0009 | -5.7197 | -0.96225 | 73.2183 | 88.355 | 28.1433 | 35.7716 | 24.4401 | -15.1367 | 0.16573 | 0 | 0 | 0.039725 | 0 | 1.9046 | -17.2468 | 73.2183
7 | 132.443 | 69.6398 | 1.8784 | 0 | 11.7167 | 15.8069 | 14.7403 | 8.9854 | 9.6756 | 10.5239 | -68.7863 | -61.275 | -6.4866 | -1.0247 | 74.1805 | 82.3768 | 26.9859 | 32.8973 | 22.4936 | -8.1963 | 0.17905 | 0 | 0 | 0.068362 | 0 | 1.5152 | -9.9589 | 74.1805
8 | 153.7658 | 70.0914 | 1.8796 | 0 | 22.3125 | 13.9909 | 21.799 | 13.7145 | 9.978 | 10.4657 | -69.5354 | -61.2199 | -7.3007 | -1.0148 | 94.696 | 108.3501 | 34.4584 | 41.1661 | 32.7257 | -13.654 | 0.18884 | 0 | 0 | 0.039725 | 0 | 2.2528 | -16.1354 | 94.696
9 | 11.5202 | 0 | 0 | 0 | 0 | 0 | 0 | 11.5202 | 0 | 10.4712 | -65.0415 | -57.3858 | -6.6525 | -1.0033 | -43.0501 | 113.9297 | 34.5487 | 46.2682 | 33.1128 | -156.9798 | 0.17508 | 0 | 0 | 0.040198 | 0 | 2.1844 | -159.3795 | -43.0501
10 | 150.9234 | 73.7592 | 1.8803 | 0 | 22.312 | 7.3512 | 22.7332 | 11.5202 | 11.3673 | 10.4733 | -64.038 | -57.3334 | -5.6898 | -1.0148 | 97.3587 | 110.9401 | 33.3856 | 47.5448 | 30.0097 | -13.5814 | 0.13704 | 0 | 0 | 0.040671 | 0 | 2.1001 | -15.8592 | 97.3587
11 | 156.12 | 75.0531 | 1.8807 | 0 | 22.3223 | 13.3099 | 22.7332 | 10.8551 | 9.9659 | 10.4472 | -65.834 | -58.1267 | -6.6925 | -1.0148 | 100.7332 | 113.7564 | 35.0043 | 45.6488 | 33.1032 | -13.0232 | 0.11013 | 0 | 0 | 0.039914 | 0 | 2.2515 | -15.4247 | 100.7332
12 | 151.5577 | 75.0531 | 1.8784 | 0 | 22.3068 | 13.3099 | 22.7332 | 10.5926 | 5.6837 | 10.4479 | -65.4299 | -57.8095 | -6.6057 | -1.0148 | 96.5756 | 114.65 | 35.2767 | 46.7087 | 32.6646 | -18.0744 | 0.15039 | 0 | 0 | 0.037833 | 0 | 2.2998 | -20.5624 | 96.5756
13 | 145.656 | 72.0794 | 1.8789 | 0 | 12.8142 | 13.3099 | 22.7332 | 11.6288 | 11.2116 | 10.4398 | -65.7774 | -58.0086 | -6.818 | -0.95074 | 90.3183 | 95.3627 | 29.9383 | 41.0927 | 24.3317 | -5.0443 | 0.10305 | 0 | 0 | 0.034996 | 0 | 1.7979 | -6.9803 | 90.3183
14 | 138.6409 | 69.7132 | 1.8813 | 0 | 11.9483 | 13.3099 | 21.5914 | 8.9854 | 11.2116 | 10.4718 | -67.0118 | -58.3941 | -7.5931 | -1.0247 | 82.1009 | 84.6058 | 28.976 | 32.9873 | 22.6425 | -2.5048 | 0.097141 | 0 | 0 | 0.064894 | 0 | 1.4191 | -4.086 | 82.1009
15 | 162.0988 | 75.1419 | 1.8813 | 0 | 22.4796 | 13.9909 | 22.7332 | 14.6603 | 11.2116 | 10.5004 | -65.7129 | -58.1943 | -6.5153 | -1.0033 | 106.8863 | 116.9475 | 36.1802 | 47.3396 | 33.4277 | -10.0613 | 0.13176 | 0 | 0 | 0.070569 | 0 | 2.2201 | -12.4837 | 106.8863
16 | 142.1776 | 57.8668 | 1.8813 | 0 | 22.5477 | 13.3099 | 22.7332 | 13.0943 | 10.7444 | 10.4949 | -61.8522 | -54.8185 | -6.0305 | -1.0033 | 90.8203 | 114.6552 | 35.8662 | 45.6963 | 33.0927 | -23.8349 | 0.13335 | 0 | 0 | 0.071042 | 0 | 2.1582 | -26.1976 | 90.8203
17 | 139.5547 | 55.885 | 1.8871 | 0 | 22.3167 | 13.3099 | 22.7332 | 12.6784 | 10.7444 | 10.5001 | -50.2413 | -44.5881 | -4.65 | -1.0033 | 99.8134 | 118.4124 | 35.37 | 49.8958 | 33.1466 | -18.599 | 0.13282 | 0 | 0 | 0.071515 | 0 | 2.2579 | -21.0613 | 99.8134
18 | 145.7601 | 62.6656 | 1.8848 | 0 | 22.2663 | 13.3099 | 22.7332 | 12.3384 | 10.5619 | 10.3886 | -45.5626 | -41.5651 | -3.2018 | -0.79564 | 110.5861 | 121.432 | 35.7552 | 52.0523 | 33.6244 | -10.8459 | 0.13229 | 0 | 0 | 0.071137 | 0 | 2.3599 | -13.4092 | 110.5861
19 | 151.453 | 79.8394 | 1.8883 | 0 | 12.6418 | 13.3099 | 22.318 | 10.8938 | 10.5619 | 10.3552 | -61.1279 | -55.3538 | -4.8417 | -0.93233 | 100.6804 | 116.7772 | 34.6414 | 50.8074 | 31.3284 | -16.0969 | 0.1454 | 0 | 0 | 0.069623 | 0 | 2.0858 | -18.3977 | 100.6804
20 | 144.0529 | 70.707 | 1.8856 | 0 | 11.6749 | 15.1259 | 22.7332 | 11.3645 | 10.5619 | 10.5846 | -62.2382 | -55.3821 | -5.8938 | -0.96225 | 92.3993 | 91.8067 | 29.7799 | 38.3826 | 23.6442 | 0.59263 | 0.098799 | 0 | 0 | 0.066786 | 0 | 1.5429 | -1.1158 | 92.3993
21 | 144.9785 | 71.0213 | 1.8869 | 0 | 11.5427 | 13.9909 | 22.7332 | 13.2416 | 10.5619 | 10.5998 | -67.2941 | -58.7157 | -7.4601 | -1.1183 | 88.2841 | 85.8431 | 28.3129 | 34.5119 | 23.0183 | 2.4409 | 0.094642 | 0 | 0 | 0.06584 | 0 | 1.4961 | 0.78437 | 88.2841
22 | 158.0096 | 76.8725 | 12.3805 | 0 | 22.0814 | 0 | 22.7332 | 13.7145 | 10.2274 | 10.6051 | -64.1853 | -56.7942 | -6.3763 | -1.0148 | 104.4293 | 115.6392 | 35.6843 | 46.5291 | 33.4259 | -11.2099 | 0.12618 | 0 | 0 | 0.070569 | 0 | 2.2657 | -13.6723 | 104.4293
23 | 164.197 | 73.7367 | 10.8976 | 0 | 22.0951 | 13.3099 | 22.7332 | 11.197 | 10.2274 | 10.5071 | -62.5319 | -55.7157 | -5.8014 | -1.0148 | 112.1722 | 115.6653 | 35.8562 | 47.268 | 32.5412 | -3.4931 | 0.12966 | 0 | 0 | 0.071042 | 0 | 2.3114 | -6.0051 | 112.1722
24 | 155.7354 | 78.8365 | 10.9233 | 0 | 22.1406 | 0 | 22.7332 | 10.8744 | 10.2274 | 10.5056 | -62.9722 | -56.1982 | -5.7592 | -1.0148 | 103.2688 | 119.428 | 36.1336 | 49.9689 | 33.3256 | -16.1592 | 0.12913 | 0 | 0 | 0.070758 | 0 | 2.3818 | -18.7409 | 103.2688
25 | 160.3775 | 79.3159 | 1.8922 | 0 | 22.1116 | 13.3099 | 22.7332 | 10.3225 | 10.6923 | 10.5089 | -63.3729 | -56.9055 | -5.4527 | -1.0148 | 107.5135 | 122.9259 | 36.0301 | 53.6883 | 33.2075 | -15.4125 | 0.1286 | 0 | 0 | 0.070569 | 0 | 2.3543 | -17.9659 | 107.5135
26 | 69.6369 | 21.5454 | 0 | 0 | 5.3325 | 0 | 22.7332 | 9.516 | 10.5097 | 0.97643 | -56.2299 | -56.2299 | 0 | 0 | 14.3834 | 74.555 | 19.0592 | 32.5094 | 22.9864 | -60.1715 | 0.0681 | 0 | 0 | 0.069623 | 0 | 1.4769 | -61.7861 | 14.3834
27 | 153.7631 | 78.2119 | 1.8889 | 0 | 22.282 | 13.3099 | 22.7332 | 4.8275 | 10.5097 | 10.5033 | -58.0104 | -50.7943 | -6.2539 | -0.96225 | 106.2559 | 97.8966 | 29.5583 | 44.9014 | 23.4369 | 8.3593 | 0.090306 | 0 | 0 | 0.066313 | 0 | 1.5255 | 6.6771 | 106.2559
28 | 153.3561 | 72.2662 | 8.259 | 0 | 22.2784 | 13.9909 | 22.7332 | 6.2127 | 7.6157 | 10.5487 | -65.0568 | -57.3272 | -6.6113 | -1.1183 | 98.848 | 94.9637 | 28.6856 | 43.4448 | 22.8333 | 3.8844 | 0.087143 | 0 | 0 | 0.03405 | 0 | 1.4612 | 2.302 | 98.848
29 | 176.7198 | 81.8093 | 11.35 | 0 | 22.4874 | 13.9909 | 27.1707 | 12.2958 | 7.6157 | 10.562 | -64.804 | -57.721 | -6.0584 | -1.0247 | 122.4778 | 124.6655 | 35.4282 | 56.8725 | 32.3649 | -2.1878 | 0.085894 | 0 | 0 | 0.068678 | 0 | 2.2646 | -4.607 | 122.4778
30 | 160.3495 | 73.2757 | 1.8813 | 0 | 22.4359 | 13.3099 | 27.1707 | 14.6603 | 7.6157 | 10.4782 | -5.4367 | 0 | -4.412 | -1.0247 | 165.391 | 121.4733 | 35.8063 | 53.8159 | 31.8512 | 43.9177 | 0.11246 | 0 | 0 | 0.067732 | 0 | 2.2693 | 41.4682 | 165.391
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points