## kWh
Gas Nomination - Monthly report
Month: March 2021
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 1778.0345 | 483.7492 | 115.0376 | 0 | 703.3168 | 10.5223 | 106.2233 | 240.3525 | 40.1914 | 78.6413 | 103.035 | 701.6236 | 625.5923 | 63.9279 | 12.1034 | 2582.6931 | 2218.1698 | 404.5646 | 574.0978 | 1239.5074 | 364.5233 | 4.6647 | 0 | 0 | 1.8581 | 0 | 0 | 47.0587 | 310.9419 | 2582.6931
2 | 1459.0321 | 323.8429 | 10.9526 | 0 | 664.8382 | 11.9623 | 106.2233 | 240.3525 | 32.0491 | 68.8111 | 94.822 | 627.6557 | 549.7098 | 64.3121 | 13.6338 | 2181.5098 | 1692.0074 | 259.2515 | 328.1698 | 1104.5862 | 489.5023 | 4.6647 | 0 | 0 | 1.8884 | 0 | 0 | 37.5515 | 445.3978 | 2181.5098
3 | 1635.3576 | 403.3389 | 104.1627 | 0 | 710.782 | 11.9623 | 106.2233 | 240.3525 | 19.2152 | 39.3206 | 105.8619 | 690.4859 | 611.5612 | 64.4514 | 14.4733 | 2431.7053 | 2213.1128 | 390.3876 | 570.3002 | 1252.4251 | 218.5925 | 5.5109 | 0 | 0 | 1.8884 | 0 | 0 | 47.8048 | 163.3884 | 2431.7053
4 | 1711.844 | 398.9182 | 109.5547 | 0 | 708.8181 | 11.9623 | 106.2233 | 240.3525 | 96.6941 | 39.3206 | 106.1338 | 681.8195 | 605.8446 | 63.7122 | 12.2627 | 2499.7973 | 2189.5739 | 390.1597 | 551.0436 | 1248.3706 | 310.2234 | 5.4724 | 0 | 0 | 1.8884 | 0 | 0 | 46.3667 | 256.4959 | 2499.7973
5 | 1486.2563 | 329.1229 | 109.5661 | 0 | 539.1309 | 11.9623 | 106.2233 | 240.3525 | 84.3639 | 65.5344 | 106.5612 | 675.0352 | 598.1962 | 64.7607 | 12.0783 | 2267.8527 | 2125.4645 | 383.4361 | 539.6377 | 1202.3906 | 142.3882 | 5.0493 | 0 | 0 | 1.8884 | 0 | 0 | 35.6817 | 99.7687 | 2267.8527
6 | 1443.4432 | 327.4527 | 144.3395 | 0 | 527.9045 | 11.9623 | 106.2233 | 175.6 | 54.936 | 95.0249 | 103.5366 | 568.3562 | 568.3562 | 0 | 0 | 2115.336 | 1715.5453 | 319.2956 | 408.2879 | 987.9619 | 399.7907 | 5.1884 | 0 | 0 | 1.7821 | 0 | 0 | 26.8652 | 365.9551 | 2115.336
7 | 1696.2704 | 475.593 | 115.2574 | 0 | 709.3122 | 10.5223 | 106.2233 | 175.6 | 8.7373 | 95.0249 | 106.545 | 463.617 | 423.7041 | 33.5333 | 6.3796 | 2266.4324 | 1922.9164 | 351.0474 | 431.4491 | 1140.4199 | 343.516 | 5.3185 | 0 | 0 | 1.8009 | 0 | 0 | 30.9475 | 305.449 | 2266.4324
8 | 1859.4885 | 501.1323 | 109.6181 | 0 | 709.118 | 10.5223 | 106.2233 | 240.3525 | 84.2202 | 98.3016 | 106.4728 | 779.8196 | 702.7256 | 65.0157 | 12.0783 | 2745.7808 | 2310.8773 | 419.6579 | 604.1481 | 1287.0712 | 434.9036 | 6.0109 | 0 | 0 | 1.7666 | 0 | 0 | 38.1572 | 388.9688 | 2745.7808
9 | 1792.6679 | 415.4322 | 143.0221 | 0 | 693.1661 | 11.9623 | 106.2233 | 240.3525 | 84.2078 | 98.3016 | 103.8161 | 664.5449 | 592.387 | 60.0797 | 12.0783 | 2561.029 | 2126.2473 | 371.0144 | 586.4697 | 1168.7631 | 434.7817 | 5.434 | 0 | 0 | 1.8087 | 0 | 0 | 42.0986 | 385.4404 | 2561.029
10 | 1679.2671 | 467.1292 | 131.7726 | 0 | 539.3219 | 11.9623 | 106.2233 | 240.3525 | 84.2037 | 98.3016 | 106.7011 | 680.0321 | 605.6389 | 60.0797 | 14.3135 | 2466.0003 | 2179.0471 | 396.3195 | 563.7273 | 1219.0004 | 286.9532 | 5.1262 | 0 | 0 | 1.8087 | 0 | 0 | 36.0792 | 243.9391 | 2466.0003
11 | 1457.9612 | 256.9814 | 120.7451 | 0 | 539.1913 | 11.9623 | 106.2233 | 240.3525 | 84.2037 | 98.3016 | 104.6017 | 472.7878 | 400.6802 | 60.0797 | 12.0278 | 2035.3507 | 2051.3874 | 391.6759 | 455.6759 | 1204.0355 | -16.0367 | 5.0878 | 0 | 0 | 1.8087 | 0 | 0 | 35.8133 | -58.7465 | 2035.3507
12 | 2044.2079 | 679.9886 | 120.9344 | 0 | 708.7948 | 11.9623 | 106.2233 | 240.3525 | 84.2037 | 91.7482 | 106.7885 | 636.6393 | 575.1164 | 55.1443 | 6.3785 | 2787.6357 | 2065.8999 | 390.1372 | 462.1479 | 1213.6148 | 721.7358 | 4.857 | 0 | 0 | 1.7466 | 0 | 0 | 43.4273 | 671.7049 | 2787.6357
13 | 1606.9534 | 635.4039 | 110.1334 | 0 | 539.7783 | 11.9623 | 106.2233 | 175.6 | 0 | 27.8521 | 106.6558 | 368.3327 | 328.5687 | 33.4367 | 6.3273 | 2081.9419 | 1815.7597 | 343.0081 | 421.4382 | 1051.3133 | 266.1822 | 4.6307 | 0 | 0 | 1.872 | 0 | 0 | 36.0522 | 223.6272 | 2081.9419
14 | 1825.5066 | 686.345 | 109.7878 | 0 | 709.176 | 10.5223 | 106.2233 | 175.6 | 0 | 27.8521 | 106.6499 | 238.3399 | 227.3977 | 7.3333 | 3.6089 | 2170.4964 | 1910.7357 | 355.0747 | 445.5869 | 1110.0741 | 259.7607 | 4.2114 | 0 | 1.176 | 1.768 | 0 | 0 | 37.3813 | 215.224 | 2170.4964
15 | 1938.7568 | 736.5002 | 120.5472 | 0 | 709.954 | 10.5223 | 101.2202 | 240.3525 | 0 | 19.6603 | 106.7194 | 503.5837 | 466.7938 | 33.1301 | 3.6598 | 2549.0599 | 2235.8908 | 396.1066 | 563.9402 | 1275.844 | 313.1691 | 4.6647 | 0 | 0 | 1.7897 | 0 | 0 | 46.3458 | 260.3689 | 2549.0599
16 | 1848.8737 | 668.9078 | 109.5289 | 0 | 710.0954 | 11.9623 | 88.3664 | 240.3525 | 0 | 19.6603 | 106.4614 | 510.6712 | 468.6804 | 35.6122 | 6.3785 | 2466.0063 | 2082.1692 | 365.3881 | 505.3592 | 1211.4219 | 383.8371 | 4.6647 | 0 | 0 | 1.7897 | 0 | 0 | 44.0122 | 333.3705 | 2466.0063
17 | 1927.0215 | 605.0507 | 144.3029 | 0 | 711.4182 | 11.9623 | 104.2746 | 240.3525 | 90 | 19.6603 | 106.846 | 505.3991 | 463.4083 | 35.6122 | 6.3785 | 2539.2666 | 2081.4819 | 369.7814 | 493.1886 | 1218.5119 | 457.7846 | 4.8185 | 0 | 0 | 1.8862 | 0 | 0 | 45.1408 | 405.9391 | 2539.2666
18 | 1994.5599 | 642.2198 | 109.3842 | 0 | 711.7062 | 11.9623 | 104.2746 | 240.3525 | 155 | 19.6603 | 106.7453 | 504.991 | 463.0166 | 35.6122 | 6.3622 | 2606.2961 | 2124.1401 | 392.1951 | 466.4393 | 1265.5058 | 482.156 | 4.78 | 0 | 0 | 2.1065 | 0 | 0 | 47.183 | 428.0865 | 2606.2961
19 | 1864.8961 | 671.8118 | 10.9592 | 0 | 666.2192 | 11.9623 | 104.2746 | 240.3525 | 139.6562 | 19.6603 | 95.6643 | 467.6408 | 427.0675 | 34.2275 | 6.3458 | 2428.2012 | 32050.44 | 258.7475 | 433.9313 | 31357.7612 | -29622.2389 | 6.5879 | 0 | 0 | 2.1767 | 0 | 0 | 36.9151 | -29667.9186 | 2428.2012
20 | 1718.1298 | 642.4738 | 98.4817 | 0 | 541.3035 | 11.9623 | 104.2746 | 175.6 | 124.3737 | 19.6603 | 106.5628 | 255.8448 | 218.6587 | 30.8403 | 6.3458 | 2080.5375 | 1928.9786 | 337.3253 | 429.5331 | 1162.1201 | 151.5589 | 5.5601 | 0 | 0 | 2.0968 | 0 | 0 | 38.3266 | 105.5753 | 2080.5375
21 | 2035.3978 | 753.2877 | 104.0173 | 0 | 710.6782 | 10.5223 | 104.2746 | 175.6 | 137.6971 | 39.3206 | 106.8446 | 393.2248 | 362.1788 | 27.5088 | 3.5373 | 2535.4673 | 1949.0988 | 351.2781 | 382.5546 | 1215.2661 | 586.3685 | 5.3185 | 0 | 0 | 2.0604 | 0 | 0 | 39.1328 | 539.8569 | 2535.4673
22 | 2176.1238 | 760.1342 | 131.4992 | 0 | 710.4389 | 10.5223 | 106.2233 | 240.3525 | 141.5887 | 75.3646 | 106.7908 | 540.0462 | 506.3304 | 29.7545 | 3.9613 | 2822.9608 | 2257.3573 | 421.3956 | 517.1765 | 1318.7853 | 565.6034 | 5.434 | 0 | 0 | 1.9044 | 0 | 0 | 46.3318 | 511.9333 | 2822.9608
23 | 2100.1361 | 675.5059 | 136.9801 | 0 | 710.3219 | 10.5223 | 106.2233 | 240.3525 | 141.5887 | 78.6413 | 104.7911 | 463.0382 | 428.6481 | 28.0448 | 6.3454 | 2667.9654 | 2172.3442 | 384.1381 | 557.6333 | 1230.5728 | 495.6212 | 5.2416 | 0 | 0 | 1.8964 | 0 | 0 | 43.9244 | 444.5587 | 2667.9654
24 | 2009.5408 | 653.3779 | 109.5745 | 0 | 710.849 | 10.5223 | 106.2233 | 240.3525 | 100 | 78.6413 | 101.2616 | 459.7847 | 426.3117 | 27.1272 | 6.3458 | 2570.5872 | 2107.7145 | 394.1839 | 512.594 | 1200.9367 | 462.8727 | 4.5493 | 0 | 0 | 1.8721 | 0 | 0 | 42.8809 | 413.5704 | 2570.5872
25 | 2002.1788 | 642.5299 | 104.1416 | 0 | 710.6419 | 10.5223 | 106.2233 | 240.3525 | 155 | 32.7672 | 104.8727 | 457.6114 | 424.3936 | 26.872 | 6.3458 | 2564.6628 | 2045.2013 | 406.8201 | 447.3659 | 1191.0153 | 519.4615 | 4.5108 | 0 | 0 | 1.6956 | 0 | 0 | 42.2829 | 470.9722 | 2564.6628
26 | 1806.2915 | 656.8604 | 104.062 | 0 | 540.9254 | 10.5223 | 95.9286 | 240.3525 | 137.98 | 19.6603 | 104.8906 | 451.9693 | 418.8193 | 26.8047 | 6.3454 | 2363.1515 | 1980.1298 | 389.6498 | 503.3752 | 1087.1048 | 383.0217 | 4.4723 | 0 | 0 | 1.8194 | 0 | 0 | 37.4728 | 339.2571 | 2363.1515
27 | 1754.7708 | 509.3103 | 98.507 | 0 | 713.2637 | 10.0839 | 94.7968 | 175.6 | 135.1871 | 18.022 | 104.4728 | 344.3617 | 316.1784 | 21.8379 | 6.3454 | 2203.6054 | 1685.5804 | 337.428 | 432.3464 | 915.8061 | 518.0249 | 3.5154 | 0 | 0 | 1.6166 | 0 | 0 | 29.8016 | 483.0913 | 2203.6054
28 | 1919.028 | 760.7777 | 103.9608 | 0 | 712.4435 | 10.5223 | 93.3031 | 98.775 | 121.2236 | 18.022 | 104.6072 | 0.91587 | 0.83396 | -3.4554 | 3.5373 | 2024.551 | 1807.9863 | 359.8865 | 472.1191 | 975.9806 | 216.5647 | 3.1043 | 0 | 0 | 1.5887 | 0 | 0 | 32.7582 | 179.1135 | 2024.551
29 | 2062.554 | 760.4263 | 109.3774 | 0 | 713.2274 | 10.5223 | 93.3031 | 208.525 | 149.1506 | 18.022 | 104.5977 | 225.9297 | 200.7848 | 21.6076 | 3.5373 | 2393.0815 | 2050.243 | 425.1396 | 578.4554 | 1046.648 | 342.8385 | 3.8954 | 0 | 0 | 1.6231 | 0 | 0 | 36.7839 | 300.5361 | 2393.0815
30 | 1939.1619 | 632.8579 | 114.8947 | 0 | 711.8863 | 10.5223 | 93.3031 | 208.525 | 149.1506 | 18.022 | 104.5398 | 394.039 | 365.8289 | 22.881 | 5.3291 | 2437.7407 | 1798.8288 | 389.253 | 457.0686 | 952.5071 | 638.9119 | 3.5107 | 0 | 0 | 1.6231 | 0 | 0 | 37.2153 | 596.5628 | 2437.7407
31 | 1866.3909 | 655.5575 | 125.8235 | 0 | 657.9061 | 10.5223 | 93.3031 | 205.2565 | 100 | 18.022 | 104.6691 | 64.4536 | 41.1173 | 21.0437 | 2.2926 | 2035.5136 | 1877.6181 | 420.1291 | 490.2809 | 967.2081 | 157.8954 | 4.3185 | 0 | 0 | 1.5128 | 0 | 0 | 39.1352 | 112.929 | 2035.5136
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Nomination - Monthly report
Month: March 2021
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 153.3083 | 42.5417 | 9.942 | 0 | 60.1934 | 0.92086 | 9.0703 | 20.7417 | 3.3534 | 6.5448 | 9.2347 | 61.3667 | 54.5523 | 5.7296 | 1.0848 | 223.9097 | 198.8066 | 36.2597 | 51.4543 | 111.0926 | 25.1031 | 0.40364 | 0 | 0 | 0.16166 | 0 | 0 | 4.2177 | 20.3201 | 223.9097
2 | 125.5925 | 28.5254 | 0.94735 | 0 | 56.8777 | 1.0468 | 9.0748 | 20.7452 | 2.6747 | 5.7003 | 8.4986 | 54.9466 | 47.9606 | 5.7641 | 1.222 | 189.0376 | 151.6486 | 23.2358 | 29.4127 | 99.0001 | 37.389 | 0.40736 | 0 | 0 | 0.16461 | 0 | 0 | 3.3656 | 33.4515 | 189.0376
3 | 141.1501 | 35.5375 | 9.0087 | 0 | 60.8792 | 1.0483 | 9.0801 | 20.733 | 1.6035 | 3.26 | 9.488 | 60.4183 | 53.3446 | 5.7766 | 1.2972 | 211.0564 | 198.3534 | 34.989 | 51.114 | 112.2504 | 12.703 | 0.48263 | 0 | 0 | 0.16293 | 0 | 0 | 4.2846 | 7.7729 | 211.0564
4 | 147.3826 | 35.1406 | 9.4546 | 0 | 60.5809 | 1.0487 | 9.0829 | 20.7509 | 8.0666 | 3.2573 | 9.5124 | 59.6449 | 52.8355 | 5.7103 | 1.0991 | 216.5398 | 196.2437 | 34.9686 | 49.3881 | 111.887 | 20.2961 | 0.48033 | 0 | 0 | 0.16327 | 0 | 0 | 4.1557 | 15.4969 | 216.5398
5 | 127.8914 | 28.9965 | 9.4585 | 0 | 46.0822 | 1.0491 | 9.081 | 20.7509 | 7.0359 | 5.4374 | 9.5507 | 59.0657 | 52.1789 | 5.8043 | 1.0825 | 196.5078 | 190.4978 | 34.366 | 48.3658 | 107.766 | 6.01 | 0.44217 | 0 | 0 | 0.16465 | 0 | 0 | 3.198 | 2.2052 | 196.5078
6 | 124.1858 | 28.8278 | 12.4775 | 0 | 45.1261 | 1.0487 | 9.0822 | 15.1474 | 4.5809 | 7.8953 | 9.2796 | 49.5983 | 49.5983 | 0 | 0 | 183.0636 | 153.7582 | 28.6173 | 36.5934 | 88.5475 | 29.3054 | 0.45126 | 0 | 0 | 0.15331 | 0 | 0 | 2.4078 | 26.293 | 183.0636
7 | 146.2345 | 41.8608 | 9.9273 | 0 | 60.6486 | 0.92094 | 9.0831 | 15.1728 | 0.72564 | 7.8953 | 9.5493 | 40.5701 | 36.9928 | 3.0055 | 0.57178 | 196.3538 | 172.3441 | 31.4631 | 38.6692 | 102.2118 | 24.0097 | 0.4676 | 0 | 0 | 0.1549 | 0 | 0 | 2.7737 | 20.6135 | 196.3538
8 | 160.1315 | 44.1284 | 9.4594 | 0 | 60.6683 | 0.92132 | 9.0814 | 20.7473 | 6.9664 | 8.159 | 9.5428 | 68.2126 | 61.303 | 5.8271 | 1.0825 | 237.8869 | 207.1157 | 37.6124 | 54.1476 | 115.3556 | 30.7712 | 0.5255 | 0 | 0 | 0.15409 | 0 | 0 | 3.4199 | 26.6717 | 237.8869
9 | 154.3566 | 36.619 | 12.3467 | 0 | 59.3199 | 1.0542 | 9.0893 | 20.7561 | 7.028 | 8.1435 | 9.3047 | 58.1388 | 51.6715 | 5.3847 | 1.0825 | 221.8 | 190.568 | 33.2527 | 52.5632 | 104.7521 | 31.2321 | 0.47441 | 0 | 0 | 0.15794 | 0 | 0 | 3.7731 | 26.8266 | 221.8
10 | 144.731 | 41.18 | 11.3577 | 0 | 46.1263 | 1.0583 | 9.0894 | 20.743 | 7.0257 | 8.1506 | 9.5632 | 59.4866 | 52.819 | 5.3847 | 1.2829 | 213.7808 | 195.3002 | 35.5207 | 50.5249 | 109.2547 | 18.4806 | 0.45116 | 0 | 0 | 0.15697 | 0 | 0 | 3.2336 | 14.6388 | 213.7808
11 | 125.2407 | 22.6977 | 10.389 | 0 | 46.0895 | 1.0515 | 9.0862 | 20.7407 | 7.023 | 8.1632 | 9.3751 | 41.3765 | 34.9137 | 5.3847 | 1.078 | 175.9922 | 183.8585 | 35.1045 | 40.8406 | 107.9134 | -7.8663 | 0.44093 | 0 | 0 | 0.15705 | 0 | 0 | 3.2098 | -11.6741 | 175.9922
12 | 176.5445 | 60.0507 | 10.4381 | 0 | 60.5755 | 1.0513 | 9.0853 | 20.7377 | 7.0129 | 7.593 | 9.5711 | 55.6104 | 50.0963 | 4.9424 | 0.57169 | 241.7259 | 185.1592 | 34.9666 | 41.4207 | 108.772 | 56.5667 | 0.42139 | 0 | 0 | 0.15229 | 0 | 0 | 3.8922 | 52.1008 | 241.7259
13 | 139.2722 | 56.076 | 9.5231 | 0 | 46.0594 | 1.0463 | 9.0879 | 15.1667 | 0 | 2.3129 | 9.5592 | 32.1499 | 28.586 | 2.9968 | 0.56709 | 180.9813 | 162.7401 | 30.7426 | 37.772 | 94.2255 | 18.2413 | 0.3999 | 0 | 0 | 0.1661 | 0 | 0 | 3.2312 | 14.4441 | 180.9813
14 | 157.9923 | 60.5153 | 9.4984 | 0 | 60.4877 | 0.93082 | 9.0787 | 15.1768 | 0 | 2.3047 | 9.5587 | 20.7798 | 19.7991 | 0.65725 | 0.32346 | 188.3308 | 171.2524 | 31.8241 | 39.9364 | 99.492 | 17.0783 | 0.36622 | 0 | 0.10403 | 0.15796 | 0 | 0 | 3.3504 | 13.0998 | 188.3308
15 | 167.9832 | 64.9337 | 10.438 | 0 | 60.6638 | 0.93177 | 8.6469 | 20.7415 | 0 | 1.6276 | 9.5649 | 44.0027 | 40.7054 | 2.9693 | 0.32802 | 221.5508 | 200.3949 | 35.5016 | 50.5439 | 114.3493 | 21.1559 | 0.40769 | 0 | 0 | 0.15795 | 0 | 0 | 4.1538 | 16.4365 | 221.5508
16 | 160.093 | 59.0012 | 9.4885 | 0 | 60.635 | 1.0594 | 7.5458 | 20.7356 | 0 | 1.6275 | 9.5418 | 44.5944 | 40.831 | 3.1918 | 0.57169 | 214.2292 | 186.6174 | 32.7484 | 45.2935 | 108.5754 | 27.6118 | 0.40985 | 0 | 0 | 0.15904 | 0 | 0 | 3.9447 | 23.0983 | 214.2292
17 | 166.345 | 53.3741 | 12.4773 | 0 | 60.6862 | 1.051 | 8.9038 | 20.7449 | 7.4797 | 1.6278 | 9.5762 | 44.1444 | 40.381 | 3.1918 | 0.57169 | 220.0657 | 186.5558 | 33.1422 | 44.2027 | 109.2109 | 33.5099 | 0.42141 | 0 | 0 | 0.16605 | 0 | 0 | 4.0458 | 28.8766 | 220.0657
18 | 172.1812 | 56.6625 | 9.4725 | 0 | 60.757 | 1.0445 | 8.9038 | 20.8317 | 12.8817 | 1.6273 | 9.5672 | 44.065 | 40.303 | 3.1918 | 0.57022 | 225.8133 | 190.3791 | 35.151 | 41.8053 | 113.4228 | 35.4343 | 0.41832 | 0 | 0 | 0.18407 | 0 | 0 | 4.2288 | 30.603 | 225.8133
19 | 161.1285 | 59.2783 | 0.94846 | 0 | 56.8794 | 1.0461 | 8.9038 | 20.8392 | 11.6066 | 1.6267 | 8.574 | 40.827 | 37.1905 | 3.0677 | 0.56875 | 210.5295 | 2872.5665 | 23.1906 | 38.8917 | 2810.4842 | -2662.037 | 0.57787 | 0 | 0 | 0.18939 | 0 | 0 | 3.3086 | -2666.1129 | 210.5295
20 | 148.5773 | 56.7013 | 8.516 | 0 | 46.2433 | 1.0533 | 8.9039 | 15.2286 | 10.2877 | 1.6431 | 9.5508 | 22.3475 | 19.0146 | 2.7641 | 0.56875 | 180.4756 | 172.8875 | 30.2333 | 38.4975 | 104.1567 | 7.5882 | 0.48654 | 0 | 0 | 0.18118 | 0 | 0 | 3.4351 | 3.4854 | 180.4756
21 | 175.9638 | 66.4677 | 8.9946 | 0 | 60.8038 | 0.92612 | 8.9034 | 15.2322 | 11.3898 | 3.2462 | 9.5761 | 34.257 | 31.4745 | 2.4655 | 0.31703 | 219.797 | 174.6908 | 31.4838 | 34.287 | 108.92 | 45.1062 | 0.4628 | 0 | 0 | 0.17807 | 0 | 0 | 3.5073 | 40.958 | 219.797
22 | 187.9242 | 67.0888 | 11.372 | 0 | 60.6947 | 0.92055 | 9.0698 | 20.8278 | 11.7117 | 6.2388 | 9.5713 | 47.1526 | 44.1308 | 2.6668 | 0.35504 | 244.6481 | 202.3189 | 37.7682 | 46.3527 | 118.198 | 42.3292 | 0.47314 | 0 | 0 | 0.16393 | 0 | 0 | 4.1526 | 37.5396 | 244.6481
23 | 181.2283 | 59.6325 | 11.8408 | 0 | 60.7343 | 0.92045 | 9.0726 | 20.7824 | 11.7117 | 6.5335 | 9.3921 | 40.4433 | 37.361 | 2.5136 | 0.56871 | 231.0636 | 194.6995 | 34.4289 | 49.9787 | 110.2918 | 36.3642 | 0.45762 | 0 | 0 | 0.16352 | 0 | 0 | 3.9368 | 31.8063 | 231.0636
24 | 173.4581 | 57.6641 | 9.4791 | 0 | 60.7252 | 0.92456 | 9.0831 | 20.7753 | 8.2716 | 6.5351 | 9.0757 | 40.0993 | 37.0992 | 2.4313 | 0.56875 | 222.6331 | 188.9069 | 35.3293 | 45.942 | 107.6357 | 33.7262 | 0.39527 | 0 | 0 | 0.16531 | 0 | 0 | 3.8433 | 29.3224 | 222.6331
25 | 172.2645 | 56.7173 | 9.0162 | 0 | 60.2326 | 0.92212 | 9.0732 | 20.7535 | 12.821 | 2.7287 | 9.3994 | 39.7291 | 36.7519 | 2.4084 | 0.56875 | 221.393 | 183.3041 | 36.4618 | 40.0958 | 106.7465 | 38.0889 | 0.39125 | 0 | 0 | 0.14716 | 0 | 0 | 3.7897 | 33.7608 | 221.393
26 | 155.8376 | 57.9985 | 9.0109 | 0 | 45.9217 | 0.9245 | 8.1896 | 20.7406 | 11.4132 | 1.6385 | 9.401 | 39.4967 | 36.5256 | 2.4024 | 0.56871 | 204.7353 | 177.472 | 34.9229 | 45.1157 | 97.4333 | 27.2633 | 0.38738 | 0 | 0 | 0.15794 | 0 | 0 | 3.3586 | 23.3594 | 204.7353
27 | 150.8136 | 44.9577 | 8.5342 | 0 | 60.4961 | 0.88565 | 8.0932 | 15.1638 | 11.1822 | 1.5008 | 9.3635 | 30.8639 | 28.3379 | 1.9573 | 0.56871 | 191.0411 | 151.0726 | 30.2425 | 38.7497 | 82.0804 | 39.9685 | 0.31072 | 0 | 0 | 0.14162 | 0 | 0 | 2.671 | 36.8452 | 191.0411
28 | 165.5565 | 67.1427 | 9.0029 | 0 | 60.4732 | 0.92218 | 7.9678 | 8.5221 | 10.0272 | 1.4985 | 9.3756 | 0.082086 | 0.074745 | -0.30969 | 0.31703 | 175.0142 | 162.0434 | 32.2553 | 42.3144 | 87.4737 | 12.9708 | 0.27446 | 0 | 0 | 0.14227 | 0 | 0 | 2.936 | 9.6181 | 175.0142
29 | 177.8064 | 67.1238 | 9.473 | 0 | 60.4935 | 0.92095 | 7.9665 | 17.9937 | 12.3372 | 1.4978 | 9.3747 | 20.2493 | 17.9956 | 1.9366 | 0.31703 | 207.4304 | 183.756 | 38.1037 | 51.8449 | 93.8073 | 23.6744 | 0.34443 | 0 | 0 | 0.14497 | 0 | 0 | 3.2968 | 19.8882 | 207.4304
30 | 166.9098 | 55.8631 | 9.9508 | 0 | 60.3797 | 0.92095 | 7.9665 | 17.9937 | 12.3372 | 1.4978 | 9.3695 | 35.3163 | 32.7879 | 2.0507 | 0.47763 | 211.5957 | 161.2226 | 34.8874 | 40.9654 | 85.3698 | 50.3731 | 0.31042 | 0 | 0 | 0.14497 | 0 | 0 | 3.3355 | 46.5822 | 211.5957
31 | 160.9341 | 57.8669 | 10.8974 | 0 | 55.8013 | 0.92095 | 7.9665 | 17.7117 | 8.2716 | 1.4978 | 9.3811 | 5.7767 | 3.6852 | 1.8861 | 0.20548 | 176.0919 | 168.2842 | 37.6547 | 43.9421 | 86.6874 | 7.8077 | 0.38184 | 0 | 0 | 0.13512 | 0 | 0 | 3.5075 | 3.7832 | 176.0919
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Nomination - Monthly report
Month: March 2021
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 168.1714 | 45.7543 | 10.8806 | 0 | 66.5217 | 0.99523 | 10.0469 | 22.7332 | 3.8014 | 7.4381 | 9.7453 | 66.3615 | 59.1703 | 6.0465 | 1.1448 | 244.2783 | 209.8006 | 38.2648 | 54.2998 | 117.236 | 34.4776 | 0.4412 | 0 | 0 | 0.17574 | 0 | 0 | 4.4509 | 29.4097 | 244.2783
2 | 137.9993 | 30.63 | 1.0359 | 0 | 62.8822 | 1.1314 | 10.0469 | 22.7332 | 3.0313 | 6.5083 | 8.9685 | 59.3654 | 51.9931 | 6.0828 | 1.2895 | 206.3332 | 160.0348 | 24.5207 | 31.0392 | 104.4748 | 46.2985 | 0.4412 | 0 | 0 | 0.17861 | 0 | 0 | 3.5517 | 42.127 | 206.3332
3 | 154.6767 | 38.1489 | 9.852 | 0 | 67.2277 | 1.1314 | 10.0469 | 22.7332 | 1.8174 | 3.7191 | 10.0127 | 65.3081 | 57.8432 | 6.096 | 1.3689 | 229.9974 | 209.3223 | 36.9239 | 53.9406 | 118.4578 | 20.6751 | 0.52123 | 0 | 0 | 0.17861 | 0 | 0 | 4.5215 | 15.4537 | 229.9974
4 | 161.911 | 37.7308 | 10.362 | 0 | 67.042 | 1.1314 | 10.0469 | 22.7332 | 9.1456 | 3.7191 | 10.0384 | 64.4884 | 57.3025 | 6.0261 | 1.1598 | 236.4378 | 207.096 | 36.9024 | 52.1192 | 118.0743 | 29.3418 | 0.5176 | 0 | 0 | 0.17861 | 0 | 0 | 4.3855 | 24.2601 | 236.4378
5 | 140.5742 | 31.1294 | 10.3631 | 0 | 50.9925 | 1.1314 | 10.0469 | 22.7332 | 7.9794 | 6.1984 | 10.0789 | 63.8467 | 56.5791 | 6.1252 | 1.1424 | 214.4998 | 201.0323 | 36.2665 | 51.0404 | 113.7254 | 13.4675 | 0.47758 | 0 | 0 | 0.17861 | 0 | 0 | 3.3749 | 9.4364 | 214.4998
6 | 136.5249 | 30.9714 | 13.652 | 0 | 49.9307 | 1.1314 | 10.0469 | 16.6087 | 5.196 | 8.9877 | 9.7928 | 53.7567 | 53.7567 | 0 | 0 | 200.0743 | 162.261 | 30.1999 | 38.617 | 93.4442 | 37.8133 | 0.49073 | 0 | 0 | 0.16855 | 0 | 0 | 2.541 | 34.613 | 200.0743
7 | 160.438 | 44.9829 | 10.9014 | 0 | 67.0887 | 0.99523 | 10.0469 | 16.6087 | 0.82639 | 8.9877 | 10.0773 | 43.8502 | 40.0751 | 3.1717 | 0.6034 | 214.3655 | 181.8748 | 33.203 | 40.8077 | 107.8641 | 32.4907 | 0.50304 | 0 | 0 | 0.17034 | 0 | 0 | 2.9271 | 28.8902 | 214.3655
8 | 175.8756 | 47.3985 | 10.368 | 0 | 67.0703 | 0.99523 | 10.0469 | 22.7332 | 7.9658 | 9.2976 | 10.0705 | 73.7575 | 66.4657 | 6.1494 | 1.1424 | 259.7036 | 218.5692 | 39.6924 | 57.142 | 121.7348 | 41.1344 | 0.56853 | 0 | 0 | 0.16709 | 0 | 0 | 3.609 | 36.7897 | 259.7036
9 | 169.5555 | 39.2927 | 13.5274 | 0 | 65.5616 | 1.1314 | 10.0469 | 22.7332 | 7.9646 | 9.2976 | 9.8192 | 62.8545 | 56.0296 | 5.6825 | 1.1424 | 242.2292 | 201.1064 | 35.0916 | 55.4699 | 110.5449 | 41.1229 | 0.51396 | 0 | 0 | 0.17107 | 0 | 0 | 3.9818 | 36.456 | 242.2292
10 | 158.8297 | 44.1824 | 12.4634 | 0 | 51.0106 | 1.1314 | 10.0469 | 22.7332 | 7.9642 | 9.2976 | 10.0921 | 64.3193 | 57.283 | 5.6825 | 1.3538 | 233.2411 | 206.1003 | 37.485 | 53.3189 | 115.2964 | 27.1408 | 0.48485 | 0 | 0 | 0.17107 | 0 | 0 | 3.4125 | 23.0724 | 233.2411
11 | 137.898 | 24.306 | 11.4204 | 0 | 50.9982 | 1.1314 | 10.0469 | 22.7332 | 7.9642 | 9.2976 | 9.8935 | 44.7176 | 37.8974 | 5.6825 | 1.1376 | 192.5091 | 194.0259 | 37.0458 | 43.0991 | 113.881 | -1.5168 | 0.48122 | 0 | 0 | 0.17107 | 0 | 0 | 3.3873 | -5.5564 | 192.5091
12 | 193.3468 | 64.3152 | 11.4383 | 0 | 67.0398 | 1.1314 | 10.0469 | 22.7332 | 7.9642 | 8.6778 | 10.1004 | 60.2151 | 54.3961 | 5.2157 | 0.6033 | 263.6623 | 195.3985 | 36.9003 | 43.7112 | 114.7871 | 68.2638 | 0.45939 | 0 | 0 | 0.1652 | 0 | 0 | 4.1075 | 63.5317 | 263.6623
13 | 151.9901 | 60.0983 | 10.4167 | 0 | 51.0537 | 1.1314 | 10.0469 | 16.6087 | 0 | 2.6343 | 10.0878 | 34.8379 | 31.0769 | 3.1625 | 0.59845 | 196.9158 | 171.7396 | 32.4427 | 39.8608 | 99.4361 | 25.1763 | 0.43799 | 0 | 0 | 0.17706 | 0 | 0 | 3.4099 | 21.1513 | 196.9158
14 | 172.6615 | 64.9164 | 10.384 | 0 | 67.0758 | 0.99523 | 10.0469 | 16.6087 | 0 | 2.6343 | 10.0872 | 22.5428 | 21.5079 | 0.6936 | 0.34134 | 205.2916 | 180.7227 | 33.584 | 42.1448 | 104.9939 | 24.5689 | 0.39833 | 0 | 0.11123 | 0.16722 | 0 | 0 | 3.5356 | 20.3565 | 205.2916
15 | 183.373 | 69.6602 | 11.4017 | 0 | 67.1494 | 0.99523 | 9.5737 | 22.7332 | 0 | 1.8595 | 10.0938 | 47.6303 | 44.1506 | 3.1335 | 0.34616 | 241.0971 | 211.4767 | 37.4649 | 53.339 | 120.6729 | 29.6204 | 0.4412 | 0 | 0 | 0.16928 | 0 | 0 | 4.3835 | 24.6264 | 241.0971
16 | 174.8716 | 63.2672 | 10.3595 | 0 | 67.1628 | 1.1314 | 8.3579 | 22.7332 | 0 | 1.8595 | 10.0694 | 48.3007 | 44.3291 | 3.3683 | 0.6033 | 233.2417 | 196.9373 | 34.5594 | 47.7983 | 114.5796 | 36.3044 | 0.4412 | 0 | 0 | 0.16928 | 0 | 0 | 4.1628 | 31.5311 | 233.2417
17 | 182.263 | 57.2274 | 13.6486 | 0 | 67.2879 | 1.1314 | 9.8626 | 22.7332 | 8.5124 | 1.8595 | 10.1058 | 47.802 | 43.8304 | 3.3683 | 0.6033 | 240.1709 | 196.8723 | 34.975 | 46.6471 | 115.2502 | 43.2985 | 0.45575 | 0 | 0 | 0.1784 | 0 | 0 | 4.2695 | 38.3948 | 240.1709
18 | 188.651 | 60.7429 | 10.3459 | 0 | 67.3151 | 1.1314 | 9.8626 | 22.7332 | 14.6603 | 1.8595 | 10.0963 | 47.7634 | 43.7934 | 3.3683 | 0.60176 | 246.5107 | 200.9071 | 37.0949 | 44.1171 | 119.695 | 45.6037 | 0.45211 | 0 | 0 | 0.19924 | 0 | 0 | 4.4627 | 40.4896 | 246.5107
19 | 176.387 | 63.5418 | 1.0366 | 0 | 63.0129 | 1.1314 | 9.8626 | 22.7332 | 13.2091 | 1.8595 | 9.0482 | 44.2308 | 40.3932 | 3.2373 | 0.6002 | 229.666 | 3031.4195 | 24.4731 | 41.0424 | 2965.904 | -2801.7535 | 0.6231 | 0 | 0 | 0.20588 | 0 | 0 | 3.4915 | -2806.074 | 229.666
20 | 162.5055 | 60.767 | 9.3147 | 0 | 51.198 | 1.1314 | 9.8626 | 16.6087 | 11.7636 | 1.8595 | 10.079 | 24.1985 | 20.6813 | 2.917 | 0.6002 | 196.783 | 182.4481 | 31.9052 | 40.6264 | 109.9165 | 14.3349 | 0.52589 | 0 | 0 | 0.19832 | 0 | 0 | 3.625 | 9.9856 | 196.783
21 | 192.5136 | 71.248 | 9.8382 | 0 | 67.2179 | 0.99523 | 9.8626 | 16.6087 | 13.0238 | 3.7191 | 10.1057 | 37.1923 | 34.2559 | 2.6019 | 0.33457 | 239.8115 | 184.3512 | 33.2249 | 36.1831 | 114.9432 | 55.4604 | 0.50304 | 0 | 0 | 0.19487 | 0 | 0 | 3.7013 | 51.0612 | 239.8115
22 | 205.8238 | 71.8956 | 12.4376 | 0 | 67.1953 | 0.99523 | 10.0469 | 22.7332 | 13.3919 | 7.1282 | 10.1006 | 51.0791 | 47.8901 | 2.8143 | 0.37467 | 267.0035 | 213.5071 | 39.8568 | 48.916 | 124.7344 | 53.4963 | 0.51396 | 0 | 0 | 0.18012 | 0 | 0 | 4.3822 | 48.4201 | 267.0035
23 | 198.6367 | 63.8912 | 12.956 | 0 | 67.1842 | 0.99523 | 10.0469 | 22.7332 | 13.3919 | 7.4381 | 9.9114 | 43.7954 | 40.5427 | 2.6526 | 0.60016 | 252.3436 | 205.4663 | 36.3328 | 52.7425 | 116.391 | 46.8772 | 0.49577 | 0 | 0 | 0.17937 | 0 | 0 | 4.1545 | 42.0476 | 252.3436
24 | 190.0679 | 61.7983 | 10.3639 | 0 | 67.2341 | 0.99523 | 10.0469 | 22.7332 | 9.4583 | 7.4381 | 9.5776 | 43.4877 | 40.3217 | 2.5658 | 0.6002 | 243.1333 | 199.3535 | 37.283 | 48.4826 | 113.5879 | 43.7798 | 0.43028 | 0 | 0 | 0.17707 | 0 | 0 | 4.0558 | 39.1166 | 243.1333
25 | 189.3716 | 60.7723 | 9.85 | 0 | 67.2145 | 0.99523 | 10.0469 | 22.7332 | 14.6603 | 3.0992 | 9.9191 | 43.2822 | 40.1403 | 2.5416 | 0.6002 | 242.5729 | 193.4408 | 38.4782 | 42.3131 | 112.6495 | 49.1321 | 0.42664 | 0 | 0 | 0.16037 | 0 | 0 | 3.9992 | 44.5459 | 242.5729
26 | 170.8441 | 62.1277 | 9.8425 | 0 | 51.1622 | 0.99523 | 9.0732 | 22.7332 | 13.0505 | 1.8595 | 9.9208 | 42.7485 | 39.6131 | 2.5353 | 0.60016 | 223.5134 | 187.2862 | 36.8542 | 47.6106 | 102.8214 | 36.2273 | 0.42301 | 0 | 0 | 0.17209 | 0 | 0 | 3.5443 | 32.0879 | 223.5134
27 | 165.9711 | 48.172 | 9.3171 | 0 | 67.4625 | 0.95376 | 8.9661 | 16.6087 | 12.7864 | 1.7046 | 9.8813 | 32.5707 | 29.905 | 2.0655 | 0.60016 | 208.4231 | 159.4269 | 31.9149 | 40.8925 | 86.6195 | 48.9962 | 0.3325 | 0 | 0 | 0.1529 | 0 | 0 | 2.8187 | 45.6921 | 208.4231
28 | 181.507 | 71.9565 | 9.8329 | 0 | 67.3849 | 0.99523 | 8.8249 | 9.3424 | 11.4657 | 1.7046 | 9.894 | 0.086626 | 0.078878 | -0.32682 | 0.33457 | 191.4876 | 171.0044 | 34.0391 | 44.6543 | 92.311 | 20.4833 | 0.29361 | 0 | 0 | 0.15027 | 0 | 0 | 3.0984 | 16.941 | 191.4876
29 | 195.0821 | 71.9232 | 10.3452 | 0 | 67.459 | 0.99523 | 8.8249 | 19.7229 | 14.1071 | 1.7046 | 9.8931 | 21.3691 | 18.9908 | 2.0437 | 0.33457 | 226.3443 | 193.9177 | 40.2109 | 54.7119 | 98.9949 | 32.4266 | 0.36843 | 0 | 0 | 0.15352 | 0 | 0 | 3.4791 | 28.4255 | 226.3443
30 | 183.4113 | 59.8575 | 10.8671 | 0 | 67.3322 | 0.99523 | 8.8249 | 19.7229 | 14.1071 | 1.7046 | 9.8877 | 37.2693 | 34.6011 | 2.1641 | 0.50404 | 230.5683 | 170.1382 | 36.8166 | 43.2308 | 90.0908 | 60.4301 | 0.33205 | 0 | 0 | 0.15352 | 0 | 0 | 3.5199 | 56.4246 | 230.5683
31 | 176.5284 | 62.0044 | 11.9007 | 0 | 62.2266 | 0.99523 | 8.8249 | 19.4137 | 9.4583 | 1.7046 | 9.8999 | 6.0962 | 3.889 | 1.9904 | 0.21684 | 192.5245 | 177.5903 | 39.737 | 46.3721 | 91.4812 | 14.9342 | 0.40845 | 0 | 0 | 0.14309 | 0 | 0 | 3.7015 | 10.6811 | 192.5245
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points