## kWh
Gas Nomination - Monthly report
Month: January 2024
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Piombino | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Tarvisio | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Deliveries to other distribution networks | Other | Total Offtake
1 | 1086.105 | 0 | 43.571 | 0 | 301.9871 | 0 | 249.9083 | 273.75 | 33 | 183.439 | 0.44955 | 73.3399 | 607.8926 | 520.4336 | 78.2243 | 9.2346 | 1767.3375 | 1950.9802 | 168.0941 | 441.7801 | 1341.1061 | -183.6428 | 43.79 | 5.4592 | 7.8072 | 1.368 | 1.6383 | 0 | 25.1565 | -268.862 | 1767.3375
2 | 1082.0363 | 0 | 43.5852 | 0 | 297.9043 | 0 | 249.9083 | 273.75 | 33 | 183.439 | 0.44955 | 75.3825 | 902.8538 | 797.611 | 91.25 | 13.9928 | 2060.2726 | 1984.9112 | 213.7688 | 479.4882 | 1291.6542 | 75.3614 | 60.9384 | 6.0957 | 8.601 | 0 | 1.7243 | 0 | 27.2695 | -29.2675 | 2060.2726
3 | 1078.374 | 0 | 43.5242 | 0 | 297.3476 | 0 | 249.9083 | 273.75 | 33 | 180.3942 | 0.44955 | 75.1266 | 930.7485 | 839.7749 | 80.9126 | 10.061 | 2084.2491 | 1896.024 | 219.3107 | 456.4229 | 1220.2904 | 188.2251 | 15.24 | 6.5913 | 9.2406 | 0 | 1.7243 | 0 | 24.0544 | 131.3745 | 2084.2491
4 | 1124.5674 | 0 | 139.4261 | 0 | 298.0335 | 0 | 249.9083 | 273.75 | 33 | 130 | 0.44955 | 75.2262 | 914.8504 | 824.1622 | 80.9126 | 9.7756 | 2114.644 | 2080.2959 | 235.3202 | 423.7358 | 1421.2399 | 34.3481 | 36.36 | 6.6294 | 14.91 | 0 | 1.7234 | 0 | 33.3459 | -58.6207 | 2114.644
5 | 1086.9456 | 0 | 43.9503 | 0 | 302.4484 | 0 | 249.9083 | 273.75 | 33 | 183.439 | 0.44955 | 75.1945 | 914.8013 | 824.6879 | 80.9126 | 9.2008 | 2076.9414 | 2145.2262 | 232.1395 | 450.6346 | 1462.4521 | -68.2848 | 22.56 | 6.477 | 14.91 | 2.448 | 1.7005 | 0 | 34.6991 | -151.0793 | 2076.9414
6 | 965.3459 | 0 | 139.4307 | 0 | 302.9073 | 0 | 249.9083 | 142.35 | 33 | 97.3 | 0.44955 | 75.1085 | 823.7957 | 805.6729 | 84.895 | -66.7722 | 1864.25 | 1847.1678 | 198.945 | 329.5393 | 1318.6836 | 17.0821 | 36.36 | 5.1345 | 14.91 | 2.448 | 1.6187 | 0 | 29.2079 | -72.5969 | 1864.25
7 | 916.7692 | 0 | 38.124 | 0 | 269.4983 | 0 | 249.9083 | 142.35 | 33 | 183.439 | 0.44955 | 76.8869 | 659.572 | 633.8815 | 90.375 | -64.6845 | 1653.2281 | 1888.3542 | 210.1649 | 355.2349 | 1322.9543 | -235.1261 | 2.4 | 4.3575 | 10.1131 | 2.448 | 1.6976 | 0 | 28.7057 | -284.848 | 1653.2281
8 | 1033.436 | 0 | 87.2503 | 0 | 335.8804 | 0 | 249.9083 | 175.2 | 33 | 151.7475 | 0.44955 | 77.0616 | 1077.5636 | 935.5343 | 91.25 | 50.7793 | 2188.0611 | 2350.8272 | 279.5645 | 537.7691 | 1533.4935 | -162.766 | 0 | 6.0957 | 14.43 | 8.448 | 1.7234 | 0 | 35.8248 | -229.288 | 2188.0611
9 | 1098.315 | 0 | 139.4403 | 0 | 239.0694 | 0 | 249.9083 | 284.7 | 33 | 151.7475 | 0.44955 | 77.0345 | 981.7953 | 841.6851 | 85.53 | 54.5802 | 2157.1448 | 2458.8586 | 299.42 | 524.9384 | 1634.5001 | -301.7138 | 14.52 | 7.2244 | 14.502 | 10.848 | 1.7206 | 0 | 38.2441 | -388.7729 | 2157.1448
10 | 1099.0154 | 0 | 139.4403 | 0 | 239.0205 | 0 | 249.9083 | 284.7 | 33 | 151.7475 | 1.1988 | 77.0861 | 1032.6691 | 893.0428 | 85.53 | 54.0963 | 2208.7706 | 2553.127 | 306.5766 | 577.7044 | 1668.8459 | -344.3564 | 13.8 | 6.6144 | 1.9011 | 2.448 | 1.7206 | 0 | 32.6867 | -403.5272 | 2208.7706
11 | 1112.9334 | 0 | 43.6132 | 0 | 333.5808 | 0 | 249.9083 | 284.7 | 33 | 151.7475 | 16.3836 | 76.8759 | 1014.4349 | 876.2786 | 85.53 | 52.6263 | 2204.2442 | 2653.3286 | 320.6974 | 639.3129 | 1693.3183 | -449.0844 | 22.92 | 6.6144 | 2.1545 | 1.08 | 1.7206 | 0 | 42.5666 | -526.1406 | 2204.2442
12 | 1113.0504 | 0 | 43.573 | 0 | 333.6857 | 0 | 249.9083 | 284.7 | 33 | 128.8627 | 39.3206 | 77.0929 | 1017.1098 | 878.6687 | 86.08 | 52.3612 | 2207.2531 | 2485.2806 | 325.4113 | 535.3415 | 1624.5277 | -278.0275 | 2.496 | 6.6144 | 1.68 | 0 | 1.6972 | 0 | 38.4768 | -328.9919 | 2207.2531
13 | 1070.6145 | 0 | 32.6775 | 0 | 301.0081 | 0 | 249.9083 | 284.7 | 33 | 130 | 39.3206 | 76.9632 | 857.9261 | 807.4331 | 86.13 | -35.6371 | 2005.5038 | 2302.8026 | 285.8619 | 449.7175 | 1567.2232 | -297.2988 | 15.456 | 6.485 | 14.1585 | 0 | 1.7022 | 0 | 36.0216 | -371.1222 | 2005.5038
14 | 1102.3698 | 0 | 32.5913 | 0 | 295.0289 | 0 | 249.9083 | 284.7 | 33 | 128.5 | 78.6413 | 76.8588 | 845.2123 | 787.9181 | 91.13 | -33.8358 | 2024.4409 | 2275.2021 | 281.7754 | 419.9586 | 1573.4681 | -250.7612 | 0 | 6.5458 | 14.1637 | 7.368 | 1.6952 | 0 | 35.0825 | -315.6165 | 2024.4409
15 | 813.2496 | 0 | 0 | 0 | 0 | 0 | 249.9083 | 284.7 | 33 | 167 | 78.6413 | 77.4425 | 1074.3962 | 935.8595 | 91.25 | 47.2867 | 1965.0883 | 2601.5666 | 334.8847 | 583.0191 | 1683.6628 | -636.4783 | 0 | 6.7669 | 10.1455 | 0 | 1.7217 | 0 | 40.6481 | -695.7605 | 1965.0883
16 | 1176.2315 | 0 | 43.6043 | 0 | 334.4471 | 0 | 249.9083 | 284.7 | 72 | 158.8045 | 32.7672 | 76.6676 | 1058.2901 | 927.7385 | 86.25 | 44.3015 | 2311.1892 | 2557.3563 | 337.0215 | 562.4717 | 1657.8631 | -246.1671 | 14.52 | 7.1863 | 10.3165 | 2.448 | 1.7217 | 0 | 42.703 | -325.0626 | 2311.1892
17 | 1186.4485 | 0 | 54.5829 | 0 | 338.6007 | 0 | 249.9083 | 284.7 | 72 | 158.8045 | 27.8521 | 76.9292 | 1088.1185 | 958.3798 | 86.13 | 43.6087 | 2351.4963 | 2680.5179 | 344.9084 | 684.185 | 1651.4245 | -329.0217 | 14.52 | 6.6526 | 9.929 | 0 | 1.7217 | 0 | 41.9107 | -403.7556 | 2351.4963
18 | 1185.8432 | 0 | 54.8001 | 0 | 337.7781 | 0 | 249.9083 | 284.7 | 72 | 158.8045 | 27.8521 | 76.9501 | 1045.1454 | 915.4908 | 86.25 | 43.4046 | 2307.9387 | 2512.9863 | 346.0846 | 588.7408 | 1578.1609 | -205.0477 | 29.976 | 6.6526 | 9.4986 | 2.448 | 1.7226 | 0 | 41.133 | -296.4784 | 2307.9387
19 | 1145.1979 | 0 | 54.6484 | 0 | 303.3043 | 0 | 249.9083 | 284.7 | 65 | 159.7848 | 27.8521 | 77.2083 | 1054.1572 | 925.6275 | 85.53 | 42.9997 | 2276.5634 | 2422.6543 | 335.7494 | 579.6312 | 1507.2736 | -146.0909 | 21.12 | 6.1951 | 9.5712 | 2.448 | 1.7002 | 0 | 36.9027 | -224.0281 | 2276.5634
20 | 1168.37 | 0 | 106.4397 | 0 | 298.1467 | 0 | 249.9083 | 284.7 | 65 | 143.6958 | 20.4795 | 77.4653 | 898.0716 | 913.9711 | 85.53 | -101.4294 | 2143.907 | 2251.4033 | 299.9405 | 436.0117 | 1515.4511 | -107.4963 | 13.8 | 6.5957 | 9.9888 | 2.064 | 1.7041 | 0 | 35.8861 | -177.5351 | 2143.907
21 | 1146.7348 | 0 | 60.148 | 0 | 300.1666 | 0 | 272.5406 | 284.7 | 65 | 143.7 | 20.4795 | 77.8126 | 942.2096 | 952.1132 | 91.13 | -101.0336 | 2166.757 | 2269.2272 | 297.0105 | 394.7842 | 1577.4326 | -102.4702 | 1.44 | 6.7295 | 10.0996 | 2.064 | 1.6966 | 0 | 37.4995 | -161.9995 | 2166.757
22 | 1104.5467 | 0 | 0 | 0 | 308.0013 | 0 | 249.9083 | 284.7 | 65 | 174 | 22.937 | 77.8529 | 1126.4593 | 984.5433 | 91.25 | 50.666 | 2308.8589 | 2722.1016 | 344.7822 | 668.0335 | 1709.2859 | -413.2426 | 0 | 7.11 | 9.4606 | 2.064 | 1.7226 | 0 | 45.8704 | -479.4702 | 2308.8589
23 | 1121.7293 | 0 | 76.1194 | 0 | 306.742 | 0 | 249.9083 | 284.7 | 65 | 116.3226 | 22.937 | 77.5161 | 1030.9978 | 926.1944 | 86.25 | 18.5533 | 2230.2432 | 2626.4069 | 340.9126 | 667.921 | 1617.5733 | -396.1638 | 31.92 | 6.157 | 9.5577 | 1.08 | 1.7249 | 0 | 45.2298 | -491.8331 | 2230.2432
24 | 1225.9862 | 0.00024 | 139.4265 | 0 | 301.33 | 0 | 249.9083 | 284.7 | 65 | 123.3634 | 62.2577 | 77.8087 | 1085.398 | 955.9075 | 85.53 | 43.9605 | 2389.1928 | 2509.2037 | 340.3144 | 593.7372 | 1575.1521 | -120.0109 | 0 | 6.6144 | 9.3793 | 0 | 1.7249 | 0 | 44.4254 | -182.1549 | 2389.1928
25 | 1144.5724 | 0 | 32.6256 | 0 | 315.7362 | 0 | 249.9083 | 284.7 | 65 | 116.3226 | 80.2796 | 77.9423 | 1083.8243 | 954.9983 | 85.53 | 43.296 | 2306.3389 | 2487.6238 | 347.415 | 609.4552 | 1530.7536 | -181.2849 | 35.64 | 6.6144 | 9.965 | 0 | 1.7261 | 0 | 43.6149 | -278.8453 | 2306.3389
26 | 1151.8656 | 0 | 32.6921 | 0 | 315.9221 | 0 | 249.9083 | 284.7 | 65 | 123.3634 | 80.2796 | 78.1767 | 1051.9689 | 924.9997 | 85.53 | 41.4392 | 2282.0112 | 2435.9897 | 343.6128 | 562.9465 | 1529.4305 | -153.9786 | 34.92 | 5.1659 | 9.6682 | 0 | 1.7037 | 0 | 40.3939 | -245.8302 | 2282.0112
27 | 1117.8347 | 0 | 38.1211 | 0 | 297.5846 | 0 | 249.9083 | 284.7 | 65 | 102.241 | 80.2796 | 78.4679 | 963.7178 | 927.4983 | 81.105 | -44.8855 | 2160.0204 | 2158.9559 | 302.5764 | 452.1845 | 1404.1949 | 1.0646 | 37.08 | 4.4921 | 9.5572 | 0 | 1.7068 | 0 | 34.6818 | -86.4533 | 2160.0204
28 | 997.7342 | 0 | 38.1371 | 0 | 268.1904 | 0 | 249.9083 | 208.05 | 65 | 88.1687 | 80.2796 | 79.0344 | 901.208 | 873.4053 | 72.089 | -44.2863 | 1977.9766 | 2103.0337 | 302.6026 | 352.3798 | 1448.0513 | -125.0571 | 2.496 | 5.0035 | 6.1902 | 0 | 1.6991 | 0 | 35.548 | -175.9938 | 1977.9766
29 | 1074.4243 | 0.00024 | 65.3641 | 0 | 305.622 | 0 | 249.9083 | 164.25 | 65 | 144 | 80.2796 | 78.8937 | 1118.9451 | 989.1849 | 91.25 | 38.5102 | 2272.2631 | 2397.5226 | 354.8023 | 478.9046 | 1563.8156 | -125.2595 | 0 | 5.5852 | 10.1681 | 1.08 | 1.7257 | 0 | 42.2815 | -186.0999 | 2272.2631
30 | 1109.1589 | 0 | 43.6177 | 0 | 341.1033 | 0 | 249.9083 | 164.25 | 65 | 165 | 80.2796 | 78.2368 | 1081.7409 | 959.3089 | 85.53 | 36.9019 | 2269.1366 | 2501.3946 | 353.7224 | 612.8678 | 1534.8045 | -232.258 | 34.92 | 6.0807 | 14.886 | 1.08 | 1.7257 | 0 | 42.6454 | -333.5959 | 2269.1366
31 | 1157.666 | 0 | 139.4293 | 0 | 317.3082 | 0 | 249.9083 | 164.25 | 65 | 120.1919 | 101.5783 | 79.0423 | 1030.958 | 908.7816 | 85.48 | 36.6964 | 2267.6663 | 2477.7387 | 350.6549 | 596.6179 | 1530.4659 | -210.0723 | 34.92 | 5.9283 | 14.8549 | 0 | 1.7257 | 0 | 40.0376 | -307.5389 | 2267.6663
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Nomination - Monthly report
Month: January 2024
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Piombino | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Tarvisio | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Deliveries to other distribution networks | Other | Total Offtake
1 | 93.529 | 0 | 3.7945 | 0 | 25.7518 | 0 | 21.3154 | 23.6608 | 2.8643 | 16.1013 | 0.040847 | 6.5732 | 52.6109 | 44.7723 | 7.011 | 0.82767 | 152.7131 | 174.8594 | 15.0657 | 39.5952 | 120.1985 | -22.1463 | 3.7843 | 0.47019 | 0.67217 | 0.12013 | 0.14667 | 0 | 2.2547 | -29.5944 | 152.7131
2 | 93.1676 | 0 | 3.7958 | 0 | 25.3968 | 0 | 21.3158 | 23.6539 | 2.8657 | 16.0986 | 0.040912 | 6.7563 | 77.9598 | 68.5272 | 8.1784 | 1.2541 | 177.8837 | 177.9005 | 19.1593 | 42.9748 | 115.7664 | -0.016808 | 5.2592 | 0.52522 | 0.74014 | 0 | 0.15627 | 0 | 2.4441 | -9.1417 | 177.8837
3 | 92.8294 | 0 | 3.7923 | 0 | 25.3226 | 0 | 21.3157 | 23.6609 | 2.8663 | 15.8307 | 0.040962 | 6.7333 | 80.2626 | 72.109 | 7.2519 | 0.90173 | 179.8254 | 169.9339 | 19.656 | 40.9076 | 109.3703 | 9.8915 | 1.316 | 0.57582 | 0.79911 | 0 | 0.15627 | 0 | 2.1559 | 4.8885 | 179.8254
4 | 96.8574 | 0 | 12.1324 | 0 | 25.3768 | 0 | 21.3144 | 23.7208 | 2.8656 | 11.4064 | 0.040991 | 6.7423 | 78.9372 | 70.8092 | 7.2519 | 0.87615 | 182.5369 | 186.4495 | 21.0909 | 37.9779 | 127.3807 | -3.9126 | 3.1397 | 0.58151 | 1.2901 | 0 | 0.15327 | 0 | 2.9887 | -12.0659 | 182.5369
5 | 93.5827 | 0 | 3.8234 | 0 | 25.73 | 0 | 21.3108 | 23.714 | 2.8609 | 16.1025 | 0.040998 | 6.7394 | 78.9123 | 70.8358 | 7.2519 | 0.82464 | 179.2345 | 192.269 | 20.8058 | 40.3888 | 131.0744 | -13.0345 | 1.9473 | 0.57067 | 1.2866 | 0.21629 | 0.14935 | 0 | 3.11 | -20.3147 | 179.2345
6 | 83.0072 | 0 | 12.1145 | 0 | 25.7904 | 0 | 21.3169 | 12.3346 | 2.8586 | 8.5513 | 0.04099 | 6.7317 | 70.826 | 69.2017 | 7.6088 | -5.9846 | 160.565 | 165.5551 | 17.8307 | 29.5354 | 118.1889 | -4.9901 | 3.1391 | 0.44364 | 1.2859 | 0.21557 | 0.14695 | 0 | 2.6178 | -12.839 | 160.565
7 | 78.936 | 0 | 3.3116 | 0 | 22.9184 | 0 | 21.3202 | 12.3318 | 2.858 | 16.1552 | 0.040945 | 6.8911 | 56.7249 | 54.4224 | 8.1 | -5.7974 | 142.5521 | 169.2464 | 18.8363 | 31.8384 | 118.5717 | -26.6944 | 0.20705 | 0.37371 | 0.87461 | 0.21557 | 0.15413 | 0 | 2.5728 | -31.0922 | 142.5521
8 | 88.884 | 0 | 7.5806 | 0 | 28.554 | 0 | 21.3223 | 15.1706 | 2.8575 | 13.358 | 0.040941 | 6.9068 | 93.0697 | 80.3401 | 8.1784 | 4.5512 | 188.8605 | 210.6962 | 25.0564 | 48.1983 | 137.4415 | -21.8358 | 0 | 0.53312 | 1.2498 | 0.74371 | 0.1518 | 0 | 3.2108 | -27.725 | 188.8605
9 | 94.6725 | 0 | 12.1186 | 0 | 20.3451 | 0 | 21.327 | 24.6276 | 2.8566 | 13.3566 | 0.040918 | 6.9043 | 84.8313 | 72.2738 | 7.6657 | 4.8918 | 186.4082 | 220.3787 | 26.8359 | 47.0484 | 146.4944 | -33.9705 | 1.2621 | 0.63487 | 1.2528 | 0.95313 | 0.14738 | 0 | 3.4277 | -41.6484 | 186.4082
10 | 94.8295 | 0 | 12.1314 | 0 | 20.3557 | 0 | 21.3284 | 24.689 | 2.8604 | 13.3558 | 0.10873 | 6.909 | 89.2036 | 76.6894 | 7.6657 | 4.8485 | 190.9421 | 228.8277 | 27.4774 | 51.7776 | 149.5727 | -37.8855 | 1.2024 | 0.57944 | 0.16432 | 0.21441 | 0.14657 | 0 | 2.9296 | -43.1222 | 190.9421
11 | 96.0093 | 0 | 3.7942 | 0 | 28.4212 | 0 | 21.3256 | 24.883 | 2.8608 | 13.3553 | 1.3693 | 6.8901 | 87.6388 | 75.2563 | 7.6657 | 4.7167 | 190.5382 | 237.8084 | 28.743 | 57.2993 | 151.7661 | -47.2702 | 1.9953 | 0.57859 | 0.18716 | 0.094515 | 0.14694 | 0 | 3.8151 | -54.0878 | 190.5382
12 | 95.835 | 0 | 3.8007 | 0 | 28.4177 | 0 | 21.3262 | 24.8562 | 2.8605 | 11.3474 | 3.2262 | 6.9096 | 87.8654 | 75.4574 | 7.715 | 4.6929 | 190.6099 | 222.7468 | 29.1655 | 47.9808 | 145.6006 | -32.1369 | 0.21711 | 0.57768 | 0.1471 | 0 | 0.14511 | 0 | 3.4485 | -36.6724 | 190.6099
13 | 91.3933 | 0 | 2.8365 | 0 | 25.6628 | 0 | 21.3221 | 24.7377 | 2.8599 | 10.7265 | 3.2479 | 6.8979 | 73.8736 | 69.3481 | 7.7195 | -3.194 | 172.1648 | 206.392 | 25.6208 | 40.3066 | 140.4646 | -34.2271 | 1.337 | 0.56617 | 1.2418 | 0 | 0.14559 | 0 | 3.2285 | -40.7462 | 172.1648
14 | 94.6193 | 0 | 2.8331 | 0 | 25.1604 | 0 | 21.3168 | 24.7311 | 2.8591 | 11.1953 | 6.5234 | 6.8886 | 72.8159 | 67.6808 | 8.1677 | -3.0326 | 174.3238 | 203.9182 | 25.2545 | 37.6394 | 141.0243 | -29.5944 | 0 | 0.57269 | 1.2415 | 0.64474 | 0.14462 | 0 | 3.1443 | -35.3423 | 174.3238
15 | 69.9175 | 0 | 0 | 0 | 0 | 0 | 21.316 | 24.727 | 2.858 | 14.4569 | 6.5596 | 6.9409 | 92.806 | 80.3895 | 8.1784 | 4.2381 | 169.6644 | 233.1691 | 30.0145 | 52.2539 | 150.9007 | -63.5047 | 0 | 0.591 | 0.88303 | 0 | 0.14682 | 0 | 3.6431 | -68.7687 | 169.6644
16 | 100.9542 | 0 | 3.7699 | 0 | 28.4407 | 0 | 21.3116 | 24.7302 | 6.228 | 13.7477 | 2.7261 | 6.8714 | 91.385 | 79.6841 | 7.7303 | 3.9706 | 199.2106 | 229.2067 | 30.206 | 50.4123 | 148.5883 | -29.9961 | 1.2632 | 0.62756 | 0.90253 | 0.2138 | 0.14715 | 0 | 3.8273 | -36.9777 | 199.2106
17 | 101.9042 | 0 | 4.7323 | 0 | 28.8459 | 0 | 21.3101 | 24.7106 | 6.233 | 13.7495 | 2.3227 | 6.8949 | 94.0036 | 82.3756 | 7.7195 | 3.9085 | 202.8028 | 240.2453 | 30.9129 | 61.3211 | 148.0113 | -37.4425 | 1.2624 | 0.58128 | 0.86969 | 0 | 0.14727 | 0 | 3.7563 | -44.0595 | 202.8028
18 | 79.6427 | 0 | 4.7513 | 0 | 28.7722 | 0 | 21.3147 | 2.4684 | 6.2765 | 13.7461 | 2.3136 | 6.8968 | 90.4393 | 78.8188 | 7.7303 | 3.8902 | 176.9788 | 225.23 | 31.0183 | 52.7667 | 141.4449 | -48.2512 | 2.6072 | 0.58171 | 0.83179 | 0.21415 | 0.14754 | 0 | 3.6866 | -56.3202 | 176.9788
19 | 98.4105 | 0 | 4.7352 | 0 | 25.8505 | 0 | 21.3136 | 24.6617 | 5.7206 | 13.822 | 2.3068 | 6.9199 | 91.2018 | 79.6821 | 7.6657 | 3.8539 | 196.5322 | 217.1339 | 30.092 | 51.9503 | 135.0916 | -20.6016 | 1.8358 | 0.54186 | 0.83763 | 0.2141 | 0.14744 | 0 | 3.3075 | -27.4859 | 196.5322
20 | 100.5341 | 0 | 9.2783 | 0 | 25.4399 | 0 | 21.3163 | 24.654 | 5.7185 | 12.422 | 1.7051 | 6.9429 | 77.2592 | 78.6842 | 7.6657 | -9.0908 | 184.7362 | 201.7852 | 26.8826 | 39.0782 | 135.8245 | -17.049 | 1.2 | 0.57594 | 0.87331 | 0.18025 | 0.14777 | 0 | 3.2163 | -23.2426 | 184.7362
21 | 87.9443 | 0 | 5.2414 | 0 | 25.559 | 0 | 23.2461 | 13.9116 | 5.7178 | 12.5601 | 1.7083 | 6.9741 | 81.0972 | 81.9849 | 8.1677 | -9.0553 | 176.0156 | 203.3827 | 26.62 | 35.3831 | 141.3796 | -27.3671 | 0.12534 | 0.58876 | 0.87906 | 0.18069 | 0.14526 | 0 | 3.361 | -32.6471 | 176.0156
22 | 95.1219 | 0 | 0 | 0 | 26.1416 | 0 | 21.3125 | 24.6731 | 5.7651 | 15.3188 | 1.9108 | 6.9777 | 97.5118 | 84.7924 | 8.1784 | 4.541 | 199.6114 | 243.9722 | 30.9016 | 59.8735 | 153.1972 | -44.3608 | 0 | 0.62228 | 0.82718 | 0.18046 | 0.14779 | 0 | 4.1112 | -50.2498 | 199.6114
23 | 96.5319 | 0 | 6.6326 | 0 | 26.014 | 0 | 21.3064 | 24.6597 | 5.7747 | 10.2381 | 1.9065 | 6.9475 | 89.1639 | 79.7708 | 7.7303 | 1.6629 | 192.6434 | 235.3955 | 30.5548 | 59.8634 | 144.9773 | -42.7521 | 2.7798 | 0.53927 | 0.83679 | 0.094655 | 0.14851 | 0 | 4.0538 | -51.2049 | 192.6434
24 | 105.4629 | 2.09e-05 | 12.1241 | 0 | 25.5827 | 0 | 21.3071 | 24.6516 | 5.7909 | 10.8573 | 5.1492 | 6.9737 | 93.9445 | 82.3387 | 7.6657 | 3.94 | 206.3811 | 224.891 | 30.5012 | 53.2145 | 141.1753 | -18.5098 | 0 | 0.58111 | 0.82204 | 0 | 0.14851 | 0 | 3.9817 | -24.0432 | 206.3811
25 | 98.3342 | 0 | 2.8385 | 0 | 26.8419 | 0 | 21.3066 | 24.6406 | 5.7951 | 10.2369 | 6.6747 | 6.9857 | 93.8172 | 82.271 | 7.6657 | 3.8805 | 199.1371 | 222.9568 | 31.1376 | 54.6233 | 137.196 | -23.8197 | 3.1041 | 0.58138 | 0.87283 | 0 | 0.14861 | 0 | 3.9091 | -32.4356 | 199.1371
26 | 99.0707 | 0 | 2.8431 | 0 | 26.9409 | 0 | 21.3083 | 24.6338 | 5.7726 | 10.8571 | 6.7149 | 7.0067 | 90.9977 | 79.6179 | 7.6657 | 3.714 | 197.075 | 218.3291 | 30.7968 | 50.4549 | 137.0774 | -21.254 | 3.0397 | 0.45422 | 0.84399 | 0 | 0.14669 | 0 | 3.6204 | -29.359 | 197.075
27 | 96.067 | 0 | 3.3159 | 0 | 25.3418 | 0 | 21.308 | 24.6646 | 5.7644 | 8.9968 | 6.6756 | 7.0328 | 82.9178 | 79.6716 | 7.2692 | -4.0229 | 186.0176 | 193.4995 | 27.1188 | 40.5277 | 125.853 | -7.4819 | 3.2268 | 0.39601 | 0.83477 | 0 | 0.14695 | 0 | 3.1084 | -15.1949 | 186.0176
28 | 85.6633 | 0 | 3.3141 | 0 | 22.8267 | 0 | 21.3093 | 18.0244 | 5.7657 | 7.7569 | 6.666 | 7.0836 | 77.5101 | 75.0183 | 6.4611 | -3.9692 | 170.2569 | 188.4874 | 27.1212 | 31.5825 | 129.7837 | -18.2305 | 0.21718 | 0.4415 | 0.54136 | 0 | 0.14629 | 0 | 3.186 | -22.7628 | 170.2569
29 | 92.2122 | 2.09e-05 | 5.6892 | 0 | 25.976 | 0 | 21.3132 | 14.2298 | 5.7663 | 12.5341 | 6.7035 | 7.071 | 96.7162 | 85.0862 | 8.1784 | 3.4515 | 195.9993 | 214.8814 | 31.7997 | 42.9225 | 140.1592 | -18.8821 | 0 | 0.49169 | 0.88457 | 0.095059 | 0.14858 | 0 | 3.7895 | -24.2915 | 195.9993
30 | 95.1629 | 0 | 3.7964 | 0 | 28.9917 | 0 | 21.3132 | 14.2298 | 5.7663 | 14.3619 | 6.7035 | 7.0121 | 93.4896 | 82.5164 | 7.6657 | 3.3074 | 195.6646 | 224.1911 | 31.7029 | 54.9292 | 137.559 | -28.5265 | 3.0187 | 0.53531 | 1.295 | 0.095059 | 0.14858 | 0 | 3.8222 | -37.4413 | 195.6646
31 | 99.3581 | 0 | 12.1358 | 0 | 26.9693 | 0 | 21.3132 | 14.2298 | 5.7663 | 10.4617 | 8.482 | 7.0843 | 89.1205 | 78.1702 | 7.6613 | 3.289 | 195.5629 | 222.0709 | 31.4279 | 53.4727 | 137.1702 | -26.508 | 3.0187 | 0.52189 | 1.2923 | 0 | 0.14858 | 0 | 3.5884 | -35.0779 | 195.5629
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Nomination - Monthly report
Month: January 2024
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Piombino | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Tarvisio | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Deliveries to other distribution networks | Other | Total Offtake
1 | 102.7268 | 0 | 4.1211 | 0 | 28.5628 | 0 | 23.637 | 25.892 | 3.1212 | 17.3502 | 0.04252 | 6.9367 | 57.4962 | 49.2241 | 7.3987 | 0.87344 | 167.1597 | 184.5291 | 15.8988 | 41.7848 | 126.8455 | -17.3694 | 4.1418 | 0.51634 | 0.73843 | 0.12939 | 0.15496 | 0 | 2.3794 | -25.4297 | 167.1597
2 | 102.342 | 0 | 4.1224 | 0 | 28.1766 | 0 | 23.637 | 25.892 | 3.1212 | 17.3502 | 0.04252 | 7.1299 | 85.3944 | 75.4403 | 8.6307 | 1.3235 | 194.8663 | 187.7384 | 20.2189 | 45.3513 | 122.1682 | 7.1279 | 5.7637 | 0.57655 | 0.81351 | 0 | 0.16309 | 0 | 2.5792 | -2.7682 | 194.8663
3 | 101.9956 | 0 | 4.1166 | 0 | 28.124 | 0 | 23.637 | 25.892 | 3.1212 | 17.0622 | 0.04252 | 7.1057 | 88.0328 | 79.4282 | 7.6529 | 0.95159 | 197.1341 | 179.3312 | 20.743 | 43.1697 | 115.4184 | 17.8029 | 1.4414 | 0.62343 | 0.874 | 0 | 0.16309 | 0 | 2.2751 | 12.4258 | 197.1341
4 | 106.3647 | 0 | 13.1873 | 0 | 28.1888 | 0 | 23.637 | 25.892 | 3.1212 | 12.2958 | 0.04252 | 7.1151 | 86.5291 | 77.9515 | 7.6529 | 0.9246 | 200.0089 | 196.7602 | 22.2572 | 40.0781 | 134.4248 | 3.2487 | 3.439 | 0.62703 | 1.4102 | 0 | 0.16301 | 0 | 3.1539 | -5.5445 | 200.0089
5 | 102.8063 | 0 | 4.1569 | 0 | 28.6064 | 0 | 23.637 | 25.892 | 3.1212 | 17.3502 | 0.04252 | 7.1121 | 86.5244 | 78.0013 | 7.6529 | 0.87024 | 196.4429 | 202.9014 | 21.9564 | 42.6223 | 138.3228 | -6.4586 | 2.1338 | 0.61261 | 1.4102 | 0.23154 | 0.16084 | 0 | 3.2819 | -14.2895 | 196.4429
6 | 91.3051 | 0 | 13.1877 | 0 | 28.6498 | 0 | 23.637 | 13.4639 | 3.1212 | 9.2029 | 0.04252 | 7.104 | 77.9169 | 76.2028 | 8.0296 | -6.3155 | 176.3259 | 174.7103 | 18.8168 | 31.1687 | 124.7247 | 1.6157 | 3.439 | 0.48563 | 1.4102 | 0.23154 | 0.1531 | 0 | 2.7626 | -6.8664 | 176.3259
7 | 86.7106 | 0 | 3.6059 | 0 | 25.4899 | 0 | 23.637 | 13.4639 | 3.1212 | 17.3502 | 0.04252 | 7.2722 | 62.3841 | 59.9543 | 8.5479 | -6.118 | 156.3669 | 178.6058 | 19.878 | 33.5991 | 125.1287 | -22.2389 | 0.227 | 0.41214 | 0.95652 | 0.23154 | 0.16056 | 0 | 2.7151 | -26.9417 | 156.3669
8 | 97.7452 | 0 | 8.2524 | 0 | 31.7685 | 0 | 23.637 | 16.5709 | 3.1212 | 14.3527 | 0.04252 | 7.2887 | 101.9189 | 88.4854 | 8.6307 | 4.8028 | 206.9529 | 222.3478 | 26.442 | 50.8637 | 145.0421 | -15.3949 | 0 | 0.57655 | 1.3648 | 0.79904 | 0.16301 | 0 | 3.3884 | -21.6867 | 206.9529
9 | 103.8817 | 0 | 13.1886 | 0 | 22.6118 | 0 | 23.637 | 26.9277 | 3.1212 | 14.3527 | 0.04252 | 7.2861 | 92.8609 | 79.6089 | 8.0897 | 5.1624 | 204.0287 | 232.5657 | 28.32 | 49.6501 | 154.5956 | -28.5369 | 1.3733 | 0.6833 | 1.3716 | 1.026 | 0.16274 | 0 | 3.6172 | -36.7712 | 204.0287
10 | 103.9479 | 0 | 13.1886 | 0 | 22.6072 | 0 | 23.637 | 26.9277 | 3.1212 | 14.3527 | 0.11339 | 7.291 | 97.6727 | 84.4665 | 8.0897 | 5.1166 | 208.9116 | 241.4818 | 28.9969 | 54.6409 | 157.8441 | -32.5702 | 1.3052 | 0.62561 | 0.17981 | 0.23154 | 0.16274 | 0 | 3.0916 | -38.1667 | 208.9116
11 | 105.2643 | 0 | 4.1251 | 0 | 31.551 | 0 | 23.637 | 26.9277 | 3.1212 | 14.3527 | 1.5496 | 7.2711 | 95.9481 | 82.8809 | 8.0897 | 4.9775 | 208.4835 | 250.9592 | 30.3325 | 60.468 | 160.1587 | -42.4756 | 2.1678 | 0.62561 | 0.20378 | 0.10215 | 0.16274 | 0 | 4.0261 | -49.7638 | 208.4835
12 | 105.2754 | 0 | 4.1213 | 0 | 31.5609 | 0 | 23.637 | 26.9277 | 3.1212 | 12.1882 | 3.7191 | 7.2917 | 96.2011 | 83.1069 | 8.1417 | 4.9525 | 208.7681 | 235.0647 | 30.7783 | 50.6341 | 153.6523 | -26.2966 | 0.23608 | 0.62561 | 0.1589 | 0 | 0.16052 | 0 | 3.6392 | -31.117 | 208.7681
13 | 101.2617 | 0 | 3.0907 | 0 | 28.4702 | 0 | 23.637 | 26.9277 | 3.1212 | 12.2958 | 3.7191 | 7.2794 | 81.145 | 76.3693 | 8.1464 | -3.3707 | 189.6861 | 217.8055 | 27.0376 | 42.5355 | 148.2323 | -28.1193 | 1.4619 | 0.61337 | 1.3391 | 0 | 0.161 | 0 | 3.407 | -35.1018 | 189.6861
14 | 104.2652 | 0 | 3.0826 | 0 | 27.9047 | 0 | 23.637 | 26.9277 | 3.1212 | 12.1539 | 7.4381 | 7.2695 | 79.9425 | 74.5235 | 8.6193 | -3.2003 | 191.4772 | 215.1949 | 26.6511 | 39.7209 | 148.823 | -23.7177 | 0 | 0.61912 | 1.3396 | 0.69689 | 0.16034 | 0 | 3.3182 | -29.8519 | 191.4772
15 | 76.9194 | 0 | 0 | 0 | 0 | 0 | 23.637 | 26.9277 | 3.1212 | 15.7953 | 7.4381 | 7.3247 | 101.6194 | 88.5162 | 8.6307 | 4.4725 | 185.8635 | 246.0634 | 31.6743 | 55.1436 | 159.2455 | -60.1999 | 0 | 0.64003 | 0.95959 | 0 | 0.16284 | 0 | 3.8446 | -65.807 | 185.8635
16 | 111.2512 | 0 | 4.1242 | 0 | 31.6329 | 0 | 23.637 | 26.9277 | 6.81 | 15.0202 | 3.0992 | 7.2514 | 100.096 | 87.7481 | 8.1578 | 4.1902 | 218.5987 | 241.8818 | 31.8764 | 53.2001 | 156.8053 | -23.2832 | 1.3733 | 0.6797 | 0.97577 | 0.23154 | 0.16284 | 0 | 4.039 | -30.7453 | 218.5987
17 | 112.2176 | 0 | 5.1626 | 0 | 32.0258 | 0 | 23.637 | 26.9277 | 6.81 | 15.0202 | 2.6343 | 7.2762 | 102.9173 | 90.6462 | 8.1464 | 4.1246 | 222.411 | 253.5308 | 32.6224 | 64.7121 | 156.1963 | -31.1198 | 1.3733 | 0.62922 | 0.93911 | 0 | 0.16284 | 0 | 3.964 | -38.1883 | 222.411
18 | 112.1603 | 0 | 5.1831 | 0 | 31.948 | 0 | 23.637 | 26.9277 | 6.81 | 15.0202 | 2.6343 | 7.2781 | 98.8527 | 86.5897 | 8.1578 | 4.1053 | 218.2912 | 237.6852 | 32.7336 | 55.6847 | 149.2668 | -19.394 | 2.8352 | 0.62922 | 0.8984 | 0.23154 | 0.16293 | 0 | 3.8905 | -28.0418 | 218.2912
19 | 108.316 | 0 | 5.1688 | 0 | 28.6874 | 0 | 23.637 | 26.9277 | 6.1479 | 15.1129 | 2.6343 | 7.3026 | 99.7051 | 87.5484 | 8.0897 | 4.067 | 215.3237 | 229.1414 | 31.7561 | 54.8231 | 142.5621 | -13.8177 | 1.9976 | 0.58595 | 0.90527 | 0.23154 | 0.16081 | 0 | 3.4904 | -21.1892 | 215.3237
20 | 110.5077 | 0 | 10.0674 | 0 | 28.1995 | 0 | 23.637 | 26.9277 | 6.1479 | 13.5911 | 1.937 | 7.3269 | 84.9421 | 86.4459 | 8.0897 | -9.5935 | 202.7767 | 212.944 | 28.3692 | 41.2392 | 143.3356 | -10.1673 | 1.3052 | 0.62384 | 0.94477 | 0.19522 | 0.16118 | 0 | 3.3942 | -16.7918 | 202.7767
21 | 108.4614 | 0 | 5.689 | 0 | 28.3906 | 0 | 25.7776 | 26.9277 | 6.1479 | 13.5915 | 1.937 | 7.3597 | 89.1168 | 90.0535 | 8.6193 | -9.556 | 204.9379 | 214.6298 | 28.0921 | 37.3398 | 149.1979 | -9.6919 | 0.1362 | 0.63649 | 0.95525 | 0.19522 | 0.16047 | 0 | 3.5468 | -15.3224 | 204.9379
22 | 104.4711 | 0 | 0 | 0 | 29.1316 | 0 | 23.637 | 26.9277 | 6.1479 | 16.4574 | 2.1694 | 7.3635 | 106.5436 | 93.1208 | 8.6307 | 4.7921 | 218.3783 | 257.4639 | 32.6105 | 63.1845 | 161.669 | -39.0856 | 0 | 0.67248 | 0.89481 | 0.19522 | 0.16293 | 0 | 4.3385 | -45.3496 | 218.3783
23 | 106.0963 | 0 | 7.1996 | 0 | 29.0125 | 0 | 23.637 | 26.9277 | 6.1479 | 11.0021 | 2.1694 | 7.3317 | 97.5146 | 87.602 | 8.1578 | 1.7548 | 210.9426 | 248.4128 | 32.2445 | 63.1738 | 152.9946 | -37.4703 | 3.0191 | 0.58235 | 0.90399 | 0.10215 | 0.16315 | 0 | 4.278 | -46.5189 | 210.9426
24 | 115.9572 | 2.27e-05 | 13.1873 | 0 | 28.5006 | 0 | 23.637 | 26.9277 | 6.1479 | 11.6681 | 5.8885 | 7.3594 | 102.66 | 90.4124 | 8.0897 | 4.1579 | 225.9765 | 237.3274 | 32.1879 | 56.1573 | 148.9823 | -11.351 | 0 | 0.62561 | 0.88712 | 0 | 0.16315 | 0 | 4.2019 | -17.2287 | 225.9765
25 | 108.2568 | 0 | 3.0858 | 0 | 29.8632 | 0 | 23.637 | 26.9277 | 6.1479 | 11.0021 | 7.5931 | 7.372 | 102.5111 | 90.3264 | 8.0897 | 4.0951 | 218.1399 | 235.2864 | 32.8595 | 57.644 | 144.7829 | -17.1464 | 3.3709 | 0.62561 | 0.94252 | 0 | 0.16326 | 0 | 4.1252 | -26.374 | 218.1399
26 | 108.9466 | 0 | 3.0921 | 0 | 29.8808 | 0 | 23.637 | 26.9277 | 6.1479 | 11.6681 | 7.5931 | 7.3942 | 99.4981 | 87.489 | 8.0897 | 3.9194 | 215.8389 | 230.4027 | 32.4999 | 53.245 | 144.6578 | -14.5637 | 3.3028 | 0.4886 | 0.91444 | 0 | 0.16114 | 0 | 3.8206 | -23.2513 | 215.8389
27 | 105.7279 | 0 | 3.6056 | 0 | 28.1464 | 0 | 23.637 | 26.9277 | 6.1479 | 9.6702 | 7.5931 | 7.4217 | 91.1511 | 87.7254 | 7.6711 | -4.2454 | 204.3007 | 204.2 | 28.6185 | 42.7689 | 132.8126 | 0.10069 | 3.5071 | 0.42487 | 0.90394 | 0 | 0.16143 | 0 | 3.2803 | -8.177 | 204.3007
28 | 94.3685 | 0 | 3.6071 | 0 | 25.3662 | 0 | 23.637 | 19.6779 | 6.1479 | 8.3392 | 7.5931 | 7.4753 | 85.2388 | 82.6091 | 6.8184 | -4.1887 | 187.0825 | 198.9108 | 28.621 | 33.3291 | 136.9607 | -11.8282 | 0.23608 | 0.47324 | 0.58548 | 0 | 0.1607 | 0 | 3.3622 | -16.646 | 187.0825
29 | 101.622 | 2.27e-05 | 6.1823 | 0 | 28.9066 | 0 | 23.637 | 15.5352 | 6.1479 | 13.6199 | 7.5931 | 7.462 | 105.8329 | 93.5599 | 8.6307 | 3.6424 | 214.9169 | 226.7643 | 33.5582 | 45.2961 | 147.91 | -11.8474 | 0 | 0.52826 | 0.96172 | 0.10215 | 0.16322 | 0 | 3.9991 | -17.6018 | 214.9169
30 | 104.9073 | 0 | 4.1255 | 0 | 32.2625 | 0 | 23.637 | 15.5352 | 6.1479 | 15.6062 | 7.5931 | 7.3999 | 102.314 | 90.7341 | 8.0897 | 3.4903 | 214.6212 | 236.5888 | 33.456 | 57.9667 | 145.1661 | -21.9676 | 3.3028 | 0.57513 | 1.408 | 0.10215 | 0.16322 | 0 | 4.0335 | -31.5524 | 214.6212
31 | 109.4953 | 0 | 13.1876 | 0 | 30.0119 | 0 | 23.637 | 15.5352 | 6.1479 | 11.3681 | 9.6076 | 7.476 | 97.5109 | 85.9551 | 8.0849 | 3.4708 | 214.4822 | 234.3514 | 33.1659 | 56.4298 | 144.7557 | -19.8692 | 3.3028 | 0.56071 | 1.405 | 0 | 0.16322 | 0 | 3.7869 | -29.0879 | 214.4822
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points