## kWh
Gas Re-Nomination - Monthly report
Month: February 2020
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 1684.0424 | 622.3262 | 130.5604 | 0 | 292.9878 | 368.4103 | 149.26 | 39.5787 | 80.919 | 121.9662 | 1154.7089 | 1079.8356 | 65.0608 | 9.8125 | 2960.7175 | 2521.5947 | 387.012 | 536.2162 | 1598.3665 | 439.1228 | 4.9821 | 0 | 0 | 1.9235 | 0 | 49.1427 | 383.0745 | 2960.7175
2 | 1556.7799 | 599.8869 | 108.7174 | 0 | 251.1357 | 368.4103 | 104.2625 | 43.4482 | 80.919 | 121.8744 | 847.8606 | 775.1052 | 63.5694 | 9.186 | 2526.5149 | 2418.3702 | 369.7018 | 495.1354 | 1553.533 | 108.1447 | 4.5035 | 0 | 0 | 2.6083 | 0 | 44.6791 | 56.3538 | 2526.5149
3 | 1919.1357 | 722.7057 | 152.0154 | 0 | 274.7462 | 365.4103 | 197.55 | 129.0259 | 77.6822 | 122.3067 | 1141.5637 | 1051.6592 | 79.8516 | 10.053 | 3183.0061 | 2846.3645 | 438.1553 | 697.3482 | 1710.8611 | 336.6415 | 5.2013 | 0 | 0 | 2.7083 | 0 | 50.6309 | 278.1011 | 3183.0061
4 | 1761.9471 | 707.9 | 141.1115 | 0 | 277.051 | 245.5783 | 208.525 | 132.4786 | 49.3026 | 121.7858 | 1029.5855 | 955.8077 | 71.9449 | 1.833 | 2913.3184 | 2711.9278 | 441.4825 | 672.0348 | 1598.4106 | 201.3906 | 6.637 | 0 | 0 | 2.2667 | 0 | 54.1931 | 138.2938 | 2913.3184
5 | 1718.2874 | 712.4413 | 130.4966 | 0 | 276.844 | 310.2893 | 214.0125 | 39.2147 | 34.989 | 120.0958 | 1211.3734 | 1119.681 | 81.6394 | 10.053 | 3049.7566 | 2784.9395 | 435.8858 | 604.6245 | 1744.4292 | 264.8171 | 6.637 | 0 | 0 | 2.6083 | 0 | 60.563 | 195.0088 | 3049.7566
6 | 2122.8725 | 924.7277 | 130.3326 | 0 | 276.9004 | 385.5703 | 240.3525 | 130 | 34.989 | 120.0399 | 1210.7672 | 1119.9351 | 80.7792 | 10.053 | 3453.6796 | 2876.4563 | 439.2553 | 625.0208 | 1812.1802 | 577.2233 | 6.6002 | 0 | 0 | 2.653 | 0 | 62.1954 | 505.7747 | 3453.6796
7 | 1975.867 | 783.0355 | 119.2518 | 0 | 276.1766 | 362.2903 | 240.3525 | 155 | 39.7602 | 120.0482 | 1201.4982 | 1109.8298 | 80.7792 | 10.8892 | 3297.4133 | 2939.3362 | 434.1243 | 658.6853 | 1846.5266 | 358.0771 | 6.4898 | 0 | 0 | 2.7331 | 0 | 61.734 | 287.1202 | 3297.4133
8 | 1659.0194 | 704.155 | 119.4252 | 0 | 248.5033 | 345.6099 | 130.6025 | 31.2031 | 79.5204 | 120.1889 | 1077.5926 | 1021.786 | 58.0462 | -2.2395 | 2856.8009 | 2632.2882 | 386.8246 | 551.8429 | 1693.6206 | 224.5128 | 5.876 | 0 | 0 | 2.5131 | 0 | 50.6114 | 165.5122 | 2856.8009
9 | 1662.6361 | 739.8872 | 97.6412 | 0 | 245.8539 | 345.6103 | 122.92 | 31.2031 | 79.5204 | 119.6614 | 1023.4082 | 964.3943 | 61.9735 | -2.9595 | 2805.7057 | 2485.553 | 366.2583 | 512.1729 | 1607.1217 | 320.1527 | 5.75 | 0 | 0 | 2.0891 | 0 | 50.258 | 262.0557 | 2805.7057
10 | 1941.103 | 741.9594 | 141.3756 | 0 | 249.7208 | 365.8903 | 240.3525 | 122.2841 | 79.5204 | 116.8497 | 1160.6639 | 1086.1493 | 71.1254 | 3.3892 | 3218.6166 | 2745.6619 | 437.0808 | 587.6057 | 1720.9754 | 472.9547 | 6.1216 | 0 | 0 | 2.155 | 0 | 60.2445 | 404.4336 | 3218.6166
11 | 1826.8944 | 684.6379 | 103.319 | 0 | 262.4626 | 364.2103 | 240.3525 | 135.8682 | 36.0439 | 118.8648 | 1173.8528 | 1084.4607 | 80.0592 | 9.333 | 3119.612 | 2662.9705 | 437.2272 | 543.3499 | 1682.3934 | 456.6415 | 5.0172 | 0 | 0 | 2.1133 | 0 | 59.8449 | 389.6661 | 3119.612
12 | 1756.94 | 634.5625 | 114.2036 | 0 | 262.699 | 334.2103 | 240.3525 | 134.8682 | 36.0439 | 118.8787 | 1135.1792 | 1044.707 | 80.4192 | 10.053 | 3010.9979 | 2748.935 | 439.7194 | 624.1217 | 1685.0939 | 262.0629 | 6.4529 | 0 | 0 | 2.1133 | 0 | 59.4564 | 194.0403 | 3010.9979
13 | 1761.8493 | 654.1989 | 113.8719 | 0 | 264.0636 | 316.4503 | 240.3525 | 136.8682 | 36.0439 | 118.9009 | 1160.3936 | 1072.6271 | 77.7192 | 10.0473 | 3041.1438 | 2815.3787 | 440.8453 | 663.7254 | 1710.8081 | 225.7651 | 6.4529 | 0 | 0 | 2.0843 | 0 | 60.0668 | 157.1611 | 3041.1438
14 | 1696.045 | 574.0636 | 113.9694 | 0 | 264.0793 | 358.2103 | 240.3525 | 109.326 | 36.0439 | 121.691 | 1174.097 | 1084.4174 | 80.4192 | 9.2604 | 2991.833 | 2722.2862 | 436.9318 | 623.8723 | 1661.4821 | 269.5468 | 4.8331 | 0 | 0 | 1.7616 | 0 | 59.2218 | 203.7303 | 2991.833
15 | 1610.1236 | 581.6542 | 135.6172 | 0 | 251.5542 | 358.2103 | 175.6 | 41.9533 | 65.5344 | 121.8924 | 817.1887 | 730.0091 | 77.7192 | 9.4605 | 2549.2047 | 2427.3877 | 392.3953 | 503.4965 | 1531.4959 | 121.817 | 4.6245 | 0 | 0 | 1.6711 | 0 | 49.0843 | 66.4371 | 2549.2047
16 | 1696.4861 | 642.3954 | 103.0436 | 0 | 252.5955 | 358.2103 | 175.6 | 86 | 78.6413 | 122.2159 | 751.1747 | 661.295 | 80.4192 | 9.4605 | 2569.8767 | 2382.8886 | 378.2685 | 469.461 | 1535.159 | 186.9881 | 4.6816 | 0 | 0 | 1.6065 | 0 | 46.5633 | 134.1367 | 2569.8767
17 | 2012.0319 | 770.3941 | 146.4402 | 0 | 262.9935 | 358.2103 | 240.3525 | 155 | 78.6413 | 122.3453 | 1016.1753 | 926.2476 | 80.4672 | 9.4605 | 3150.5525 | 2779.4703 | 437.9853 | 631.739 | 1709.746 | 371.0822 | 5.2013 | 0 | 0 | 1.7095 | 0 | 57.5452 | 306.6262 | 3150.5525
18 | 1906.6858 | 700.0537 | 140.9593 | 0 | 262.61 | 342.6103 | 240.3525 | 144.7354 | 75.3646 | 122.2639 | 1011.8246 | 921.4887 | 80.283 | 10.053 | 3040.7743 | 2775.9586 | 444.0778 | 656.7634 | 1675.1175 | 264.8157 | 5.3853 | 0 | 0 | 1.6674 | 0 | 59.4197 | 198.3433 | 3040.7743
19 | 1927.9087 | 758.5216 | 113.8908 | 0 | 259.7477 | 341.1303 | 240.3525 | 145.4547 | 68.8111 | 122.2539 | 958.9338 | 868.5978 | 80.283 | 10.053 | 3009.0964 | 2735.6424 | 439.1492 | 616.8813 | 1679.6118 | 273.454 | 6.2321 | 0 | 0 | 1.6221 | 0 | 58.758 | 206.842 | 3009.0964
20 | 1874.4637 | 688.3506 | 113.8054 | 0 | 259.2853 | 357.1983 | 240.3525 | 148.3388 | 67.1328 | 122.2854 | 917.8749 | 833.254 | 74.568 | 10.053 | 2914.6239 | 2757.634 | 443.7102 | 609.5054 | 1704.4184 | 156.9899 | 6.1584 | 0 | 0 | 1.6086 | 0 | 59.0551 | 90.1678 | 2914.6239
21 | 1948.2323 | 797.9937 | 124.7852 | 0 | 259.9441 | 342.6103 | 207.4275 | 148.3388 | 67.1328 | 122.2606 | 939.8451 | 855.6841 | 74.538 | 9.623 | 3010.338 | 2785.8861 | 443.4325 | 651.7844 | 1690.6693 | 224.4518 | 5.2013 | 0 | 0 | 1.6068 | 0 | 58.441 | 159.2028 | 3010.338
22 | 1705.8095 | 637.0223 | 146.4075 | 0 | 248.9863 | 357.6103 | 142.675 | 96.385 | 76.7232 | 122.2842 | 664.4675 | 584.9819 | 70.6751 | 8.8105 | 2492.5613 | 2406.2559 | 386.0273 | 500.3678 | 1519.8607 | 86.3054 | 4.6245 | 0 | 0 | 1.9567 | 0 | 49.6339 | 30.0904 | 2492.5613
23 | 1668.4347 | 642.1551 | 103.0845 | 0 | 249.8016 | 357.6103 | 142.675 | 96.385 | 76.7232 | 122.0133 | 684.8251 | 605.5935 | 70.49 | 8.7417 | 2475.273 | 2233.4882 | 334.852 | 426.5768 | 1472.0594 | 241.7848 | 4.1473 | 0 | 0 | 1.8194 | 0 | 47.6723 | 188.1458 | 2475.273
24 | 1916.235 | 740.1467 | 141.1311 | 0 | 257.868 | 358.2103 | 240.3525 | 105 | 73.5264 | 122.2574 | 942.5981 | 865.1051 | 68.09 | 9.403 | 2981.0905 | 2667.5511 | 442.106 | 612.23 | 1613.2151 | 313.5393 | 4.465 | 0 | 0 | 2.3153 | 0 | 57.7845 | 248.9745 | 2981.0905
25 | 1814.3122 | 661.3977 | 130.212 | 0 | 249.575 | 342.6103 | 240.3525 | 155 | 35.1648 | 122.6519 | 848.2536 | 770.7626 | 68.088 | 9.403 | 2785.2177 | 2654.3334 | 442.9878 | 591.6629 | 1619.6826 | 130.8844 | 5.2013 | 0 | 0 | 2.3166 | 0 | 58.293 | 65.0735 | 2785.2177
26 | 1611.8787 | 525.7458 | 119.4591 | 0 | 248.593 | 342.6103 | 240.3525 | 115.9372 | 19.1808 | 122.2475 | 991.6297 | 914.1228 | 68.088 | 9.4189 | 2725.7558 | 2629.9217 | 437.1304 | 557.1276 | 1635.6637 | 95.8341 | 5.8639 | 0 | 0 | 2.6406 | 0 | 59.4799 | 27.8496 | 2725.7558
27 | 1843.6622 | 730.7973 | 141.142 | 0 | 247.4617 | 342.6103 | 240.3525 | 122.1176 | 19.1808 | 122.6658 | 1011.9624 | 933.1623 | 68.088 | 10.7121 | 2978.2904 | 2713.5528 | 430.2147 | 570.4831 | 1712.8549 | 264.7377 | 5.8271 | 0 | 0 | 2.2489 | 0 | 59.3849 | 197.2768 | 2978.2904
28 | 1771.1931 | 669.8412 | 135.7964 | 0 | 243.088 | 342.6103 | 240.3525 | 120.324 | 19.1808 | 122.6674 | 924.0447 | 846.6226 | 68.088 | 9.3342 | 2817.9052 | 2605.6579 | 425.1445 | 564.942 | 1615.5714 | 212.2474 | 5.2013 | 0 | 0 | 1.9452 | 0 | 57.1356 | 147.9652 | 2817.9052
29 | 1557.8289 | 671.5657 | 119.7318 | 0 | 189.3528 | 342.6103 | 71.3375 | 144.05 | 19.1808 | 122.679 | 832.8937 | 759.7421 | 64.41 | 8.7417 | 2513.4017 | 2310.0965 | 376.5269 | 511.3708 | 1422.1988 | 203.3051 | 5.3397 | 0 | 0 | 1.7439 | 0 | 46.5719 | 149.6496 | 2513.4017
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Re-Nomination - Monthly report
Month: February 2020
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 147.5152 | 55.2062 | 11.394 | 0 | 25.1435 | 32.5044 | 12.8788 | 3.4591 | 6.9292 | 10.9314 | 100.7998 | 94.0892 | 5.8312 | 0.87946 | 259.2463 | 226.0015 | 34.6865 | 48.0591 | 143.2559 | 33.2448 | 0.43818 | 0 | 0 | 0.17086 | 0 | 4.4045 | 28.2313 | 259.2463
2 | 136.5024 | 53.2562 | 9.4908 | 0 | 21.5558 | 32.4395 | 9.0051 | 3.7956 | 6.9594 | 10.9232 | 74.1223 | 67.6015 | 5.6975 | 0.82331 | 221.5479 | 216.7499 | 33.1351 | 44.3772 | 139.2376 | 4.798 | 0.3962 | 0 | 0 | 0.23387 | 0 | 4.0044 | 0.16351 | 221.5479
3 | 168.0192 | 64.1751 | 13.2463 | 0 | 23.593 | 32.0231 | 17.0425 | 11.2711 | 6.6681 | 10.9619 | 99.6178 | 91.56 | 7.1568 | 0.90101 | 278.5989 | 255.1095 | 39.2703 | 62.5008 | 153.3384 | 23.4894 | 0.45653 | 0 | 0 | 0.2414 | 0 | 4.5379 | 18.2536 | 278.5989
4 | 154.1135 | 62.7069 | 12.3108 | 0 | 23.7931 | 21.4934 | 18.0137 | 11.5701 | 4.2256 | 10.9152 | 89.8368 | 83.2244 | 6.4482 | 0.16428 | 254.8656 | 243.0604 | 39.5685 | 60.2321 | 143.2598 | 11.8052 | 0.58347 | 0 | 0 | 0.2055 | 0 | 4.8571 | 6.159 | 254.8656
5 | 150.1294 | 62.8616 | 11.4057 | 0 | 23.7775 | 27.1836 | 18.4787 | 3.4246 | 2.9977 | 10.7638 | 105.6908 | 97.4727 | 7.3171 | 0.90101 | 266.5839 | 249.6042 | 39.0669 | 54.1903 | 156.347 | 16.9797 | 0.58153 | 0 | 0 | 0.23329 | 0 | 5.428 | 10.7369 | 266.5839
6 | 185.5439 | 81.457 | 11.3756 | 0 | 23.7565 | 33.8684 | 20.7432 | 11.3474 | 2.9959 | 10.7587 | 105.6697 | 97.5288 | 7.24 | 0.90101 | 301.9724 | 257.8065 | 39.3689 | 56.0184 | 162.4192 | 44.1659 | 0.57868 | 0 | 0 | 0.23628 | 0 | 5.5744 | 37.7766 | 301.9724
7 | 172.6146 | 69.1651 | 10.4158 | 0 | 23.6089 | 31.7459 | 20.7476 | 13.5296 | 3.4018 | 10.7595 | 104.8536 | 96.6377 | 7.24 | 0.97596 | 288.2278 | 263.4422 | 38.909 | 59.0356 | 165.4976 | 24.7856 | 0.56952 | 0 | 0 | 0.24117 | 0 | 5.533 | 18.4419 | 288.2278
8 | 144.7037 | 62.0703 | 10.4055 | 0 | 21.2222 | 30.2522 | 11.293 | 2.7237 | 6.7369 | 10.7721 | 93.9743 | 88.9725 | 5.2025 | -0.20072 | 249.45 | 235.9226 | 34.6697 | 49.4597 | 151.7932 | 13.5274 | 0.51414 | 0 | 0 | 0.22179 | 0 | 4.5361 | 8.2554 | 249.45
9 | 145.2229 | 65.5102 | 8.5075 | 0 | 21.0111 | 30.3053 | 10.6297 | 2.6087 | 6.6503 | 10.7248 | 89.2657 | 83.9765 | 5.5545 | -0.26525 | 245.2134 | 222.7712 | 32.8264 | 45.9042 | 144.0406 | 22.4421 | 0.50334 | 0 | 0 | 0.18691 | 0 | 4.5044 | 17.2474 | 245.2134
10 | 169.7335 | 65.6937 | 12.3171 | 0 | 21.3668 | 32.075 | 20.7635 | 10.6739 | 6.8435 | 10.4728 | 101.222 | 94.5435 | 6.3747 | 0.30376 | 281.4283 | 246.0839 | 39.174 | 52.665 | 154.2449 | 35.3445 | 0.53741 | 0 | 0 | 0.19241 | 0 | 5.3995 | 29.2151 | 281.4283
11 | 159.4157 | 60.5549 | 9.0277 | 0 | 22.4261 | 31.789 | 20.7536 | 11.8597 | 3.0048 | 10.6534 | 102.3867 | 94.3748 | 7.1754 | 0.83648 | 272.4558 | 238.6725 | 39.1871 | 48.6985 | 150.7869 | 33.7833 | 0.43871 | 0 | 0 | 0.18775 | 0 | 5.3637 | 27.7931 | 272.4558
12 | 152.8409 | 56.1258 | 9.9702 | 0 | 22.4528 | 29.2415 | 20.774 | 11.2799 | 2.9968 | 10.6547 | 99.0427 | 90.9341 | 7.2077 | 0.90101 | 262.5383 | 246.3772 | 39.4105 | 55.9378 | 151.0289 | 16.1611 | 0.56295 | 0 | 0 | 0.18992 | 0 | 5.3289 | 10.0794 | 262.5383
13 | 153.2537 | 57.8713 | 9.9457 | 0 | 22.5501 | 27.692 | 20.7614 | 11.4376 | 2.9956 | 10.6567 | 101.2292 | 93.363 | 6.9657 | 0.9005 | 265.1396 | 252.3323 | 39.5114 | 59.4873 | 153.3336 | 12.8072 | 0.56378 | 0 | 0 | 0.18735 | 0 | 5.3836 | 6.6725 | 265.1396
14 | 147.2145 | 50.5108 | 9.9567 | 0 | 22.5345 | 31.32 | 20.7583 | 9.1368 | 2.9974 | 10.9067 | 102.4516 | 94.4139 | 7.2077 | 0.82998 | 260.5728 | 243.9888 | 39.1606 | 55.9154 | 148.9127 | 16.584 | 0.42258 | 0 | 0 | 0.15765 | 0 | 5.3078 | 10.696 | 260.5728
15 | 140.0386 | 51.2009 | 11.8471 | 0 | 21.509 | 31.3456 | 15.1745 | 3.5073 | 5.4541 | 10.9248 | 71.4114 | 63.5978 | 6.9657 | 0.84791 | 222.3748 | 217.5581 | 35.169 | 45.1266 | 137.2625 | 4.8167 | 0.40459 | 0 | 0 | 0.15142 | 0 | 4.3993 | -0.13859 | 222.3748
16 | 147.7713 | 56.6113 | 9.0049 | 0 | 21.6275 | 31.3573 | 15.1736 | 7.3888 | 6.6078 | 10.9538 | 65.6848 | 57.6292 | 7.2077 | 0.84791 | 224.4099 | 213.5698 | 33.9029 | 42.0761 | 137.5908 | 10.8401 | 0.40966 | 0 | 0 | 0.14558 | 0 | 4.1733 | 6.1116 | 224.4099
17 | 175.6314 | 68.0077 | 12.7934 | 0 | 22.4976 | 31.3678 | 20.7544 | 13.4917 | 6.7187 | 10.9654 | 88.7507 | 80.6908 | 7.212 | 0.84791 | 275.3475 | 249.114 | 39.2551 | 56.6205 | 153.2384 | 26.2335 | 0.45581 | 0 | 0 | 0.15463 | 0 | 5.1576 | 20.4655 | 275.3475
18 | 166.2958 | 61.7579 | 12.3238 | 0 | 22.4812 | 29.9408 | 20.7417 | 12.5942 | 6.4561 | 10.9581 | 88.3748 | 80.2783 | 7.1955 | 0.90101 | 265.6286 | 248.7993 | 39.8011 | 58.8634 | 150.1348 | 16.8294 | 0.47068 | 0 | 0 | 0.1494 | 0 | 5.3256 | 10.8837 | 265.6286
19 | 167.9971 | 66.7591 | 9.946 | 0 | 22.1797 | 29.8371 | 20.7451 | 12.6551 | 5.8751 | 10.9572 | 83.772 | 75.6755 | 7.1955 | 0.90101 | 262.7264 | 245.1859 | 39.3594 | 55.2889 | 150.5376 | 17.5405 | 0.54569 | 0 | 0 | 0.14578 | 0 | 5.2663 | 11.5828 | 262.7264
20 | 163.2043 | 60.5115 | 9.9439 | 0 | 22.1634 | 31.2173 | 20.7389 | 12.9053 | 5.724 | 10.96 | 80.1334 | 72.5491 | 6.6833 | 0.90101 | 254.2978 | 247.1569 | 39.7682 | 54.6278 | 152.7609 | 7.1409 | 0.53845 | 0 | 0 | 0.14283 | 0 | 5.2929 | 1.1667 | 254.2978
21 | 169.7024 | 70.0729 | 10.8973 | 0 | 22.2349 | 29.9767 | 17.8925 | 12.908 | 5.7202 | 10.9578 | 82.017 | 74.474 | 6.6806 | 0.86247 | 262.6772 | 249.689 | 39.7433 | 58.4171 | 151.5287 | 12.9882 | 0.45485 | 0 | 0 | 0.1414 | 0 | 5.2379 | 7.1541 | 262.6772
22 | 148.6217 | 55.9798 | 12.7784 | 0 | 21.272 | 31.354 | 12.3064 | 8.3834 | 6.5477 | 10.9599 | 58.077 | 50.953 | 6.3344 | 0.78965 | 217.6587 | 215.6641 | 34.5982 | 44.8462 | 136.2197 | 1.9945 | 0.4059 | 0 | 0 | 0.17297 | 0 | 4.4485 | -3.0329 | 217.6587
23 | 145.2716 | 56.3722 | 9.0022 | 0 | 21.3765 | 31.2601 | 12.3168 | 8.3833 | 6.5605 | 10.9356 | 59.8635 | 52.7623 | 6.3178 | 0.78348 | 216.0708 | 200.1796 | 30.0116 | 38.2326 | 131.9354 | 15.8912 | 0.36268 | 0 | 0 | 0.16206 | 0 | 4.2727 | 11.0938 | 216.0708
24 | 167.056 | 65.0041 | 12.3146 | 0 | 22.0839 | 31.4025 | 20.7452 | 9.151 | 6.3547 | 10.9575 | 82.4067 | 75.4613 | 6.1027 | 0.84275 | 260.4202 | 239.0831 | 39.6244 | 54.872 | 144.5867 | 21.3371 | 0.39125 | 0 | 0 | 0.20725 | 0 | 5.179 | 15.5596 | 260.4202
25 | 158.2039 | 58.1334 | 11.3646 | 0 | 21.3848 | 30.0585 | 20.7551 | 13.5031 | 3.0043 | 10.9929 | 74.1365 | 67.1912 | 6.1025 | 0.84275 | 243.3332 | 237.8984 | 39.7034 | 53.0286 | 145.1664 | 5.4348 | 0.45645 | 0 | 0 | 0.2081 | 0 | 5.2246 | -0.45433 | 243.3332
26 | 140.4772 | 46.2171 | 10.4199 | 0 | 21.2855 | 30.0339 | 20.7574 | 10.1199 | 1.6434 | 10.9566 | 86.5569 | 79.6103 | 6.1025 | 0.84418 | 237.9907 | 235.7105 | 39.1784 | 49.9334 | 146.5987 | 2.2802 | 0.51441 | 0 | 0 | 0.23652 | 0 | 5.331 | -3.8017 | 237.9907
27 | 160.6911 | 64.3395 | 12.2875 | 0 | 21.2114 | 29.833 | 20.7441 | 10.6351 | 1.6405 | 10.9941 | 88.2608 | 81.1983 | 6.1025 | 0.96009 | 259.946 | 243.206 | 38.5586 | 51.1304 | 153.5171 | 16.74 | 0.50906 | 0 | 0 | 0.19944 | 0 | 5.3225 | 10.709 | 259.946
28 | 154.328 | 58.9729 | 11.8221 | 0 | 20.8365 | 29.833 | 20.7441 | 10.4789 | 1.6405 | 10.9942 | 80.6072 | 73.6681 | 6.1025 | 0.83659 | 245.9294 | 233.5358 | 38.1042 | 50.6337 | 144.7979 | 12.3936 | 0.45439 | 0 | 0 | 0.17252 | 0 | 5.1209 | 6.6458 | 245.9294
29 | 135.9544 | 59.1247 | 10.4236 | 0 | 16.2305 | 29.833 | 6.1569 | 12.5451 | 1.6405 | 10.9953 | 72.6646 | 66.1083 | 5.7728 | 0.78348 | 219.6143 | 207.0457 | 33.7468 | 45.8323 | 127.4666 | 12.5686 | 0.46647 | 0 | 0 | 0.15466 | 0 | 4.1741 | 7.7734 | 219.6143
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Re-Nomination - Monthly report
Month: February 2020
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 159.2814 | 58.8613 | 12.3488 | 0 | 27.7116 | 34.8453 | 14.1174 | 3.7435 | 7.6535 | 11.5359 | 109.2156 | 102.1338 | 6.1536 | 0.92809 | 280.0329 | 238.4994 | 36.6047 | 50.7168 | 151.1779 | 41.5334 | 0.47122 | 0 | 0 | 0.18193 | 0 | 4.6481 | 36.2322 | 280.0329
2 | 147.2446 | 56.739 | 10.2828 | 0 | 23.7531 | 34.8453 | 9.8614 | 4.1095 | 7.6535 | 11.5272 | 80.193 | 73.3116 | 6.0126 | 0.86884 | 238.9648 | 228.7362 | 34.9674 | 46.8313 | 146.9375 | 10.2286 | 0.42595 | 0 | 0 | 0.2467 | 0 | 4.2259 | 5.3301 | 238.9648
3 | 181.5172 | 68.3555 | 14.378 | 0 | 25.9863 | 34.5615 | 18.6848 | 12.2036 | 7.3474 | 11.5681 | 107.9723 | 99.4688 | 7.5526 | 0.95084 | 301.0575 | 269.217 | 41.4419 | 65.9571 | 161.818 | 31.8405 | 0.49195 | 0 | 0 | 0.25616 | 0 | 4.7888 | 26.3036 | 301.0575
4 | 166.6498 | 66.9551 | 13.3467 | 0 | 26.2043 | 23.2275 | 19.7229 | 12.5302 | 4.6632 | 11.5188 | 97.381 | 90.4029 | 6.8047 | 0.17337 | 275.5497 | 256.5017 | 41.7566 | 63.5629 | 151.1821 | 19.0481 | 0.62775 | 0 | 0 | 0.21439 | 0 | 5.1257 | 13.0802 | 275.5497
5 | 162.5204 | 67.3847 | 12.3427 | 0 | 26.1847 | 29.348 | 20.2419 | 3.709 | 3.3094 | 11.359 | 114.5751 | 105.9025 | 7.7217 | 0.95084 | 288.4544 | 263.4073 | 41.2273 | 57.1871 | 164.9929 | 25.0471 | 0.62775 | 0 | 0 | 0.2467 | 0 | 5.7282 | 18.4445 | 288.4544
6 | 200.7872 | 87.4633 | 12.3272 | 0 | 26.19 | 36.4683 | 22.7332 | 12.2958 | 3.3094 | 11.3537 | 114.5177 | 105.9266 | 7.6403 | 0.95084 | 326.6586 | 272.0632 | 41.546 | 59.1162 | 171.401 | 54.5954 | 0.62426 | 0 | 0 | 0.25093 | 0 | 5.8826 | 47.8376 | 326.6586
7 | 186.883 | 74.0617 | 11.2792 | 0 | 26.1216 | 34.2664 | 22.7332 | 14.6603 | 3.7606 | 11.3545 | 113.641 | 104.9708 | 7.6403 | 1.0299 | 311.8785 | 278.0106 | 41.0607 | 62.3003 | 174.6496 | 33.8679 | 0.61382 | 0 | 0 | 0.25851 | 0 | 5.839 | 27.1566 | 311.8785
8 | 156.9147 | 66.6009 | 11.2956 | 0 | 23.5041 | 32.6887 | 12.3527 | 2.9513 | 7.5213 | 11.3678 | 101.9217 | 96.6434 | 5.4902 | -0.21182 | 270.2042 | 248.9691 | 36.5869 | 52.1948 | 160.1873 | 21.235 | 0.55577 | 0 | 0 | 0.2377 | 0 | 4.787 | 15.6546 | 270.2042
9 | 157.2567 | 69.9806 | 9.2352 | 0 | 23.2535 | 32.6888 | 11.6261 | 2.9513 | 7.5213 | 11.3179 | 96.7968 | 91.2151 | 5.8616 | -0.27992 | 265.3714 | 235.0905 | 34.6417 | 48.4427 | 152.006 | 30.2809 | 0.54385 | 0 | 0 | 0.19759 | 0 | 4.7535 | 24.7859 | 265.3714
10 | 183.5949 | 70.1766 | 13.3717 | 0 | 23.6193 | 34.6069 | 22.7332 | 11.566 | 7.5213 | 11.052 | 109.7788 | 102.731 | 6.7272 | 0.32056 | 304.4257 | 259.6923 | 41.3403 | 55.5774 | 162.7746 | 44.7334 | 0.579 | 0 | 0 | 0.20383 | 0 | 5.6981 | 38.2524 | 304.4257
11 | 172.7927 | 64.7549 | 9.7722 | 0 | 24.8244 | 34.448 | 22.7332 | 12.8508 | 3.4091 | 11.2426 | 111.0263 | 102.5713 | 7.5722 | 0.88274 | 295.0615 | 251.8711 | 41.3542 | 51.3915 | 159.1254 | 43.1904 | 0.47454 | 0 | 0 | 0.19988 | 0 | 5.6603 | 36.8557 | 295.0615
12 | 166.1763 | 60.0187 | 10.8017 | 0 | 24.8468 | 31.6105 | 22.7332 | 12.7562 | 3.4091 | 11.2439 | 107.3684 | 98.8113 | 7.6063 | 0.95084 | 284.7885 | 260.0019 | 41.5899 | 59.0312 | 159.3809 | 24.7866 | 0.61034 | 0 | 0 | 0.19988 | 0 | 5.6236 | 18.3529 | 284.7885
13 | 166.6406 | 61.8759 | 10.7703 | 0 | 24.9759 | 29.9307 | 22.7332 | 12.9454 | 3.4091 | 11.246 | 109.7532 | 101.452 | 7.3509 | 0.9503 | 287.6398 | 266.2863 | 41.6964 | 62.777 | 161.813 | 21.3535 | 0.61034 | 0 | 0 | 0.19714 | 0 | 5.6813 | 14.8647 | 287.6398
14 | 160.4166 | 54.2965 | 10.7795 | 0 | 24.9774 | 33.8805 | 22.7332 | 10.3404 | 3.4091 | 11.5099 | 111.0494 | 102.5672 | 7.6063 | 0.87588 | 282.9759 | 257.4814 | 41.3262 | 59.0076 | 157.1476 | 25.4945 | 0.45713 | 0 | 0 | 0.16662 | 0 | 5.6014 | 19.2694 | 282.9759
15 | 152.2899 | 55.0145 | 12.8271 | 0 | 23.7927 | 33.8805 | 16.6087 | 3.9681 | 6.1984 | 11.5289 | 77.292 | 69.0463 | 7.3509 | 0.8948 | 241.1108 | 229.5891 | 37.1138 | 47.6221 | 144.8531 | 11.5218 | 0.43739 | 0 | 0 | 0.15806 | 0 | 4.6425 | 6.2838 | 241.1108
16 | 160.4584 | 60.7595 | 9.7461 | 0 | 23.8912 | 33.8805 | 16.6087 | 8.1341 | 7.4381 | 11.5595 | 71.0482 | 62.5471 | 7.6063 | 0.8948 | 243.0661 | 225.3802 | 35.7777 | 44.4029 | 145.1996 | 17.6859 | 0.44279 | 0 | 0 | 0.15195 | 0 | 4.4041 | 12.687 | 243.0661
17 | 190.3036 | 72.866 | 13.8507 | 0 | 24.8747 | 33.8805 | 22.7332 | 14.6603 | 7.4381 | 11.5718 | 96.1127 | 87.6071 | 7.6108 | 0.8948 | 297.988 | 262.89 | 41.4259 | 59.7516 | 161.7125 | 35.098 | 0.49195 | 0 | 0 | 0.16169 | 0 | 5.4428 | 29.0016 | 297.988
18 | 180.3396 | 66.213 | 13.3323 | 0 | 24.8384 | 32.405 | 22.7332 | 13.6895 | 7.1282 | 11.5641 | 95.7012 | 87.157 | 7.5934 | 0.95084 | 287.6049 | 262.5579 | 42.0021 | 62.1185 | 158.4373 | 25.047 | 0.50936 | 0 | 0 | 0.15771 | 0 | 5.6201 | 18.7599 | 287.6049
19 | 182.3469 | 71.7431 | 10.7721 | 0 | 24.5677 | 32.265 | 22.7332 | 13.7575 | 6.5083 | 11.5631 | 90.6986 | 82.1544 | 7.5934 | 0.95084 | 284.6087 | 258.7446 | 41.536 | 58.3463 | 158.8623 | 25.864 | 0.58945 | 0 | 0 | 0.15342 | 0 | 5.5575 | 19.5637 | 284.6087
20 | 177.292 | 65.1061 | 10.764 | 0 | 24.5239 | 33.7848 | 22.7332 | 14.0303 | 6.3496 | 11.5661 | 86.8152 | 78.8115 | 7.0528 | 0.95084 | 275.6732 | 260.8247 | 41.9673 | 57.6487 | 161.2086 | 14.8485 | 0.58248 | 0 | 0 | 0.15215 | 0 | 5.5856 | 8.5283 | 275.6732
21 | 184.2692 | 75.4765 | 11.8025 | 0 | 24.5862 | 32.405 | 19.6191 | 14.0303 | 6.3496 | 11.5637 | 88.8932 | 80.933 | 7.05 | 0.91017 | 284.7261 | 263.4968 | 41.9411 | 61.6476 | 159.9082 | 21.2293 | 0.49195 | 0 | 0 | 0.15197 | 0 | 5.5275 | 15.0578 | 284.7261
22 | 161.3402 | 60.2513 | 13.8476 | 0 | 23.5498 | 33.8238 | 13.4946 | 9.1164 | 7.2567 | 11.566 | 62.8472 | 55.3292 | 6.6846 | 0.83332 | 235.7534 | 227.5903 | 36.5115 | 47.3262 | 143.7526 | 8.163 | 0.43739 | 0 | 0 | 0.18507 | 0 | 4.6945 | 2.846 | 235.7534
23 | 157.8052 | 60.7368 | 9.75 | 0 | 23.6269 | 33.8238 | 13.4946 | 9.1164 | 7.2567 | 11.5404 | 64.7727 | 57.2787 | 6.6671 | 0.82681 | 234.1182 | 211.2495 | 31.6712 | 40.3468 | 139.2315 | 22.8687 | 0.39227 | 0 | 0 | 0.17208 | 0 | 4.509 | 17.7953 | 234.1182
24 | 181.2428 | 70.0051 | 13.3486 | 0 | 24.3899 | 33.8805 | 22.7332 | 9.9312 | 6.9543 | 11.5634 | 89.1535 | 81.824 | 6.4401 | 0.88936 | 281.9598 | 252.3044 | 41.8156 | 57.9064 | 152.5824 | 29.6554 | 0.42231 | 0 | 0 | 0.21899 | 0 | 5.4654 | 23.5487 | 281.9598
25 | 171.6027 | 62.5568 | 12.3158 | 0 | 23.6055 | 32.405 | 22.7332 | 14.6603 | 3.326 | 11.6008 | 80.2302 | 72.9009 | 6.44 | 0.88936 | 263.4336 | 251.0542 | 41.899 | 55.9611 | 153.1941 | 12.3794 | 0.49195 | 0 | 0 | 0.21911 | 0 | 5.5135 | 6.1548 | 263.4336
26 | 152.456 | 49.7265 | 11.2988 | 0 | 23.5126 | 32.405 | 22.7332 | 10.9657 | 1.8142 | 11.5625 | 93.7911 | 86.4603 | 6.44 | 0.89086 | 257.8095 | 248.7453 | 41.345 | 52.6947 | 154.7056 | 9.0643 | 0.55463 | 0 | 0 | 0.24976 | 0 | 5.6258 | 2.6341 | 257.8095
27 | 174.3787 | 69.1208 | 13.3496 | 0 | 23.4056 | 32.405 | 22.7332 | 11.5502 | 1.8142 | 11.6021 | 95.7142 | 88.2611 | 6.44 | 1.0132 | 281.695 | 256.6553 | 40.6909 | 53.9579 | 162.0066 | 25.0396 | 0.55114 | 0 | 0 | 0.2127 | 0 | 5.6168 | 18.659 | 281.695
28 | 167.5244 | 63.3554 | 12.844 | 0 | 22.9919 | 32.405 | 22.7332 | 11.3806 | 1.8142 | 11.6022 | 87.3987 | 80.0759 | 6.44 | 0.88285 | 266.5253 | 246.4503 | 40.2113 | 53.4338 | 152.8052 | 20.0749 | 0.49195 | 0 | 0 | 0.18399 | 0 | 5.404 | 13.995 | 266.5253
29 | 147.3438 | 63.5185 | 11.3246 | 0 | 17.9095 | 32.405 | 6.7473 | 13.6246 | 1.8142 | 11.6033 | 78.7774 | 71.8585 | 6.0921 | 0.82681 | 237.7245 | 218.4953 | 35.613 | 48.3669 | 134.5155 | 19.2292 | 0.50504 | 0 | 0 | 0.16495 | 0 | 4.4049 | 14.1543 | 237.7245
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points