## kWh
Gas Re-Nomination - Monthly report
Month: June 2022
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 2094.9444 | 383.912 | 76.7854 | 0 | 722.8503 | 157.0789 | 325.8971 | 280.13 | 50 | 98.2907 | 81.2054 | -455.8086 | -378.5952 | -73.7219 | -3.4916 | 1720.3411 | 1218.7651 | 335.1204 | 534.8576 | 348.787 | 501.576 | 1.5568 | 3.36 | 0 | 0.42461 | 0 | 114.3742 | 21.4709 | 360.3895 | 1720.3411
2 | 1909.5871 | 402.392 | 76.7398 | 0 | 571.6802 | 104.4464 | 325.8971 | 280.13 | 50 | 98.3016 | 88.9337 | -677.6216 | -587.789 | -75.4744 | -14.3582 | 1320.8993 | 1025.439 | 311.0533 | 445.626 | 268.7597 | 295.4602 | 1.5509 | 3.36 | 0.24 | 0.55467 | 0 | 178.6194 | 17.6255 | 93.5097 | 1320.8993
3 | 1973.2727 | 402.392 | 76.6671 | 0 | 550.5159 | 166.4591 | 325.8731 | 283.4 | 50 | 117.9655 | 88.634 | -530.2808 | -444.8854 | -71.155 | -14.2403 | 1531.626 | 1254.5148 | 347.4489 | 544.4183 | 362.6476 | 277.1112 | 1.4975 | 3.36 | 0 | 0.68517 | 0 | 148.8299 | 21.5166 | 101.2221 | 1531.626
4 | 1832.5418 | 287.392 | 60.3135 | 0 | 540.9916 | 166.1024 | 326.3803 | 283.4 | 50 | 117.9619 | 88.6207 | -654.9109 | -563.7569 | -77.0326 | -14.1214 | 1266.2516 | 1061.8797 | 318.6474 | 465.5183 | 277.714 | 204.3719 | 1.0014 | 3.36 | 0 | 0.62539 | 0 | 170.8283 | 18.491 | 10.0659 | 1266.2516
5 | 1842.6551 | 287.392 | 60.2085 | 0 | 555.146 | 162.1664 | 326.3803 | 283.4 | 50 | 117.9619 | 88.1855 | -685.6348 | -594.5997 | -77.0326 | -14.0025 | 1245.2058 | 1012.0432 | 302.7974 | 439.4926 | 269.7531 | 233.1627 | 0.97867 | 3.36 | 0 | 0.59556 | 0 | 154.7384 | 17.6656 | 55.8244 | 1245.2058
6 | 1989.7557 | 317.432 | 82.2242 | 0 | 544.7589 | 267.5984 | 326.3803 | 283.4 | 50 | 117.9619 | 89.0561 | -428.2577 | -342.2091 | -72.1649 | -13.8836 | 1650.5541 | 1406.3637 | 368.3944 | 677.9166 | 360.0527 | 244.1905 | 0.97867 | 1.68 | 0 | 0.73035 | 0 | 77.635 | 21.8187 | 141.3478 | 1650.5541
7 | 2107.2308 | 399.1712 | 71.233 | 0 | 689.949 | 89.5743 | 326.3811 | 283.4 | 129.5603 | 117.9619 | 89.2625 | -487.5265 | -400.0068 | -73.7225 | -13.7972 | 1708.9668 | 1444.6227 | 366.46 | 715.5672 | 362.5954 | 264.3441 | 1.4075 | 3.36 | 0 | 0.7366 | 0 | 11.8198 | 22.1887 | 224.8315 | 1708.9668
8 | 2042.2105 | 305.912 | 71.1931 | 0 | 685.6494 | 118.7419 | 326.3811 | 283.4 | 129.5603 | 121.3727 | 89.4617 | -503.9094 | -414.7177 | -75.5225 | -13.6691 | 1627.7628 | 1441.6286 | 368.8174 | 688.8788 | 383.9323 | 186.1342 | 1.5394 | 3.36 | 0 | 0.73733 | 0 | 49.7964 | 23.6586 | 107.0424 | 1627.7628
9 | 1996.9977 | 230.912 | 71.1973 | 0 | 681.7264 | 152.5819 | 326.3811 | 283.4 | 129.5603 | 121.2386 | 90.0613 | -472.2372 | -383.1727 | -75.5225 | -13.542 | 1614.8217 | 1450.6826 | 362.2834 | 707.419 | 380.9802 | 164.1391 | 1.5334 | 3.36 | 0.024106 | 0.73642 | 0 | 60.562 | 23.3995 | 74.5237 | 1614.8217
10 | 1925.7235 | 230.936 | 71.1994 | 0 | 696.3774 | 66.191 | 326.3811 | 283.4 | 130 | 121.2386 | 88.6733 | -492.5714 | -406.1654 | -72.9903 | -13.4157 | 1521.8255 | 1284.3208 | 358.3513 | 546.999 | 378.9706 | 237.5046 | 1.3176 | 3.36 | 0 | 0.7241 | 0 | 91.0147 | 22.8068 | 118.2814 | 1521.8255
11 | 1886.361 | 230.672 | 49.3549 | 0 | 724.3293 | 3.615 | 326.3811 | 275.77 | 155 | 121.2386 | 88.7319 | -748.8641 | -656.7412 | -78.8326 | -13.2903 | 1226.2288 | 954.6209 | 316.7726 | 351.4753 | 286.3731 | 271.6078 | 1.0014 | 3.36 | 1.512 | 0.62126 | 0 | 181.7878 | 17.3598 | 65.9657 | 1226.2288
12 | 1882.92 | 230.672 | 71.2224 | 0 | 696.5805 | 11.007 | 326.3811 | 275.77 | 150.0483 | 121.2386 | 88.5475 | -773.1713 | -681.1729 | -78.8326 | -13.1658 | 1198.2962 | 914.7436 | 299.5774 | 338.1775 | 276.9886 | 283.5527 | 0.96502 | 3.36 | 1.512 | 0.59015 | 0 | 179.7142 | 16.4084 | 81.0029 | 1198.2962
13 | 1885.9224 | 235.712 | 82.1969 | 0 | 673.4826 | 21.0924 | 326.3811 | 275.77 | 150.0483 | 121.2392 | 88.8291 | -454.3471 | -381.74 | -59.5649 | -13.0422 | 1520.4044 | 1387.9602 | 362.4645 | 644.1647 | 381.3311 | 132.4443 | 1.2877 | 3.36 | 0 | 0.72413 | 0 | 71.6514 | 23.1567 | 32.2644 | 1520.4044
14 | 1885.0179 | 240.512 | 87.7101 | 0 | 674.6665 | 7.608 | 326.3571 | 280.13 | 150.0483 | 117.9859 | 89.3777 | -434.3855 | -348.0839 | -73.3841 | -12.9175 | 1540.0101 | 1409.6215 | 357.5329 | 669.7187 | 382.3699 | 130.3885 | 1.3776 | 3.36 | 0 | 0.72011 | 0 | 43.4398 | 23.7824 | 57.7087 | 1540.0101
15 | 1991.8847 | 339.065 | 87.7985 | 0 | 668.6892 | 22.0044 | 326.1633 | 280.13 | 150.0483 | 117.9859 | 89.4333 | -420.0952 | -335.7327 | -71.5695 | -12.7929 | 1661.2228 | 1405.8505 | 356.0683 | 668.4095 | 381.3727 | 255.3723 | 1.4075 | 3.36 | 0 | 0.72142 | 0 | 105.4052 | 24.8758 | 119.6024 | 1661.2228
16 | 2068.2517 | 415.6466 | 87.6729 | 0 | 665.0127 | 23.9724 | 326.3811 | 280.13 | 151.45 | 117.9859 | 89.3285 | -416.064 | -335.9199 | -67.4745 | -12.6696 | 1741.5162 | 1541.6845 | 356.4618 | 803.0488 | 382.1738 | 199.8317 | 0.97867 | 2.28 | 0 | 0.71981 | 2.4e-05 | 6.1661 | 23.5081 | 166.179 | 1741.5162
17 | 1982.9511 | 367.0768 | 87.6529 | 0 | 679.7286 | 36.1455 | 311.2313 | 280.13 | 103 | 117.9859 | 89.7424 | -301.8633 | -217.7317 | -71.5779 | -12.5537 | 1770.8302 | 1456.5325 | 352.1691 | 725.5957 | 378.7677 | 314.2977 | 1.3476 | 2.28 | 0 | 0.70927 | 0 | 13.9532 | 22.3655 | 273.6421 | 1770.8302
18 | 1964.976 | 359.2053 | 54.7618 | 0 | 702.1611 | 11.5356 | 308.1763 | 256.15 | 155 | 117.9859 | 89.7682 | -594.5967 | -504.3293 | -77.8411 | -12.4263 | 1460.1474 | 1095.4237 | 303.8594 | 509.0193 | 282.545 | 364.7237 | 1.0168 | 3.36 | 22.992 | 0.6084 | 0 | 196.8829 | 17.3473 | 122.5163 | 1460.1474
19 | 1951.2302 | 361.3193 | 54.7098 | 0 | 693.1916 | 15.0876 | 307.1683 | 256.15 | 145.6176 | 117.9859 | 89.6625 | -672.3595 | -581.8013 | -78.2517 | -12.3064 | 1368.5332 | 1038.4252 | 289.3008 | 476.914 | 272.2104 | 330.108 | 1.006 | 3.36 | 54.662 | 0.57589 | 0 | 193.3737 | 16.3115 | 60.819 | 1368.5332
20 | 2108.0522 | 363.594 | 82.0441 | 0 | 785.1741 | 25.1382 | 308.3683 | 280.13 | 145.6176 | 117.9859 | 90.0851 | -304.5181 | -218.9464 | -73.3841 | -12.1876 | 1893.6192 | 1493.8443 | 352.0519 | 765.5962 | 376.1962 | 399.7749 | 1.4075 | 3.36 | 0 | 0.70925 | 0 | 139.0039 | 23.0966 | 232.1975 | 1893.6192
21 | 2094.1127 | 365.7825 | 60.2232 | 0 | 786.7127 | 18.1059 | 319.5553 | 280.13 | 145.6176 | 117.9855 | 90.2231 | -403.4311 | -320.3586 | -71.0025 | -12.07 | 1780.9047 | 1551.3768 | 356.2427 | 812.7617 | 382.3723 | 229.5279 | 1.4075 | 3.36 | 0 | 0.71205 | 0 | 159.1545 | 24.069 | 40.8248 | 1780.9047
22 | 2003.9852 | 361.6979 | 60.2201 | 0 | 713.9534 | 11.7137 | 319.0443 | 280.13 | 145.6176 | 111.6081 | 90.321 | -351.7845 | -266.1829 | -73.6481 | -11.9535 | 1742.5218 | 1575.027 | 357.3907 | 833.2616 | 384.3747 | 167.4947 | 1.4495 | 3.36 | 0 | 0.71223 | 5 | 54.3718 | 24.35 | 78.2513 | 1742.5218
23 | 1984.9993 | 362.0796 | 65.6397 | 0 | 716.7221 | 19.2 | 286.1003 | 281.22 | 145.6176 | 108.42 | 90.506 | -382.1096 | -300.427 | -69.8445 | -11.8381 | 1693.3957 | 1551.5167 | 349.1223 | 818.412 | 383.9824 | 141.879 | 1.4435 | 3.36 | 0 | 0.7023 | 6 | 46.9399 | 23.362 | 60.0713 | 1693.3957
24 | 1953.2727 | 381.116 | 65.7114 | 0 | 728.3713 | 68.0124 | 291.1483 | 281.22 | 38.8399 | 98.8533 | 90.8542 | -990.2953 | -908.6309 | -69.9405 | -11.7239 | 1053.8317 | 1513.2159 | 347.7621 | 787.1318 | 378.322 | -459.3842 | 1.4375 | 3.36 | 0 | 0.69276 | 0 | 50.0787 | 22.7613 | -537.7145 | 1053.8317
25 | 2314.1702 | 373.435 | 49.2064 | 0 | 725.0972 | 379.9313 | 325.0996 | 263.78 | 126 | 71.6208 | 90.7676 | -1016.6482 | -925.726 | -78.3517 | -12.5704 | 1388.2896 | 1054.1305 | 301.9264 | 465.0657 | 287.1384 | 334.1592 | 1.0292 | 2.88 | 0 | 0.58953 | 0 | 190.1233 | 18.0985 | 121.4386 | 1388.2896
26 | 2338.0842 | 373.7755 | 60.1624 | 0 | 737.0495 | 384.9517 | 325.0993 | 263.78 | 155 | 38.2657 | 90.5543 | -1166.362 | -1075.0715 | -78.8326 | -12.458 | 1262.2765 | 918.2814 | 286.7723 | 354.8959 | 276.6133 | 343.9951 | 1.0141 | 12.84 | 0 | 0.55789 | 0 | 193.3697 | 17.0406 | 119.1728 | 1262.2765
27 | 2383.8488 | 385.9177 | 76.5374 | 0 | 715.6506 | 406.158 | 325.0993 | 281.22 | 155 | 38.2657 | 90.8048 | -734.6103 | -657.7646 | -65.5005 | -11.3452 | 1740.0432 | 1423.9907 | 346.2895 | 701.7587 | 375.9425 | 316.0526 | 1.4195 | 2.28 | 0 | 0.69001 | 0 | 88.3351 | 22.6145 | 200.7134 | 1740.0432
28 | 2211.7061 | 469.619 | 76.4739 | 0 | 694.0131 | 165.6372 | 325.0996 | 281.22 | 155 | 44.6433 | 90.9253 | -935.3393 | -863.3273 | -60.7528 | -11.2593 | 1367.2921 | 1553.6485 | 353.0361 | 821.5015 | 379.1109 | -186.3564 | 1.4135 | 2.28 | 0 | 0.6934 | 0 | 11.7345 | 24.195 | -226.6728 | 1367.2921
29 | 2548.0524 | 531.8415 | 65.5282 | 0 | 704.5793 | 437.43 | 325.0996 | 281.22 | 155 | 47.3538 | 91.0061 | -813.9322 | -738.2299 | -64.5518 | -11.1505 | 1825.1263 | 1595.9426 | 351.27 | 865.2108 | 379.4619 | 229.1836 | 1.006 | 1.68 | 0 | 0.69411 | 0 | 14.761 | 24.209 | 186.8336 | 1825.1263
30 | 2607.3176 | 498.8045 | 65.5824 | 0 | 774.2843 | 432.606 | 320.0996 | 281.22 | 155 | 79.7209 | 91.059 | -913.0498 | -840.8744 | -61.2103 | -10.9651 | 1785.3269 | 1560.8817 | 352.4633 | 846.6211 | 361.7973 | 224.4452 | 1.4016 | 3.24 | 0 | 0.69371 | 0 | 8.671 | 22.8051 | 187.6337 | 1785.3269
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Re-Nomination - Monthly report
Month: June 2022
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 180.8446 | 33.7942 | 6.6434 | 0 | 61.5955 | 13.6952 | 27.7873 | 24.7987 | 4.3466 | 8.1836 | 7.2781 | -39.2399 | -32.3195 | -6.6074 | -0.31294 | 148.8828 | 109.2336 | 30.0356 | 47.9374 | 31.2605 | 39.6493 | 0.13544 | 0.29535 | 0 | 0.038485 | 0 | 10.0679 | 1.9244 | 27.1878 | 148.8828
2 | 164.8557 | 35.3061 | 6.6312 | 0 | 48.6387 | 9.1112 | 27.7945 | 24.8582 | 4.3488 | 8.167 | 7.9708 | -58.5034 | -50.452 | -6.7645 | -1.2869 | 114.3231 | 91.9064 | 27.8786 | 39.9399 | 24.088 | 22.4167 | 0.13512 | 0.29531 | 0.020753 | 0.050278 | 0 | 15.6722 | 1.5797 | 4.6633 | 114.3231
3 | 170.4155 | 35.3126 | 6.6365 | 0 | 46.9463 | 14.5036 | 27.7985 | 25.0486 | 4.3482 | 9.8211 | 7.944 | -46.1699 | -38.5162 | -6.3774 | -1.2763 | 132.1896 | 112.4377 | 31.1406 | 48.7943 | 32.5028 | 19.7519 | 0.13058 | 0.29348 | 0 | 0.062107 | 0 | 13.0608 | 1.9285 | 4.2764 | 132.1896
4 | 158.0106 | 25.2113 | 5.2132 | 0 | 46.0698 | 14.4761 | 27.8476 | 25.0247 | 4.348 | 9.8199 | 7.9428 | -56.723 | -48.5532 | -6.9042 | -1.2657 | 109.2303 | 95.1725 | 28.5592 | 41.7227 | 24.8905 | 14.0578 | 0.087254 | 0.29363 | 0 | 0.056689 | 0 | 14.9858 | 1.6573 | -3.0228 | 109.2303
5 | 158.9006 | 25.2209 | 5.2061 | 0 | 47.3034 | 14.123 | 27.8511 | 25.0227 | 4.3484 | 9.825 | 7.9038 | -59.2325 | -51.0734 | -6.9042 | -1.255 | 107.5718 | 90.7058 | 27.1387 | 39.3902 | 24.177 | 16.866 | 0.085324 | 0.29182 | 0 | 0.053953 | 0 | 13.6008 | 1.5833 | 1.2509 | 107.5718
6 | 171.7422 | 27.8852 | 7.1112 | 0 | 46.3305 | 23.5722 | 27.8561 | 24.8452 | 4.3474 | 9.7943 | 7.9818 | -36.97 | -29.2577 | -6.4679 | -1.2443 | 142.754 | 126.0474 | 33.0179 | 60.7592 | 32.2702 | 16.7067 | 0.085159 | 0.14757 | 0 | 0.066143 | 0 | 6.8199 | 1.9555 | 7.6323 | 142.754
7 | 181.5337 | 35.0657 | 6.1559 | 0 | 58.709 | 7.8794 | 27.8614 | 24.8066 | 11.2645 | 9.7912 | 8.0003 | -42.2075 | -34.3634 | -6.6075 | -1.2366 | 147.3265 | 129.4764 | 32.8445 | 64.1337 | 32.4981 | 17.8501 | 0.12402 | 0.29504 | 0 | 0.066769 | 0 | 1.0383 | 1.9887 | 14.3372 | 147.3265
8 | 175.8591 | 26.8203 | 6.1501 | 0 | 58.3904 | 10.4811 | 27.8599 | 24.7991 | 11.2616 | 10.0967 | 8.0181 | -43.5362 | -35.5422 | -6.7688 | -1.2251 | 140.3411 | 129.208 | 33.0558 | 61.7418 | 34.4105 | 11.133 | 0.13535 | 0.29518 | 0 | 0.066841 | 0 | 4.3773 | 2.1204 | 4.138 | 140.3411
9 | 171.4034 | 20.2581 | 6.1513 | 0 | 57.6129 | 13.3783 | 27.8643 | 24.8014 | 11.2574 | 10.0798 | 8.0719 | -40.7903 | -32.8078 | -6.7688 | -1.2137 | 138.685 | 130.0195 | 32.4702 | 63.4034 | 34.1459 | 8.6655 | 0.13494 | 0.29484 | 0.0021006 | 0.065947 | 0 | 5.3064 | 2.0972 | 0.76405 | 138.685
10 | 165.2101 | 20.2681 | 6.1574 | 0 | 58.787 | 5.7751 | 27.8654 | 24.8185 | 11.4529 | 10.0856 | 7.9475 | -42.5454 | -34.8011 | -6.5419 | -1.2024 | 130.6122 | 115.1091 | 32.1177 | 49.0256 | 33.9658 | 15.5031 | 0.11542 | 0.29463 | 0 | 0.065573 | 0 | 7.9879 | 2.0441 | 4.9955 | 130.6122
11 | 161.8396 | 20.2599 | 4.2674 | 0 | 61.2108 | 0.31575 | 27.866 | 24.2349 | 13.6079 | 10.077 | 7.9527 | -64.2327 | -55.976 | -7.0655 | -1.1912 | 105.5596 | 85.5593 | 28.3912 | 31.5015 | 25.6666 | 20.0003 | 0.086357 | 0.29353 | 0.13175 | 0.056247 | 0 | 15.9546 | 1.5559 | 1.922 | 105.5596
12 | 161.7824 | 20.2656 | 6.1558 | 0 | 58.8849 | 0.96147 | 27.8637 | 24.3311 | 13.2192 | 10.1008 | 7.9362 | -66.3357 | -58.0902 | -7.0655 | -1.18 | 103.3829 | 81.9852 | 26.8501 | 30.3096 | 24.8255 | 21.3977 | 0.082354 | 0.29482 | 0.13244 | 0.053431 | 0 | 15.7887 | 1.4706 | 3.5754 | 103.3829
13 | 161.8125 | 20.716 | 7.0971 | 0 | 56.9105 | 1.8482 | 27.862 | 24.1068 | 13.1849 | 10.0869 | 7.9614 | -39.1986 | -32.6911 | -5.3386 | -1.1689 | 130.5753 | 124.3979 | 32.4864 | 57.7342 | 34.1773 | 6.1774 | 0.11033 | 0.29493 | 0 | 0.065632 | 0 | 6.2972 | 2.0755 | -2.6662 | 130.5753
14 | 161.6769 | 21.1438 | 7.584 | 0 | 57.0168 | 0.66356 | 27.8591 | 24.435 | 13.1645 | 9.8102 | 8.0106 | -37.685 | -29.9501 | -6.5772 | -1.1577 | 132.0025 | 126.3393 | 32.0444 | 60.0245 | 34.2704 | 5.6632 | 0.11783 | 0.29485 | 0 | 0.065268 | 0 | 3.8189 | 2.1315 | -0.76514 | 132.0025
15 | 171.0526 | 29.8215 | 7.5934 | 0 | 56.48 | 1.9188 | 27.8434 | 24.4304 | 13.1624 | 9.8027 | 8.0156 | -36.2822 | -28.7211 | -6.4145 | -1.1466 | 142.7859 | 126.0014 | 31.9131 | 59.9072 | 34.1811 | 16.7846 | 0.12073 | 0.29506 | 0 | 0.065387 | 0 | 9.2706 | 2.2295 | 4.8032 | 142.7859
16 | 177.7867 | 36.5605 | 7.5861 | 0 | 56.1059 | 2.0981 | 27.8689 | 24.4264 | 13.3427 | 9.7982 | 8.0062 | -35.9333 | -28.7503 | -6.0475 | -1.1355 | 149.8596 | 138.1757 | 31.9484 | 71.9744 | 34.2529 | 11.6839 | 0.083586 | 0.2003 | 0 | 0.06531 | 2e-06 | 0.54232 | 2.107 | 8.6855 | 149.8596
17 | 170.2162 | 32.2583 | 7.5909 | 0 | 57.4271 | 3.1711 | 26.5787 | 24.4184 | 8.9693 | 9.8023 | 8.0433 | -26.2866 | -18.7462 | -6.4153 | -1.1251 | 151.9729 | 130.5438 | 31.5637 | 65.0326 | 33.9476 | 21.4291 | 0.11585 | 0.20043 | 0 | 0.06425 | 0 | 1.2262 | 2.0045 | 17.8178 | 151.9729
18 | 168.7604 | 31.5871 | 4.7437 | 0 | 59.5077 | 1.0095 | 26.3325 | 22.3423 | 13.4341 | 9.8036 | 8.0456 | -51.0471 | -42.9567 | -6.9766 | -1.1137 | 125.7589 | 98.1789 | 27.2338 | 45.6216 | 25.3235 | 27.5799 | 0.08773 | 0.29546 | 2.0089 | 0.055122 | 0 | 17.3131 | 1.5548 | 6.2649 | 125.7589
19 | 167.8493 | 31.6877 | 4.7346 | 0 | 58.7971 | 1.3237 | 26.2263 | 22.428 | 12.8288 | 9.823 | 8.0361 | -57.8226 | -49.7062 | -7.0134 | -1.103 | 118.0628 | 93.0703 | 25.929 | 42.7441 | 24.3972 | 24.9925 | 0.085924 | 0.29518 | 4.6609 | 0.0522 | 0 | 16.9589 | 1.4619 | 1.4775 | 118.0628
20 | 181.0571 | 31.9197 | 7.1006 | 0 | 66.5684 | 2.1381 | 26.3353 | 24.4253 | 12.6065 | 9.9632 | 8.074 | -26.401 | -18.7316 | -6.5772 | -1.0923 | 162.7301 | 133.8879 | 31.5532 | 68.6177 | 33.7171 | 28.8421 | 0.12024 | 0.29416 | 0 | 0.064288 | 0 | 12.2031 | 2.0701 | 14.0903 | 162.7301
21 | 179.8294 | 32.0672 | 5.2164 | 0 | 66.6998 | 1.5399 | 27.2992 | 24.3879 | 12.6046 | 10.0144 | 8.0864 | -34.714 | -27.2685 | -6.3637 | -1.0818 | 153.2019 | 139.0444 | 31.9288 | 72.8449 | 34.2707 | 14.1575 | 0.12015 | 0.2946 | 0 | 0.064487 | 0 | 13.9527 | 2.1572 | -2.4316 | 153.2019
22 | 171.9224 | 31.5881 | 5.2134 | 0 | 60.3954 | 0.99659 | 27.257 | 24.3885 | 12.6021 | 9.4813 | 8.0952 | -30.3128 | -22.6406 | -6.6008 | -1.0714 | 149.7048 | 141.164 | 32.0317 | 74.6823 | 34.4501 | 8.5407 | 0.12374 | 0.29183 | 0 | 0.063809 | 0.42715 | 4.76 | 2.1824 | 0.69177 | 149.7048
23 | 170.1538 | 31.55 | 5.6883 | 0 | 60.5696 | 1.6433 | 24.4357 | 24.4575 | 12.5988 | 9.2104 | 8.1117 | -32.8325 | -25.5115 | -6.2599 | -1.061 | 145.433 | 139.0569 | 31.2906 | 73.3513 | 34.415 | 6.3761 | 0.1228 | 0.29283 | 0 | 0.061877 | 0.51245 | 4.1022 | 2.0939 | -0.80987 | 145.433
24 | 167.1999 | 33.2109 | 5.6925 | 0 | 61.4691 | 5.9213 | 24.8726 | 24.3711 | 3.3587 | 8.3035 | 8.1429 | -85.0139 | -77.6947 | -6.2685 | -1.0508 | 90.3289 | 135.6241 | 31.1687 | 70.5478 | 33.9077 | -45.2953 | 0.1237 | 0.29356 | 0 | 0.061692 | 0 | 4.3801 | 2.04 | -52.1944 | 90.3289
25 | 199.0601 | 32.5349 | 4.2645 | 0 | 61.5046 | 33.0643 | 27.8116 | 22.8495 | 11.0168 | 6.0139 | 8.1352 | -87.2788 | -79.1298 | -7.0224 | -1.1266 | 119.9165 | 94.478 | 27.0606 | 41.6822 | 25.7352 | 25.4385 | 0.089333 | 0.25269 | 0 | 0.052499 | 0 | 16.6031 | 1.6221 | 6.8188 | 119.9165
26 | 201.6405 | 32.5643 | 5.2184 | 0 | 62.7601 | 33.649 | 27.7917 | 22.8538 | 13.6198 | 3.1834 | 8.1161 | -100.2207 | -92.0387 | -7.0655 | -1.1166 | 109.5358 | 82.3023 | 25.7024 | 31.808 | 24.7919 | 27.2335 | 0.088254 | 1.1196 | 0 | 0.049681 | 0 | 16.8742 | 1.5273 | 7.5745 | 109.5358
27 | 205.6047 | 33.6388 | 6.6408 | 0 | 60.9145 | 35.5376 | 27.7677 | 24.3101 | 13.613 | 3.1823 | 8.1385 | -62.9729 | -56.0855 | -5.8706 | -1.0168 | 150.7703 | 127.6272 | 31.0367 | 62.8961 | 33.6944 | 23.1431 | 0.12324 | 0.19889 | 0 | 0.06254 | 0 | 7.707 | 2.0269 | 13.0246 | 150.7703
28 | 190.6183 | 40.904 | 6.6298 | 0 | 59.1495 | 14.5288 | 27.7509 | 24.2896 | 13.6554 | 3.7102 | 8.1493 | -80.5521 | -74.0979 | -5.4451 | -1.0091 | 118.2155 | 139.248 | 31.6414 | 73.6282 | 33.9784 | -21.0324 | 0.12382 | 0.19872 | 0 | 0.062806 | 0 | 1.0221 | 2.1685 | -24.6084 | 118.2155
29 | 220.055 | 46.3236 | 5.6809 | 0 | 60.05 | 38.3691 | 27.7509 | 24.2896 | 13.6554 | 3.9355 | 8.1565 | -70.1459 | -63.361 | -5.7855 | -0.99938 | 158.0656 | 143.0386 | 31.4831 | 77.5458 | 34.0098 | 15.027 | 0.088116 | 0.14643 | 0 | 0.062871 | 0 | 1.2857 | 2.1698 | 11.2741 | 158.0656
30 | 224.963 | 43.4461 | 5.6856 | 0 | 65.9908 | 37.9459 | 27.3241 | 24.2896 | 13.6554 | 6.6255 | 8.1613 | -78.6396 | -72.1708 | -5.4861 | -0.98276 | 154.4847 | 139.8963 | 31.59 | 75.8796 | 32.4266 | 14.5885 | 0.12277 | 0.2824 | 0 | 0.062835 | 0 | 0.75525 | 2.0439 | 11.3213 | 154.4847
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Re-Nomination - Monthly report
Month: June 2022
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | Entrata Melendugno | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Melendugno | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 198.1456 | 36.3115 | 7.2626 | 0 | 68.3692 | 14.857 | 30.8243 | 26.4955 | 4.7291 | 9.2966 | 7.6806 | -43.1116 | -35.8086 | -6.9728 | -0.33024 | 162.7146 | 115.2742 | 31.6966 | 50.5883 | 32.9892 | 47.4405 | 0.14725 | 0.3178 | 0 | 0.040161 | 0 | 10.8178 | 2.0308 | 34.0866 | 162.7146
2 | 180.614 | 38.0594 | 7.2583 | 0 | 54.0711 | 9.8788 | 30.8243 | 26.4955 | 4.7291 | 9.2976 | 8.4116 | -64.0913 | -55.5947 | -7.1386 | -1.358 | 124.9343 | 96.9889 | 29.4203 | 42.1485 | 25.42 | 27.9454 | 0.14669 | 0.3178 | 0.0227 | 0.052462 | 0 | 16.8943 | 1.6671 | 8.8444 | 124.9343
3 | 186.6376 | 38.0594 | 7.2514 | 0 | 52.0693 | 15.7442 | 30.822 | 26.8048 | 4.7291 | 11.1575 | 8.3833 | -50.1554 | -42.0785 | -6.73 | -1.3469 | 144.8654 | 118.6555 | 32.8627 | 51.4926 | 34.3002 | 26.2099 | 0.14163 | 0.3178 | 0 | 0.064805 | 0 | 14.0767 | 2.0351 | 9.5739 | 144.8654
4 | 173.3269 | 27.1823 | 5.7046 | 0 | 51.1685 | 15.7104 | 30.87 | 26.8048 | 4.7291 | 11.1572 | 8.382 | -61.9433 | -53.3217 | -7.286 | -1.3356 | 119.7656 | 100.4355 | 30.1386 | 44.03 | 26.267 | 19.3301 | 0.094712 | 0.3178 | 0 | 0.059152 | 0 | 16.1574 | 1.7489 | 0.95206 | 119.7656
5 | 174.2834 | 27.1823 | 5.6947 | 0 | 52.5072 | 15.3381 | 30.87 | 26.8048 | 4.7291 | 11.1572 | 8.3408 | -64.8492 | -56.2389 | -7.286 | -1.3244 | 117.775 | 95.7218 | 28.6394 | 41.5684 | 25.514 | 22.0532 | 0.092565 | 0.3178 | 0 | 0.05633 | 0 | 14.6356 | 1.6709 | 5.28 | 117.775
6 | 188.1966 | 30.0236 | 7.777 | 0 | 51.5248 | 25.3102 | 30.87 | 26.8048 | 4.7291 | 11.1572 | 8.4232 | -40.5058 | -32.3671 | -6.8256 | -1.3132 | 156.114 | 133.0178 | 34.8438 | 64.1192 | 34.0548 | 23.0962 | 0.092565 | 0.1589 | 0 | 0.069079 | 0 | 7.3429 | 2.0637 | 13.3691 | 156.114
7 | 199.3077 | 37.7547 | 6.7374 | 0 | 65.2573 | 8.4722 | 30.87 | 26.8048 | 12.2542 | 11.1572 | 8.4427 | -46.1116 | -37.8338 | -6.9729 | -1.305 | 161.6388 | 136.6364 | 34.6608 | 67.6803 | 34.2953 | 25.0024 | 0.13313 | 0.3178 | 0 | 0.069669 | 0 | 1.1179 | 2.0987 | 21.2652 | 161.6388
8 | 193.1579 | 28.934 | 6.7336 | 0 | 64.8506 | 11.2309 | 30.87 | 26.8048 | 12.2542 | 11.4798 | 8.4615 | -47.6611 | -39.2252 | -7.1431 | -1.2929 | 153.9583 | 136.3532 | 34.8838 | 65.1561 | 36.3134 | 17.6051 | 0.1456 | 0.3178 | 0 | 0.069739 | 0 | 4.7099 | 2.2377 | 10.1244 | 153.9583
9 | 188.8816 | 21.8403 | 6.734 | 0 | 64.4796 | 14.4316 | 30.87 | 26.8048 | 12.2542 | 11.4671 | 8.5182 | -44.6655 | -36.2415 | -7.1431 | -1.2808 | 152.7343 | 137.2096 | 34.2658 | 66.9096 | 36.0342 | 15.5247 | 0.14504 | 0.3178 | 0.00228 | 0.069652 | 0 | 5.7281 | 2.2132 | 7.0487 | 152.7343
10 | 182.1403 | 21.8426 | 6.7342 | 0 | 65.8653 | 6.2605 | 30.87 | 26.8048 | 12.2958 | 11.4671 | 8.387 | -46.5888 | -38.4162 | -6.9036 | -1.2689 | 143.9385 | 121.4746 | 33.8939 | 51.7367 | 35.8441 | 22.4638 | 0.12463 | 0.3178 | 0 | 0.068487 | 0 | 8.6084 | 2.1571 | 11.1874 | 143.9385
11 | 178.4173 | 21.8176 | 4.6681 | 0 | 68.5091 | 0.34192 | 30.87 | 26.0831 | 14.6603 | 11.4671 | 8.3925 | -70.8296 | -62.1164 | -7.4562 | -1.257 | 115.9801 | 90.2907 | 29.9612 | 33.2435 | 27.086 | 25.6894 | 0.094712 | 0.3178 | 0.14301 | 0.05876 | 0 | 17.194 | 1.6419 | 6.2392 | 115.9801
12 | 178.0918 | 21.8176 | 6.7364 | 0 | 65.8845 | 1.0411 | 30.87 | 26.0831 | 14.192 | 11.4671 | 8.3751 | -73.1287 | -64.4272 | -7.4562 | -1.2453 | 113.3382 | 86.519 | 28.3349 | 31.9858 | 26.1984 | 26.8192 | 0.091275 | 0.3178 | 0.14301 | 0.055818 | 0 | 16.9979 | 1.552 | 7.6615 | 113.3382
13 | 178.3758 | 22.2943 | 7.7744 | 0 | 63.6998 | 1.995 | 30.87 | 26.0831 | 14.192 | 11.4671 | 8.4017 | -42.9734 | -36.106 | -5.6338 | -1.2336 | 143.8041 | 131.2771 | 34.2829 | 60.9269 | 36.0673 | 12.5269 | 0.12179 | 0.3178 | 0 | 0.06849 | 0 | 6.777 | 2.1902 | 3.0517 | 143.8041
14 | 178.2902 | 22.7483 | 8.2959 | 0 | 63.8118 | 0.71959 | 30.8678 | 26.4955 | 14.192 | 11.1594 | 8.4536 | -41.0854 | -32.9227 | -6.9409 | -1.2218 | 145.6584 | 133.3259 | 33.8165 | 63.3439 | 36.1656 | 12.3325 | 0.1303 | 0.3178 | 0 | 0.06811 | 0 | 4.1087 | 2.2494 | 5.4582 | 145.6584
15 | 188.398 | 32.0697 | 8.3042 | 0 | 63.2465 | 2.0812 | 30.8494 | 26.4955 | 14.192 | 11.1594 | 8.4589 | -39.7338 | -31.7545 | -6.7692 | -1.21 | 157.1231 | 132.9692 | 33.6779 | 63.22 | 36.0713 | 24.1538 | 0.13313 | 0.3178 | 0 | 0.068234 | 0 | 9.9695 | 2.3528 | 11.3123 | 157.1231
16 | 195.621 | 39.313 | 8.2923 | 0 | 62.8987 | 2.2674 | 30.87 | 26.4955 | 14.3246 | 11.1594 | 8.4489 | -39.3525 | -31.7722 | -6.3819 | -1.1983 | 164.7174 | 145.8168 | 33.7151 | 75.9546 | 36.1471 | 18.9006 | 0.092565 | 0.21565 | 0 | 0.068082 | 2.3e-06 | 0.5832 | 2.2235 | 15.7177 | 164.7174
17 | 187.553 | 34.7191 | 8.2905 | 0 | 64.2906 | 3.4187 | 29.4371 | 26.4955 | 9.742 | 11.1594 | 8.4881 | -28.5511 | -20.5937 | -6.77 | -1.1874 | 167.49 | 137.7629 | 33.3091 | 68.6289 | 35.8249 | 29.7271 | 0.12746 | 0.21565 | 0 | 0.067085 | 0 | 1.3197 | 2.1154 | 25.8818 | 167.49
18 | 185.8529 | 33.9746 | 5.1795 | 0 | 66.4123 | 1.0911 | 29.1482 | 24.2274 | 14.6603 | 11.1594 | 8.4905 | -56.2386 | -47.7009 | -7.3624 | -1.1753 | 138.1048 | 103.6082 | 28.7399 | 48.1445 | 26.7239 | 34.4966 | 0.096173 | 0.3178 | 2.1746 | 0.057544 | 0 | 18.6217 | 1.6408 | 11.5879 | 138.1048
19 | 184.5528 | 34.1746 | 5.1746 | 0 | 65.564 | 1.427 | 29.0528 | 24.2274 | 13.7729 | 11.1594 | 8.4805 | -63.5936 | -55.0284 | -7.4013 | -1.164 | 129.4397 | 98.2171 | 27.3629 | 45.1078 | 25.7464 | 31.2225 | 0.095146 | 0.3178 | 5.1701 | 0.054469 | 0 | 18.2898 | 1.5428 | 5.7524 | 129.4397
20 | 199.3854 | 34.3897 | 7.76 | 0 | 74.2639 | 2.3776 | 29.1663 | 26.4955 | 13.7729 | 11.1594 | 8.5205 | -28.8022 | -20.7086 | -6.9409 | -1.1527 | 179.1038 | 141.2919 | 33.298 | 72.4122 | 35.5817 | 37.8118 | 0.13313 | 0.3178 | 0 | 0.067083 | 0 | 13.1474 | 2.1845 | 21.9619 | 179.1038
21 | 198.067 | 34.5967 | 5.6961 | 0 | 74.4095 | 1.7125 | 30.2244 | 26.4955 | 13.7729 | 11.1594 | 8.5335 | -38.1576 | -30.3004 | -6.7156 | -1.1416 | 168.4429 | 146.7335 | 33.6944 | 76.8733 | 36.1658 | 21.7094 | 0.13313 | 0.3178 | 0 | 0.067348 | 0 | 15.0533 | 2.2765 | 3.8613 | 168.4429
22 | 189.5425 | 34.2104 | 5.6958 | 0 | 67.5277 | 1.1079 | 30.1761 | 26.4955 | 13.7729 | 10.5562 | 8.5428 | -33.2728 | -25.1763 | -6.9658 | -1.1306 | 164.8125 | 148.9704 | 33.803 | 78.8122 | 36.3552 | 15.8421 | 0.1371 | 0.3178 | 0 | 0.067364 | 0.47291 | 5.1426 | 2.3031 | 7.4012 | 164.8125
23 | 187.7467 | 34.2465 | 6.2084 | 0 | 67.7896 | 1.816 | 27.0602 | 26.5986 | 13.7729 | 10.2547 | 8.5603 | -36.141 | -28.4152 | -6.6061 | -1.1197 | 160.1661 | 146.7467 | 33.021 | 77.4077 | 36.3181 | 13.4193 | 0.13653 | 0.3178 | 0 | 0.066426 | 0.5675 | 4.4397 | 2.2096 | 5.6817 | 160.1661
24 | 184.7459 | 36.047 | 6.2152 | 0 | 68.8914 | 6.4328 | 27.5376 | 26.5986 | 3.6736 | 9.3498 | 8.5932 | -93.6649 | -85.9408 | -6.6152 | -1.1089 | 99.6743 | 143.1242 | 32.8923 | 74.4491 | 35.7827 | -43.4498 | 0.13596 | 0.3178 | 0 | 0.065523 | 0 | 4.7366 | 2.1528 | -50.8585 | 99.6743
25 | 218.8806 | 35.3205 | 4.6541 | 0 | 68.5817 | 35.935 | 30.7488 | 24.949 | 11.9174 | 6.7741 | 8.5851 | -96.1574 | -87.5577 | -7.4107 | -1.1889 | 131.3083 | 99.7026 | 28.557 | 43.9872 | 27.1583 | 31.6057 | 0.097343 | 0.2724 | 0 | 0.055759 | 0 | 17.9824 | 1.7118 | 11.486 | 131.3083
26 | 221.1425 | 35.3527 | 5.6903 | 0 | 69.7122 | 36.4098 | 30.7488 | 24.949 | 14.6603 | 3.6193 | 8.5649 | -110.3178 | -101.6832 | -7.4562 | -1.1783 | 119.3896 | 86.8536 | 27.1237 | 33.567 | 26.1628 | 32.536 | 0.09592 | 1.2144 | 0 | 0.052767 | 0 | 18.2894 | 1.6117 | 11.2717 | 119.3896
27 | 225.471 | 36.5012 | 7.2391 | 0 | 67.6882 | 38.4156 | 30.7488 | 26.5986 | 14.6603 | 3.6193 | 8.5886 | -69.4815 | -62.2132 | -6.1952 | -1.0731 | 164.5781 | 134.685 | 32.753 | 66.3743 | 35.5577 | 29.8931 | 0.13426 | 0.21565 | 0 | 0.065263 | 0 | 8.355 | 2.1389 | 18.984 | 164.5781
28 | 209.1893 | 44.4179 | 7.2331 | 0 | 65.6417 | 15.6664 | 30.7488 | 26.5986 | 14.6603 | 4.2225 | 8.6 | -88.467 | -81.6559 | -5.7462 | -1.0649 | 129.3223 | 146.9484 | 33.3911 | 77.6999 | 35.8574 | -17.6261 | 0.1337 | 0.21565 | 0 | 0.065584 | 0 | 1.1099 | 2.2884 | -21.4393 | 129.3223
29 | 241.0019 | 50.303 | 6.1978 | 0 | 66.6411 | 41.3733 | 30.7488 | 26.5986 | 14.6603 | 4.4789 | 8.6076 | -76.984 | -69.8238 | -6.1055 | -1.0546 | 172.6255 | 150.9487 | 33.2241 | 81.834 | 35.8906 | 21.6768 | 0.095146 | 0.1589 | 0 | 0.065651 | 0 | 1.3961 | 2.2898 | 17.6712 | 172.6255
30 | 246.6073 | 47.1783 | 6.203 | 0 | 73.234 | 40.9171 | 30.2759 | 26.5986 | 14.6603 | 7.5402 | 8.6126 | -86.3588 | -79.5322 | -5.7894 | -1.0371 | 168.8612 | 147.6325 | 33.337 | 80.0758 | 34.2198 | 21.2286 | 0.13256 | 0.30645 | 0 | 0.065613 | 0 | 0.82013 | 2.157 | 17.7469 | 168.8612
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points