## kWh
Gas Re-Nomination - Monthly report
Month: August 2019
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 2282.9464 | 1087.922 | 170.4424 | 0 | 257.221 | 421.5223 | 164.625 | 155 | 26.2138 | 135.0902 | -705.5561 | -645.0988 | -57.1052 | -3.3521 | 1712.4805 | 1718.1109 | 378.996 | 999.3168 | 339.7981 | -5.6304 | 0.78164 | 0 | 0 | 0.57604 | 0 | 24.0307 | -31.0188 | 1712.4805
2 | 2215.7552 | 1023.0356 | 175.9752 | 0 | 257.6633 | 413.2423 | 164.625 | 155 | 26.2138 | 135.0921 | -744.393 | -680.5785 | -60.4408 | -3.3737 | 1606.4543 | 1638.0033 | 367.9721 | 940.9146 | 329.1166 | -31.549 | 1.0739 | 0 | 0 | 0.54954 | 0 | 23.2583 | -56.4308 | 1606.4543
3 | 1849.7461 | 801.607 | 214.6098 | 0 | 233.4984 | 348.4423 | 160.235 | 65.1398 | 26.2138 | 135.0697 | -735.5433 | -690.3661 | -42.446 | -2.7312 | 1249.2724 | 1184.2558 | 316.6599 | 588.273 | 279.3229 | 65.0166 | 0.78705 | 0 | 0 | 0.54554 | 0 | 19.7637 | 43.9203 | 1249.2724
4 | 1639.2024 | 635.2053 | 241.7085 | 0 | 229.2453 | 332.3143 | 160.235 | 4.45 | 36.0439 | 135.0722 | -639.4767 | -569.2198 | -66.8832 | -3.3737 | 1134.7978 | 1117.995 | 293.2853 | 561.8673 | 262.8424 | 16.8028 | 0.78164 | 0 | 0 | 0.54554 | 0 | 19.1565 | -3.6809 | 1134.7978
5 | 2050.6126 | 855.343 | 233.9917 | 0 | 227.5625 | 354.4423 | 160.235 | 140.3969 | 78.6413 | 134.9656 | -580.197 | -513.7648 | -63.0585 | -3.3737 | 1605.3813 | 1419.0617 | 320.3122 | 772.8349 | 325.9145 | 186.3196 | 1.0787 | 0 | 0 | 0.57104 | 0 | 22.195 | 162.4748 | 1605.3813
6 | 2062.5421 | 867.5213 | 209.9469 | 0 | 228.4666 | 377.7223 | 160.235 | 140.0087 | 78.6413 | 135.3559 | -591.3407 | -524.9118 | -63.0552 | -3.3737 | 1606.5574 | 1454.4557 | 318.953 | 812.9336 | 322.569 | 152.1017 | 1.0787 | 0 | 0 | 0.57504 | 0 | 21.625 | 128.8229 | 1606.5574
7 | 1992.6059 | 771.0815 | 210.0879 | 0 | 229.3185 | 408.1223 | 160.235 | 135.1195 | 78.6413 | 134.9637 | -601.2246 | -535.6997 | -62.1512 | -3.3737 | 1526.345 | 1507.1769 | 313.6917 | 869.1808 | 324.3045 | 19.168 | 1.0787 | 0 | 0 | 0.57504 | 0 | 22.3661 | -4.8517 | 1526.345
8 | 1993.5308 | 737.3419 | 210.1033 | 0 | 229.4802 | 411.3223 | 235.9625 | 130 | 39.3206 | 134.9617 | -610.1665 | -540.8472 | -65.9672 | -3.3521 | 1518.326 | 1434.3075 | 308.5169 | 802.1839 | 323.6067 | 84.0185 | 1.1044 | 0 | 0 | 0.57504 | 0 | 21.1334 | 61.2057 | 1518.326
9 | 1901.4082 | 680.9295 | 210.6311 | 0 | 230.1276 | 355.9903 | 235.9625 | 155 | 32.7672 | 134.8616 | -605.7122 | -536.3649 | -65.9952 | -3.3521 | 1430.5575 | 1425.0533 | 303.1616 | 808.9278 | 312.9639 | 5.5042 | 0.98425 | 0 | 0 | 0.56604 | 0 | 23.3013 | -19.3474 | 1430.5575
10 | 1693.0503 | 618.3043 | 209.9948 | 0 | 228.2424 | 270.1423 | 238.1575 | 95.4418 | 32.7672 | 134.3098 | -608.8212 | -538.7886 | -66.6906 | -3.342 | 1218.539 | 1212.1766 | 266.5023 | 688.5129 | 257.1614 | 6.3624 | 0.72845 | 0 | 0 | 0.55604 | 0 | 22.008 | -16.9301 | 1218.539
11 | 1561.2731 | 515.8075 | 174.8242 | 0 | 229.4211 | 275.3023 | 238.1575 | 94.9934 | 32.7672 | 134.3006 | -606.3293 | -536.2205 | -66.7567 | -3.3521 | 1089.2444 | 1101.8065 | 247.4923 | 613.3216 | 240.9926 | -12.5621 | 0.79039 | 0 | 0 | 0.56204 | 0 | 18.0651 | -31.9795 | 1089.2444
12 | 1766.8554 | 615.5285 | 209.6111 | 0 | 209.4138 | 314.8823 | 240.3525 | 144.3 | 32.7672 | 134.2774 | -592.125 | -522.8563 | -65.9167 | -3.3521 | 1309.0077 | 1270.9588 | 277.5467 | 706.5208 | 286.8912 | 38.049 | 1.0563 | 0 | 0 | 0.56038 | 0 | 19.8201 | 16.6121 | 1309.0077
13 | 1736.0084 | 546.444 | 209.9986 | 0 | 222.578 | 315.7613 | 240.3525 | 155 | 45.8741 | 134.3377 | -591.7354 | -522.445 | -65.9167 | -3.3737 | 1278.6107 | 1285.1016 | 266.8185 | 731.9384 | 286.3447 | -6.4909 | 1.1284 | 0 | 0 | 0.44229 | 0 | 18.8053 | -26.8669 | 1278.6107
14 | 1495.2167 | 435.6157 | 175.1893 | 0 | 226.123 | 168.2346 | 240.3525 | 151.4 | 98.3016 | 134.7424 | -589.8343 | -520.5417 | -65.9167 | -3.3759 | 1040.1248 | 1118.7609 | 259.3174 | 582.943 | 276.5005 | -78.6361 | 1.1027 | 0 | 0 | 0.42771 | 0 | 18.4732 | -98.6398 | 1040.1248
15 | 1327.592 | 404.5338 | 164.2086 | 0 | 229.0046 | 128.2063 | 234.865 | 68.472 | 98.3016 | 135.3359 | -611.0972 | -541.8068 | -65.9167 | -3.3737 | 851.8307 | 942.6787 | 229.5985 | 473.4674 | 239.6129 | -90.848 | 0.80646 | 0 | 0 | 0.45764 | 0 | 15.9342 | -108.0463 | 851.8307
16 | 1500.3649 | 435.9748 | 164.586 | 0 | 229.2697 | 231.8803 | 240.3525 | 100 | 98.3016 | 135.2207 | -610.7554 | -541.4651 | -65.9167 | -3.3737 | 1024.8302 | 1113.0697 | 252.8215 | 575.1046 | 285.1436 | -88.2396 | 1.2202 | 0 | 0 | 0.443 | 24.946 | 18.3884 | -133.2372 | 1024.8302
17 | 1475.7713 | 435.1495 | 153.3399 | 1.2 | 229.0555 | 218.3722 | 240.3525 | 100 | 98.3016 | 135.2291 | -601.0151 | -539.8886 | -57.7469 | -3.3796 | 1009.9852 | 1084.989 | 245.2851 | 579.3368 | 260.3671 | -75.0037 | 0.86312 | 0 | 0 | 0.48271 | 0 | 16.4935 | -92.8431 | 1009.9852
18 | 1531.0542 | 528.2479 | 142.295 | 2.4 | 223.8289 | 256.2223 | 240.3525 | 39.406 | 98.3016 | 135.2315 | -615.2302 | -554.1108 | -57.7398 | -3.3796 | 1051.0556 | 1018.569 | 237.7058 | 532.825 | 248.0382 | 32.4866 | 0.84232 | 0 | 0 | 0.48613 | 0 | 16.0989 | 15.0592 | 1051.0556
19 | 1796.9345 | 658.3863 | 164.1157 | 0 | 213.7981 | 286.1543 | 240.3525 | 135.826 | 98.3016 | 135.3156 | -580.5423 | -522.2267 | -54.936 | -3.3796 | 1351.7078 | 1280.3829 | 285.7714 | 687.9012 | 306.7103 | 71.3249 | 1.1693 | 0 | 0 | 0.50138 | 0 | 19.7052 | 49.9489 | 1351.7078
20 | 1901.0199 | 740.9951 | 153.1059 | 0 | 229.8214 | 289.882 | 240.3525 | 146.9231 | 99.94 | 134.9965 | -587.0004 | -529.3796 | -54.2412 | -3.3796 | 1449.0161 | 1399.1004 | 289.4269 | 798.704 | 310.9694 | 49.9157 | 1.193 | 0 | 0 | 0.51285 | 0 | 20.578 | 27.6318 | 1449.0161
21 | 1883.1334 | 697.0227 | 142.181 | 0 | 224.345 | 325.162 | 240.3525 | 144.3 | 109.7701 | 135.3112 | -578.7707 | -522.1356 | -53.3006 | -3.3345 | 1439.6739 | 1458.3387 | 303.4936 | 831.9519 | 322.8933 | -18.6649 | 1.1981 | 0 | 0 | 0.52865 | 0 | 22.45 | -42.8416 | 1439.6739
22 | 1930.31 | 746.7967 | 142.116 | 0 | 225.6617 | 317.6983 | 240.3525 | 147.9146 | 109.7701 | 135.3581 | -579.1664 | -521.5456 | -54.2412 | -3.3796 | 1486.5016 | 1445.3115 | 305.2639 | 822.5085 | 317.5391 | 41.1901 | 1.2032 | 0 | 0 | 0.53065 | 0 | 24.8872 | 14.569 | 1486.5016
23 | 1896.8756 | 716.4057 | 153.2916 | 0 | 223.9102 | 314.0983 | 240.3525 | 140.6854 | 108.1318 | 135.3588 | -581.0367 | -522.4559 | -54.9612 | -3.6196 | 1451.1977 | 1430.3478 | 302.0496 | 808.0651 | 320.2331 | 20.8499 | 1.1693 | 0 | 0 | 0.53065 | 0 | 20.6143 | -1.4645 | 1451.1977
24 | 1670.0203 | 549.7153 | 142.3892 | 0 | 225.874 | 308.8003 | 240.3525 | 100 | 102.889 | 135.8135 | -582.8917 | -520.1109 | -57.7212 | -5.0596 | 1222.9421 | 1218.6964 | 277.4643 | 660.5146 | 280.7175 | 4.2457 | 0.85 | 0 | 0 | 0.53065 | 0.2 | 19.2782 | -16.6132 | 1222.9421
25 | 1675.638 | 575.8766 | 142.613 | 0 | 223.8826 | 318.0583 | 240.3525 | 70 | 104.855 | 135.8568 | -583.0439 | -520.2631 | -57.7212 | -5.0596 | 1228.4509 | 1162.9505 | 267.0712 | 626.9327 | 268.9467 | 65.5004 | 0.81916 | 0 | 0 | 0.53065 | 0 | 17.5891 | 46.5615 | 1228.4509
26 | 2137.7016 | 980.7693 | 186.6032 | 0 | 203.6651 | 316.3917 | 240.3525 | 96.873 | 113.0468 | 135.1734 | -593.0254 | -541.0612 | -48.2611 | -3.703 | 1679.8496 | 1473.4777 | 343.8557 | 787.0199 | 342.6021 | 206.3719 | 1.1185 | 0 | 0 | 0.57404 | 0 | 23.3986 | 181.2808 | 1679.8496
27 | 2153.5493 | 964.839 | 181.1277 | 3.086 | 226.9396 | 333.5644 | 240.3525 | 90.5932 | 113.0468 | 135.188 | -474.5848 | -434.4036 | -37.8876 | -2.2936 | 1814.1525 | 1664.8668 | 362.9387 | 954.6779 | 347.2503 | 149.2857 | 1.1439 | 0 | 0 | 0.57604 | 0 | 24.9024 | 122.6633 | 1814.1525
28 | 2267.363 | 1044.9937 | 170.1009 | 0.165 | 233.2459 | 381.5784 | 240.3525 | 83.8798 | 113.0468 | 130.3918 | -493.321 | -454.4405 | -33.1198 | -5.7606 | 1904.4339 | 1769.5143 | 370.3877 | 1040.2953 | 358.8313 | 134.9195 | 1.2388 | 0 | 0 | 0.57604 | 0 | 26.0455 | 107.0592 | 1904.4339
29 | 2217.0037 | 918.4237 | 169.6292 | 0.24 | 233.7718 | 386.6184 | 240.3525 | 155 | 112.968 | 135.1896 | -481.8761 | -437.2527 | -38.944 | -5.6794 | 1870.3172 | 1759.5852 | 374.0092 | 1024.5955 | 360.9805 | 110.732 | 1.249 | 0 | 0 | 0.63287 | 0 | 25.966 | 82.8841 | 1870.3172
30 | 2225.8153 | 911.3051 | 164.1155 | 0.24 | 216.977 | 424.7784 | 240.3525 | 155 | 113.0468 | 135.1843 | -525.0928 | -477.4924 | -41.9244 | -5.676 | 1835.9068 | 1715.4929 | 369.5199 | 988.7378 | 357.2353 | 120.4139 | 1.0676 | 0 | 0 | 0.63287 | 0 | 24.9862 | 93.7272 | 1835.9068
31 | 1896.2831 | 748.7717 | 142.1608 | 1.71 | 218.875 | 367.7084 | 240.3525 | 63.6579 | 113.0468 | 135.1138 | -525.9849 | -466.6419 | -53.928 | -5.4149 | 1505.4121 | 1372.8195 | 341.1398 | 717.6842 | 313.9955 | 132.5926 | 0.79753 | 0 | 0 | 0.63287 | 0 | 20.2053 | 110.9569 | 1505.4121
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Re-Nomination - Monthly report
Month: August 2019
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 199.4537 | 96.1311 | 14.6753 | 0 | 22.0219 | 36.6967 | 14.2086 | 13.5191 | 2.2012 | 12.1077 | -61.8662 | -56.4476 | -5.1181 | -0.30044 | 149.6952 | 153.9881 | 33.9681 | 89.5652 | 30.4549 | -4.293 | 0.068926 | 0 | 0 | 0.05212 | 0 | 2.1538 | -6.5678 | 149.6952
2 | 193.4528 | 90.3957 | 15.1777 | 0 | 21.9745 | 35.9813 | 14.2086 | 13.5149 | 2.2 | 12.1078 | -65.2816 | -59.5621 | -5.4171 | -0.30237 | 140.279 | 146.8084 | 32.98 | 84.3308 | 29.4975 | -6.5293 | 0.094865 | 0 | 0 | 0.049775 | 0 | 2.0846 | -8.7585 | 140.279
3 | 161.6132 | 70.7727 | 18.5989 | 0 | 19.9455 | 30.3621 | 14.0565 | 5.6804 | 2.1971 | 12.1058 | -64.4472 | -60.3981 | -3.8043 | -0.24479 | 109.2718 | 106.1406 | 28.3811 | 52.7248 | 25.0347 | 3.1312 | 0.069546 | 0 | 0 | 0.049427 | 0 | 1.7714 | 1.2408 | 109.2718
4 | 142.9067 | 55.9805 | 20.9463 | 0 | 19.5823 | 28.9331 | 14.0701 | 0.38799 | 3.0063 | 12.106 | -56.0625 | -49.7656 | -5.9945 | -0.30237 | 98.9502 | 100.2019 | 26.2861 | 50.3582 | 23.5576 | -1.2517 | 0.068868 | 0 | 0 | 0.049431 | 0 | 1.7169 | -3.087 | 98.9502
5 | 178.8315 | 75.3965 | 20.264 | 0 | 19.4592 | 30.8579 | 14.0704 | 12.2403 | 6.5432 | 12.0965 | -50.8285 | -44.8744 | -5.6517 | -0.30237 | 140.0995 | 127.1854 | 28.7084 | 69.2664 | 29.2106 | 12.914 | 0.095156 | 0 | 0 | 0.051732 | 0 | 1.9893 | 10.7779 | 140.0995
6 | 179.785 | 76.3895 | 18.1796 | 0 | 19.5133 | 32.8935 | 14.0675 | 12.2053 | 6.5363 | 12.1315 | -51.8098 | -45.856 | -5.6514 | -0.30237 | 140.1067 | 130.3577 | 28.5866 | 72.8603 | 28.9107 | 9.749 | 0.094114 | 0 | 0 | 0.052094 | 0 | 1.9382 | 7.6646 | 140.1067
7 | 173.5053 | 67.8391 | 18.1323 | 0 | 19.5545 | 35.5916 | 14.065 | 11.7768 | 6.5461 | 12.0963 | -52.6901 | -46.8174 | -5.5704 | -0.30237 | 132.9115 | 135.0829 | 28.1151 | 77.9016 | 29.0663 | -2.1714 | 0.094882 | 0 | 0 | 0.052094 | 0 | 2.0046 | -4.323 | 132.9115
8 | 173.9475 | 64.9944 | 18.2203 | 0 | 19.5511 | 35.8664 | 20.7006 | 11.3188 | 3.2959 | 12.0961 | -53.4775 | -47.2647 | -5.9124 | -0.30044 | 132.5661 | 128.5519 | 27.6513 | 71.8969 | 29.0037 | 4.0142 | 0.097287 | 0 | 0 | 0.052089 | 0 | 1.8941 | 1.9708 | 132.5661
9 | 165.8189 | 60.0706 | 18.2669 | 0 | 19.5759 | 30.9792 | 20.6948 | 13.4837 | 2.7478 | 12.0872 | -53.0218 | -46.8065 | -5.9149 | -0.30044 | 124.8842 | 127.7224 | 27.1713 | 72.5013 | 28.0498 | -2.8382 | 0.086599 | 0 | 0 | 0.051279 | 0 | 2.0884 | -5.0645 | 124.8842
10 | 147.8528 | 54.6312 | 18.2124 | 0 | 19.4989 | 23.6211 | 20.8482 | 8.298 | 2.7429 | 12.0377 | -53.3352 | -47.0584 | -5.9772 | -0.29953 | 106.5553 | 108.6431 | 23.8856 | 61.709 | 23.0485 | -2.0878 | 0.064164 | 0 | 0 | 0.050373 | 0 | 1.9725 | -4.1748 | 106.5553
11 | 136.1138 | 45.675 | 15.1342 | 0 | 19.6178 | 24.0665 | 20.6209 | 8.258 | 2.7415 | 12.0369 | -53.0812 | -46.7976 | -5.9832 | -0.30044 | 95.0696 | 98.751 | 22.1819 | 54.9698 | 21.5993 | -3.6814 | 0.069659 | 0 | 0 | 0.050921 | 0 | 1.6191 | -5.4211 | 95.0696
12 | 153.9951 | 54.349 | 18.1406 | 0 | 17.8933 | 27.5285 | 20.8031 | 12.5411 | 2.7396 | 12.0348 | -52.0128 | -45.8045 | -5.9079 | -0.30044 | 114.0171 | 113.9115 | 24.8755 | 63.3229 | 25.713 | 0.10556 | 0.093201 | 0 | 0 | 0.050762 | 0 | 1.7764 | -1.8148 | 114.0171
13 | 151.1065 | 48.3949 | 18.1776 | 0 | 19.0439 | 27.4261 | 20.7731 | 13.4693 | 3.8216 | 12.0402 | -51.7275 | -45.5173 | -5.9079 | -0.30237 | 111.4192 | 115.1791 | 23.914 | 65.601 | 25.6641 | -3.7599 | 0.099849 | 0 | 0 | 0.040064 | 0 | 1.6854 | -5.5853 | 111.4192
14 | 129.7848 | 38.5866 | 15.1297 | 0 | 19.3479 | 14.6424 | 20.7536 | 13.1544 | 8.1701 | 12.0765 | -51.6164 | -45.4059 | -5.9079 | -0.30257 | 90.2449 | 100.2705 | 23.2417 | 52.2471 | 24.7818 | -10.0257 | 0.096467 | 0 | 0 | 0.038729 | 0 | 1.6557 | -11.8165 | 90.2449
15 | 115.1968 | 35.7805 | 14.2067 | 0 | 19.6128 | 11.1965 | 20.2767 | 5.9476 | 8.1761 | 12.1297 | -53.4394 | -47.2291 | -5.9079 | -0.30237 | 73.8871 | 84.4889 | 20.5781 | 42.4352 | 21.4756 | -10.6018 | 0.070343 | 0 | 0 | 0.041443 | 0 | 1.4281 | -12.1417 | 73.8871
16 | 130.2195 | 38.5622 | 14.2485 | 0 | 19.6549 | 20.2738 | 20.7566 | 8.5394 | 8.184 | 12.1194 | -53.379 | -47.1688 | -5.9079 | -0.30237 | 88.9599 | 99.7605 | 22.6595 | 51.5446 | 25.5564 | -10.8006 | 0.1067 | 0 | 0 | 0.040098 | 2.2065 | 1.6481 | -14.802 | 88.9599
17 | 127.9075 | 38.4809 | 13.2804 | 0.10557 | 19.6123 | 19.0342 | 20.7409 | 8.4784 | 8.1747 | 12.1201 | -52.5794 | -47.1008 | -5.1756 | -0.3029 | 87.4482 | 97.2437 | 21.984 | 51.9239 | 23.3358 | -9.7955 | 0.075409 | 0 | 0 | 0.043696 | 0 | 1.4783 | -11.3928 | 87.4482
18 | 132.9373 | 46.6561 | 12.3296 | 0.21114 | 19.159 | 22.3301 | 20.7283 | 3.3384 | 8.1847 | 12.1203 | -53.8039 | -48.326 | -5.175 | -0.3029 | 91.2537 | 91.2907 | 21.3047 | 47.7552 | 22.2308 | -0.037024 | 0.07366 | 0 | 0 | 0.044002 | 0 | 1.4429 | -1.5976 | 91.2537
19 | 155.9845 | 58.1438 | 14.2192 | 0 | 18.3012 | 24.9181 | 20.7361 | 11.5094 | 8.1568 | 12.1279 | -50.9455 | -45.7189 | -4.9237 | -0.3029 | 117.1668 | 114.7561 | 25.6127 | 61.6541 | 27.4893 | 2.4107 | 0.10231 | 0 | 0 | 0.045395 | 0 | 1.7661 | 0.49689 | 117.1668
20 | 165.2141 | 65.4748 | 13.2714 | 0 | 19.6771 | 25.3095 | 20.724 | 12.4485 | 8.3087 | 12.0993 | -51.517 | -46.3526 | -4.8614 | -0.3029 | 125.7963 | 125.3964 | 25.9403 | 71.585 | 27.8711 | 0.39994 | 0.10488 | 0 | 0 | 0.046443 | 0 | 1.8443 | -1.5957 | 125.7963
21 | 163.4787 | 61.5546 | 12.3048 | 0 | 19.2023 | 28.3592 | 20.7108 | 12.2274 | 9.1196 | 12.1275 | -50.5187 | -45.4427 | -4.7771 | -0.29886 | 125.0875 | 130.7057 | 27.201 | 74.5649 | 28.9398 | -5.6182 | 0.10463 | 0 | 0 | 0.047864 | 0 | 2.0121 | -7.7828 | 125.0875
22 | 167.701 | 66 | 12.2948 | 0 | 19.3028 | 27.7433 | 20.7088 | 12.5269 | 9.1244 | 12.1317 | -50.9251 | -45.7608 | -4.8614 | -0.3029 | 128.9075 | 129.5381 | 27.3597 | 73.7185 | 28.4599 | -0.6306 | 0.10507 | 0 | 0 | 0.048041 | 0 | 2.2306 | -3.0143 | 128.9075
23 | 164.6175 | 63.2642 | 13.2412 | 0 | 19.1675 | 27.3157 | 20.7063 | 11.9187 | 9.004 | 12.1317 | -50.8303 | -45.5799 | -4.926 | -0.32441 | 125.9189 | 128.197 | 27.0716 | 72.424 | 28.7014 | -2.2781 | 0.10215 | 0 | 0 | 0.048037 | 0 | 1.8476 | -4.2759 | 125.9189
24 | 144.9676 | 48.554 | 12.2922 | 0 | 19.3388 | 26.8434 | 20.7154 | 8.6595 | 8.5644 | 12.1725 | -51.0755 | -45.4486 | -5.1733 | -0.45347 | 106.0646 | 109.2274 | 24.8681 | 59.1996 | 25.1597 | -3.1628 | 0.074011 | 0 | 0 | 0.048046 | 0.017665 | 1.7278 | -5.0303 | 106.0646
25 | 145.6998 | 50.8917 | 12.3107 | 0 | 19.1606 | 27.8098 | 20.7285 | 6.0992 | 8.6993 | 12.1764 | -51.0376 | -45.4108 | -5.1733 | -0.45347 | 106.8385 | 104.2311 | 23.9366 | 56.1897 | 24.1047 | 2.6074 | 0.071286 | 0 | 0 | 0.048055 | 0 | 1.5764 | 0.91165 | 106.8385
26 | 186.4718 | 86.6988 | 16.1127 | 0 | 17.4227 | 27.6772 | 20.7368 | 8.4401 | 9.3836 | 12.1151 | -51.7036 | -47.0462 | -4.3255 | -0.33189 | 146.8834 | 132.0625 | 30.8186 | 70.5378 | 30.7062 | 14.8208 | 0.098181 | 0 | 0 | 0.05186 | 0 | 2.0971 | 12.5736 | 146.8834
27 | 187.7602 | 85.2457 | 15.6834 | 0.27269 | 19.3997 | 29.1304 | 20.7333 | 7.8916 | 9.4033 | 12.1164 | -41.5284 | -37.9271 | -3.3957 | -0.20557 | 158.3482 | 149.2161 | 32.5289 | 85.5644 | 31.1228 | 9.1321 | 0.10023 | 0 | 0 | 0.05214 | 0 | 2.2319 | 6.7478 | 158.3482
28 | 197.8772 | 92.3139 | 14.7324 | 0.014609 | 19.9735 | 33.3557 | 20.7834 | 7.307 | 9.3967 | 11.6866 | -42.9906 | -39.5059 | -2.9684 | -0.5163 | 166.5731 | 158.5953 | 33.1965 | 93.238 | 32.1608 | 7.9779 | 0.1089 | 0 | 0 | 0.052135 | 0 | 2.3344 | 5.4825 | 166.5731
29 | 193.6454 | 81.1262 | 14.699 | 0.02125 | 20.0144 | 34.1769 | 20.7423 | 13.4988 | 9.3665 | 12.1166 | -42.0648 | -38.0654 | -3.4904 | -0.50902 | 163.6971 | 157.7053 | 33.5211 | 91.8308 | 32.3534 | 5.9918 | 0.10959 | 0 | 0 | 0.057274 | 0 | 2.3272 | 3.4977 | 163.6971
30 | 194.5291 | 80.5025 | 14.1998 | 0.021238 | 18.5581 | 37.6301 | 20.7374 | 13.4978 | 9.3822 | 12.1161 | -45.8223 | -41.556 | -3.7575 | -0.50872 | 160.8229 | 153.7535 | 33.1187 | 88.617 | 32.0177 | 7.0694 | 0.094458 | 0 | 0 | 0.057273 | 0 | 2.2394 | 4.6783 | 160.8229
31 | 165.665 | 66.1509 | 12.3004 | 0.15136 | 18.6838 | 32.7001 | 20.7341 | 5.5401 | 9.4042 | 12.1098 | -46.1033 | -40.7846 | -4.8334 | -0.48532 | 131.6714 | 123.0409 | 30.5751 | 64.3235 | 28.1423 | 8.6305 | 0.070848 | 0 | 0 | 0.057301 | 0 | 1.8109 | 6.6914 | 131.6714
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Re-Nomination - Monthly report
Month: August 2019
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 215.9274 | 102.8987 | 16.1209 | 0 | 24.3287 | 39.8687 | 15.5707 | 14.6603 | 2.4794 | 12.7772 | -66.7335 | -61.0152 | -5.4012 | -0.31705 | 161.9712 | 162.5037 | 35.8465 | 94.5182 | 32.139 | -0.53254 | 0.07393 | 0 | 0 | 0.054483 | 0 | 2.2729 | -2.9338 | 161.9712
2 | 209.5723 | 96.7615 | 16.6442 | 0 | 24.3705 | 39.0856 | 15.5707 | 14.6603 | 2.4794 | 12.7774 | -70.4068 | -64.371 | -5.7167 | -0.3191 | 151.9429 | 154.9269 | 34.8038 | 88.9943 | 31.1288 | -2.984 | 0.10157 | 0 | 0 | 0.051977 | 0 | 2.1998 | -5.3374 | 151.9429
3 | 174.9541 | 75.8182 | 20.2984 | 0 | 22.0849 | 32.9566 | 15.1555 | 6.1611 | 2.4794 | 12.7753 | -69.5697 | -65.2967 | -4.0147 | -0.25833 | 118.1596 | 112.0102 | 29.9506 | 55.6405 | 26.4191 | 6.1495 | 0.074442 | 0 | 0 | 0.051599 | 0 | 1.8693 | 4.1541 | 118.1596
4 | 155.0403 | 60.0795 | 22.8615 | 0 | 21.6827 | 31.4312 | 15.1555 | 0.42089 | 3.4091 | 12.7755 | -60.4835 | -53.8384 | -6.326 | -0.3191 | 107.3323 | 105.7431 | 27.7397 | 53.143 | 24.8604 | 1.5893 | 0.07393 | 0 | 0 | 0.051599 | 0 | 1.8119 | -0.34815 | 107.3323
5 | 193.9526 | 80.9007 | 22.1316 | 0 | 21.5235 | 33.5241 | 15.1555 | 13.2791 | 7.4381 | 12.7654 | -54.8766 | -48.5933 | -5.9642 | -0.3191 | 151.8414 | 134.2188 | 30.296 | 73.0969 | 30.8259 | 17.6226 | 0.10203 | 0 | 0 | 0.05401 | 0 | 2.0993 | 15.3673 | 151.8414
6 | 195.081 | 82.0526 | 19.8574 | 0 | 21.609 | 35.726 | 15.1555 | 13.2424 | 7.4381 | 12.8023 | -55.9306 | -49.6476 | -5.9639 | -0.3191 | 151.9526 | 137.5665 | 30.1675 | 76.8895 | 30.5095 | 14.3862 | 0.10203 | 0 | 0 | 0.054388 | 0 | 2.0454 | 12.1844 | 151.9526
7 | 188.4662 | 72.931 | 19.8707 | 0 | 21.6896 | 38.6013 | 15.1555 | 12.78 | 7.4381 | 12.7652 | -56.8655 | -50.668 | -5.8784 | -0.3191 | 144.3659 | 142.553 | 29.6698 | 82.2095 | 30.6736 | 1.813 | 0.10203 | 0 | 0 | 0.054388 | 0 | 2.1154 | -0.45889 | 144.3659
8 | 188.5537 | 69.7398 | 19.8722 | 0 | 21.7049 | 38.904 | 22.318 | 12.2958 | 3.7191 | 12.7651 | -57.7112 | -51.1548 | -6.2394 | -0.31705 | 143.6075 | 135.6608 | 29.1804 | 75.8728 | 30.6076 | 7.9467 | 0.10446 | 0 | 0 | 0.054388 | 0 | 1.9989 | 5.789 | 143.6075
9 | 179.8405 | 64.4042 | 19.9221 | 0 | 21.7661 | 33.6705 | 22.318 | 14.6603 | 3.0992 | 12.7556 | -57.2899 | -50.7309 | -6.242 | -0.31705 | 135.3061 | 134.7855 | 28.6739 | 76.5106 | 29.601 | 0.5206 | 0.093093 | 0 | 0 | 0.053537 | 0 | 2.2039 | -1.8299 | 135.3061
10 | 160.1334 | 58.4809 | 19.8619 | 0 | 21.5878 | 25.5508 | 22.5256 | 9.0272 | 3.0992 | 12.7034 | -57.584 | -50.9601 | -6.3078 | -0.31609 | 115.2528 | 114.651 | 25.2065 | 65.1215 | 24.323 | 0.60177 | 0.068898 | 0 | 0 | 0.052591 | 0 | 2.0816 | -1.6013 | 115.2528
11 | 147.6695 | 48.7865 | 16.5354 | 0 | 21.6993 | 26.0389 | 22.5256 | 8.9847 | 3.0992 | 12.7025 | -57.3483 | -50.7172 | -6.314 | -0.31705 | 103.0238 | 104.2119 | 23.4085 | 58.0097 | 22.7937 | -1.1882 | 0.074757 | 0 | 0 | 0.053159 | 0 | 1.7086 | -3.0247 | 103.0238
12 | 167.1141 | 58.2184 | 19.8256 | 0 | 19.8069 | 29.7824 | 22.7332 | 13.6483 | 3.0992 | 12.7003 | -56.0048 | -49.4532 | -6.2346 | -0.31705 | 123.8096 | 120.2108 | 26.2511 | 66.8247 | 27.135 | 3.5988 | 0.099911 | 0 | 0 | 0.053003 | 0 | 1.8746 | 1.5712 | 123.8096
13 | 164.1965 | 51.6842 | 19.8622 | 0 | 21.052 | 29.8656 | 22.7332 | 14.6603 | 4.3389 | 12.706 | -55.968 | -49.4143 | -6.2346 | -0.3191 | 120.9345 | 121.5485 | 25.2364 | 69.2288 | 27.0833 | -0.61393 | 0.10673 | 0 | 0 | 0.041833 | 0 | 1.7787 | -2.5411 | 120.9345
14 | 141.4217 | 41.2017 | 16.5699 | 0 | 21.3873 | 15.9121 | 22.7332 | 14.3198 | 9.2976 | 12.7443 | -55.7882 | -49.2343 | -6.2346 | -0.3193 | 98.3779 | 105.8155 | 24.527 | 55.1364 | 26.1522 | -7.4376 | 0.1043 | 0 | 0 | 0.040454 | 0 | 1.7472 | -9.3296 | 98.3779
15 | 125.5673 | 38.2619 | 15.5313 | 0 | 21.6599 | 12.1261 | 22.2142 | 6.4763 | 9.2976 | 12.8004 | -57.7993 | -51.2456 | -6.2346 | -0.3191 | 80.5685 | 89.1612 | 21.7161 | 44.7819 | 22.6632 | -8.5927 | 0.076277 | 0 | 0 | 0.043284 | 0 | 1.5071 | -10.2193 | 80.5685
16 | 141.9087 | 41.2357 | 15.567 | 0 | 21.685 | 21.9319 | 22.7332 | 9.4583 | 9.2976 | 12.7896 | -57.7669 | -51.2133 | -6.2346 | -0.3191 | 96.9313 | 105.2772 | 23.9126 | 54.395 | 26.9697 | -8.3459 | 0.11541 | 0 | 0 | 0.041901 | 2.3595 | 1.7392 | -12.6019 | 96.9313
17 | 139.5825 | 41.1576 | 14.5033 | 0.1135 | 21.6647 | 20.6542 | 22.7332 | 9.4583 | 9.2976 | 12.7903 | -56.8457 | -51.0642 | -5.4619 | -0.31965 | 95.5272 | 102.6213 | 23.1997 | 54.7953 | 24.6262 | -7.0941 | 0.081636 | 0 | 0 | 0.045656 | 0 | 1.56 | -8.7814 | 95.5272
18 | 144.8114 | 49.9631 | 13.4587 | 0.227 | 21.1704 | 24.2342 | 22.7332 | 3.7271 | 9.2976 | 12.7906 | -58.1902 | -52.4093 | -5.4612 | -0.31965 | 99.4117 | 96.3391 | 22.4829 | 50.3961 | 23.4601 | 3.0727 | 0.079669 | 0 | 0 | 0.04598 | 0 | 1.5227 | 1.4243 | 99.4117
19 | 169.959 | 62.272 | 15.5225 | 0 | 20.2216 | 27.0653 | 22.7332 | 12.8468 | 9.2976 | 12.7985 | -54.9093 | -49.3937 | -5.196 | -0.31965 | 127.8483 | 121.1022 | 27.029 | 65.0636 | 29.0095 | 6.7461 | 0.1106 | 0 | 0 | 0.047422 | 0 | 1.8638 | 4.7243 | 127.8483
20 | 179.8037 | 70.0854 | 14.4812 | 0 | 21.7371 | 27.4178 | 22.7332 | 13.8964 | 9.4526 | 12.7683 | -55.5201 | -50.0702 | -5.1303 | -0.31965 | 137.052 | 132.3308 | 27.3748 | 75.5436 | 29.4123 | 4.7212 | 0.11284 | 0 | 0 | 0.048507 | 0 | 1.9463 | 2.6135 | 137.052
21 | 178.112 | 65.9263 | 13.4479 | 0 | 21.2192 | 30.7547 | 22.7332 | 13.6483 | 10.3824 | 12.7981 | -54.7417 | -49.385 | -5.0413 | -0.31538 | 136.1683 | 137.9337 | 28.7053 | 78.6883 | 30.5401 | -1.7654 | 0.11332 | 0 | 0 | 0.050001 | 0 | 2.1234 | -4.0521 | 136.1683
22 | 182.5741 | 70.6341 | 13.4417 | 0 | 21.3437 | 30.0488 | 22.7332 | 13.9902 | 10.3824 | 12.8025 | -54.7792 | -49.3292 | -5.1303 | -0.31965 | 140.5974 | 136.7016 | 28.8727 | 77.7951 | 30.0337 | 3.8959 | 0.1138 | 0 | 0 | 0.050191 | 0 | 2.3539 | 1.378 | 140.5974
23 | 179.4118 | 67.7596 | 14.4987 | 0 | 21.178 | 29.7083 | 22.7332 | 13.3064 | 10.2274 | 12.8026 | -54.9561 | -49.4153 | -5.1984 | -0.34235 | 137.2583 | 135.2863 | 28.5687 | 76.429 | 30.2885 | 1.972 | 0.1106 | 0 | 0 | 0.050191 | 0 | 1.9498 | -0.13851 | 137.2583
24 | 157.9552 | 51.9936 | 13.4676 | 0 | 21.3638 | 29.2072 | 22.7332 | 9.4583 | 9.7315 | 12.8456 | -55.1315 | -49.1935 | -5.4594 | -0.47855 | 115.6693 | 115.2677 | 26.2433 | 62.4733 | 26.551 | 0.40157 | 0.080395 | 0 | 0 | 0.050191 | 0.018917 | 1.8234 | -1.5713 | 115.6693
25 | 158.4865 | 54.468 | 13.4887 | 0 | 21.1754 | 30.0828 | 22.7332 | 6.6208 | 9.9175 | 12.8497 | -55.1459 | -49.2079 | -5.4594 | -0.47855 | 116.1903 | 109.9951 | 25.2603 | 59.297 | 25.4377 | 6.1952 | 0.077478 | 0 | 0 | 0.050191 | 0 | 1.6636 | 4.4039 | 116.1903
26 | 202.1897 | 92.7639 | 17.6494 | 0 | 19.2632 | 29.9252 | 22.7332 | 9.1625 | 10.6923 | 12.7851 | -56.09 | -51.1751 | -4.5647 | -0.35024 | 158.8848 | 139.3656 | 32.5228 | 74.4385 | 32.4043 | 19.5192 | 0.10579 | 0 | 0 | 0.054294 | 0 | 2.2131 | 17.146 | 158.8848
27 | 203.6887 | 91.2572 | 17.1316 | 0.29188 | 21.4646 | 31.5494 | 22.7332 | 8.5686 | 10.6923 | 12.7865 | -44.8875 | -41.0871 | -3.5835 | -0.21694 | 171.5876 | 157.4677 | 34.3277 | 90.2961 | 32.8439 | 14.1199 | 0.10819 | 0 | 0 | 0.054483 | 0 | 2.3553 | 11.6018 | 171.5876
28 | 214.4535 | 98.8384 | 16.0886 | 0.015606 | 22.061 | 36.0907 | 22.7332 | 7.9336 | 10.6923 | 12.3328 | -46.6597 | -42.9822 | -3.1326 | -0.54486 | 180.1266 | 167.3656 | 35.0323 | 98.394 | 33.9393 | 12.7611 | 0.11717 | 0 | 0 | 0.054483 | 0 | 2.4635 | 10.126 | 180.1266
29 | 209.6904 | 86.8671 | 16.044 | 0.0227 | 22.1108 | 36.5674 | 22.7332 | 14.6603 | 10.6848 | 12.7866 | -45.5772 | -41.3566 | -3.6834 | -0.53717 | 176.8998 | 166.4264 | 35.3748 | 96.9091 | 34.1425 | 10.4733 | 0.11813 | 0 | 0 | 0.059859 | 0 | 2.4559 | 7.8394 | 176.8998
30 | 210.5238 | 86.1938 | 15.5225 | 0.0227 | 20.5223 | 40.1767 | 22.7332 | 14.6603 | 10.6923 | 12.7861 | -49.6647 | -45.1626 | -3.9653 | -0.53686 | 173.6452 | 162.2561 | 34.9502 | 93.5176 | 33.7883 | 11.3891 | 0.10098 | 0 | 0 | 0.059859 | 0 | 2.3633 | 8.865 | 173.6452
31 | 179.3557 | 70.8209 | 13.446 | 0.16174 | 20.7018 | 34.7789 | 22.7332 | 6.0209 | 10.6923 | 12.7794 | -49.7491 | -44.1363 | -5.1007 | -0.51216 | 142.386 | 129.8451 | 32.266 | 67.8806 | 29.6986 | 12.541 | 0.075433 | 0 | 0 | 0.059859 | 0 | 1.9111 | 10.4946 | 142.386
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawl from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of resolution 312/2016/R/GAS ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points