## kWh
Gas Re-Nomination - Monthly report
Month: September 2020
(Unit of measurement: million kWh (25°C combustion))
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 2022.0233 | 914.8306 | 65.7829 | 0 | 413.791 | 231.6423 | 142.675 | 155 | 98.3016 | 114.1846 | -296.5567 | -273.6927 | -22.8639 | 0 | 1839.6513 | 1492.5461 | 394.8961 | 736.1079 | 361.5421 | 347.1052 | 1.5515 | 0 | 0 | 0.69633 | 0 | 28.6616 | 316.1957 | 1839.6513
2 | 2059.9913 | 903.0248 | 98.7478 | 0 | 415.5823 | 219.2223 | 170.1125 | 155 | 98.3016 | 114.3954 | -300.4524 | -281.1093 | -19.3431 | 0 | 1873.9343 | 1545.3132 | 397.2459 | 777.5874 | 370.48 | 328.6211 | 1.563 | 0 | 0 | 0.69633 | 0 | 28.5783 | 297.7834 | 1873.9343
3 | 2033.8352 | 852.5683 | 109.9721 | 0 | 415.9585 | 231.9223 | 170.1125 | 155 | 98.3016 | 113.9784 | -330.0853 | -288.1888 | -41.8964 | 0 | 1817.7284 | 1514.4642 | 403.5992 | 764.4731 | 346.3918 | 303.2642 | 1.5919 | 0 | 0 | 0.69633 | 0 | 28.488 | 272.4879 | 1817.7284
4 | 2015.3449 | 798.9737 | 142.6131 | 0 | 415.9834 | 251.4423 | 170.1125 | 137.9182 | 98.3016 | 114.1444 | -344.2341 | -288.5227 | -55.7114 | 0 | 1785.2552 | 1396.7492 | 389.6752 | 666.5941 | 340.4798 | 388.506 | 1.563 | 0 | 0 | 0.69633 | 0 | 27.4323 | 358.8144 | 1785.2552
5 | 1519.8493 | 573.7834 | 131.2492 | 0 | 416.0256 | 188.2423 | 82.3125 | 29.9346 | 98.3016 | 114.1483 | -353.5068 | -294.6126 | -58.8942 | 0 | 1280.4907 | 1094.3988 | 344.7823 | 490.3591 | 259.2574 | 186.0919 | 1.1148 | 0 | 0 | 0.68633 | 0 | 21.356 | 162.9349 | 1280.4907
6 | 1459.1829 | 540.4234 | 136.3676 | 0 | 415.409 | 180.0823 | 65.85 | 22.7489 | 98.3016 | 114.7753 | -355.4679 | -294.7733 | -60.6946 | 0 | 1218.4902 | 1044.3344 | 327.5517 | 466.7682 | 250.0144 | 174.1558 | 1.1157 | 0 | 0 | 0.353 | 0 | 17.8053 | 154.8819 | 1218.4902
7 | 1966.2029 | 865.1656 | 114.6149 | 0 | 339.4859 | 229.5223 | 170.1125 | 149 | 98.3016 | 113.2263 | -251.589 | -231.7794 | -19.8096 | 0 | 1827.8402 | 1484.1462 | 397.959 | 750.5287 | 335.6585 | 343.694 | 1.5919 | 0 | 0 | 0.353 | 0 | 28.2842 | 313.4648 | 1827.8402
8 | 1929.6263 | 689.0673 | 93.1573 | 0 | 338.9921 | 313.9523 | 240.3525 | 155.8032 | 98.3016 | 112.9173 | -267.1039 | -212.7008 | -54.4031 | 0 | 1775.4397 | 1499.611 | 399.4781 | 755.4826 | 344.6503 | 275.8287 | 1.6497 | 0 | 0 | 0.353 | 0 | 29.0256 | 244.8004 | 1775.4397
9 | 1997.8307 | 800.2929 | 137.2813 | 0 | 335.062 | 231.5404 | 240.3525 | 155 | 98.3016 | 112.2822 | -292.0008 | -267.0937 | -24.9072 | 0 | 1818.1121 | 1489.0623 | 393.8196 | 744.4098 | 350.8329 | 329.0498 | 1.6266 | 0 | 0 | 0.353 | 0 | 29.3818 | 297.6884 | 1818.1121
10 | 2002.0697 | 840.3445 | 115.5312 | 0 | 336.8829 | 237.3803 | 240.3525 | 130 | 101.5783 | 112.2815 | -201.293 | -179.8925 | -21.4005 | 0 | 1913.0582 | 1532.5404 | 403.8826 | 777.6168 | 351.041 | 380.5178 | 1.6324 | 0 | 0 | 0.70022 | 0 | 29.5337 | 348.6515 | 1913.0582
11 | 2019.6845 | 765.2136 | 131.9207 | 0 | 338.4009 | 297.0603 | 240.3525 | 145.1582 | 101.5783 | 114.9228 | -269.7157 | -211.1704 | -58.5452 | 0 | 1864.8917 | 1491.8267 | 396.8753 | 729.422 | 365.5294 | 373.065 | 1.5342 | 0 | 0 | 0.70022 | 0 | 29.5796 | 341.251 | 1864.8917
12 | 1667.531 | 673.3279 | 93.4436 | 0 | 337.1318 | 200.8923 | 197.55 | 66.8837 | 98.3016 | 115.177 | -353.451 | -294.1968 | -59.2542 | 0 | 1429.2571 | 1191.2047 | 354.1751 | 572.1513 | 264.8783 | 238.0524 | 1.0999 | 0 | 0 | 0.70022 | 0 | 21.402 | 214.8503 | 1429.2571
13 | 1488.8349 | 555.963 | 98.8022 | 0 | 334.8131 | 200.2423 | 149.26 | 51.4527 | 98.3016 | 114.9077 | -349.6818 | -293.0623 | -56.6195 | 0 | 1254.0608 | 1086.0115 | 335.2316 | 495.0031 | 255.7769 | 168.0493 | 1.0631 | 0 | 0 | 0.70022 | 0 | 18.8129 | 147.4731 | 1254.0608
14 | 2038.4972 | 911.0271 | 138.0511 | 0 | 336.9217 | 200.2423 | 240.3525 | 121.7927 | 90.1098 | 113.0689 | -335.8587 | -281.7396 | -54.119 | 0 | 1815.7075 | 1490.9834 | 391.0507 | 749.7961 | 350.1365 | 324.7242 | 1.4186 | 0 | 0 | 0.411 | 0 | 28.238 | 294.6565 | 1815.7075
15 | 1794.4498 | 810.9504 | 83.0133 | 0 | 324.9323 | 124.4608 | 240.3525 | 109.1622 | 101.5783 | 113.9678 | -221.1336 | -166.5469 | -54.5867 | 0 | 1687.2839 | 1578.5816 | 404.1998 | 803.0097 | 371.3721 | 108.7024 | 1.4764 | 0 | 0 | 0.411 | 0 | 28.9949 | 77.8201 | 1687.2839
16 | 1687.2063 | 760.7184 | 142.4281 | 0 | 327.8001 | 8.2042 | 232.67 | 113.8072 | 101.5783 | 105.4464 | -227.0171 | -197.6939 | -29.3233 | 0 | 1565.6356 | 1553.9407 | 407.3835 | 785.0258 | 361.5314 | 11.6949 | 1.6843 | 0 | 0 | 0.411 | 0 | 28.9257 | -19.3261 | 1565.6356
17 | 1966.0339 | 954.0164 | 110.34 | 0 | 339.8191 | 68.2042 | 240.3525 | 155 | 98.3016 | 107.4032 | -214.0133 | -179.3282 | -34.6851 | 0 | 1859.4237 | 1508.0056 | 405.1876 | 733.0871 | 369.7309 | 351.4181 | 1.3275 | 0 | 0 | 0.76239 | 0 | 27.9017 | 321.4265 | 1859.4237
18 | 1961.7799 | 860.4014 | 142.1016 | 0 | 339.8637 | 122.4823 | 240.3525 | 155 | 101.5783 | 107.0282 | -259.9868 | -217.5879 | -42.3989 | 0 | 1808.8213 | 1488.3784 | 395.1851 | 738.952 | 354.2413 | 320.443 | 1.3564 | 0 | 0 | 0.76239 | 0 | 28.0577 | 290.2665 | 1808.8213
19 | 1608.0221 | 753.142 | 87.6679 | 0 | 333.9159 | 63.4283 | 197.55 | 70.7396 | 101.5783 | 108.2127 | -263.378 | -219.7809 | -43.597 | 0 | 1452.8568 | 1243.4422 | 345.9793 | 631.0607 | 266.4022 | 209.4146 | 1.0096 | 0 | 0 | 0.76239 | 0 | 17.9342 | 189.7084 | 1452.8568
20 | 1566.241 | 742.3367 | 104.3012 | 0 | 330.9623 | 54.2173 | 193.16 | 40.5044 | 100.7591 | 111.4711 | -288.0648 | -228.7869 | -59.2779 | 0 | 1389.6473 | 1186.6476 | 331.8898 | 597.3122 | 257.4457 | 202.9997 | 1.022 | 0 | 0 | 0.76239 | 0 | 17.9426 | 183.2727 | 1389.6473
21 | 2024.1053 | 937.2679 | 164.7013 | 0 | 330.759 | 127.6423 | 240.3525 | 141.4642 | 81.918 | 115.3545 | -282.7381 | -226.4629 | -56.2752 | 0 | 1856.7216 | 1583.864 | 398.5114 | 830.1814 | 355.1713 | 272.8576 | 1.5008 | 0 | 0 | 0.76239 | 0 | 23.7814 | 246.813 | 1856.7216
22 | 2016.1774 | 1000.9899 | 155.0459 | 0 | 387.5758 | 2.9679 | 240.3525 | 130.9437 | 98.3016 | 115.4002 | -236.3251 | -208.4081 | -27.917 | 0 | 1895.2524 | 1562.266 | 404.5633 | 806.6502 | 351.0525 | 332.9864 | 1.5297 | 0 | 0 | 0.76239 | 0 | 24.9457 | 305.7486 | 1895.2524
23 | 2060.4735 | 972.7679 | 155.2777 | 0 | 408.9717 | 46.5279 | 285.35 | 90 | 101.5783 | 115.6109 | -252.3415 | -215.426 | -36.9155 | 0 | 1923.7429 | 1564.962 | 405.6971 | 797.2859 | 361.979 | 358.7809 | 1.7683 | 0 | 0 | 0.76239 | 0 | 28.5721 | 327.6781 | 1923.7429
24 | 2008.9434 | 903.5524 | 148.4872 | 0 | 411.2931 | 158.6823 | 285.35 | 0 | 101.5783 | 114.1218 | -263.518 | -236.1466 | -27.3714 | 0 | 1859.5472 | 1500.2918 | 402.7221 | 740.6501 | 356.9197 | 359.2554 | 1.7382 | 0 | 0 | 0.74239 | 0 | 28.7106 | 328.0642 | 1859.5472
25 | 1748.3356 | 729.9588 | 180.2685 | 0 | 411.3976 | 39.7823 | 285.35 | 0 | 101.5783 | 114.27 | -290.3521 | -235.915 | -54.4371 | 0 | 1572.2535 | 1376.7591 | 393.974 | 628.9387 | 353.8464 | 195.4944 | 2.3411 | 0.06 | 0 | 0.74239 | 26.849 | 27.1032 | 138.3987 | 1572.2535
26 | 1437.4658 | 552.0142 | 180.9177 | 0 | 414.5899 | 16.0423 | 175.6 | 0 | 98.3016 | 114.4291 | -301.8414 | -242.5634 | -59.2779 | 0 | 1250.0535 | 1000.3285 | 350.9248 | 389.5384 | 259.8653 | 249.7251 | 2.0659 | 0 | 0 | 0.76239 | 14.216 | 18.1462 | 214.5346 | 1250.0535
27 | 1389.5085 | 505.3855 | 181.1543 | 0 | 409.7481 | 16.0423 | 175.6 | 0 | 101.5783 | 114.8796 | -300.3251 | -241.4462 | -58.8789 | 0 | 1204.0629 | 971.1188 | 331.9217 | 378.1487 | 261.0484 | 232.9441 | 2.531 | 0 | 0 | 0.76239 | 16.011 | 17.8988 | 195.7409 | 1204.0629
28 | 1873.6026 | 922.1166 | 181.4248 | 0 | 410.8153 | 49.1425 | 208.525 | 0 | 101.5783 | 114.9645 | -217.1383 | -201.4312 | -15.7071 | 0 | 1771.4288 | 1413.2211 | 394.45 | 641.9497 | 376.8214 | 358.2077 | 3.2454 | 0 | 0 | 0.76239 | 0 | 29.5419 | 324.658 | 1771.4288
29 | 2025.8276 | 1004.2039 | 176.2131 | 0 | 416.1628 | 119.1445 | 208.525 | 0 | 101.5783 | 114.2623 | -199.6717 | -189.2779 | -10.3938 | 0 | 1940.4181 | 1475.4973 | 386.8621 | 746.6548 | 341.9805 | 464.9208 | 2.6425 | 0 | 0 | 0.76239 | 0 | 29.5089 | 432.0069 | 1940.4181
30 | 1959.1383 | 1003.9013 | 137.7868 | 0 | 407.9979 | 133.7545 | 208.525 | 0 | 67.1728 | 111.2182 | -214.2938 | -200.1125 | -14.1813 | 0 | 1856.0626 | 1412.2694 | 385.4268 | 674.8608 | 351.9818 | 443.7932 | 2.0396 | 0 | 0 | 0.76239 | 0 | 26.5424 | 414.4488 | 1856.0626
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Nm3
Gas Re-Nomination - Monthly report
Month: September 2020
(Unit of measurement: million Nm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 176.0007 | 80.9272 | 5.6683 | 0 | 35.3507 | 20.2046 | 12.3209 | 13.3666 | 8.1625 | 10.234 | -26.1125 | -24.0633 | -2.0492 | 0 | 160.1222 | 133.7716 | 35.3931 | 65.9747 | 32.4037 | 26.3506 | 0.13526 | 0 | 0 | 0.063101 | 0 | 2.5688 | 23.5834 | 160.1222
2 | 179.5051 | 79.6774 | 8.5297 | 0 | 35.5016 | 19.2411 | 14.6995 | 13.7053 | 8.1506 | 10.2528 | -26.456 | -24.7223 | -1.7337 | 0 | 163.302 | 138.5009 | 35.6037 | 69.6924 | 33.2048 | 24.8011 | 0.137 | 0 | 0 | 0.063095 | 0 | 2.5614 | 22.0396 | 163.302
3 | 177.3557 | 75.2322 | 9.5278 | 0 | 35.5301 | 20.5217 | 14.686 | 13.7034 | 8.1546 | 10.2155 | -28.9446 | -25.1895 | -3.755 | 0 | 158.6266 | 135.736 | 36.1732 | 68.517 | 31.0459 | 22.8906 | 0.14007 | 0 | 0 | 0.063101 | 0 | 2.5533 | 20.1342 | 158.6266
4 | 175.7338 | 70.4794 | 12.3874 | 0 | 35.6331 | 22.2211 | 14.6767 | 12.1935 | 8.1425 | 10.2304 | -30.1295 | -25.1363 | -4.9932 | 0 | 155.8347 | 125.1856 | 34.9252 | 59.7445 | 30.516 | 30.649 | 0.13822 | 0 | 0 | 0.063095 | 0 | 2.4587 | 27.9891 | 155.8347
5 | 132.2794 | 50.6403 | 11.3938 | 0 | 35.6933 | 16.6352 | 7.1088 | 2.6462 | 8.1619 | 10.2307 | -30.9299 | -25.6514 | -5.2785 | 0 | 111.5802 | 98.0871 | 30.9016 | 43.9491 | 23.2363 | 13.4932 | 0.098402 | 0 | 0 | 0.062194 | 0 | 1.9141 | 11.4185 | 111.5802
6 | 126.8261 | 47.6361 | 11.7906 | 0 | 35.6353 | 15.8815 | 5.6904 | 2.0108 | 8.1814 | 10.2869 | -31.1821 | -25.7422 | -5.4398 | 0 | 105.9309 | 93.6 | 29.3573 | 41.8348 | 22.4079 | 12.331 | 0.098438 | 0 | 0 | 0.031988 | 0 | 1.5958 | 10.6047 | 105.9309
7 | 171.4576 | 76.2635 | 9.8892 | 0 | 29.047 | 20.2319 | 14.6842 | 13.1693 | 8.1725 | 10.1481 | -21.9224 | -20.147 | -1.7755 | 0 | 159.6833 | 133.0187 | 35.6676 | 67.2672 | 30.0839 | 26.6645 | 0.14043 | 0 | 0 | 0.031997 | 0 | 2.535 | 23.9571 | 159.6833
8 | 167.4654 | 60.7847 | 8.0229 | 0 | 28.9891 | 27.5462 | 20.7604 | 13.1915 | 8.1706 | 10.1204 | -23.3621 | -18.4861 | -4.876 | 0 | 154.2236 | 134.4048 | 35.8038 | 67.7112 | 30.8898 | 19.8189 | 0.14496 | 0 | 0 | 0.031979 | 0 | 2.6015 | 17.0405 | 154.2236
9 | 173.4433 | 70.6024 | 11.8332 | 0 | 28.6249 | 20.3071 | 20.7504 | 13.1593 | 8.166 | 10.0635 | -25.423 | -23.1907 | -2.2323 | 0 | 158.0837 | 133.4593 | 35.2966 | 66.7188 | 31.4439 | 24.6244 | 0.14292 | 0 | 0 | 0.031985 | 0 | 2.6334 | 21.8161 | 158.0837
10 | 173.714 | 74.1492 | 9.9585 | 0 | 28.8109 | 20.8887 | 20.7439 | 10.7286 | 8.4341 | 10.0634 | -17.5665 | -15.6484 | -1.9181 | 0 | 166.2109 | 137.3561 | 36.1986 | 69.695 | 31.4626 | 28.8548 | 0.1434 | 0 | 0 | 0.063453 | 0 | 2.647 | 26.0009 | 166.2109
11 | 175.1925 | 67.5762 | 11.3871 | 0 | 28.9356 | 26.1177 | 20.7597 | 11.9822 | 8.4341 | 10.3001 | -23.7677 | -18.5205 | -5.2472 | 0 | 161.7249 | 133.7071 | 35.5705 | 65.3755 | 32.7611 | 28.0178 | 0.13501 | 0 | 0 | 0.063453 | 0 | 2.6511 | 25.1683 | 161.7249
12 | 144.6057 | 59.4027 | 8.0176 | 0 | 28.8246 | 17.6262 | 17.0611 | 5.5222 | 8.1513 | 10.3229 | -31.0154 | -25.7046 | -5.3107 | 0 | 123.9132 | 106.7634 | 31.7435 | 51.2799 | 23.7401 | 17.1498 | 0.096619 | 0 | 0 | 0.063447 | 0 | 1.9182 | 15.0715 | 123.9132
13 | 129.1526 | 49.1124 | 8.5499 | 0 | 28.5881 | 17.6171 | 12.8905 | 4.2516 | 8.143 | 10.2988 | -30.6216 | -25.547 | -5.0746 | 0 | 108.8297 | 97.3353 | 30.0456 | 44.3654 | 22.9244 | 11.4944 | 0.093372 | 0 | 0 | 0.063453 | 0 | 1.6861 | 9.6515 | 108.8297
14 | 177.0661 | 80.4891 | 11.9402 | 0 | 28.732 | 17.5962 | 20.7451 | 10.0699 | 7.4938 | 10.134 | -29.4715 | -24.621 | -4.8505 | 0 | 157.7286 | 133.6315 | 35.0485 | 67.2015 | 31.3815 | 24.0971 | 0.12467 | 0 | 0 | 0.037248 | 0 | 2.5309 | 21.4043 | 157.7286
15 | 155.6327 | 71.6374 | 7.1292 | 0 | 27.6966 | 10.9077 | 20.7463 | 9.0356 | 8.4799 | 10.2145 | -19.5852 | -14.6928 | -4.8924 | 0 | 146.2621 | 141.4826 | 36.227 | 71.9709 | 33.2848 | 4.7794 | 0.13006 | 0 | 0 | 0.037237 | 0 | 2.5987 | 2.0134 | 146.2621
16 | 146.2015 | 67.1875 | 12.3474 | 0 | 27.9817 | 0.72006 | 20.0766 | 9.4338 | 8.4545 | 9.4508 | -20.0003 | -17.3721 | -2.6281 | 0 | 135.6521 | 139.2742 | 36.5123 | 70.3591 | 32.4028 | -3.6221 | 0.14871 | 0 | 0 | 0.037244 | 0 | 2.5925 | -6.4006 | 135.6521
17 | 171.0554 | 84.2991 | 9.5413 | 0 | 29.0008 | 6.0067 | 20.7732 | 13.2488 | 8.1854 | 9.6262 | -18.9012 | -15.7925 | -3.1087 | 0 | 161.7803 | 135.1572 | 36.3155 | 65.704 | 33.1377 | 26.6231 | 0.11734 | 0 | 0 | 0.069086 | 0 | 2.5007 | 23.936 | 161.7803
18 | 170.9343 | 76.0129 | 12.2644 | 0 | 29.0149 | 10.806 | 20.7432 | 13.6368 | 8.4561 | 9.5926 | -22.8583 | -19.0583 | -3.8001 | 0 | 157.6685 | 133.398 | 35.419 | 66.2296 | 31.7494 | 24.2705 | 0.11965 | 0 | 0 | 0.06908 | 0 | 2.5147 | 21.5671 | 157.6685
19 | 139.9748 | 66.5222 | 7.5659 | 0 | 28.5437 | 5.5951 | 17.0619 | 6.2229 | 8.463 | 9.6987 | -22.989 | -19.0816 | -3.9074 | 0 | 126.6844 | 111.4453 | 31.0089 | 56.5597 | 23.8767 | 15.2391 | 0.089008 | 0 | 0 | 0.0691 | 0 | 1.6074 | 13.4737 | 126.6844
20 | 136.2581 | 65.5885 | 8.9244 | 0 | 28.3744 | 4.744 | 16.6711 | 3.5627 | 8.393 | 9.9908 | -25.1897 | -19.8768 | -5.3129 | 0 | 121.0592 | 106.355 | 29.7461 | 53.535 | 23.0739 | 14.7042 | 0.088442 | 0 | 0 | 0.069153 | 0 | 1.6081 | 12.9384 | 121.0592
21 | 176.0289 | 82.8115 | 14.0715 | 0 | 28.3937 | 11.2284 | 20.7341 | 11.9774 | 6.8122 | 10.3388 | -24.8021 | -19.7583 | -5.0437 | 0 | 161.5656 | 141.9561 | 35.7172 | 74.4062 | 31.8327 | 19.6095 | 0.13229 | 0 | 0 | 0.069139 | 0 | 2.1314 | 17.2766 | 161.5656
22 | 175.6845 | 88.3592 | 13.3574 | 0 | 33.2724 | 0.26108 | 20.7371 | 11.5159 | 8.1815 | 10.3429 | -20.7563 | -18.2542 | -2.5021 | 0 | 165.2711 | 140.0203 | 36.2596 | 72.2972 | 31.4636 | 25.2508 | 0.13495 | 0 | 0 | 0.069087 | 0 | 2.2358 | 22.8109 | 165.2711
23 | 179.2686 | 85.7801 | 13.3862 | 0 | 35.0476 | 4.1092 | 24.6364 | 7.853 | 8.4561 | 10.3618 | -21.9918 | -18.6832 | -3.3086 | 0 | 167.6385 | 140.262 | 36.3612 | 71.4579 | 32.4429 | 27.3766 | 0.15609 | 0 | 0 | 0.069087 | 0 | 2.5608 | 24.5906 | 167.6385
24 | 174.8096 | 79.684 | 12.7847 | 0 | 35.2301 | 14.0145 | 24.6228 | 0 | 8.4736 | 10.2283 | -23.113 | -20.6598 | -2.4532 | 0 | 161.9249 | 134.4658 | 36.0945 | 66.3818 | 31.9894 | 27.4591 | 0.15339 | 0 | 0 | 0.067274 | 0 | 2.5732 | 24.6652 | 161.9249
25 | 151.7108 | 64.4228 | 15.5008 | 0 | 35.192 | 3.5136 | 24.6249 | 0 | 8.4568 | 10.2416 | -25.5172 | -20.6381 | -4.879 | 0 | 136.4353 | 123.394 | 35.3105 | 56.3695 | 31.714 | 13.0413 | 0.20663 | 0.0052889 | 0 | 0.067306 | 2.3696 | 2.4292 | 7.9633 | 136.4353
26 | 124.4783 | 48.7323 | 15.5334 | 0 | 35.4611 | 1.4138 | 15.1594 | 0 | 8.1783 | 10.2559 | -26.2611 | -20.9482 | -5.3129 | 0 | 108.4731 | 89.6559 | 31.4521 | 34.9129 | 23.2908 | 18.8172 | 0.18244 | 0 | 0 | 0.06912 | 1.255 | 1.6264 | 15.6843 | 108.4731
27 | 120.2253 | 44.569 | 15.5867 | 0 | 35.0418 | 1.4129 | 15.1543 | 0 | 8.4606 | 10.2962 | -26.191 | -20.9139 | -5.2771 | 0 | 104.3305 | 87.0379 | 29.749 | 33.8921 | 23.3968 | 17.2926 | 0.2175 | 0 | 0 | 0.06912 | 1.4135 | 1.6042 | 13.9883 | 104.3305
28 | 162.9497 | 81.3742 | 15.5964 | 0 | 35.1901 | 4.3227 | 17.9926 | 0 | 8.4738 | 10.3039 | -18.8214 | -17.4137 | -1.4078 | 0 | 154.4321 | 126.662 | 35.3531 | 57.5357 | 33.7732 | 27.7701 | 0.2857 | 0 | 0 | 0.069087 | 0 | 2.6477 | 24.7676 | 154.4321
29 | 176.2296 | 88.5027 | 15.1229 | 0 | 35.7035 | 10.4222 | 18.0051 | 0 | 8.4732 | 10.2409 | -17.2017 | -16.2701 | -0.93156 | 0 | 169.2689 | 132.2436 | 34.6731 | 66.92 | 30.6505 | 37.0253 | 0.23043 | 0 | 0 | 0.069087 | 0 | 2.6448 | 34.081 | 169.2689
30 | 170.6127 | 88.4761 | 11.8251 | 0 | 35.003 | 11.7002 | 18.0051 | 0 | 5.6032 | 9.9681 | -18.4725 | -17.2015 | -1.271 | 0 | 162.1083 | 126.5767 | 34.5444 | 60.4854 | 31.5469 | 35.5317 | 0.17785 | 0 | 0 | 0.069087 | 0 | 2.3789 | 32.9058 | 162.1083
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points

## Sm3 GCV 10,57275 kWhSm3
Gas Re-Nomination - Monthly report
Month: September 2020
(Unit of measurement: million Sm3 GCV 10,57275 kWh/Sm3)
_________________________________________________________________________________________________
DD | Import. | Entrata Tarvisio | Entrata Gela | Entrata Gorizia | Entrata Mazara | Entrata P.Gries | GNL Cavarzere | GNL Livorno | GNL Panigaglia | National Production | Storage Systems* | Stogit | Edison Stoccaggio | Ital Gas Storage | Total Intake | Deliveries Snam Rete Gas network | Industry | Power generation | Local Distribution Networks | Exports, Third-party Network, Other** | Uscita Bizzarone | Uscita Gorizia | Uscita P.Gries | Uscita S.Marino | Uscita Tarvisio | Deliveries to other distribution networks | Other | Total Offtake
1 | 191.2486 | 86.5272 | 6.2219 | 0 | 39.1375 | 21.9094 | 13.4946 | 14.6603 | 9.2976 | 10.7999 | -28.0492 | -25.8866 | -2.1625 | 0 | 173.9993 | 141.1691 | 37.3504 | 69.6231 | 34.1957 | 32.8302 | 0.14674 | 0 | 0 | 0.065861 | 0 | 2.7109 | 29.9067 | 173.9993
2 | 194.8397 | 85.4106 | 9.3398 | 0 | 39.3069 | 20.7347 | 16.0897 | 14.6603 | 9.2976 | 10.8198 | -28.4176 | -26.5881 | -1.8295 | 0 | 177.2419 | 146.16 | 37.5726 | 73.5464 | 35.041 | 31.0819 | 0.14784 | 0 | 0 | 0.065861 | 0 | 2.703 | 28.1652 | 177.2419
3 | 192.3658 | 80.6383 | 10.4015 | 0 | 39.3425 | 21.9359 | 16.0897 | 14.6603 | 9.2976 | 10.7804 | -31.2204 | -27.2577 | -3.9627 | 0 | 171.9258 | 143.2422 | 38.1735 | 72.306 | 32.7627 | 28.6836 | 0.15057 | 0 | 0 | 0.065861 | 0 | 2.6945 | 25.7727 | 171.9258
4 | 190.6169 | 75.5691 | 13.4887 | 0 | 39.3449 | 23.7821 | 16.0897 | 13.0447 | 9.2976 | 10.7961 | -32.5586 | -27.2893 | -5.2693 | 0 | 168.8544 | 132.1084 | 36.8566 | 63.0483 | 32.2035 | 36.746 | 0.14784 | 0 | 0 | 0.065861 | 0 | 2.5946 | 33.9377 | 168.8544
5 | 143.7516 | 54.27 | 12.4139 | 0 | 39.3489 | 17.8045 | 7.7853 | 2.8313 | 9.2976 | 10.7965 | -33.4357 | -27.8653 | -5.5704 | 0 | 121.1124 | 103.5113 | 32.6105 | 46.3795 | 24.5213 | 17.6011 | 0.10544 | 0 | 0 | 0.064915 | 0 | 2.0199 | 15.4108 | 121.1124
6 | 138.0136 | 51.1147 | 12.898 | 0 | 39.2905 | 17.0327 | 6.2283 | 2.1517 | 9.2976 | 10.8558 | -33.6211 | -27.8805 | -5.7407 | 0 | 115.2482 | 98.776 | 30.9807 | 44.1482 | 23.6471 | 16.4721 | 0.10553 | 0 | 0 | 0.033388 | 0 | 1.6841 | 14.6492 | 115.2482
7 | 185.9689 | 81.8298 | 10.8406 | 0 | 32.1095 | 21.7089 | 16.0897 | 14.0928 | 9.2976 | 10.7093 | -23.796 | -21.9223 | -1.8736 | 0 | 172.8822 | 140.3747 | 37.6401 | 70.9871 | 31.7475 | 32.5075 | 0.15057 | 0 | 0 | 0.033388 | 0 | 2.6752 | 29.6484 | 172.8822
8 | 182.5094 | 65.1739 | 8.8111 | 0 | 32.0628 | 29.6945 | 22.7332 | 14.7363 | 9.2976 | 10.68 | -25.2634 | -20.1178 | -5.1456 | 0 | 167.926 | 141.8374 | 37.7837 | 71.4556 | 32.598 | 26.0886 | 0.15603 | 0 | 0 | 0.033388 | 0 | 2.7453 | 23.1539 | 167.926
9 | 188.9604 | 75.6939 | 12.9844 | 0 | 31.6911 | 21.8997 | 22.7332 | 14.6603 | 9.2976 | 10.62 | -27.6182 | -25.2625 | -2.3558 | 0 | 171.9621 | 140.8396 | 37.2486 | 70.4083 | 33.1827 | 31.1224 | 0.15385 | 0 | 0 | 0.033388 | 0 | 2.779 | 28.1562 | 171.9621
10 | 189.3613 | 79.4821 | 10.9273 | 0 | 31.8633 | 22.4521 | 22.7332 | 12.2958 | 9.6076 | 10.6199 | -19.0389 | -17.0147 | -2.0241 | 0 | 180.9424 | 144.9519 | 38.2003 | 73.5492 | 33.2024 | 35.9904 | 0.15439 | 0 | 0 | 0.066229 | 0 | 2.7934 | 32.9764 | 180.9424
11 | 191.0274 | 72.376 | 12.4774 | 0 | 32.0069 | 28.0968 | 22.7332 | 13.7295 | 9.6076 | 10.8697 | -25.5105 | -19.9731 | -5.5374 | 0 | 176.3866 | 141.1011 | 37.5376 | 68.9908 | 34.5728 | 35.2855 | 0.14511 | 0 | 0 | 0.066229 | 0 | 2.7977 | 32.2765 | 176.3866
12 | 157.7197 | 63.6852 | 8.8382 | 0 | 31.8869 | 19.001 | 18.6848 | 6.326 | 9.2976 | 10.8938 | -33.4304 | -27.8259 | -5.6044 | 0 | 135.1831 | 112.6674 | 33.4989 | 54.1157 | 25.0529 | 22.5157 | 0.10403 | 0 | 0 | 0.066229 | 0 | 2.0243 | 20.3211 | 135.1831
13 | 140.8181 | 52.5845 | 9.345 | 0 | 31.6675 | 18.9395 | 14.1174 | 4.8665 | 9.2976 | 10.8683 | -33.0739 | -27.7186 | -5.3552 | 0 | 118.6126 | 102.718 | 31.7071 | 46.8188 | 24.1921 | 15.8946 | 0.10055 | 0 | 0 | 0.066229 | 0 | 1.7794 | 13.9484 | 118.6126
14 | 192.8067 | 86.1675 | 13.0573 | 0 | 31.867 | 18.9395 | 22.7332 | 11.5195 | 8.5228 | 10.6944 | -31.7664 | -26.6477 | -5.1187 | 0 | 171.7347 | 141.0213 | 36.9867 | 70.9178 | 33.1169 | 30.7133 | 0.13418 | 0 | 0 | 0.038873 | 0 | 2.6708 | 27.8694 | 171.7347
15 | 169.724 | 76.7019 | 7.8516 | 0 | 30.733 | 11.7718 | 22.7332 | 10.3249 | 9.6076 | 10.7794 | -20.9154 | -15.7525 | -5.163 | 0 | 159.588 | 149.3066 | 38.2303 | 75.9509 | 35.1254 | 10.2814 | 0.13964 | 0 | 0 | 0.038873 | 0 | 2.7424 | 7.3604 | 159.588
16 | 159.5807 | 71.9509 | 13.4712 | 0 | 31.0042 | 0.77598 | 22.0066 | 10.7642 | 9.6076 | 9.9734 | -21.4719 | -18.6984 | -2.7735 | 0 | 148.0822 | 146.976 | 38.5315 | 74.2499 | 34.1946 | 1.1061 | 0.15931 | 0 | 0 | 0.038873 | 0 | 2.7359 | -1.8279 | 148.0822
17 | 185.9529 | 90.2335 | 10.4363 | 0 | 32.141 | 6.4509 | 22.7332 | 14.6603 | 9.2976 | 10.1585 | -20.242 | -16.9614 | -3.2806 | 0 | 175.8694 | 142.6313 | 38.3238 | 69.3374 | 34.9702 | 33.2381 | 0.12556 | 0 | 0 | 0.072109 | 0 | 2.639 | 30.4014 | 175.8694
18 | 185.5506 | 81.3792 | 13.4404 | 0 | 32.1453 | 11.5847 | 22.7332 | 14.6603 | 9.6076 | 10.123 | -24.5903 | -20.5801 | -4.0102 | 0 | 171.0833 | 140.775 | 37.3777 | 69.8921 | 33.5051 | 30.3084 | 0.12829 | 0 | 0 | 0.072109 | 0 | 2.6538 | 27.4542 | 171.0833
19 | 152.0912 | 71.2343 | 8.2919 | 0 | 31.5827 | 5.9992 | 18.6848 | 6.6907 | 9.6076 | 10.2351 | -24.911 | -20.7875 | -4.1235 | 0 | 137.4152 | 117.6082 | 32.7237 | 59.6875 | 25.1971 | 19.807 | 0.095495 | 0 | 0 | 0.072109 | 0 | 1.6963 | 17.9432 | 137.4152
20 | 148.1394 | 70.2123 | 9.8651 | 0 | 31.3033 | 5.128 | 18.2696 | 3.831 | 9.5301 | 10.5432 | -27.246 | -21.6393 | -5.6067 | 0 | 131.4367 | 112.2364 | 31.3911 | 56.4954 | 24.3499 | 19.2003 | 0.096663 | 0 | 0 | 0.072109 | 0 | 1.6971 | 17.3344 | 131.4367
21 | 191.4455 | 88.6494 | 15.5779 | 0 | 31.2841 | 12.0728 | 22.7332 | 13.3801 | 7.748 | 10.9105 | -26.7422 | -21.4195 | -5.3227 | 0 | 175.6139 | 149.8063 | 37.6923 | 78.5209 | 33.5931 | 25.8076 | 0.14195 | 0 | 0 | 0.072109 | 0 | 2.2493 | 23.3443 | 175.6139
22 | 190.6956 | 94.6764 | 14.6647 | 0 | 36.658 | 0.28071 | 22.7332 | 12.385 | 9.2976 | 10.9149 | -22.3523 | -19.7118 | -2.6405 | 0 | 179.2582 | 147.7634 | 38.2647 | 76.2952 | 33.2035 | 31.4948 | 0.14468 | 0 | 0 | 0.072109 | 0 | 2.3594 | 28.9186 | 179.2582
23 | 194.8853 | 92.0071 | 14.6866 | 0 | 38.6817 | 4.4007 | 26.9892 | 8.5124 | 9.6076 | 10.9348 | -23.8672 | -20.3756 | -3.4916 | 0 | 181.9529 | 148.0184 | 38.372 | 75.4095 | 34.237 | 33.9345 | 0.16725 | 0 | 0 | 0.072109 | 0 | 2.7024 | 30.9927 | 181.9529
24 | 190.0114 | 85.4605 | 14.0443 | 0 | 38.9012 | 15.0086 | 26.9892 | 0 | 9.6076 | 10.794 | -24.9243 | -22.3354 | -2.5889 | 0 | 175.8811 | 141.9018 | 38.0906 | 70.0527 | 33.7585 | 33.9794 | 0.1644 | 0 | 0 | 0.070217 | 0 | 2.7155 | 31.0292 | 175.8811
25 | 165.3624 | 69.0415 | 17.0503 | 0 | 38.9111 | 3.7627 | 26.9892 | 0 | 9.6076 | 10.808 | -27.4623 | -22.3135 | -5.1488 | 0 | 148.7081 | 130.2177 | 37.2632 | 59.4868 | 33.4678 | 18.4904 | 0.22142 | 0.005675 | 0 | 0.070217 | 2.5395 | 2.5635 | 13.0901 | 148.7081
26 | 135.9595 | 52.211 | 17.1117 | 0 | 39.2131 | 1.5173 | 16.6087 | 0 | 9.2976 | 10.823 | -28.549 | -22.9423 | -5.6067 | 0 | 118.2335 | 94.6138 | 33.1914 | 36.8436 | 24.5788 | 23.6197 | 0.1954 | 0 | 0 | 0.072109 | 1.3446 | 1.7163 | 20.2913 | 118.2335
27 | 131.4236 | 47.8008 | 17.1341 | 0 | 38.7551 | 1.5173 | 16.6087 | 0 | 9.6076 | 10.8656 | -28.4056 | -22.8367 | -5.5689 | 0 | 113.8836 | 91.8511 | 31.3941 | 35.7664 | 24.6907 | 22.0325 | 0.23939 | 0 | 0 | 0.072109 | 1.5144 | 1.6929 | 18.5137 | 113.8836
28 | 177.2105 | 87.2163 | 17.1597 | 0 | 38.8561 | 4.648 | 19.7229 | 0 | 9.6076 | 10.8737 | -20.5375 | -19.0519 | -1.4856 | 0 | 167.5466 | 133.6664 | 37.3082 | 60.7174 | 35.6408 | 33.8803 | 0.30696 | 0 | 0 | 0.072109 | 0 | 2.7942 | 30.7071 | 167.5466
29 | 191.6084 | 94.9804 | 16.6667 | 0 | 39.3618 | 11.269 | 19.7229 | 0 | 9.6076 | 10.8072 | -18.8855 | -17.9024 | -0.98308 | 0 | 183.5301 | 139.5566 | 36.5905 | 70.6207 | 32.3455 | 43.9735 | 0.24994 | 0 | 0 | 0.072109 | 0 | 2.791 | 40.8604 | 183.5301
30 | 185.3007 | 94.9518 | 13.0323 | 0 | 38.5896 | 12.6509 | 19.7229 | 0 | 6.3534 | 10.5193 | -20.2685 | -18.9272 | -1.3413 | 0 | 175.5515 | 133.5764 | 36.4547 | 63.8302 | 33.2914 | 41.9752 | 0.19291 | 0 | 0 | 0.072109 | 0 | 2.5105 | 39.1997 | 175.5515
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
* + : withdrawal from storage
** it includes: export, deliveries to other transportation gas networks companies and quantities of transportation companies
*** in compliance with the information requirements of TIB ( article 11.3 )
Actual physical flows can be derived as difference between Entry and Exit figures referred to the same interconnection points